## Sheet1
Cleburne Plant Outages
Date: | Reason:
2001-06-26 | Plant shut down for inspection. Brazos took all 45,000 for these days.
2001-06-27
2001-09-14 | Plant shut down. Transition crack in Turbine. 45,000 was sold off to markets during. Tufco, waha, some transported
2001-09-26 | on Lonestar for these days. Plant will be up for rest of year.
2001-09-30 | Scheduled outage cancelled because the plant came down last week.
2001-11-13 | Turbine breaks down at 1:30 am. No gas burning until at least 11/16. All gas needs to be sold to avoid adding length to
Lonestar pipeline.
Other Info
Date: | Event:
2001-07-01 | Plant ran at full capactiy producing 263 megawatts per day. Brazos did not pull any gas during this time. Upon invesigation
2001-09-15 | it turns out that several plants in the area are out, causing Cleburne to pick up the slack.
2001-10-01 | Plant now only burning about 30,000 per day to make power. Weather cool, but not so cold where power is needed for heat.