## Project Detail
EAM Technology Codes Version 6.0
Area | Tech Code | Description | ECM Code
Lighting | 1 | Interior Lighting Upgrade | 110
Lighting | 1 | Exterior Lighting Upgrade | 111
Lighting | 1 | LED Exit Signs | 120
Lighting | 1 | Interior Lighting Control Systems | 130
Lighting | 1 | Exterior Lighting Control Systems | 131
Lighting | 1 | Occupancy Sensors | 132
Lighting | 1 | Revise Switching Zones | 133
Lighting | 1 | Load Shed Systems | 140
Lighting | 1 | Skylights (including controls) | 150
Lighting | 1 | Daylighting (including controls) | 151
Lighting | 1 | Dimming (not including daylighting) | 160
Lighting | 1 | LED Traffic Signals | 170
Lighting | 1 | Group Relamp & Maintanince | 180
Lighting | 1 | Combination | 198
Lighting | 1 | Other | 199
Refrigeration | 2 | Increase Condenser Capacity | 201
Refrigeration | 2 | Increase SST | 202
Refrigeration | 2 | Install Air Purger | 203
Refrigeration | 2 | Descale | 204
Refrigeration | 2 | Evaporator Fan Control (Cycling or VSD) | 205
Refrigeration | 2 | Float Head Pressure to Minimum | 206
Refrigeration | 2 | Install liquid Subcooling (Economizer) | 207
Refrigeration | 2 | Demand Defrost on Evaporators | 208
Refrigeration | 2 | Convert to Screw Comp. Thermosyphon Oil Cooling | 209
Refrigeration | 2 | Condenser Fans Control (Cycling or VSD) | 210
Refrigeration | 2 | Combination | 298
Refrigeration | 2 | Other | 299
Boilers | 3 | Replace Failed Steam Traps | 301
Boilers | 3 | Sensible Flue Gas Heat Recovery/Feedwater Preheating | 302
Boilers | 3 | Increase Condensate Return | 303
Boilers | 3 | Blowdown Heat Recovery/Make-Up Water Preheating | 304
Boilers | 3 | Automatic Boiler Staging/Loading | 305
Boilers | 3 | Sensible Flue Gas Heat Recovery/Combustion Air Preheating | 306
Boilers | 3 | Automatic Oxygen/Excess Air Trim | 307
Boilers | 3 | Replacement Boiler with Higher Efficiency | 308
Boilers | 3 | Replacement Burner with Modulating Capacity Control | 309
Boilers | 3 | Water Softener Replacement with Tube Cleaning | 310
Boilers | 3 | Modulate Blowdown Volume | 311
Boilers | 3 | Recover Latent Energy of High Temperature Condensate | 312
Boilers | 3 | Replace Electric Heater/Humidifier with Steam Heater/Humidifier | 313
Boilers | 3 | Replace Electric Motor with Non-Condensing Steam Turbine | 314
Boilers | 3 | Repalce Inefficient Electric Water Chiller with Steam Absorbtion Chiller | 315
Boilers | 3 | Replace Insulation/Refractory | 316
Boilers | 3 | Replace Pressure Reducing Valve with Non-Condensing Steam Turbine Genst | 317
Boilers | 3 | Add Superheater and Steam Turbine Genset | 318
Boilers | 3 | Replace Central Boiler Plant with Distributed Boilers/Heaters | 319
Boilers | 3 | Refrigerant Condensation Heat Recovery/Process Feedwater Heating | 320
Boilers | 3 | Latent Flue Gas Heat Recovery/Process Feedwater Preheating | 321
Boilers | 3 | Combination | 398
Boilers | 3 | Other | 399
Chillers | 4 | VFDs on Cooling Tower Fans | 401
Chillers | 4 | VFD(s) on Secondary Pump(s) | 402
Chillers | 4 | VFD(s) on Condenser Water Pump(s) | 403
Chillers | 4 | Chilled Water Reset | 404
Chillers | 4 | Sequencing & CHWS Secondary Control | 405
Chillers | 4 | Condenser Water Reset | 406
Chillers | 4 | Chiller Replacement (Constant Speed) | 407
Chillers | 4 | Chiller Replacement (Variable Speed) | 408
Chillers | 4 | Chiller Replacement (Absorption) | 409
Chillers | 4 | Chiller Replacement (Engine Driven) | 410
Chillers | 4 | Chiller Retrofit with VFD | 411
Chillers | 4 | Convert Air Cooled Chillers to Water Cooled | 412
Chillers | 4 | Convert DX cooling to Chilled Water | 413
Chillers | 4 | Eliminate Hot-Gas-Bypass or etc. | 414
Chillers | 4 | Cross Connect Multiple CPs to one Central Plant | 415
Chillers | 4 | Convert Primary only Const. Vol. To Prim/Sec Variable | 416
Chillers | 4 | Convert Primary only Const. Vol. To Variable Volume | 417
Chillers | 4 | Split Process CHW from Building CHW | 418
Chillers | 4 | Isolate CHW Sections when not in Service | 419
Chillers | 4 | Rebalance Water System | 420
Chillers | 4 | Plate & Frame HX | 421
Chillers | 4 | Refrigerant Migration (free cooling) | 422
Chillers | 4 | Injector Cycle Cooling from Tower | 423
Chillers | 4 | Heat Recovery from Absorption Chiller | 424
Chillers | 4 | Heat Recovery from Engine Driven Chiller | 425
Chillers | 4 | Heat Recovery from Electric Chiller | 426
Chillers | 4 | Thermal Energy Storage (Water) | 427
Chillers | 4 | Thermal Energy Storage (Ice) | 428
Chillers | 4 | Cooling Tower Replacement | 429
Chillers | 4 | Cooling Tower Rebuild (fill replacement) | 430
Chillers | 4 | Install Tower to Eliminate once through Chiller Cooling | 431
Chillers | 4 | Eliminate Tower by-pass as CW Temperature Control | 432
Chillers | 4 | Install Auto Tube Cleaning System on Chiller Condenser | 433
Chillers | 4 | VFDs on Primary Pumps | 434
Chillers | 4 | Pump Replacement | 435
Chillers | 4 | Pump Impeller Trim | 436
Chillers | 4 | Tower Water Treatement | 437
Chillers | 4 | CHW System Water Treatment | 438
Chillers | 4 | Zero Emmissions Purge on Chiller | 439
Chillers | 4 | Tower blow-down Control with TDS Monitor | 440
Chillers | 4 | Clean Tower | 441
Chillers | 4 | Clean Chiller Evaporator & Condenser | 442
Chillers | 4 | Combination | 498
Chillers | 4 | Other | 499
Compressed Air | 5 | Install/Upgrade System Control | 501
Compressed Air | 5 | Reduce Compressor Operating Pressure | 502
Compressed Air | 5 | Reduce Plant Operating Pressure w/ Controls | 503
Compressed Air | 5 | Implement Air Leak Management Program | 504
Compressed Air | 5 | Install/Operate Equipment Matching Shift Demands | 505
Compressed Air | 5 | Install Separate Equipment for Extreme Demand | 506
Compressed Air | 5 | Heat Recovery | 507
Compressed Air | 5 | Outside Air intake for compressors | 508
Compressed Air | 5 | Replace ineffective/inefficient drying equipment | 509
Compressed Air | 5 | Replace ineffective/inefficient cooling equipment | 510
Compressed Air | 5 | Combination | 598
Compressed Air | 5 | Other | 599
Packaged Units | 6 | Night Setback/Setup,Deadband, Night Ventilation Control and Fan Cycling(General Controls) | 601
Packaged Units | 6 | Dry Bulb Economizer | 602
Packaged Units | 6 | Enthalpy Economizer | 603
Packaged Units | 6 | CO2 Ventilation Control | 616
Packaged Units | 6 | Heat Recovery Media | 604
Packaged Units | 6 | Clean and Charge | 605
Packaged Units | 6 | Replace w/ High Efficiency Unit | 606
Packaged Units | 6 | Convert Dump Damper to VFD | 607
Packaged Units | 6 | Rebalance and Reduce air flow | 608
Packaged Units | 6 | LPA | 609
Packaged Units | 6 | Electronic Expansion Valve | 610
Packaged Units | 6 | Schedule Change | 611
Packaged Units | 6 | Refrigerant Subcooler | 612
Packaged Units | 6 | Evap Condenser Retrofit | 613
Packaged Units | 6 | Refrigerant Oil Additives | 614
Packaged Units | 6 | Retrofit air cooled to water cooled | 615
Packaged Units | 6 | Combination | 698
Packaged Units | 6 | Other | 699
Air Distribution | 7 | Optimized start stop of air handling units | 701
Air Distribution | 7 | Night Setback/Setup,Deadband, Night Ventilation Control and Fan Cycling(General Controls) | 702
Air Distribution | 7 | Redesign/Balance to Meet Changed Zone Needs | 703
Air Distribution | 7 | Run-around Heat Recovery Coil System | 704
Air Distribution | 7 | Retrofit CAV w/ zone isolation & Variable Speed Drive | 705
Air Distribution | 7 | VAV Conversion of CV system | 706
Air Distribution | 7 | Replace inlet guide vanes, discharge dampers, or dump dampers with VFD | 707
Air Distribution | 7 | Dry Bulb Economizer | 709
Air Distribution | 7 | Enthalpy Economizer | 710
Air Distribution | 7 | CO2 Ventilation Control | 711
Air Distribution | 7 | Control Retrofit Other | 712
Air Distribution | 7 | Clean, repair, or replace | 713
Air Distribution | 7 | Combination | 798
Air Distribution | 7 | Other | 799
Commissioning | 8 | Other | 899
Water Treatement | 9 | Descale Cooling Towers | 901
Water Treatement | 9 | On-going water treatment | 902
Water Treatement | 9 | Combination | 998
Water Treatement | 9 | Other | 999
Electrical Systems | 10 | Power-Factor Correction | 1001
Electrical Systems | 10 | Voltage Buy-up | 1002
Electrical Systems | 10 | Power Quality | 1003
Electrical Systems | 10 | High Efficiency Harmonic Reduction Transformers | 1004
Electrical Systems | 10 | Combination | 1098
Electrical Systems | 10 | Other | 1099
Motors | 11 | Variable Frequency Drives | 1101
Motors | 11 | Sheave Replacement | 1102
Motors | 11 | PE Motors | 1103
Motors | 11 | Cogged Belts | 1104
Motors | 11 | Motor controllers | 1105
Motors | 11 | Combination | 1198
Motors | 11 | Other | 1199
Generation | 12 | Other | 1299
Maintenance Measures | 13 | Other | 1399
Industrial Processes | 14 | Exhaust Heat Recovery/Combustion Air Preheating for Ovens, Furnaces, Etc. | 1401
Industrial Processes | 14 | Exhaust Heat Revovery/Steam Generation for Ovens, Furnaces, Etc. | 1402
Industrial Processes | 14 | Exhaust Heat Recovery/Cascade to 2nd Process for Ovens, Furnaces, Etc. | 1403
Industrial Processes | 14 | Exhaust Heat Recovery/Solid or Liquid Feed Preheating for Ovens, Furnaces, Etc. | 1404
Industrial Processes | 14 | Exhaust Heat Recovery/Steam & Power Generation for Ovens, Furnaces, Etc. | 1405
Industrial Processes | 14 | Exhaust Heat Recovery/ Steam and Chilled Water Generation for Ovens, Furnaces, Etc. | 1406
Industrial Processes | 14 | Oxygen Boost for Ovens, Furnaces, Etc. | 1407
Industrial Processes | 14 | Automatic Oxygen/Excess Air Trim for Ovens, Furnaces, Etc. | 1408
Industrial Processes | 14 | Recuperative Burners for Ovens, Furnaces, Etc. | 1409
Industrial Processes | 14 | Replacement Oven, Furnace, Etc. with Higher Efficiency | 1410
Industrial Processes | 14 | Replace Incinerator with Catalytic Absorber | 1411
Industrial Processes | 14 | Replace Forced-Air Heater with Steam or High. Temperature Oil Heat Exchanger | 1412
Industrial Processes | 14 | Shut-Down/Set-Back Temperatures during Idle Periods for Ovens, Furnaces, Etc. | 1413
Industrial Processes | 14 | Combination | 1498
Industrial Processes | 14 | Other | 1499
Building Automation | 15 | Other | 1599
Building Envelope | 50 | Increase Insulation | 5001
Building Envelope | 50 | Window Tinting | 5002
Building Envelope | 50 | Window Shades | 5003
Building Envelope | 50 | High Performance Windows | 5004
Building Envelope | 50 | Combination | 5098
Building Envelope | 50 | Other | 5099
Other | 99 | Other | 9999

## Projects by Deal
Totals by Deal (Desk Approved Projects)
Customer | SIC Code | Tech Code | Technology | # of Projects
BICCGeneral | 33 | 1 | Lighting | 9
BICCGeneral | 33 | 2 | Refrigeration | 4
BICCGeneral | 33 | 3 | Boilers | 1
BICCGeneral | 33 | 4 | Chillers | 6
BICCGeneral | 33 | 5 | Compressed Air | 6
BICCGeneral | 33 | 6 | Packaged Units | 2
BICCGeneral | 33 | 7 | Air Distribution | 1
BICCGeneral | 33 | 9 | Water Treatement | 1
General Cable | 33 |  | Unspecified | 1
General Cable | 33 | 1 | Lighting | 10
General Cable | 33 | 2 | Refrigeration | 1
General Cable | 33 | 3 | Boilers | 1
General Cable | 33 | 4 | Chillers | 4
General Cable | 33 | 5 | Compressed Air | 4
General Cable | 33 | 6 | Packaged Units | 1
General Cable | 33 | 7 | Air Distribution | 1
General Cable | 33 | 10 | Electrical Systems | 2
General Cable | 33 | 14 | Industrial Processes | 2
Infomart | 67 | 1 | Lighting | 1
Infomart | 67 | 4 | Chillers | 2
Infomart | 67 | 7 | Air Distribution | 1
Infomart | 67 | 11 | Motors | 2
Macerich | 65 | 1 | Lighting | 9
Macerich | 65 | 6 | Packaged Units | 4
Macerich | 65 | 11 | Motors | 1
Molded Fiber Glass | 30 | 1 | Lighting | 9
Molded Fiber Glass | 30 | 3 | Boilers | 7
Molded Fiber Glass | 30 | 5 | Compressed Air | 5
Molded Fiber Glass | 30 | 6 | Packaged Units | 1
Molded Fiber Glass | 30 | 11 | Motors | 2
Molded Fiber Glass | 30 | 13 | Maintenance Measures | 1
Molded Fiber Glass | 30 | 14 | Industrial Processes | 7
Ocean Spray | 20 | 1 | Lighting | 4
Ocean Spray | 20 | 2 | Refrigeration | 1
Ocean Spray | 20 | 3 | Boilers | 10
Ocean Spray | 20 | 4 | Chillers | 2
Ocean Spray | 20 | 5 | Compressed Air | 6
Ocean Spray | 20 | 9 | Water Treatement | 1
Ocean Spray | 20 | 10 | Electrical Systems | 1
Ocean Spray | 20 | 11 | Motors | 2
Ocean Spray | 20 | 14 | Industrial Processes | 2
Ocean Spray | 20 | 50 | Building Envelope | 3
Ocean Spray | 20 | 99 | Other | 1
Owens Corning | 32 | 1 | Lighting | 14
Owens Corning | 32 | 3 | Boilers | 8
Owens Corning | 32 | 4 | Chillers | 5
Owens Corning | 32 | 5 | Compressed Air | 17
Owens Corning | 32 | 6 | Packaged Units | 2
Owens Corning | 32 | 10 | Electrical Systems | 1
Owens Corning | 32 | 11 | Motors | 8
Owens Corning | 32 | 14 | Industrial Processes | 9
Owens Corning | 32 | 15 | Building Automation | 1
Owens Corning | 32 | 99 | Other | 2
Packaged Ice | 20 | 1 | Lighting | 23
Packaged Ice | 20 | 2 | Refrigeration | 60
Packaged Ice | 20 | 4 | Chillers | 10
Packaged Ice | 20 | 6 | Packaged Units | 8
Packaged Ice | 20 | 9 | Water Treatement | 18
Packaged Ice | 20 | 11 | Motors | 7
Packaged Ice | 20 | 13 | Maintenance Measures | 1
Packaged Ice | 20 | 14 | Industrial Processes | 4
Packaged Ice | 20 | 15 | Building Automation | 1
Packaged Ice | 20 | 50 | Building Envelope | 1
Packaged Ice | 20 | 99 | Other | 2
Polaroid | 38 | 1 | Lighting | 11
Polaroid | 38 | 4 | Chillers | 5
Polaroid | 38 | 5 | Compressed Air | 1
Polaroid | 38 | 7 | Air Distribution | 1
Polaroid | 38 | 11 | Motors | 9
Polaroid | 38 | 12 | Generation | 1
Polaroid | 38 | 14 | Industrial Processes | 1
Polaroid | 38 | 15 | Building Automation | 1
Ridge Tools | 39 | 1 | Lighting | 6
Ridge Tools | 39 | 4 | Chillers | 1
Ridge Tools | 39 | 5 | Compressed Air | 3
Ridge Tools | 39 | 6 | Packaged Units | 1
Ridge Tools | 39 | 14 | Industrial Processes | 1
Simon | 65 | 1 | Lighting | 57
Simon | 65 | 4 | Chillers | 18
Simon | 65 | 6 | Packaged Units | 12
Simon | 65 | 7 | Air Distribution | 4
Simon | 65 | 8 | Commissioning | 1
Simon | 65 | 11 | Motors | 1
Simon | 65 | 15 | Building Automation | 33
Simon | 65 | 99 | Other | 1
Springs Industries | 23 | 1 | Lighting | 15
Springs Industries | 23 | 3 | Boilers | 3
Springs Industries | 23 | 4 | Chillers | 1
Springs Industries | 23 | 5 | Compressed Air | 1
Springs Industries | 23 | 9 | Water Treatement | 1
Springs Industries | 23 | 11 | Motors | 1
Springs Industries | 23 | 14 | Industrial Processes | 1
Starwood | 70 | 1 | Lighting | 1
Starwood | 70 | 3 | Boilers | 1
Starwood | 70 | 4 | Chillers | 1
Starwood | 70 | 10 | Electrical Systems | 1
Starwood | 70 | 11 | Motors | 2
Starwood | 70 | 12 | Generation | 2
Starwood | 70 | 14 | Industrial Processes | 1
Starwood | 70 | 99 | Other | 8
Suiza | 20 | 1 | Lighting | 46
Suiza | 20 | 2 | Refrigeration | 35
Suiza | 20 | 3 | Boilers | 28
Suiza | 20 | 4 | Chillers | 6
Suiza | 20 | 5 | Compressed Air | 54
Suiza | 20 | 6 | Packaged Units | 2
Suiza | 20 | 10 | Electrical Systems | 2
Suiza | 20 | 11 | Motors | 11
Suiza | 20 | 12 | Generation | 1
Suiza | 20 | 14 | Industrial Processes | 39
Suiza | 20 | 50 | Building Envelope | 6
Suiza | 20 | 99 | Other | 4
Tyco Healthcare Group | 80 | 1 | Lighting | 21
Tyco Healthcare Group | 80 | 2 | Refrigeration | 1
Tyco Healthcare Group | 80 | 3 | Boilers | 9
Tyco Healthcare Group | 80 | 4 | Chillers | 18
Tyco Healthcare Group | 80 | 5 | Compressed Air | 19
Tyco Healthcare Group | 80 | 6 | Packaged Units | 3
Tyco Healthcare Group | 80 | 9 | Water Treatement | 2
Tyco Healthcare Group | 80 | 10 | Electrical Systems | 2
Tyco Healthcare Group | 80 | 11 | Motors | 11
Tyco Healthcare Group | 80 | 14 | Industrial Processes | 4
Tyco Healthcare Group | 80 | 15 | Building Automation | 3
Tyco Healthcare Group | 80 | 50 | Building Envelope | 1
UC/CSU | 82 | 1 | Lighting | 1
UC/CSU | 82 | 99 | Other | 1
World Color Press-Quebecor | 27 | 1 | Lighting | 69
World Color Press-Quebecor | 27 | 3 | Boilers | 8
World Color Press-Quebecor | 27 | 4 | Chillers | 20
World Color Press-Quebecor | 27 | 5 | Compressed Air | 17
World Color Press-Quebecor | 27 | 6 | Packaged Units | 7
World Color Press-Quebecor | 27 | 7 | Air Distribution | 2
World Color Press-Quebecor | 27 | 10 | Electrical Systems | 6
World Color Press-Quebecor | 27 | 11 | Motors | 8
World Color Press-Quebecor | 27 | 14 | Industrial Processes | 2
World Color Press-Quebecor | 27 | 15 | Building Automation | 2