## 60 MW
Pueblo 60 MW CC
EPC Price
(Million $)
Item |  |  |  | Total | %
GE LM-2500 Gas Turbine Generator | 3 | @ | 9 | 27
Chiller / Evaporative Cooler | 0 | @ | 0 | 0 |  | none
Steam Turbine Generator | 1 | @ | 3.4 | 3.4 |  | 22 MW
Heat Recovery Steam Generator | 3 | @ | 2.6 | 7.8
Power Island |  |  |  | 38.2 | 52.9344
Mechanical BOP
Condensers |  |  |  | 0.4 | 0.55429
Pumps |  |  |  | 0.6 | 0.83143
Cooling Tower |  |  |  | 0.5 | 0.69286
Water Treatment |  |  |  | 0.5 | 0.69286
SCR |  |  |  | 0 | 0 | assume not required
Gas Compressor |  |  |  | 0 | 0 | assume not required
Auxiliary Boiler |  |  |  | 0 | 0
Miscellaneous |  |  |  | 0.7 | 0.97
Instrumentation & Controls |  |  |  | 0.8 | 1.1086 | CEMs $0.5mm
Electrical BOP |  |  |  | 1.3 | 1.8014
Switchyard |  |  |  | 2 | 2.7714 | $1mm allowance
Storage Tanks |  |  |  | 0.5 | 0.69286
Total Equipment |  |  |  | 45.5 | 63.0502
Turnkey Equipment Margin |  |  | 5 | 2.275 | 3.1525
Buildings |  |  |  | 0.4 | 0.55429
Engineering |  |  |  | 2.5 | 3.4643
Project Management |  |  |  | 5 | 6.9286
Start-up |  |  |  | 1.2 | 1.6629
Installation
Direct |  |  |  | 9.93 | 13.7602
Indirect |  |  |  | 2.5818 | 3.5776
Construction Profit |  |  | 14 | 1.3902 | 1.9264
Subtotal Installation |  |  |  | 13.902 | 19.2643
Contingency |  |  | 2 | 1.3877 | 1.923
Contractor's Price |  |  |  | 72.1647 | 100
MW Output |  |  |  | 73.4
$ per KW |  |  |  | 983.1708