## Schedule of Purchase Power
Resource | Amount MW | Hour Limitation | Reliability | Term | Delivery Point | Scheduling | Minimum Delivery
SEPA | 11 | 1500 |  | None | Into Entergy | 1. Submit annual schedule by June 20 2. Monthly breakdown (by week) 10 days prior to beginning of month 3. Weekly breakdown (by hour) by preceding Wednesday
Cajun | 7 | NA | Firm System Capacity (as firm as native load) | 2010-05-31 | Into Entergy | Week ahead by COB Thursday Hourly changes with approval | At least 25% of contract capacity
EPI-Isis | 7 | NA | Unit Contingent, Transmission Contingent | 2010-05-31 | Into Entergy | 16 hours in advance
EPI-Ritchie | 1 | NA | Unit Contingent, Transmission Contingent | 2010-05-31 | Into Entergy | 16 hours in advance