## Quick Facts
Ontario Statistics
Percentage by Fuel Type (by nameplate capacity)
Hydro | 26.35%
Nuclear | 31.81%
Coal-fired | 27.55%
Natural Gas & Resid Oil | 7.8%
NUG Units | 6.484%
100%
Percentage by Ownership
Bruce Power | 11.44%
Ontario Power Generation | 82.07%
NUG Ownership | 6.484%
100%
Interconnection | limits out of Ontario | limits into of Ontario
Manitoba | 240 | 240
Minnesota | 150 | 100
Quebec North | 120 | 65
Quebec South | 800 | 1200
New York East | 400 | 400
New York Niagara - Winter | 2100 | 1790
New York Niagara - Summer | 2070 | 1480
Michigan - Winter | 2180 | 1490
MIchigan - Summer | 1970 | 1390
Totals
Summers | 5750 | 4875
Winters | 5990 | 5285
Year Round Average | 5870 | 5080
Source: IMO 18-month outlook, IMO 10yr Outlook

## Stack
PlantUnitID | PlantUnitName | OwnerName | OwnerShare | NPCC Region | Fuel_Designation | HeatRate | Emis.Report | Capacity_Winter | Capacity_Summer | Derating or Outage (MW) | Expected Winter Capacity (MW) | Expected Summer Capacity (MW) | Status | In-Service Date | Date Out | Date In
1 | Bruce A | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 769 | 769 | 769 | 0 | 0 | Laid Up October 16th 1997 | 1977-09-01 | 1997-10-16
2 | Bruce A | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 769 | 769 | 769 | 0 | 0 | Laid Up October 8th 1995 | 1977-09-01 | 1995-10-08
3 | Bruce A | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 769 | 769 | 769 | 0 | 0 | Laid Up April 9th 1998 | 1978-02-01 | 1998-04-09
4 | Bruce A | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 769 | 769 | 769 | 0 | 0 | Laid Up March 16th 1998 | 1979-01-18 | 1998-03-16
1 | Bruce B | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 785 | 785 | 0 | 785 | 785 |  | 1985-03-01
2 | Bruce B | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 785 | 785 | 0 | 785 | 785 |  | 1984-09-14
3 | Bruce B | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 785 | 785 | 0 | 785 | 785 |  | 1986-04-10
4 | Bruce B | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 785 | 785 | 0 | 785 | 785 |  | 1987-05-22
1 | Pickering A | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 515 | 515 | 515 | 0 | 0 | Laid Up December 27th 1997 | 1971-07-29 | 1997-12-27 | 2002-06-01
2 | Pickering A | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 515 | 515 | 515 | 0 | 0 | Laid Up December 29th 1997 | 1971-12-30 | 1997-12-29 | 2002-12-01
3 | Pickering A | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 515 | 515 | 515 | 0 | 0 | Laid Up December 27th 1997 | 1972-06-01 | 1997-12-27 | 2003-06-01
4 | Pickering A | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 515 | 515 | 515 | 0 | 0 | Laid Up December 31th 1997 | 1973-06-17 | 1997-12-31 | 2003-12-01
1 | Pickering B | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 516 | 516 | 0 | 516 | 516 |  | 1983-05-10
2 | Pickering B | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 516 | 516 | 0 | 516 | 516 |  | 1984-02-01
3 | Pickering B | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 516 | 516 | 0 | 516 | 516 |  | 1985-01-01
4 | Pickering B | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 516 | 516 | 0 | 516 | 516 |  | 1986-02-28
1 | Darlington | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 881 | 881 | 0 | 881 | 881 |  | 1992-11-14
2 | Darlington | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 881 | 881 | 0 | 881 | 881 |  | 1990-10-09
3 | Darlington | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 881 | 881 | 0 | 881 | 881 |  | 1993-02-14
4 | Darlington | Ontario Power Generation | 100 | ONT - East | Nuke | 0 |  | 881 | 881 | 0 | 881 | 881 |  | 1993-06-14
1 | Lambton | Ontario Power Generation | 100 | ONT - East | Low & Mid-Sulpher Coal | 9421 | 9549 | 485 | 485 | 0 | 485 | 485 |  | 1969-01-01
2 | Lambton | Ontario Power Generation | 100 | ONT - East | Low & Mid-Sulpher Coal | 9421 | 9549 | 485 | 485 | 0 | 485 | 485 |  | 1969-01-01 | 30%
3 | Lambton | Ontario Power Generation | 100 | ONT - East | Low & Mid-Sulpher Coal | 9550 | 9549 | 493.75 | 493.75 | 0 | 493.75 | 493.75 | Equiped with SO2 scrubbers (Flue Gas) | 1969-01-01
4 | Lambton | Ontario Power Generation | 100 | ONT - East | Low & Mid-Sulpher Coal | 9550 | 9549 | 493.75 | 493.75 | 0 | 493.75 | 493.75 | Equiped with SO2 scrubbers (Flue Gas) | 1969-01-01
1 | Nanticoke | Ontario Power Generation | 100 | ONT - East | Low-Sulpher Coal | 9475 | 9556 | 490 | 490 | 0 | 490 | 490 | Low Nox, Install SCR when? | 1972-01-01
2 | Nanticoke | Ontario Power Generation | 100 | ONT - East | Low-Sulpher Coal | 9475 | 9556 | 490 | 490 | 0 | 490 | 490 | Low Nox, Install SCR when? | 1972-01-01
3 | Nanticoke | Ontario Power Generation | 100 | ONT - East | Low-Sulpher Coal | 9475 | 9556 | 490 | 490 | 0 | 490 | 490 | Low Nox | 1972-01-01
4 | Nanticoke | Ontario Power Generation | 100 | ONT - East | Low-Sulpher Coal | 9475 | 9556 | 490 | 490 | 0 | 490 | 490 | Low Nox | 1972-01-01
5 | Nanticoke | Ontario Power Generation | 100 | ONT - East | Low-Sulpher Coal | 9475 | 9556 | 490 | 490 | 0 | 490 | 490 | Low Nox | 1972-01-01
6 | Nanticoke | Ontario Power Generation | 100 | ONT - East | Low-Sulpher Coal | 9475 | 9556 | 490 | 490 | 0 | 490 | 490 | Low Nox | 1972-01-01
7 | Nanticoke | Ontario Power Generation | 100 | ONT - East | Low-Sulpher Coal | 9475 | 9556 | 490 | 490 | 0 | 490 | 490 | Low Nox | 1972-01-01
8 | Nanticoke | Ontario Power Generation | 100 | ONT - East | Low-Sulpher Coal | 9475 | 9556 | 490 | 490 | 0 | 490 | 490 | Low Nox | 1972-01-01
1 | Lakeview | Ontario Power Generation | 100 | ONT - East | Low-Sulpher Coal | 9385 | 10241 | 285 | 285 | 0 | 285 | 285 | low Nox install 2001 | 1962-01-01
2 | Lakeview | Ontario Power Generation | 100 | ONT - East | Low-Sulpher Coal | 9385 | 10241 | 285 | 285 | 0 | 285 | 285 | low Nox install 2001 | 1962-01-01
5 | Lakeview | Ontario Power Generation | 100 | ONT - East | Low-Sulpher Coal | 9685 | 10241 | 285 | 285 | 0 | 285 | 285 | Low Nox commissioned 2001 | 1962-01-01
6 | Lakeview | Ontario Power Generation | 100 | ONT - East | Low-Sulpher Coal | 9685 | 10241 | 285 | 285 | 0 | 285 | 285 | Low Nox commissioned 2001 | 1962-01-01
1 | Lennox | Ontario Power Generation | 100 | ONT - East | Gas & Resid Oil | 9168 | 10241 | 535 | 535 | 0 | 535 | 535 |  | 1976-01-01
2 | Lennox | Ontario Power Generation | 100 | ONT - East | Gas & Resid Oil | 9168 | 10241 | 535 | 535 | 0 | 535 | 535 |  | 1976-01-01
3 | Lennox | Ontario Power Generation | 100 | ONT - East | Gas & Resid Oil | 9168 | 10241 | 535 | 535 | 0 | 535 | 535 |  | 1976-01-01
4 | Lennox | Ontario Power Generation | 100 | ONT - East | Gas & Resid Oil | 9168 | 10241 | 535 | 535 | 0 | 535 | 535 |  | 1976-01-01
1 | ThunderBay | Ontario Power Generation | 100 | ONT - West | Low-Sulpher Coal - Can | 9956 | 10061 | 155 | 155 | 0 | 155 | 155 |  | 1963-01-01 | 70%
2 | ThunderBay | Ontario Power Generation | 100 | ONT - West | Low-Sulpher Coal - Can | 9956 | 10061 | 155 | 155 | 0 | 155 | 155 |  | 1982-01-01
1 | Atikokan | Ontario Power Generation | 100 | ONT - West | Low-Sulpher Coal - Can | 9833 | 10056 | 215 | 215 | 0 | 215 | 215 |  | 1985-01-01
1 | Sir Adam Beck | Ontario Power Generation | 100 | ONT - East | Hydro | 0 |  | 496 | 496 | 0 | 496 | 496 | 10 units
2 | Sir Adam Beck | Ontario Power Generation | 100 | ONT - East | Hydro | 0 |  | 1360 | 1360 | 0 | 1360 | 1360 | 16 units
PGS | Sir Adam Beck | Ontario Power Generation | 100 | ONT - East | Hydro | 0 |  | 174 | 174 | 0 | 174 | 174 | 6 units
1 | RH Saunders | Ontario Power Generation | 100 | ONT - East | Hydro | 0 |  | 1005 | 1005 | 0 | 1005 | 1005 | 16 units
1 | Abitibi Canyon | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 314 | 314 | 0 | 314 | 314 | 5
1 | Aquasabon | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 46 | 46 | 0 | 46 | 46 | 2
1 | Alexander | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 67 | 67 | 0 | 67 | 67 | 5
1 | Arnprior | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 82 | 82 | 0 | 82 | 82 | 2
1 | Aubrey Falls | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 162 | 162 | 0 | 162 | 162 | 2
1 | Barrett Chute | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 176 | 176 | 0 | 176 | 176 | 4
1 | Cameron Falls | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 78 | 78 | 0 | 78 | 78 | 7
1 | Caribou Falls | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 87 | 87 | 0 | 87 | 87 | 3
1 | Chats Falls | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 96 | 96 | 0 | 96 | 96 | 4
1 | Chenaux | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 139 | 139 | 0 | 139 | 139 | 8
1 | Decew Falls 1 | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 23 | 23 | 0 | 23 | 23 | 4
1 | Decew Falls 2 | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 144 | 144 | 0 | 144 | 144 | 2
1 | Des Joachims | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 429 | 429 | 0 | 429 | 429 | 8
1 | Ear Falls | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 17 | 17 | 0 | 17 | 17 | 4
1 | GW Raynor | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 46 | 46 | 0 | 46 | 46 | 2
1 | Harmon | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 141 | 141 | 0 | 141 | 141 | 2
1 | Kakabeka Falls | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 25 | 25 | 0 | 25 | 25 | 4
1 | Kipling | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 141 | 141 | 0 | 141 | 141 | 2
1 | Little Long | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 133 | 133 | 0 | 133 | 133 | 2
1 | Lower Notch | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 274 | 274 | 0 | 274 | 274 | 2
1 | Manitopu Falls | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 66 | 66 | 0 | 66 | 66 | 5
1 | Mountain Chute | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 170 | 170 | 0 | 170 | 170 | 2
1 | Otter Rapids | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 182 | 182 | 0 | 182 | 182 | 4
1 | Otto Holden | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 243 | 243 | 0 | 243 | 243 | 8
1 | Pine Portage | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 131 | 131 | 0 | 131 | 131 | 4
1 | Red Rock Falls | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 41 | 41 | 0 | 41 | 41 | 2
1 | Silver Falls | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 48 | 48 | 0 | 48 | 48 | 1
1 | Smoky Falls | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 56 | 56 | 0 | 56 | 56 | 4
1 | Stewartville | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 182 | 182 | 0 | 182 | 182 | 5
1 | wells | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 232 | 232 | 0 | 232 | 232 | 2
1 | Whitedog Falls | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 68 | 68 | 0 | 68 | 68 | 3
1 | Small Hydro | Ontario Power Generation | 100 | ONT | Hydro | 0 |  | 156 | 156 | 0 | 156 | 156 | 86
1 | NUGS K | Ontario Power Generation | 100 | ONT | Gas |  |  | 1766 | 1766 | 0 | 1766 | 1766
[8 empty] | 32542.5 | 32542.5 |  | 27406.5 | 27406.5

## Average Load
Monthly average load by area | [9 empty] | Year on Year Change
| Data | [8 empty] | Load Growth
Month & Year | Total Ontario (MW) | Northwest | Northeast | East-Central | Middleport | Niagara | Southwest | Unallocated * |  | Total Ontario (MW) | Northwest | Northeast | East-Central | Middleport | Niagara | Southwest | Unallocated *
1998-01-01 | 17399.168 | 964.3938 | 1576.0578 | 8948.2419 | 3293.5968 | 717.543 | 1827.9462 | 71.6156 | 1998-01-01
1998-02-01 | 17007.189 | 925.2827 | 1525.6443 | 8710.256 | 3247.9077 | 704.6577 | 1765.2753 | 128.4077 | 1998-02-01
1998-03-01 | 16683.2688 | 919.2863 | 1436.1989 | 8519.3871 | 3202.1196 | 698.2016 | 1776.9758 | 131.3602 | 1998-03-01
1998-04-01 | 15120.0583 | 855.4222 | 1288.8458 | 7613.2583 | 2912.5153 | 658.625 | 1660.2958 | 131.3458 | 1998-04-01
1998-05-01 | 15142.1129 | 828.1734 | 1229.9449 | 7644.7917 | 2899.2097 | 671.7231 | 1716.5645 | 151.957 | 1998-05-01
1998-06-01 | 16244.9917 | 761.1472 | 1167.5903 | 8389.2444 | 3153.7528 | 705.1819 | 1915.9625 | 152.3611 | 1998-06-01
1998-07-01 | 16218.8266 | 696.2352 | 1029.3038 | 8550.2836 | 3090.711 | 729.6142 | 1953.6519 | 169.25 | 1998-07-01
1998-08-01 | 16705.2097 | 694.2339 | 1205.7151 | 8626.4879 | 3258.0632 | 730.6398 | 2037.3454 | 152.9718 | 1998-08-01
1998-09-01 | 15649.9528 | 684.9931 | 1222.4403 | 8024.4347 | 3035.9556 | 656.9347 | 1875.5431 | 149.8778 | 1998-09-01
1998-10-01 | 15045.0094 | 711.3656 | 1268.3871 | 7758.1559 | 2814.2003 | 642.3831 | 1693.3642 | 157.293 | 1998-10-01
1998-11-01 | 16230.3542 | 815.8 | 1345.1542 | 8390.3597 | 3072.2833 | 680.2222 | 1780.1417 | 146.4069 | 1998-11-01
1998-12-01 | 16686.7849 | 898.2204 | 1352.9556 | 8699.9113 | 3134.9516 | 661.457 | 1815.746 | 123.547 | 1998-12-01
1999-01-01 | 18251.1237 | 966.7231 | 1517.6263 | 9612.5901 | 3353.6022 | 772.6438 | 1926.8374 | 101.1102 | 1999-01-01 | 4.897% | 0.2415% | -3.707% | 7.424% | 1.822% | 7.679% | 5.41% | 41.18%
1999-02-01 | 17419.3452 | 957.067 | 1390.0655 | 9153.814 | 3220.3661 | 758.6086 | 1865.2753 | 74.1979 | 1999-02-01 | 2.423% | 3.435% | -8.887% | 5.092% | -0.848% | 7.656% | 5.665% | -42.22%
1999-03-01 | 16913.6559 | 902.8199 | 1367.7419 | 8870.2917 | 3137.125 | 739.8051 | 1851.7728 | 44.1519 | 1999-03-01 | 1.381% | -1.791% | -4.767% | 4.119% | -2.03% | 5.959% | 4.209% | -66.39%
1999-04-01 | 15211.6361 | 849.4028 | 1220.8986 | 7915.5347 | 2856.3722 | 667.9167 | 1675.9556 | 25.5639 | 1999-04-01 | 0.6057% | -0.7037% | -5.272% | 3.97% | -1.928% | 1.411% | 0.9432% | -80.54%
1999-05-01 | 14955.3333 | 767.9113 | 1239.0645 | 7718.6277 | 2842.6855 | 643.6008 | 1687.9704 | 55.4489 | 1999-05-01 | -1.234% | -7.277% | 0.7415% | 0.9658% | -1.95% | -4.187% | -1.666% | -63.51%
1999-06-01 | 16912.6889 | 816.5333 | 1188.6944 | 8917.925 | 3225.1194 | 739.5764 | 1969.4181 | 55.3958 | 1999-06-01 | 4.11% | 7.277% | 1.807% | 6.302% | 2.263% | 4.877% | 2.79% | -63.64%
1999-07-01 | 17568.1519 | 828.4382 | 999.2581 | 9387.746 | 3450.8306 | 733.0215 | 2124.3925 | 44.4933 | 1999-07-01 | 8.319% | 18.99% | -2.919% | 9.795% | 11.65% | 0.467% | 8.74% | -73.71%
1999-08-01 | 16404.3159 | 867.6344 | 1162.3414 | 8497.5497 | 3201.4341 | 676.0659 | 1930.0134 | 69.2608 | 1999-08-01 | -1.801% | 24.98% | -3.597% | -1.495% | -1.738% | -7.469% | -5.268% | -54.72%
1999-09-01 | 16135.1278 | 833.4833 | 1249.925 | 8341.3222 | 3098.6903 | 691.9097 | 1837.8708 | 81.9222 | 1999-09-01 | 3.1% | 21.68% | 2.248% | 3.949% | 2.066% | 5.324% | -2.009% | -45.34%
1999-10-01 | 15556.8212 | 910.7554 | 1288.8185 | 7995.6438 | 2964.7581 | 653.3884 | 1702.9489 | 40.504 | 1999-10-01 | 3.402% | 28.03% | 1.611% | 3.061% | 5.35% | 1.713% | 0.566% | -74.25%
1999-11-01 | 16450.8278 | 920.4458 | 1365.1972 | 8559.9681 | 3125.3514 | 677.0583 | 1760.0458 | 42.7764 | 1999-11-01 | 1.358% | 12.83% | 1.49% | 2.021% | 1.727% | -0.4651% | -1.129% | -70.78%
1999-12-01 | 17450.0672 | 945.0524 | 1421.8118 | 9140.2782 | 3326.3253 | 687.4328 | 1871.8266 | 57.3387 | 1999-12-01 | 4.574% | 5.214% | 5.089% | 5.062% | 6.105% | 3.927% | 3.089% | -53.59%
2000-01-01 | 18489.922 | 1003.5793 | 1432.9624 | 9738.3266 | 3556.9059 | 697.4745 | 1937.0349 | 123.6425 | 2000-01-01 | 1.308% | 3.812% | -5.579% | 1.308% | 6.062% | -9.729% | 0.5292% | 22.28%
2000-02-01 | 18038.6264 | 983.2586 | 1393.0747 | 9472.25 | 3454.7586 | 711.194 | 1905.8951 | 118.2098 | 2000-02-01 | 3.555% | 2.737% | 0.2165% | 3.479% | 7.278% | -6.25% | 2.178% | 59.32%
2000-03-01 | 16550.6989 | 942.9852 | 1227 | 8571.3024 | 3194.4046 | 679.6223 | 1808.2903 | 127.0699 | 2000-03-01 | -2.146% | 4.449% | -10.29% | -3.371% | 1.826% | -8.135% | -2.348% | 187.8%
2000-04-01 | 15858.1847 | 911.1889 | 1298.5125 | 8051.9694 | 3053.3056 | 683.2792 | 1738.6694 | 121.2597 | 2000-04-01 | 4.25% | 7.274% | 6.357% | 1.724% | 6.895% | 2.3% | 3.742% | 374.3%
2000-05-01 | 15705.6949 | 880.0282 | 1235.3051 | 7993.1828 | 3027.1653 | 661.3065 | 1773.5067 | 135.2003 | 2000-05-01 | 5.017% | 14.6% | -0.3034% | 3.557% | 6.49% | 2.751% | 5.067% | 143.8%
2000-06-01 | 16465.8375 | 871.6667 | 1184.8153 | 8416.7056 | 3225.3361 | 667.0167 | 1959.5417 | 140.7556 | 2000-06-01 | -2.642% | 6.752% | -0.3263% | -5.62% | 0.006718% | -9.811% | -0.5015% | 154.1%
2000-07-01 | 16402.1223 | 889.3952 | 1078.3078 | 8484.3723 | 3232.5282 | 662.3817 | 1914.4798 | 140.6573 | 2000-07-01 | -6.637% | 7.358% | 7.911% | -9.623% | -6.326% | -9.637% | -9.881% | 216.1%
2000-08-01 | 17197.4395 | 873.3024 | 1196.9812 | 8880.4946 | 3307.6223 | 744.3548 | 2038.5941 | 156.0901 | 2000-08-01 | 4.835% | 0.6533% | 2.98% | 4.507% | 3.317% | 10.1% | 5.626% | 125.4%
2000-09-01 | 16355.6583 | 869.3236 | 1192.9264 | 8340.8347 | 3178.2903 | 719.8556 | 1917.6347 | 136.7931 | 2000-09-01 | 1.367% | 4.3% | -4.56% | -0.005844% | 2.569% | 4.039% | 4.34% | 66.98%
2000-10-01 | 15873.3253 | 887.4099 | 1182.1815 | 8108.9099 | 3090.129 | 669.1855 | 1790.2003 | 145.3091 | 2000-10-01 | 2.035% | -2.563% | -8.274% | 1.417% | 4.229% | 2.418% | 5.124% | 258.8%
2000-11-01 | 17122.9125 | 934.0569 | 1310.2347 | 8804.7319 | 3343.8125 | 709.7431 | 1867.2417 | 153.0917 | 2000-11-01 | 4.085% | 1.479% | -4.026% | 2.859% | 6.99% | 4.827% | 6.091% | 257.9%
2000-12-01 | 18609.5995 | 989 | 1540.8374 | 9731.2487 | 3503.3293 | 733.0874 | 1956.3038 | 155.793 | 2000-12-01 | 6.645% | 4.65% | 8.371% | 6.466% | 5.321% | 6.641% | 4.513% | 171.7%
2001-01-01 | 18508.4839 | 975.9839 | 1536.6586 | 9620.3884 | 3529.7191 | 738.1841 | 1963.3952 | 144.1546 | 2001-01-01 | 0.1004% | -2.75% | 7.236% | -1.211% | -0.7643% | 5.837% | 1.361% | 16.59%
2001-02-01 | 18407.0997 | 1001.7574 | 1521.5536 | 9592.8765 | 3470.2515 | 727.0164 | 1943.9241 | 149.7202 | 2001-02-01 | 2.043% | 1.881% | 9.223% | 1.273% | 0.4485% | 2.225% | 1.995% | 26.66%
2001-03-01 | 17468.2849 | 903.5269 | 1402.3414 | 9062.4785 | 3364.9866 | 708.4409 | 1878.1183 | 148.3925 | 2001-03-01 | 5.544% | -4.184% | 14.29% | 5.73% | 5.34% | 4.24% | 3.862% | 16.78%
2001-04-01 | 15701.2514 | 830.625 | 1208.3208 | 8120.4014 | 3021.2306 | 642.6639 | 1715.6042 | 162.4056 | 2001-04-01 | -0.9896% | -8.842% | -6.946% | 0.8499% | -1.051% | -5.944% | -1.327% | 33.93%
2001-05-01 | 15420.7379 | 846.2984 | 1119.0067 | 7986.1519 | 3020.746 | 636.6075 | 1680.5 | 131.4274 | 2001-05-01 | -1.814% | -3.833% | -9.415% | -0.08796% | -0.2121% | -3.735% | -5.244% | -2.791%
2001-06-01 | 17141.1236 | 845.4986 | 1170.1903 | 8973.9431 | 3413.4458 | 723.5361 | 1885.0458 | 129.4639 | 2001-06-01 | 4.101% | -3.002% | -1.234% | 6.621% | 5.832% | 8.473% | -3.802% | -8.022%
2001-07-01 | 16874.1573 | 782.4099 | 1142.5645 | 8858.039 | 3254.1142 | 700.7433 | 1997.7191 | 138.5672 | 2001-07-01 | 2.878% | -12.03% | 5.959% | 4.404% | 0.6678% | 5.791% | 4.348% | -1.486%
2001-08-01 | 18146.9583 | 813.3199 | 1131.582 | 9653.9261 | 3513.7648 | 771.2056 | 2113.7796 | 149.3804 | 2001-08-01 | 5.521% | -6.868% | -5.464% | 8.709% | 6.232% | 3.607% | 3.688% | -4.299%
2001-09-01 | 16224.9097 | 794.6958 | 1231.5319 | 8398.2847 | 3169.5125 | 676.3403 | 1807.4431 | 147.1014 | 2001-09-01 | -0.7994% | -8.585% | 3.236% | 0.6888% | -0.2762% | -6.045% | -5.746% | 7.536%
2001-10-01 | 16103.5067 | 869.6169 | 1250.5403 | 8361.1935 | 3147.3965 | 617.5323 | 1741.0188 | 116.2083 | 2001-10-01 | 1.45% | -2.005% | 5.782% | 3.111% | 1.853% | -7.719% | -2.747% | -20.03%
2001-11-01 | 16674.2847 | 892.5681 | 1262.7333 | 8726.2083 | 3197.5542 | 649.5806 | 1799.4722 | 146.1681 | 2001-11-01 | -2.62% | -4.442% | -3.625% | -0.8918% | -4.374% | -8.477% | -3.629% | -4.523%
Grand Total | 16650.1469 | 870.0532 | 1282.2372 | 8635.4291 | 3195.1243 | 694.0859 | 1854.6518 | 118.6167