## Notes
NOTES
1 | The model shows only an example of the economics for a LM6000 project. Please modify the model for the specific transaction
you are trying to model (Please see the contact list below)
2 | Please double check the model/pages before sending out to clients as certain information/comment cells/notes etc. may be too detailed to be disclosed
3 | All yellow shaded cells are required input cells
4 | Turbine carrying cost are based on assumptions on the WestLB Structure, the numbers may change after 03/15/00
5 | The dispatch template is attached. Please check with Jim Simpson for the required inputs
SOURCES
Source
1 | Federal Tax, Franchise Tax, Sales & Used Tax, NOL |  |  | Patrick Maloy
calculations
2 | 15 year MACRS |  |  | Patrick Maloy
3 | Book Depreciation |  |  | Use GenCo assumption as per Jody Pierce
4 | Fin Fan Cooler |  |  | Bernstein's cost model, calculated by Bruce Golden
5 | No Capacity Degradation for LM 6000 Peaker model |  |  | Bruce Golden
6 | Spread Option Model |  |  | Jim Simpson
7 | Estimated drawdown schedule |  |  | Bruce Golden
8 | Property Tax, State Tax |  |  | Jim Curry
9 | Heat Rate Degradation |  |  | Bruce Golden
CONTACTS
| Subjects | Contacts | Extension
| Model | Clement Lau | x 3-9446
|  | Ben Rogers | x 3-7998
| Turbine/Technical Info | Doug Sewell | x 3-6337
| Engineers | Mike Coleman | x 6-6385
|  | Bruce Golden | x 6-6063
|  | Chris Booth | x 6-7089
| O&M | Scot Chambers | x 6-8371
| Spread Option Model | Jim Simpson | x 3-7202
| Accounting | Jody Pierce | x 5-7405
| Federal Tax, misc. Tax | Mike Fredell | x 3-7022
|  | Matt Gockerman | x 3-3979
|  | Patrick Maloy | x 3-6174
| State/Property Tax | Warren Schick | x 3-0689
|  | Jim Curry | x 3-6367

## Tracking Sheet
PROJECT NAME: Rochester
TRACKING SHEET
| EQUITY IRR WITH NO | DSCR
| RESIDUAL VALUE | MIN | AVG.
Current | -16.75% | 1.3 | 1.3018
Track Changes | -16.75% | 1.3 | 1.3018

## Compare
Comparison of LM 2500 vs. LM 6000
| LM 2500 | LM 6000
Output Rating | 25 | 47.5
Heat Rate |  | 10500
# of Turbines | 1 | 1
Total Output (MW's) | 22.8 | 47.5
Costs:
Cost Per Turbine | 11800 | 14200
BOP | 1600 | 7000
All other Costs | 3600
All-in Costs ($) | 17000 | 26000
$/kW | 745.614 | 547.3684
30% Reduction
521.9298

## Assumptions
Unhide Sub Debt, 1999 Columns
PROJECT NAME: Rochester
ASSUMPTIONS & SUMMARY OUTPUT
SOURCES & USES: |  |  |  | PROJECT DESCRIPTION: |  |  |  | OPERATING COSTS ASSUMPTIONS (FROM ENGINEERS/ASSET MANAGEMENT): |  |  |  | Fuel | Capacity $ | VOM | Residual Value | Capacity | Chillers | Compressor | Debt
[8 empty] | (1st year Annualized) |  |  |  | Index | Base | Pass-through | EBITDA Exit Multiple | ISO | Yes | Yes | Bank LT Debt
Sources of Funds | % | 000 $ | $/kW | Type of Turbine |  | LM6000 | [5 empty] | Fixed | Low | Not Pass-through | % of Project Cost | 95 degrees | No | No | Capital Market
Total Equity | 60.53% | 17211.9425 | 362.3567 | Cost Per Turbine (w Carry Cost) (000$) |  | 14260.4496 |  | CPI Escalator (%) | 3% |  |  | Custom | Index |  | 000$/MW |  |  |  | Mini-perm
Debt Issuance | 39.47% | 11225.3482 | 236.3231 | Number of Turbines |  | 1 | [6 empty] | Custom |  | None
|  |  |  | Net Turbine Rating (MW) |  | 47.5 |  | Escalated Costs: |  |  |  | 3 | 1 | 1 | 1 | 2 | 1 | 1 | 1
Total Sources | 100% | 28437.2906 | 598.6798 | Heat Rate-New and Clean (HHV) |  | 10200 |  |  | 000$ -year | $/kW-year | $/mWh | Custom | Base | Pass-through | EBITDA Exit Multiple | 2 | 10 | Yes | Bank LT Debt
|  |  |  | Heat Rate-Degraded (HHV) |  | 10500 |  | Variable Operating Cost | 60.6 |  | 1.033
|  |  |  | No. of Construction Months |  | 5 |  | Major Maintenance | 131.241 |  | 1.999 |  | With Chillers | Without Chillers
Uses of Funds |  |  |  | Start of Commercial Operation |  | 2001-05-01 |  | Total VOM | 191.841 |  | 3.032 | ISO | 11 | 21
|  |  |  | No. of Months in the 1st Operating year |  | 8 |  |  |  |  | ESC. | 95o | 12 | 22
EPC (From Engineers/Nepco): |  |  |  | Project Life (Years) |  | 20 |  | Fixed Operating Expenses | 483.931 | 10.188
Turbine (with Carrying Cost) | 50.15% | 14260.4496 | 300.22 | Location (State) |  | MO |  | Insurance | 112 | 2.3579
Fin Fan Cooler | 0.218% | 62 | 1.3053 |  |  |  |  | SG&A | 180 | 3.7895
BOP & Construction | 24.62% | 7000 | 147.3684 | Residual Value (at year 30) |  |  |  | Start Charge | 0 | 0
Pipeline | 0% | 0 | 0 | EBITDA Exit Multiple |  | 5 |  | Marketing Fee | 0 | 0
Power Interconnection (Substation) | 3.288% | 935 | 19.6842 | % of Initial Project Cost |  | 20% |  | Admin Fees | 0 | 0
SCR | 0% | 0 | 0 | $/kW |  | 200 |  | O&M Fees plus capital fees | 126 | 2.6526
Dual Fuel | 2.391% | 680 | 14.3158 |  |  |  |  | Total Fixed Escalating Cost | 901.931 | 18.988
Black Start | 0% | 0 | 0 | FINANCING ASSUMPTIONS:
Gas Compression | 0.9424% | 268 | 5.6421 | DEBT |  | Construction Loan |  | Non-Escalated Costs:
Demineralized Water Facility | 0% | 0 | 0 | Debt Issued | 2000-04-01 |  |  | Fuel | 1053.366 | 22.1761
Overhead & Fees - EE&CC | 0% | 0 | 0 | Treasury Rate as of: | 2000-02-01 |  |  | Property Tax | 600 | 12.6316 | 2%
Overhead & Fees - Nepco | 0.1758% | 50 | 1.0526 |  |  |  |  | Franchise Tax | 0 | 0
Chillers (Check that BOP did not already include this) | 3.517% | 1000 | 21.0526 | Amount ('000 $) | 11225.3482 |  |  | Gross Receipts Tax | 0 | 0
Spare Parts | 3.517% | 1000 | 21.0526 | Term (yrs) | 20 |  |  | Debt Service Reserve Fee | 80.5732 | 1.6963
Sub Total | 88.81% | 25255.4496 | 531.6937 | Final Maturity | 2021-04-01
|  |  |  | Average Life (yrs) | -53.2122 |  |  | DEPRECIATION ASSUMPTIONS:
Soft Cost (From Engineers/Asset Management):
EE&CC Project Management | 0% | 0 | 0 | Treasury Rate (%) | 6.5% | 6.5% |  |  | Year | Method | Residual (%)
Mobilization Expenses | 3.156% | 897.382 | 18.8923 | Spread (%) | 1.75% | 1.75% |  | Federal & State Tax Depreciation
Environmental Permitting | 0% | 0 | 0 | All-In Rate (%) | 8.25% | 8.25% |  | EPC Costs | 15 | MACRS | 0%
Insurance During Construction | 0% | 0 | 0 |  |  |  |  | Start-Up Cost | 5 | SL | 0%
Capitalized Salaries | 0% | 0 | 0 | Maximum DSR Amount (000 $) | 4028.6613 | 6 | (months/year) | Transaction Costs | 20 | SL | 0%
Owner's Engineer | 1.758% | 500 | 10.5263 | Debt Service Reserve LOC Fee | 2%
Development Expenses | 0% | 0 | 0 | Interest Income Rate | 0% |  |  | Book Depreciation
Legal Expense | 0% | 0 | 0 |  |  |  |  | EPC Costs | 30 | SL | 10%
Interconnect Study | 0% | 0 | 0 | EQUITY |  |  |  | Start-Up Cost | 5 | SL | 0%
IDC | 3.199% | 909.819 | 19.1541 | Equity Closed | 2000-04-01 |  |  | Transaction Costs | 20 | SL | 0%
Land | 0% | 0 | 0 | Equity Partner's Share | 0% | 0
Sales & Used Tax | 3.076% | 874.64 | 18.4135 | Enron's Share | 100% | 17211.9425 |  | TAX ASSUMPTIONS (PROJECT MAY INCLUDE SPECIFIC TAXES):
Contingency | 0% | 0 | 0
Sub Total | 11.19% | 3181.841 | 66.9861 | PPA ASSUMPTIONS (MAKE CHANGES AS NEEDED): |  |  |  | Federal Income Tax Rate (%) | 35%
[8 empty] | State Income Tax Rate (average %) | 7% | (Project Specific)
Financing Costs: |  |  |  | Fixed Price PPA |  |  |  | Franchise Tax (% on Net Asset) | 0% | (Project Specific)
Lender's Engineer | 0% | 0 | 0 | No. of years |  | 3 |  | Gross Receipts Tax (%) | 0% | (Project Specific)
Lender's Counsel | 0% | 0 | 0 | Capacity Charge ($/kW-mo.) |  | 4 |  | Sales & Used Tax Rate on Fuel (%) | 1.5% | (Project Specific)
Financing Fee | 0% | 0 | 0 |  |  |  |  | Sales & Used Tax Rate on Hard Cost (%) | 8% | (Project Specific)
Sub Total | 0% | 0 | 0 | Merchant Price Period
|  |  |  | No. of years |  | 17
Total Uses | 100% | 28437.2906 | 598.6798 | Capacity Charge ($/kW-mo.)
SUMMARY OUTPUT: |  |  |  | Variable Payment ($/mWh) |  | 3.032
All-in Capital Cost ($/kW) |  | 598.6798 |  | Net Generation (MW) |  | 66500
|  | Avg. | Min | TECHNICAL ASSUMPTIONS:
DSCR |  | 1.3018 | 1.3
|  |  |  | Site Condition (MW) |  | 47.5
Enron Equity Returns |  |  |  | Evaporative Cooler (MW) |  | 0
30 Yrs After-Tax Cashflow with Zero Residual Value |  | -16.75% |  | Net Output (MW) |  | 47.5
30 Yrs After-Tax Cashflow with 5x EBITDA Exit Multiple Residual Value |  | #VALUE!
30 Yrs After-Tax Cashflow with 20% Initial Project Cost Residual Value |  | -2.514% |  | No. of Starts per year |  | 140
30 Yrs After-Tax Cashflow with $200/kW Residual Value |  | -0.677% |  | Available PSIG |  | 400
|  |  |  | No. of Run Hours per year |  | 1400
Key Stats | 2001 | 2002 | 2003
EBITDA (000 $) | 464.9972 | 862.4378 | 826.4082
Net Income (000 $) | -605.236 | -819.833 | -857.6655
Pre-Tax Cashflow (000 $) | 77.0657 | -83.3072 | -145.7394
Cashflow to Equity (000 $) | 240.7079 | 231.0223 | 183.7998
Note on C21: clau: $62,000/turbine as per Bruce Golden
Note on H11: clau: Calculated to include Carry Cost on a separate spreadsheet.
Note on H13: clau: This is an estimate, please check with Engineers for specific project
Note on H14: clau: This is an estimate, please check with Engineers for specific project
Note on H15: clau: This is an estimate, please check with Engineers for specific project
Note on H61: clau: As per Bruce Golden for simple cycle LM6000
Note on L38: clau: Assumption checked with Patrick Maloy on 2/4/00.
Note on L43: clau: Assumption used for GenCo. Verified with Jody Pierce 2/3/00.
Note on N20: Ben Rogers: Need to talk to Paul Clayton

## Price_Technical Assumption
PROJECT NAME: Rochester
PRICE/TECHNICAL ASSUMPTIONS
|  | 0.66667 | 1.6667 | 2.6667 | 3.6667 | 4.6667 | 5.6667 | 6.6667 | 7.6667 | 8.6667 | 9.6667 | 10.6667 | 11.6667 | 12.6667 | 13.6667 | 14.6667 | 15.6667 | 16.6667 | 17.6667 | 18.6667 | 19.6667 | 20.6667 | 21.6667 | 22.6667 | 23.6667 | 24.6667 | 25.6667 | 26.6667 | 27.6667 | 28.6667 | 29.6667 | 30.6667
|  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
CAPACITY PRICE $/kW-MONTH
| Fixed Price | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4
Merchant Price
1 | Base | 5.4933 | 5.6581 | 5.6458 | 5.7213 | 5.6998 | 5.7713 | 5.8419 | 5.9116 | 6.0889 | 6.1596 | 6.3444 | 6.4159 | 6.6084 | 6.6806 | 6.7512 | 6.82 | 6.8869 | 6.9516 | 7.014 | 7.0739 | 7.1311 | 7.1854 | 7.2396 | 7.2939 | 7.3482 | 7.4024 | 7.4567 | 7.5109 | 7.5652 | 7.6195 | 7.6737
2 | Low | 4.3775 | 4.5088 | 4.7352 | 4.8772 | 5.0235 | 5.1742 | 5.3295 | 5.2782 | 5.2191 | 5.0397 | 4.9602 | 4.8713 | 4.8951 | 4.9159 | 4.8037 | 4.8141 | 4.8208 | 4.9654 | 5.1144 | 5.1173 | 5.2708 | 5.429 | 5.5871 | 5.7452 | 5.9033 | 6.0615 | 6.2196 | 6.3777 | 6.5358 | 6.694 | 6.8521
3 | Index | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Custom | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | Market Price Scenario | 5.4933 | 5.6581 | 5.6458 | 5.7213 | 5.6998 | 5.7713 | 5.8419 | 5.9116 | 6.0889 | 6.1596 | 6.3444 | 6.4159 | 6.6084 | 6.6806 | 6.7512 | 6.82 | 6.8869 | 6.9516 | 7.014 | 7.0739 | 7.1311 | 7.1854 | 7.2396 | 7.2939 | 7.3482 | 7.4024 | 7.4567 | 7.5109 | 7.5652 | 7.6195 | 7.6737
| Blended Capacity Price | 4 | 4 | 4 | 5.1476 | 5.6998 | 5.7713 | 5.8419 | 5.9116 | 6.0889 | 6.1596 | 6.3444 | 6.4159 | 6.6084 | 6.6806 | 6.7512 | 6.82 | 6.8869 | 6.9516 | 7.014 | 7.0739 | 7.1311 | 7.1854 | 7.2396 | 7.2939 | 7.3482 | 7.4024 | 7.4567 | 7.5109 | 7.5652 | 7.6195 | 7.6737
GAS PRICE $/MMBTU
1 | Index | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2
2 | Fixed | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
3 | Custom | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
| Sales Tax Rate | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5%
1 | Gas Price Assumption | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225
ENERGY PRICE $/MWH
| Fuel | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401 | 15.8401
| Variable O&M | 3.0923 | 3.1851 | 3.2807 | 3.3791 | 3.4805 | 3.5849 | 3.6924 | 3.8032 | 3.9173 | 4.0348 | 4.1558 | 4.2805 | 4.4089 | 4.5412 | 4.6774 | 4.8178 | 4.9623 | 5.1112 | 5.2645 | 5.4224 | 5.5851 | 5.7527 | 5.9252 | 6.103 | 6.2861 | 6.4747 | 6.6689 | 6.869 | 7.0751 | 7.2873 | 7.5059
| Marginal Cost of Generation | 18.9324 | 19.0252 | 19.1208 | 19.2192 | 19.3205 | 19.425 | 19.5325 | 19.6433 | 19.7574 | 19.8749 | 19.9959 | 20.1206 | 20.249 | 20.3813 | 20.5175 | 20.6579 | 20.8024 | 20.9513 | 21.1046 | 21.2625 | 21.4252 | 21.5928 | 21.7653 | 21.9431 | 22.1262 | 22.3148 | 22.509 | 22.7091 | 22.9151 | 23.1274 | 23.346
Pass-through | Energy Price Assumption | 18.9324 | 19.0252 | 19.1208 | 19.2192 | 19.3205 | 19.425 | 19.5325 | 19.6433 | 19.7574 | 19.8749 | 19.9959 | 20.1206 | 20.249 | 20.3813 | 20.5175 | 20.6579 | 20.8024 | 20.9513 | 21.1046 | 21.2625 | 21.4252 | 21.5928 | 21.7653 | 21.9431 | 22.1262 | 22.3148 | 22.509 | 22.7091 | 22.9151 | 23.1274 | 23.346
HEAT RATE (HHV)
| New and Clean | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200 | 10200
Degradation (%) | bar: 2001 to 2031
| Net Heat Rate | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404 | 10404

## IS
PROJECT NAME: Rochester
INCOME STATEMENT
|  | 0.66667 | 1.6667 | 2.6667 | 3.6667 | 4.6667 | 5.6667 | 6.6667 | 7.6667 | 8.6667 | 9.6667 | 10.6667 | 11.6667 | 12.6667 | 13.6667 | 14.6667 | 15.6667 | 16.6667 | 17.6667 | 18.6667 | 19.6667 | 20.6667 | 21.6667 | 22.6667 | 23.6667 | 24.6667 | 25.6667 | 26.6667 | 27.6667 | 28.6667 | 29.6667 | 30.6667
('000 $) |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
|  | 2001-12-31 | 2002-12-31 | 2003-12-31 | 2004-12-31 | 2005-12-31 | 2006-12-31 | 2007-12-31 | 2008-12-31 | 2009-12-31 | 2010-12-31 | 2011-12-31 | 2012-12-31 | 2013-12-31 | 2014-12-31 | 2015-12-31 | 2016-12-31 | 2017-12-31 | 2018-12-31 | 2019-12-31 | 2020-12-31 | 2021-12-31 | 2022-12-31 | 2023-12-31 | 2024-12-31 | 2025-12-31 | 2026-12-31 | 2027-12-31 | 2028-12-31 | 2029-12-31 | 2030-12-31 | 2031-12-31
Revenue
Capacity Revenue |  | 1520 | 2280 | 2280 | 2934.1079 | 3248.8656 | 3289.6141 | 3329.8835 | 3369.6084 | 3470.6967 | 3510.9815 | 3616.311 | 3657.0767 | 3766.789 | 3807.9446 | 3848.1795 | 3887.4013 | 3925.5131 | 3962.413 | 3997.9938 | 4032.1433 | 1354.9145 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Energy Revenue |  | 1259.0066 | 1265.1759 | 1271.5302 | 1278.0751 | 1284.8164 | 1291.7599 | 1298.9117 | 1306.2781 | 1313.8654 | 1321.6804 | 1329.7298 | 1338.0208 | 1346.5604 | 1355.3562 | 1364.4159 | 1373.7474 | 1383.3589 | 1393.2587 | 1403.4554 | 1413.9581 | 1424.7759 | 1435.9182 | 1447.3948 | 1459.2156 | 1471.3911 | 1483.9319 | 1496.8488 | 1510.1533 | 1523.8569 | 1537.9717 | 1552.5098
Ancillary Services |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Revenue |  | 2779.0066 | 3545.1759 | 3551.5302 | 4212.1829 | 4533.682 | 4581.3739 | 4628.7952 | 4675.8865 | 4784.5621 | 4832.6619 | 4946.0408 | 4995.0974 | 5113.3494 | 5163.3009 | 5212.5955 | 5261.1488 | 5308.872 | 5355.6716 | 5401.4492 | 5446.1015 | 2779.6904 | 1435.9182 | 1447.3948 | 1459.2156 | 1471.3911 | 1483.9319 | 1496.8488 | 1510.1533 | 1523.8569 | 1537.9717 | 1552.5098
Expense
Fuel |  | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366 | 1053.366
Fixed Operating Expenses |  | 322.6207 | 498.4489 | 513.4024 | 528.8045 | 544.6686 | 561.0087 | 577.8389 | 595.1741 | 613.0293 | 631.4202 | 650.3628 | 669.8737 | 689.9699 | 710.669 | 731.9891 | 753.9487 | 776.5672 | 799.8642 | 823.8601 | 848.5759 | 874.0332 | 900.2542 | 927.2618 | 955.0797 | 983.7321 | 1013.244 | 1043.6414 | 1074.9506 | 1107.1991 | 1140.4151 | 1174.6276
Variable Operating Expenses |  | 70.0616 | 72.1635 | 74.3284 | 76.5582 | 78.855 | 81.2206 | 83.6572 | 86.1669 | 88.752 | 91.4145 | 94.1569 | 96.9817 | 99.8911 | 102.8878 | 105.9745 | 109.1537 | 112.4283 | 115.8012 | 119.2752 | 122.8535 | 126.5391 | 130.3352 | 134.2453 | 138.2726 | 142.4208 | 146.6935 | 151.0943 | 155.6271 | 160.2959 | 165.1048 | 170.0579
Major Maintenance |  | 135.5791 | 139.6464 | 143.8358 | 148.1509 | 152.5954 | 157.1733 | 161.8885 | 166.7451 | 171.7475 | 176.8999 | 182.2069 | 187.6731 | 193.3033 | 199.1024 | 205.0755 | 211.2277 | 217.5646 | 224.0915 | 230.8143 | 237.7387 | 244.8708 | 252.217 | 259.7835 | 267.577 | 275.6043 | 283.8724 | 292.3886 | 301.1603 | 310.1951 | 319.5009 | 329.0859
Insurance |  | 74.6667 | 115.36 | 118.8208 | 122.3854 | 126.057 | 129.8387 | 133.7339 | 137.7459 | 141.8782 | 146.1346 | 150.5186 | 155.0342 | 159.6852 | 164.4758 | 169.41 | 174.4924 | 179.7271 | 185.1189 | 190.6725 | 196.3927 | 202.2845 | 208.353 | 214.6036 | 221.0417 | 227.6729 | 234.5031 | 241.5382 | 248.7844 | 256.2479 | 263.9353 | 271.8534
SG&A |  | 120 | 185.4 | 190.962 | 196.6909 | 202.5916 | 208.6693 | 214.9294 | 221.3773 | 228.0186 | 234.8592 | 241.9049 | 249.1621 | 256.637 | 264.3361 | 272.2662 | 280.4341 | 288.8472 | 297.5126 | 306.438 | 315.6311 | 325.1 | 334.853 | 344.8986 | 355.2456 | 365.9029 | 376.88 | 388.1864 | 399.832 | 411.827 | 424.1818 | 436.9072
Start Charge |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Property Tax |  | 400 | 408 | 416.16 | 424.4832 | 432.9729 | 441.6323 | 450.465 | 459.4743 | 468.6638 | 478.037 | 487.5978 | 497.3497 | 507.2967 | 517.4427 | 527.7915 | 538.3473 | 549.1143 | 560.0966 | 571.2985 | 582.7245 | 594.379 | 606.2665 | 618.3919 | 630.7597 | 643.3749 | 656.2424 | 669.3672 | 682.7546 | 696.4097 | 710.3379 | 724.5446
Franchise Tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gross Receipts Tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt Service Reserve LOC Fee |  | 53.7155 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 26.8577 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Marketing Fee |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Administrative Fee |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O&M Fees |  | 84 | 129.78 | 133.6734 | 137.6836 | 141.8141 | 146.0685 | 150.4506 | 154.9641 | 159.613 | 164.4014 | 169.3335 | 174.4135 | 179.6459 | 185.0352 | 190.5863 | 196.3039 | 202.193 | 208.2588 | 214.5066 | 220.9418 | 227.57 | 234.3971 | 241.429 | 248.6719 | 256.1321 | 263.816 | 271.7305 | 279.8824 | 288.2789 | 296.9273 | 305.8351
Total Expense |  | 2314.0095 | 2682.738 | 2725.122 | 2768.6959 | 2813.4937 | 2859.5506 | 2906.9027 | 2955.5869 | 3005.6416 | 3057.106 | 3110.0207 | 3164.4271 | 3220.3683 | 3277.8882 | 3337.0322 | 3397.8471 | 3460.3809 | 3524.683 | 3590.8043 | 3658.7973 | 3675.0003 | 3720.0421 | 3793.9797 | 3870.0142 | 3948.206 | 4028.6175 | 4111.3126 | 4196.3573 | 4283.8195 | 4373.769 | 4466.2777
EBITDA |  | 464.9972 | 862.4378 | 826.4082 | 1443.4871 | 1720.1882 | 1721.8233 | 1721.8925 | 1720.2996 | 1778.9205 | 1775.5559 | 1836.0201 | 1830.6703 | 1892.9811 | 1885.4127 | 1875.5632 | 1863.3017 | 1848.4911 | 1830.9886 | 1810.6449 | 1787.3042 | -895.3099 | -2284.1239 | -2346.5849 | -2410.7986 | -2476.8149 | -2544.6856 | -2614.4638 | -2686.204 | -2759.9626 | -2835.7974 | -2913.7679
Depreciation & Amortization |  | 844.1893 | 1266.2839 | 1266.2839 | 1266.2839 | 1266.2839 | 963.3477 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 270.6265
EBIT |  | -379.1921 | -403.8461 | -439.8757 | 177.2032 | 453.9043 | 758.4757 | 910.013 | 908.42 | 967.041 | 963.6764 | 1024.1406 | 1018.7908 | 1081.1016 | 1073.5332 | 1063.6837 | 1051.4222 | 1036.6116 | 1019.1091 | 998.7654 | 975.4246 | -1707.1894 | -3096.0034 | -3158.4645 | -3222.6781 | -3288.6944 | -3356.5651 | -3426.3433 | -3498.0835 | -3571.8421 | -3647.6769 | -3184.3944
Interest Expense |  | 622.0255 | 952.3707 | 978.9257 | 992.75 | 981.1337 | 954.5644 | 923.4287 | 889.7956 | 851.7423 | 808.8235 | 760.4417 | 706.2857 | 645.4971 | 577.961 | 504.6825 | 426.0291 | 341.3173 | 250.6655 | 153.5249 | 50.8787 | 7.3 | 77.4879 | 222.1326 | 393.6979 | 584.2859 | 794.9422 | 1027.8236 | 1284.6709 | 1568.2936 | 1880.2532 | 2281.9821
Pretax Book Income |  | -1001.2176 | -1356.2167 | -1418.8014 | -815.5469 | -527.2294 | -196.0888 | -13.4157 | 18.6245 | 115.2987 | 154.8529 | 263.699 | 312.5051 | 435.6045 | 495.5722 | 559.0012 | 625.3931 | 695.2943 | 768.4436 | 845.2405 | 924.5459 | -1714.4894 | -3173.4913 | -3380.597 | -3616.3759 | -3872.9803 | -4151.5073 | -4454.1669 | -4782.7544 | -5140.1357 | -5527.93 | -5466.3765
Book State Tax Benefit / (Expense) | 7% | 70.0852 | 94.9352 | 99.3161 | 57.0883 | 36.9061 | 13.7262 | 0.9391 | -1.3037 | -8.0709 | -10.8397 | -18.4589 | -21.8754 | -30.4923 | -34.6901 | -39.1301 | -43.7775 | -48.6706 | -53.7911 | -59.1668 | -64.7182 | 120.0143 | 222.1444 | 236.6418 | 253.1463 | 271.1086 | 290.6055 | 311.7917 | 334.7928 | 359.8095 | 386.9551 | 382.6464
Shareholder Fed. Tax Benefit / (Expense) | 35% | 325.8963 | 441.4485 | 461.8199 | 265.4605 | 171.6132 | 63.8269 | 4.3668 | -6.0623 | -37.5297 | -50.4046 | -85.834 | -101.7204 | -141.7893 | -161.3087 | -181.9549 | -203.5654 | -226.3183 | -250.1284 | -275.1258 | -300.9397 | 558.0663 | 1032.9714 | 1100.3843 | 1177.1304 | 1260.6551 | 1351.3156 | 1449.8313 | 1556.7866 | 1673.1142 | 1799.3412 | 1779.3055
Net Income |  | -605.236 | -819.833 | -857.6655 | -492.9981 | -318.7102 | -118.5357 | -8.1098 | 11.2585 | 69.6981 | 93.6086 | 159.406 | 188.9093 | 263.3229 | 299.5734 | 337.9162 | 378.0501 | 420.3054 | 464.5242 | 510.9479 | 558.888 | -1036.4088 | -1918.3755 | -2043.5709 | -2186.0993 | -2341.2166 | -2509.5862 | -2692.5439 | -2891.175 | -3107.212 | -3341.6337 | -3304.4246

## BS (hidden)
PROJECT NAME: Rochester
BALANCE SHEET
| 0 | 0.66667 | 1.6667 | 2.6667 | 3.6667 | 4.6667 | 5.6667 | 6.6667 | 7.6667 | 8.6667 | 9.6667 | 10.6667 | 11.6667 | 12.6667 | 13.6667 | 14.6667 | 15.6667 | 16.6667 | 17.6667 | 18.6667 | 19.6667 | 20.6667 | 21.6667 | 22.6667 | 23.6667 | 24.6667 | 25.6667 | 26.6667 | 27.6667 | 28.6667 | 29.6667 | 30.6667
('000 $) | Close | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
|  | 2001-12-30 12:00 | 2002-12-30 18:00 | 2003-12-31 | 2004-12-30 06:00 | 2005-12-30 12:00 | 2006-12-30 18:00 | 2007-12-31 | 2008-12-30 06:00 | 2009-12-30 12:00 | 2010-12-30 18:00 | 2011-12-31 | 2012-12-30 06:00 | 2013-12-30 12:00 | 2014-12-30 18:00 | 2015-12-31 | 2016-12-30 06:00 | 2017-12-30 12:00 | 2018-12-30 18:00 | 2019-12-31 | 2020-12-30 06:00 | 2021-12-30 12:00 | 2022-12-30 18:00 | 2023-12-31 | 2024-12-30 06:00 | 2025-12-30 12:00 | 2026-12-30 18:00 | 2027-12-31 | 2028-12-30 06:00 | 2029-12-30 12:00 | 2030-12-30 18:00 | 2031-12-31
Assets
Cash | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Accounts Receivable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inventories | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Current Assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt Service Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Current Assets |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gross PP&E | 28437.2906 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726 | 29334.6726
Accumulated Depreciation | 0 | 844.1893 | 2110.4732 | 3376.7571 | 4643.041 | 5909.325 | 6872.6726 | 7684.5521 | 8496.4316 | 9308.3112 | 10120.1907 | 10932.0702 | 11743.9497 | 12555.8292 | 13367.7088 | 14179.5883 | 14991.4678 | 15803.3473 | 16615.2268 | 17427.1064 | 18238.9859 | 19050.8654 | 19862.7449 | 20674.6244 | 21486.504 | 22298.3835 | 23110.263 | 23922.1425 | 24734.022 | 25545.9015 | 26357.7811 | 26628.4076
Net PP&E | 28437.2906 | 28490.4834 | 27224.1994 | 25957.9155 | 24691.6316 | 23425.3477 | 22462 | 21650.1205 | 20838.241 | 20026.3615 | 19214.482 | 18402.6024 | 17590.7229 | 16778.8434 | 15966.9639 | 15155.0844 | 14343.2048 | 13531.3253 | 12719.4458 | 11907.5663 | 11095.6868 | 10283.8072 | 9471.9277 | 8660.0482 | 7848.1687 | 7036.2892 | 6224.4096 | 5412.5301 | 4600.6506 | 3788.7711 | 2976.8916 | 2706.2651
Land | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Assets | 28437.2906 | 28490.4834 | 27224.1994 | 25957.9155 | 24691.6316 | 23425.3477 | 22462 | 21650.1205 | 20838.241 | 20026.3615 | 19214.482 | 18402.6024 | 17590.7229 | 16778.8434 | 15966.9639 | 15155.0844 | 14343.2048 | 13531.3253 | 12719.4458 | 11907.5663 | 11095.6868 | 10283.8072 | 9471.9277 | 8660.0482 | 7848.1687 | 7036.2892 | 6224.4096 | 5412.5301 | 4600.6506 | 3788.7711 | 2976.8916 | 2706.2651
Liabilities
Accounts Payable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Accrued Expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Deferred Tax Liability | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Working Capital Revolver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Long Term Debt | 11225.3482 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Other Non-Current Liabilities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Long-term Liabilities | 11225.3482 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Stockholders' Equity
Paid-In-Capital | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425 | 17211.9425
Retained earnings | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total stockholders' equity | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Total Liabilities & Equity | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Proof | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## Returns Analysis
PROJECT NAME: Rochester
RETURNS ANALYSIS
| 0 | 0.66667 | 1.6667 | 2.6667 | 3.6667 | 4.6667 | 5.6667 | 6.6667 | 7.6667 | 8.6667 | 9.6667 | 10.6667 | 11.6667 | 12.6667 | 13.6667 | 14.6667 | 15.6667 | 16.6667 | 17.6667 | 18.6667 | 19.6667 | 20.6667 | 21.6667 | 22.6667 | 23.6667 | 24.6667 | 25.6667 | 26.6667 | 27.6667 | 28.6667 | 29.6667 | 30.6667
('000 $) | Close | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
| 2000-04-01 | 2001-12-30 12:00 | 2002-12-30 18:00 | 2003-12-31 | 2004-12-30 06:00 | 2005-12-30 12:00 | 2006-12-30 18:00 | 2007-12-31 | 2008-12-30 06:00 | 2009-12-30 12:00 | 2010-12-30 18:00 | 2011-12-31 | 2012-12-30 06:00 | 2013-12-30 12:00 | 2014-12-30 18:00 | 2015-12-31 | 2016-12-30 06:00 | 2017-12-30 12:00 | 2018-12-30 18:00 | 2019-12-31 | 2020-12-30 06:00 | 2021-12-30 12:00 | 2022-12-30 18:00 | 2023-12-31 | 2024-12-30 06:00 | 2025-12-30 12:00 | 2026-12-30 18:00 | 2027-12-31 | 2028-12-30 06:00 | 2029-12-30 12:00 | 2030-12-30 18:00 | 2031-12-31
EBITDA | 0 | 464.9972 | 862.4378 | 826.4082 | 1443.4871 | 1720.1882 | 1721.8233 | 1721.8925 | 1720.2996 | 1778.9205 | 1775.5559 | 1836.0201 | 1830.6703 | 1892.9811 | 1885.4127 | 1875.5632 | 1863.3017 | 1848.4911 | 1830.9886 | 1810.6449 | 1787.3042 | -895.3099 | -2284.1239 | -2346.5849 | -2410.7986 | -2476.8149 | -2544.6856 | -2614.4638 | -2686.204 | -2759.9626 | -2835.7974 | -2913.7679
Less Interest Payments | 0 | -387.9314 | -945.745 | -972.1476 | -993.4134 | -986.2808 | -962.0133 | -931.5122 | -899.1389 | -861.3282 | -820.0621 | -773.346 | -720.9244 | -661.1224 | -595.5717 | -523.6262 | -446.6536 | -362.8765 | -274.0672 | -178.5799 | -76.5028 | -3.6226 | -45.8833 | -181.5179 | -348.9352 | -534.0688 | -739.7329 | -966.8464 | -1218.333 | -1493.2632 | -1798.6882 | -1204.4819
Pre-Tax Cashflow | 0 | 77.0657 | -83.3072 | -145.7394 | 450.0737 | 733.9074 | 759.81 | 790.3803 | 821.1607 | 917.5923 | 955.4938 | 1062.6742 | 1109.7459 | 1231.8587 | 1289.841 | 1351.937 | 1416.6481 | 1485.6147 | 1556.9215 | 1632.065 | 1710.8014 | -898.9325 | -2330.0072 | -2528.1029 | -2759.7338 | -3010.8837 | -3284.4185 | -3581.3102 | -3904.537 | -4253.2258 | -4634.4856 | -4118.2498
Less Cash Taxes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -655.391 | -686.7563 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less Principal Payments | 0 | 163.6421 | 314.3295 | 329.5392 | 0.62626 | -283.1186 | -362.1525 | -393.0072 | -425.3754 | -494.9284 | -546.3954 | -627.3813 | -689.2688 | -782.1076 | -856.1972 | -921.0037 | -989.9833 | -1060.9038 | -1137.7423 | -1218.1254 | -1245.7942 | 178.7851 | 1536.5538 | 1974.6044 | 2192.3439 | 2425.3871 | 2684.1671 | 2964.5903 | 3272.2929 | 3600.7583 | 3965.5272 | 3989.6934
Less Capex | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Cashflow to Equity | 0 | 240.7079 | 231.0223 | 183.7998 | 450.6999 | 450.7889 | 397.6574 | 397.3731 | 395.7853 | 422.6639 | 409.0984 | 435.2928 | 420.4771 | 449.7511 | 433.6438 | 430.9333 | 426.6648 | 424.7109 | 419.1792 | -241.4514 | -221.7491 | -720.1474 | -793.4534 | -553.4984 | -567.3898 | -585.4966 | -600.2514 | -616.7199 | -632.2441 | -652.4675 | -668.9584 | -128.5564
Distribution to Equity | 2000-04-01: 100%
| 0 | 240.7079 | 231.0223 | 183.7998 | 450.6999 | 450.7889 | 397.6574 | 397.3731 | 395.7853 | 422.6639 | 409.0984 | 435.2928 | 420.4771 | 449.7511 | 433.6438 | 430.9333 | 426.6648 | 424.7109 | 419.1792 | -241.4514 | -221.7491 | -720.1474 | -793.4534 | -553.4984 | -567.3898 | -585.4966 | -600.2514 | -616.7199 | -632.2441 | -652.4675 | -668.9584 | -128.5564
Equity RROR | 2000-04-01: 14%
Beginning Balance | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425
RROR Target Coupon | 0 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719 | 2409.6719
Actual Cash Flow | 0 | 240.7079 | 231.0223 | 183.7998 | 450.6999 | 450.7889 | 397.6574 | 397.3731 | 395.7853 | 422.6639 | 409.0984 | 435.2928 | 420.4771 | 449.7511 | 433.6438 | 430.9333 | 426.6648 | 424.7109 | 419.1792 | -241.4514 | -221.7491 | -720.1474 | -793.4534 | -553.4984 | -567.3898 | -585.4966 | -600.2514 | -616.7199 | -632.2441 | -652.4675 | -668.9584 | -128.5564
Equity Paydown | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending Balance | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425 | -17211.9425
ENRON'S RETURNS ANALYSIS
Zero Residual Value
Equity Return | 2000-04-01: -17211.9425
Actual Cash Flow | 0 | 240.7079 | 231.0223 | 183.7998 | 450.6999 | 450.7889 | 397.6574 | 397.3731 | 395.7853 | 422.6639 | 409.0984 | 435.2928 | 420.4771 | 449.7511 | 433.6438 | 430.9333 | 426.6648 | 424.7109 | 419.1792 | -241.4514 | -221.7491 | -720.1474 | -793.4534 | -553.4984 | -567.3898 | -585.4966 | -600.2514 | -616.7199 | -632.2441 | -652.4675 | -668.9584 | -128.5564
Total Cash Flow | -17211.9425 | 240.7079 | 231.0223 | 183.7998 | 450.6999 | 450.7889 | 397.6574 | 397.3731 | 395.7853 | 422.6639 | 409.0984 | 435.2928 | 420.4771 | 449.7511 | 433.6438 | 430.9333 | 426.6648 | 424.7109 | 419.1792 | -241.4514 | -221.7491 | -720.1474 | -793.4534 | -553.4984 | -567.3898 | -585.4966 | -600.2514 | -616.7199 | -632.2441 | -652.4675 | -668.9584 | -128.5564
| IRR | -16.75%
With 5x EBITDA Exit Multiple
Equity Return | 2000-04-01: -17211.9425
Actual Cash Flow | 0 | 240.7079 | 231.0223 | 183.7998 | 450.6999 | 450.7889 | 397.6574 | 397.3731 | 395.7853 | 422.6639 | 409.0984 | 435.2928 | 420.4771 | 449.7511 | 433.6438 | 430.9333 | 426.6648 | 424.7109 | 419.1792 | -241.4514 | -221.7491 | -720.1474 | -793.4534 | -553.4984 | -567.3898 | -585.4966 | -600.2514 | -616.7199 | -632.2441 | -652.4675 | -668.9584 | -128.5564
Residual Value | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14178.9868 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -14178.9868
Total Cash Flow | -17211.9425 | 240.7079 | 231.0223 | 183.7998 | 450.6999 | 450.7889 | 397.6574 | 397.3731 | 395.7853 | 422.6639 | 409.0984 | 435.2928 | 420.4771 | 449.7511 | 433.6438 | 430.9333 | 426.6648 | 424.7109 | 419.1792 | -241.4514 | -221.7491 | -14899.1342 | -793.4534 | -553.4984 | -567.3898 | -585.4966 | -600.2514 | -616.7199 | -632.2441 | -652.4675 | -668.9584 | -14307.5432
| IRR | #VALUE!
With 20% Initial Project Cost
Equity Return | 2000-04-01: -17211.9425
Actual Cash Flow | 0 | 240.7079 | 231.0223 | 183.7998 | 450.6999 | 450.7889 | 397.6574 | 397.3731 | 395.7853 | 422.6639 | 409.0984 | 435.2928 | 420.4771 | 449.7511 | 433.6438 | 430.9333 | 426.6648 | 424.7109 | 419.1792 | -241.4514 | -221.7491 | -720.1474 | -793.4534 | -553.4984 | -567.3898 | -585.4966 | -600.2514 | -616.7199 | -632.2441 | -652.4675 | -668.9584 | -128.5564
Residual Value | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5687.4581 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5687.4581
Total Cash Flow | -17211.9425 | 240.7079 | 231.0223 | 183.7998 | 450.6999 | 450.7889 | 397.6574 | 397.3731 | 395.7853 | 422.6639 | 409.0984 | 435.2928 | 420.4771 | 449.7511 | 433.6438 | 430.9333 | 426.6648 | 424.7109 | 419.1792 | -241.4514 | -221.7491 | 4967.3108 | -793.4534 | -553.4984 | -567.3898 | -585.4966 | -600.2514 | -616.7199 | -632.2441 | -652.4675 | -668.9584 | 5558.9017
| IRR | -2.514%
With $200/kW
Equity Return | 2000-04-01: -17211.9425
Actual Cash Flow | 0 | 240.7079 | 231.0223 | 183.7998 | 450.6999 | 450.7889 | 397.6574 | 397.3731 | 395.7853 | 422.6639 | 409.0984 | 435.2928 | 420.4771 | 449.7511 | 433.6438 | 430.9333 | 426.6648 | 424.7109 | 419.1792 | -241.4514 | -221.7491 | -720.1474 | -793.4534 | -553.4984 | -567.3898 | -585.4966 | -600.2514 | -616.7199 | -632.2441 | -652.4675 | -668.9584 | -128.5564
Residual Value | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 9500
Total Cash Flow | -17211.9425 | 240.7079 | 231.0223 | 183.7998 | 450.6999 | 450.7889 | 397.6574 | 397.3731 | 395.7853 | 422.6639 | 409.0984 | 435.2928 | 420.4771 | 449.7511 | 433.6438 | 430.9333 | 426.6648 | 424.7109 | 419.1792 | -241.4514 | -221.7491 | 8779.8526 | -793.4534 | -553.4984 | -567.3898 | -585.4966 | -600.2514 | -616.7199 | -632.2441 | -652.4675 | -668.9584 | 9371.4436
| IRR | -0.677%

## Debt
PROJECT NAME: Rochester
DEBT ISSUANCE | (This page is set up to solve for Debt Principal given DSCR, by using the Goal Seek Button)
('000 $) | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
| 2001-12-31 | 2002-12-31 | 2003-12-31 | 2004-12-31 | 2005-12-31 | 2006-12-31 | 2007-12-31 | 2008-12-31 | 2009-12-31 | 2010-12-31 | 2011-12-31 | 2012-12-31 | 2013-12-31 | 2014-12-31 | 2015-12-31 | 2016-12-31 | 2017-12-31 | 2018-12-31 | 2019-12-31 | 2020-12-31 | 2021-12-31 | 2022-12-31 | 2023-12-31 | 2024-12-31 | 2025-12-31 | 2026-12-31 | 2027-12-31 | 2028-12-31 | 2029-12-31 | 2030-12-31 | 2031-12-31
EBITDA by Debt Fiscal Year | 291.5761 | 820.8402 | 835.3909 | 1290.6233 | 1650.2192 | 1721.4157 | 1721.8753 | 1721.8686 | 1763.1336 | 1776.3947 | 1820.9455 | 1833.2511 | 1876.199 | 1887.2996 | 1878.0188 | 1867.6279 | 1850.9144 | 1835.3523 | 1815.7169 | 1794.3409 | -227.7113 | -1937.8716 | -2331.0125 | -2396.4313 | -2458.7138 | -2527.7644 | -2597.067 | -2670.1479 | -2739.7436 | -2816.8906 | -3620.7749 |  | 1
DSCR | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 |  | 6
Target DS | 224.2893 | 631.4155 | 642.6084 | 992.7871 | 1269.3994 | 1324.1659 | 1324.5194 | 1324.5143 | 1356.2566 | 1366.4575 | 1400.7273 | 1410.1932 | 1443.23 | 1451.7689 | 1444.6299 | 1436.6369 | 1423.7803 | 1411.8094 | 1396.7053 | 1380.2622 | -175.1625 | -1490.6705 | -1793.0865 | -1843.4087 | -1891.3183 | -1944.4342 | -1997.7439 | -2053.9599 | -2107.4951 | -2166.8389 | -2785.2115
Debt Principal | 2001-12-31: 11225.3482
Ending Balance at Maturity | 2001-12-31: 87.5813
| 2001-04-01 | 2002-04-01 | 2003-04-01 | 2004-04-01 | 2005-04-01 | 2006-04-01 | 2007-04-01 | 2008-04-01 | 2009-04-01 | 2010-04-01 | 2011-04-01 | 2012-04-01 | 2013-04-01 | 2014-04-01 | 2015-04-01 | 2016-04-01 | 2017-04-01 | 2018-04-01 | 2019-04-01 | 2020-04-01 | 2021-04-01 | 2022-04-01 | 2023-04-01 | 2024-04-01 | 2025-04-01 | 2026-04-01 | 2027-04-01 | 2028-04-01 | 2029-04-01 | 2030-04-01 | 2031-04-01 | 2031-05-01
Beginning Balance |  | 11388.9903 | 11703.3198 | 12032.859 | 12033.4852 | 11750.3667 | 11388.2141 | 10995.2069 | 10569.8315 | 10074.9031 | 9528.5077 | 8901.1264 | 8211.8576 | 7429.7499 | 6573.5527 | 5652.549 | 4662.5657 | 3601.6619 | 2463.9197 | 1245.7942 | 0 | 178.7851 | 1715.3389 | 3689.9433 | 5882.2873 | 8307.6744 | 10991.8414 | 13956.4317 | 17228.7246 | 20829.483 | 24795.0101
Addition |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal Payment |  | -152.6406 | -160.1351 | -0.63808 | 140.3546 | 178.7083 | 193.7829 | 208.0869 | 243.9113 | 268.7776 | 308.3896 | 337.4249 | 384.2654 | 420.2469 | 451.8988 | 484.8331 | 520.3483 | 557.7432 | 596.9944 | 638.6721 | -87.5813 | -752.6899 | -967.1071 | -1074.1219 | -1187.3082 | -1313.9698 | -1451.0432 | -1603.4671 | -1761.5171 | -1940.2816 | -2412.5977
Interest Payment |  | 234.2544 | 240.7197 | 249.5339 | 247.5107 | 241.6873 | 234.2384 | 228.0154 | 217.4055 | 207.2256 | 195.987 | 184.5889 | 168.9055 | 152.8188 | 135.2081 | 117.2209 | 95.902 | 74.0808 | 50.6791 | 25.8349 | 0 | 3.6773 | 35.2819 | 76.521 | 120.9898 | 170.8763 | 226.0856 | 289.4244 | 354.3689 | 428.4311 | 509.996
Ending Balance |  | 11541.6309 | 11863.4549 | 12033.4971 | 11893.1306 | 11571.6584 | 11194.4312 | 10787.12 | 10325.9203 | 9806.1255 | 9220.1181 | 8563.7015 | 7827.5921 | 7009.503 | 6121.6539 | 5167.7159 | 4142.2175 | 3043.9187 | 1866.9252 | 607.1221 | 87.5813 | 931.475 | 2682.446 | 4764.0652 | 7069.5954 | 9621.6442 | 12442.8846 | 15559.8988 | 18990.2418 | 22769.7646 | 27207.6079
Pro-rata EBITDA |  | 388.4398 | 421.0548 | 568.8798 | 787.7686 | 858.1453 | 858.5702 | 861.7188 | 871.2364 | 886.1845 | 900.4203 | 917.916 | 927.1154 | 942.0105 | 937.668 | 935.9771 | 924.1366 | 917.3498 | 907.9141 | 900.6888 | 221.1701 | -792.6807 | -1154.5055 | -1191.0321 | -1216.9135 | -1251.9358 | -1286.2537 | -1327.0459 | -1355.9816 | -1395.1073 | -2898.3531
DSCR |  | 1.2304 | 1.3105 | 1.146 | 1.2412 | 1.2961 | 1.2964 | 1.3012 | 1.2848 | 1.2971 | 1.2856 | 1.3018 | 1.2848 | 1.2977 | 1.2981 | 1.303 | 1.2981 | 1.2995 | 1.3001 | 1.3051 | -2.5253 | 1.0635 | 1.2877 | 1.2922 | 1.2868 | 1.2877 | 1.2877 | 1.2922 | 1.2868 | 1.2877 | 2.0812
(Debt Anniversary) | 2001-10-01 | 2002-10-01 | 2003-10-01 | 2004-10-01 | 2005-10-01 | 2006-10-01 | 2007-10-01 | 2008-10-01 | 2009-10-01 | 2010-10-01 | 2011-10-01 | 2012-10-01 | 2013-10-01 | 2014-10-01 | 2015-10-01 | 2016-10-01 | 2017-10-01 | 2018-10-01 | 2019-10-01 | 2020-10-01 | 2021-10-01 | 2022-10-01 | 2023-10-01 | 2024-10-01 | 2025-10-01 | 2026-10-01 | 2027-10-01 | 2028-10-01 | 2029-10-01 | 2030-10-01 | 2031-05-01
Beginning Balance | 11225.3482 | 11541.6309 | 11863.4549 | 12033.4971 | 11893.1306 | 11571.6584 | 11194.4312 | 10787.12 | 10325.9203 | 9806.1255 | 9220.1181 | 8563.7015 | 7827.5921 | 7009.503 | 6121.6539 | 5167.7159 | 4142.2175 | 3043.9187 | 1866.9252 | 607.1221 | 87.5813 | 931.475 | 2682.446 | 4764.0652 | 7069.5954 | 9621.6442 | 12442.8846 | 15559.8988 | 18990.2418 | 22769.7646 | 27207.6079
Addition | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal Payment | -163.6421 | -161.6889 | -169.4041 | 0.011819 | 142.764 | 183.4443 | 199.2243 | 217.2884 | 251.0171 | 277.6178 | 318.9918 | 351.8439 | 397.8422 | 435.9503 | 469.1049 | 505.1502 | 540.5555 | 579.9991 | 621.131 | 607.1221 | -91.2039 | -783.8639 | -1007.4973 | -1118.2221 | -1238.0789 | -1370.1973 | -1513.5471 | -1668.8258 | -1839.2412 | -2025.2455 | -1577.0957
Interest Payment | 387.9314 | 477.3966 | 490.7082 | 496.3818 | 491.9357 | 478.6387 | 463.0354 | 444.9687 | 427.1112 | 405.6109 | 381.3719 | 353.2527 | 323.7728 | 289.9342 | 253.2101 | 213.1683 | 171.3346 | 125.9057 | 77.2217 | 25.0438 | 3.6226 | 38.5286 | 110.9541 | 196.5177 | 292.4198 | 397.9802 | 514.6752 | 641.8458 | 785.4936 | 941.8261 | 184.4899
Ending Balance | 11388.9903 | 11703.3198 | 12032.859 | 12033.4852 | 11750.3667 | 11388.2141 | 10995.2069 | 10569.8315 | 10074.9031 | 9528.5077 | 8901.1264 | 8211.8576 | 7429.7499 | 6573.5527 | 5652.549 | 4662.5657 | 3601.6619 | 2463.9197 | 1245.7942 | 0 | 178.7851 | 1715.3389 | 3689.9433 | 5882.2873 | 8307.6744 | 10991.8414 | 13956.4317 | 17228.7246 | 20829.483 | 24795.0101 | 28784.7035
Pro-rata EBITDA | 291.5761 | 432.4003 | 414.3362 | 721.7435 | 862.4505 | 863.2703 | 863.305 | 860.1498 | 891.8971 | 890.2102 | 920.5252 | 915.3351 | 949.0837 | 945.2891 | 940.3509 | 931.6508 | 926.7777 | 918.0025 | 907.8028 | 893.6521 | -448.8814 | -1145.1909 | -1176.507 | -1205.3993 | -1241.8004 | -1275.8287 | -1310.8133 | -1343.102 | -1383.7621 | -1421.7833 | -722.4218
DSCR | 1.3 | 1.3696 | 1.2895 | 1.454 | 1.3588 | 1.3039 | 1.3036 | 1.2988 | 1.3152 | 1.3029 | 1.3144 | 1.2982 | 1.3152 | 1.3023 | 1.3019 | 1.297 | 1.3019 | 1.3005 | 1.2999 |  | 5.1253 | 1.5365 | 1.3123 | 1.3078 | 1.3132 | 1.3123 | 1.3123 | 1.3078 | 1.3132 | 1.3123 | 0.51876
| 2001-12-31 | 2002-12-31 | 2003-12-31 | 2004-12-31 | 2005-12-31 | 2006-12-31 | 2007-12-31 | 2008-12-31 | 2009-12-31 | 2010-12-31 | 2011-12-31 | 2012-12-31 | 2013-12-31 | 2014-12-31 | 2015-12-31 | 2016-12-31 | 2017-12-31 | 2018-12-31 | 2019-12-31 | 2020-12-31 | 2021-12-31 | 2022-12-31 | 2023-12-31 | 2024-12-31 | 2025-12-31 | 2026-12-31 | 2027-12-31 | 2028-12-31 | 2029-12-31 | 2030-12-31 | 2031-12-31
Beginning Balance | 11388.9903 | 11703.3198 | 12032.859 | 12033.4852 | 11750.3667 | 11388.2141 | 10995.2069 | 10569.8315 | 10074.9031 | 9528.5077 | 8901.1264 | 8211.8576 | 7429.7499 | 6573.5527 | 5652.549 | 4662.5657 | 3601.6619 | 2463.9197 | 1245.7942 | 0 | 178.7851 | 1715.3389 | 3689.9433 | 5882.2873 | 8307.6744 | 10991.8414 | 13956.4317 | 17228.7246 | 20829.483 | 24795.0101 | 28784.7035
Addition | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest Payment | 234.094 | 240.7197 | 247.4978 | 246.8344 | 241.6873 | 234.2384 | 226.1548 | 216.8115 | 207.2256 | 195.987 | 183.0828 | 168.444 | 152.8188 | 135.2081 | 116.2644 | 95.6399 | 74.0808 | 50.6791 | 25.6241 | 0 | 3.6773 | 35.2819 | 75.8966 | 120.6592 | 170.8763 | 226.0856 | 287.0628 | 353.4007 | 428.4311 | 509.996 | 1587.4961
Ending Balance | 11388.9903 | 11703.3198 | 12032.859 | 12033.4852 | 11750.3667 | 11388.2141 | 10995.2069 | 10569.8315 | 10074.9031 | 9528.5077 | 8901.1264 | 8211.8576 | 7429.7499 | 6573.5527 | 5652.549 | 4662.5657 | 3601.6619 | 2463.9197 | 1245.7942 | 0 | 178.7851 | 1715.3389 | 3689.9433 | 5882.2873 | 8307.6744 | 10991.8414 | 13956.4317 | 17228.7246 | 20829.483 | 24795.0101 | 28784.7035
Debt Service
Principal Payments | -163.6421 | -314.3295 | -329.5392 | -0.62626 | 283.1186 | 362.1525 | 393.0072 | 425.3754 | 494.9284 | 546.3954 | 627.3813 | 689.2688 | 782.1076 | 856.1972 | 921.0037 | 989.9833 | 1060.9038 | 1137.7423 | 1218.1254 | 1245.7942 | -178.7851 | -1536.5538 | -1974.6044 | -2192.3439 | -2425.3871 | -2684.1671 | -2964.5903 | -3272.2929 | -3600.7583 | -3965.5272 | -3989.6934
Interest Expense | 387.9314 | 945.745 | 972.1476 | 993.4134 | 986.2808 | 962.0133 | 931.5122 | 899.1389 | 861.3282 | 820.0621 | 773.346 | 720.9244 | 661.1224 | 595.5717 | 523.6262 | 446.6536 | 362.8765 | 274.0672 | 178.5799 | 76.5028 | 3.6226 | 45.8833 | 181.5179 | 348.9352 | 534.0688 | 739.7329 | 966.8464 | 1218.333 | 1493.2632 | 1798.6882 | 1204.4819
Net Debt Service | 224.2893 | 631.4155 | 642.6084 | 992.7871 | 1269.3994 | 1324.1659 | 1324.5194 | 1324.5143 | 1356.2566 | 1366.4575 | 1400.7273 | 1410.1932 | 1443.23 | 1451.7689 | 1444.6299 | 1436.6369 | 1423.7803 | 1411.8094 | 1396.7053 | 1322.297 | -175.1625 | -1490.6705 | -1793.0865 | -1843.4087 | -1891.3183 | -1944.4342 | -1997.7439 | -2053.9599 | -2107.4951 | -2166.8389 | -2785.2115
ACTUAL DSCR | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.357 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3
Accrued Debt Service
Principal Payments | -163.6421 | -314.3295 | -329.5392 | -0.62626 | 283.1186 | 362.1525 | 393.0072 | 425.3754 | 494.9284 | 546.3954 | 627.3813 | 689.2688 | 782.1076 | 856.1972 | 921.0037 | 989.9833 | 1060.9038 | 1137.7423 | 1218.1254 | 1245.7942 | -178.7851 | -1536.5538 | -1974.6044 | -2192.3439 | -2425.3871 | -2684.1671 | -2964.5903 | -3272.2929 | -3600.7583 | -3965.5272 | -3989.6934
Interest Expense | 622.0255 | 952.3707 | 978.9257 | 992.75 | 981.1337 | 954.5644 | 923.4287 | 889.7956 | 851.7423 | 808.8235 | 760.4417 | 706.2857 | 645.4971 | 577.961 | 504.6825 | 426.0291 | 341.3173 | 250.6655 | 153.5249 | 50.8787 | 7.3 | 77.4879 | 222.1326 | 393.6979 | 584.2859 | 794.9422 | 1027.8236 | 1284.6709 | 1568.2936 | 1880.2532 | 2281.9821
Net Debt Service | 458.3833 | 638.0411 | 649.3865 | 992.1238 | 1264.2523 | 1316.717 | 1316.4359 | 1315.1709 | 1346.6707 | 1355.219 | 1387.823 | 1395.5545 | 1427.6047 | 1434.1582 | 1425.6862 | 1416.0124 | 1402.2211 | 1388.4078 | 1371.6503 | 1296.6729 | -171.4852 | -1459.0659 | -1752.4719 | -1798.6461 | -1841.1012 | -1889.2249 | -1936.7667 | -1987.622 | -2032.4647 | -2085.274 | -1707.7114
Debt Summary
| Treasury (%) |  |  | 6.5%
| Spread (%) |  |  | 1.75%
| All In Coupon Rate (%) |  |  | 8.25%
| Term (years) |  |  | 20
| Average Life (years) |  |  | -53.2122
| Total amount ($ '000) |  |  | 11225.3482
| DSCR |  | Average | 1.3018
|  |  | Minimum | 1.3
Time Factor | 0 | 0.99932 | 1.9986 | 3.0007 | 4 | 4.9993 | 5.9986 | 7.0007 | 8 | 8.9993 | 9.9986 | 11.0007 | 12 | 12.9993 | 13.9986 | 15.0007 | 16 | 16.9993 | 17.9986 | 19.0007 | 20 | 20.9993 | 21.9986 | 23.0007 | 24 | 24.9993 | 25.9986 | 27.0007 | 28 | 28.9993 | 29.5797
| 0.49829 | 1.4976 | 2.4997 | 3.499 | 4.4983 | 5.4976 | 6.4997 | 7.499 | 8.4983 | 9.4976 | 10.4997 | 11.499 | 12.4983 | 13.4976 | 14.4997 | 15.499 | 16.4983 | 17.4976 | 18.4997 | 19.499 | 20.4983 | 21.4976 | 22.4997 | 23.499 | 24.4983 | 25.4976 | 26.4997 | 27.499 | 28.4983 | 29.4976 | 29.5797
Average Life | 2001-12-31: -53.2122
Goal Seek Debt

## Depreciation
PROJECT NAME: Rochester
DEPRECIATION SCHEDULE
|  |  | 0.66667 | 1.6667 | 2.6667 | 3.6667 | 4.6667 | 5.6667 | 6.6667 | 7.6667 | 8.6667 | 9.6667 | 10.6667 | 11.6667 | 12.6667 | 13.6667 | 14.6667 | 15.6667 | 16.6667 | 17.6667 | 18.6667 | 19.6667 | 20.6667 | 21.6667 | 22.6667 | 23.6667 | 24.6667 | 25.6667 | 26.6667 | 27.6667 | 28.6667 | 29.6667 | 30.6667
('000 $) |  |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
|  |  | 2001-12-31 | 2002-12-31 | 2003-12-31 | 2004-12-31 | 2005-12-31 | 2006-12-31 | 2007-12-31 | 2008-12-31 | 2009-12-31 | 2010-12-31 | 2011-12-31 | 2012-12-31 | 2013-12-31 | 2014-12-31 | 2015-12-31 | 2016-12-31 | 2017-12-31 | 2018-12-31 | 2019-12-31 | 2020-12-31 | 2021-12-31 | 2022-12-31 | 2023-12-31 | 2024-12-31 | 2025-12-31 | 2026-12-31 | 2027-12-31 | 2028-12-31 | 2029-12-31 | 2030-12-31 | 2031-12-31
US FEDERAL TAX DEPRECIATION & AMORTIZATION
Years
Plant & Equipment - MACRS | 15 |  | 5% | 9.5% | 8.55% | 7.7% | 6.93% | 6.23% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 2.95% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Start-Up Costs - SL | 5 |  | 13.33% | 20% | 20% | 20% | 20% | 6.667% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Transaction Costs - SL | 20 |  | 3.333% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 1.667% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Plant & Equipment - MACRS | 27062.6506 |  | 1353.1325 | 2570.9518 | 2313.8566 | 2083.8241 | 1875.4417 | 1686.0031 | 1596.6964 | 1599.4027 | 1596.6964 | 1599.4027 | 1596.6964 | 1599.4027 | 1596.6964 | 1599.4027 | 1596.6964 | 798.3482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Start-Up Costs - SL | 2272.022 |  | 302.9363 | 454.4044 | 454.4044 | 454.4044 | 454.4044 | 151.4681 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transaction Costs - SL | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Beginning Book Value | 29334.6726 |  | 1656.0688 | 3025.3562 | 2768.261 | 2538.2285 | 2329.8461 | 1837.4713 | 1596.6964 | 1599.4027 | 1596.6964 | 1599.4027 | 1596.6964 | 1599.4027 | 1596.6964 | 1599.4027 | 1596.6964 | 798.3482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending Value of Assets | 29334.6726 |  | 27678.6038 | 24653.2476 | 21884.9866 | 19346.7581 | 17016.912 | 15179.4407 | 13582.7444 | 11983.3417 | 10386.6453 | 8787.2427 | 7190.5463 | 5591.1436 | 3994.4472 | 2395.0446 | 798.3482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STATE TAX DEPRECIATION & AMORTIZATION
Years
Plant & Equipment - MACRS | 15 |  | 5% | 9.5% | 8.55% | 7.7% | 6.93% | 6.23% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 2.95% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Start-Up Costs - SL | 5 |  | 13.33% | 20% | 20% | 20% | 20% | 6.667% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Transaction Costs - SL | 20 |  | 3.333% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 1.667% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Plant & Equipment - MACRS | 27062.6506 |  | 1353.1325 | 2570.9518 | 2313.8566 | 2083.8241 | 1875.4417 | 1686.0031 | 1596.6964 | 1599.4027 | 1596.6964 | 1599.4027 | 1596.6964 | 1599.4027 | 1596.6964 | 1599.4027 | 1596.6964 | 798.3482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Start-Up Costs - SL | 2272.022 |  | 302.9363 | 454.4044 | 454.4044 | 454.4044 | 454.4044 | 151.4681 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transaction Costs - SL | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Beginning Book Value | 29334.6726 |  | 1656.0688 | 3025.3562 | 2768.261 | 2538.2285 | 2329.8461 | 1837.4713 | 1596.6964 | 1599.4027 | 1596.6964 | 1599.4027 | 1596.6964 | 1599.4027 | 1596.6964 | 1599.4027 | 1596.6964 | 798.3482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending Value of Assets | 29334.6726 |  | 27678.6038 | 24653.2476 | 21884.9866 | 19346.7581 | 17016.912 | 15179.4407 | 13582.7444 | 11983.3417 | 10386.6453 | 8787.2427 | 7190.5463 | 5591.1436 | 3994.4472 | 2395.0446 | 798.3482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BOOK DEPRECIATION & AMORTIZATION
| Years | Residual
Plant & Equipment - SL | 30 | 10% | 2% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 1%
Start-Up Costs - SL | 5 |  | 13.33% | 20% | 20% | 20% | 20% | 6.667% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Transaction Costs - SL | 20 |  | 3.333% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 1.667% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Plant & Equipment - MACRS | 27062.6506 |  | 541.253 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 270.6265
Start-Up Costs - SL | 2272.022 |  | 302.9363 | 454.4044 | 454.4044 | 454.4044 | 454.4044 | 151.4681 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transaction Costs - SL | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Beginning Book Value | 29334.6726 |  | 844.1893 | 1266.2839 | 1266.2839 | 1266.2839 | 1266.2839 | 963.3477 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 270.6265
Ending Book Value of Assets | 29334.6726 |  | 28490.4834 | 27224.1994 | 25957.9155 | 24691.6316 | 23425.3477 | 22462 | 21650.1205 | 20838.241 | 20026.3615 | 19214.482 | 18402.6024 | 17590.7229 | 16778.8434 | 15966.9639 | 15155.0844 | 14343.2048 | 13531.3253 | 12719.4458 | 11907.5663 | 11095.6868 | 10283.8072 | 9471.9277 | 8660.0482 | 7848.1687 | 7036.2892 | 6224.4096 | 5412.5301 | 4600.6506 | 3788.7711 | 2976.8916 | 2706.2651

## Taxes
PROJECT NAME: Rochester
TAXES
| 0.66667 | 1.6667 | 2.6667 | 3.6667 | 4.6667 | 5.6667 | 6.6667 | 7.6667 | 8.6667 | 9.6667 | 10.6667 | 11.6667 | 12.6667 | 13.6667 | 14.6667 | 15.6667 | 16.6667 | 17.6667 | 18.6667 | 19.6667 | 20.6667 | 21.6667 | 22.6667 | 23.6667 | 24.6667 | 25.6667 | 26.6667 | 27.6667 | 28.6667 | 29.6667 | 30.6667
('000 $) | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
| 2001-12-31 | 2002-12-31 | 2003-12-31 | 2004-12-31 | 2005-12-31 | 2006-12-31 | 2007-12-31 | 2008-12-31 | 2009-12-31 | 2010-12-31 | 2011-12-31 | 2012-12-31 | 2013-12-31 | 2014-12-31 | 2015-12-31 | 2016-12-31 | 2017-12-31 | 2018-12-31 | 2019-12-31 | 2020-12-31 | 2021-12-31 | 2022-12-31 | 2023-12-31 | 2024-12-31 | 2025-12-31 | 2026-12-31 | 2027-12-31 | 2028-12-31 | 2029-12-31 | 2030-12-31 | 2031-12-31
STATE TAXES
Adjusted Pretax Book Income | -1001.2176 | -1356.2167 | -1418.8014 | -815.5469 | -527.2294 | -196.0888 | -13.4157 | 18.6245 | 115.2987 | 154.8529 | 263.699 | 312.5051 | 435.6045 | 495.5722 | 559.0012 | 625.3931 | 695.2943 | 768.4436 | 845.2405 | 924.5459 | -1714.4894 | -3173.4913 | -3380.597 | -3616.3759 | -3872.9803 | -4151.5073 | -4454.1669 | -4782.7544 | -5140.1357 | -5527.93 | -5466.3765
Plus Book Depreciation & Amortization | 844.1893 | 1266.2839 | 1266.2839 | 1266.2839 | 1266.2839 | 963.3477 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 811.8795 | 270.6265
Less State Tax Depreciation | -1656.0688 | -3025.3562 | -2768.261 | -2538.2285 | -2329.8461 | -1837.4713 | -1596.6964 | -1599.4027 | -1596.6964 | -1599.4027 | -1596.6964 | -1599.4027 | -1596.6964 | -1599.4027 | -1596.6964 | -798.3482 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State Taxable Income | -1813.0971 | -3115.289 | -2920.7785 | -2087.4915 | -1590.7916 | -1070.2124 | -798.2325 | -768.8987 | -669.5182 | -632.6703 | -521.1179 | -475.018 | -349.2124 | -291.951 | -225.8157 | 638.9244 | 1507.1738 | 1580.3231 | 1657.12 | 1736.4255 | -902.6098 | -2361.6118 | -2568.7175 | -2804.4964 | -3061.1008 | -3339.6278 | -3642.2874 | -3970.8749 | -4328.2562 | -4716.0505 | -5195.75
State Income Tax Rate | bar: 2001-12-31 to 2031-12-31
Current State Income Tax Expense (Benefit) | -126.9168 | -218.0702 | -204.4545 | -146.1244 | -111.3554 | -74.9149 | -55.8763 | -53.8229 | -46.8663 | -44.2869 | -36.4783 | -33.2513 | -24.4449 | -20.4366 | -15.8071 | 44.7247 | 105.5022 | 110.6226 | 115.9984 | 121.5498 | -63.1827 | -165.3128 | -179.8102 | -196.3147 | -214.2771 | -233.7739 | -254.9601 | -277.9612 | -302.9779 | -330.1235 | -363.7025
Beginning NOL's | 0 | 126.9168 | 344.987 | 549.4415 | 695.5659 | 806.9213 | 881.8362 | 937.7125 | 991.5354 | 911.4849 | 864.6183 | 901.0966 | 934.3479 | 958.7927 | 979.2293 | 995.0364 | 950.3117 | 844.8095 | 0 | 0 | 0 | 63.1827 | 228.4955 | 408.3057 | 604.6205 | 818.8975 | 1052.6715 | 1307.6316 | 1585.5928 | 1825.3881 | 2053.3815
New NOL's | 126.9168 | 218.0702 | 204.4545 | 146.1244 | 111.3554 | 74.9149 | 55.8763 | 53.8229 | 46.8663 | 44.2869 | 36.4783 | 33.2513 | 24.4449 | 20.4366 | 15.8071 | 0 | 0 | 0 | 0 | 0 | 63.1827 | 165.3128 | 179.8102 | 196.3147 | 214.2771 | 233.7739 | 254.9601 | 277.9612 | 302.9779 | 330.1235 | 363.7025
Expired NOLs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -126.9168 | -91.1534 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -63.1827 | -102.1301 | -14.4974
NOL Utilization (8 years) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -44.7247 | -105.5022 | -110.6226 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending NOL's | 126.9168 | 344.987 | 549.4415 | 695.5659 | 806.9213 | 881.8362 | 937.7125 | 991.5354 | 911.4849 | 864.6183 | 901.0966 | 934.3479 | 958.7927 | 979.2293 | 995.0364 | 950.3117 | 844.8095 | 734.1869 | 0 | 0 | 63.1827 | 228.4955 | 408.3057 | 604.6205 | 818.8975 | 1052.6715 | 1307.6316 | 1585.5928 | 1825.3881 | 2053.3815 | 2402.5866
TOTAL STATE TAXES UTILIZING NOLs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 115.9984 | 121.5498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
FEDERAL TAXES
State Taxable Income | -1813.0971 | -3115.289 | -2920.7785 | -2087.4915 | -1590.7916 | -1070.2124 | -798.2325 | -768.8987 | -669.5182 | -632.6703 | -521.1179 | -475.018 | -349.2124 | -291.951 | -225.8157 | 638.9244 | 1507.1738 | 1580.3231 | 1657.12 | 1736.4255 | -902.6098 | -2361.6118 | -2568.7175 | -2804.4964 | -3061.1008 | -3339.6278 | -3642.2874 | -3970.8749 | -4328.2562 | -4716.0505 | -5195.75
Less: State Taxes | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -115.9984 | -121.5498 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Federal Taxable Income | -1813.0971 | -3115.289 | -2920.7785 | -2087.4915 | -1590.7916 | -1070.2124 | -798.2325 | -768.8987 | -669.5182 | -632.6703 | -521.1179 | -475.018 | -349.2124 | -291.951 | -225.8157 | 638.9244 | 1507.1738 | 1580.3231 | 1541.1216 | 1614.8757 | -902.6098 | -2361.6118 | -2568.7175 | -2804.4964 | -3061.1008 | -3339.6278 | -3642.2874 | -3970.8749 | -4328.2562 | -4716.0505 | -5195.75
Federal Tax Rate | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35%
Federal Tax Expense/ (Benefit) | -634.584 | -1090.3512 | -1022.2725 | -730.622 | -556.7771 | -374.5743 | -279.3814 | -269.1145 | -234.3314 | -221.4346 | -182.3913 | -166.2563 | -122.2243 | -102.1828 | -79.0355 | 223.6235 | 527.5108 | 553.1131 | 539.3926 | 565.2065 | -315.9134 | -826.5641 | -899.0511 | -981.5737 | -1071.3853 | -1168.8697 | -1274.8006 | -1389.8062 | -1514.8897 | -1650.6177 | -1818.5125
Beginning NOL's | 0 | 634.584 | 1724.9351 | 2747.2076 | 3477.8296 | 4034.6067 | 4409.181 | 4688.5624 | 4957.6769 | 5192.0083 | 5413.4429 | 5595.8342 | 5762.0905 | 5884.3148 | 5986.4977 | 6065.5332 | 5207.3256 | 4447.6712 | 0 | 0 | 0 | 315.9134 | 1142.4776 | 2041.5287 | 3023.1024 | 4094.4877 | 5263.3574 | 6538.158 | 7927.9642 | 9442.8539 | 11093.4716
New NOL's | 634.584 | 1090.3512 | 1022.2725 | 730.622 | 556.7771 | 374.5743 | 279.3814 | 269.1145 | 234.3314 | 221.4346 | 182.3913 | 166.2563 | 122.2243 | 102.1828 | 79.0355 | 0 | 0 | 0 | 0 | 0 | 315.9134 | 826.5641 | 899.0511 | 981.5737 | 1071.3853 | 1168.8697 | 1274.8006 | 1389.8062 | 1514.8897 | 1650.6177 | 1818.5125
Expired NOLs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -634.584 | -232.1436 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NOL Utilization (15 years) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -223.6235 | -527.5108 | -553.1131 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending NOL's | 634.584 | 1724.9351 | 2747.2076 | 3477.8296 | 4034.6067 | 4409.181 | 4688.5624 | 4957.6769 | 5192.0083 | 5413.4429 | 5595.8342 | 5762.0905 | 5884.3148 | 5986.4977 | 6065.5332 | 5207.3256 | 4447.6712 | 3894.5581 | 0 | 0 | 315.9134 | 1142.4776 | 2041.5287 | 3023.1024 | 4094.4877 | 5263.3574 | 6538.158 | 7927.9642 | 9442.8539 | 11093.4716 | 12911.9841
TOTAL STATE TAXES UTILIZING NOLs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 539.3926 | 565.2065 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## IDC
PROJECT NAME: Rochester
IDC CALCULATIONS
Total Construction & Other Costs (000$): |  | 33317.08
No. of Construction Months: |  | 5
Interest During Construction: |  | 8.25% | 0.02292%
|  | Annual | Daily (360-Day)
|  |  | Turbine Cost | Construction &
IDC Calculations |  |  | including Carry | Other Cost | Principal | Balance | Interest | Cum. Interest
Month | Date | % Drawn | (000$) | (000$) | (000$) | (000$) | (000$) | (000$)
1 | 2000-04-01 | 10% | 42781.3488 | 3331.708 | 46113.0568 | 46113.0568 | 0 | 0
2 | 2000-05-01 | 4% | 0 | 1332.6832 | 1332.6832 | 47762.7673 | 317.0273 | 317.0273
3 | 2000-06-01 | 8% | 0 | 2665.3664 | 2665.3664 | 50767.4483 | 339.3147 | 656.3419
4 | 2000-07-01 | 12% | 0 | 3998.0496 | 3998.0496 | 55114.5242 | 349.0262 | 1005.3681
5 | 2000-08-01 | 12% | 0 | 3998.0496 | 3998.0496 | 59504.1165 | 391.5428 | 1396.9109
6 | 2000-09-01 | 12% | 0 | 3998.0496 | 3998.0496 | 63924.8933 | 422.7272 | 1819.6381
7 | 2000-10-01 | 10% | 0 | 3331.708 | 3331.708 | 67256.6013 | 0 | 1819.6381
8 | 2000-11-01 | 8% | 0 | 2665.3664 | 2665.3664 | 69921.9677 | 0 | 1819.6381
9 | 2000-12-01 | 6% | 0 | 1999.0248 | 1999.0248 | 71920.9925 | 0 | 1819.6381
10 | 2001-01-01 | 6% | 0 | 1999.0248 | 1999.0248 | 73920.0173 | 0 | 1819.6381
11 | 2001-02-01 | 3% | 0 | 999.5124 | 999.5124 | 74919.5297 | 0 | 1819.6381
12 | 2001-03-01 | 4% | 0 | 1332.6832 | 1332.6832 | 76252.2129 | 0 | 1819.6381
13 | 2001-04-01 | 5% | 0 | 1665.854 | 1665.854 | 77918.0669 | 0 | 1819.6381
14 | 2001-05-01 | 0% | 0 | 0 | 0 | 77918.0669 | 0 | 1819.6381
15 | 2001-06-01 | 0% | 0 | 0 | 0 | 77918.0669 | 0 | 1819.6381
16 | 2001-07-01 | 0% | 0 | 0 | 0 | 77918.0669 | 0 | 1819.6381
17 | 2001-08-01 | 0% | 0 | 0 | 0 | 77918.0669 | 0 | 1819.6381
18 | 2001-09-01 | 0% | 0 | 0 | 0 | 77918.0669 | 0 | 1819.6381
19 | 2001-10-01 | 0% | 0 | 0 | 0 | 77918.0669 | 0 | 1819.6381
|  | 100% | 42781.3488 | 33317.08 | 76098.4288 |  | 1819.6381
TURBINE DELIVERY SCHEDULE
*Rough Estimate by Bruce Golden. Please double-check for deal specific
[6 empty] | Turbine No. | 1 | 2 | 3 | 4 | 5
Unit | Turbines | Delivery | LD'S |  | Month | No. of Months | 13 | 13.5 | 14 | 14.5 | 15
Number | Delivered | Schedule | Enforced On |  | 1 |  | 10% | 10% | 10% | 10% | 10%
1-3 | 3 | 2000-07-30 | 2000-10-30 |  | 2 |  | 4% | 4% | 4% | 4% | 4%
4-6 | 3 | 2000-08-30 | 2000-10-30 |  | 3 |  | 8% | 8% | 8% | 8% | 8%
7-8 | 2 | 2000-09-30 | 2000-10-30 |  | 4 |  | 12% | 12% | 10% | 10% | 10%
9-11 | 3 | 2000-10-30 | 2000-10-30 |  | 5 |  | 12% | 12% | 11% | 11% | 10%
12-13 | 2 | 2000-11-30 | 2000-11-30 |  | 6 |  | 12% | 12% | 11% | 11% | 10%
14-15 | 2 | 2000-12-30 | 2000-12-30 |  | 7 |  | 10% | 10% | 10% | 10% | 8%
16-18 | 3 | 2000-01-30 | 2000-01-30 |  | 8 |  | 8% | 8% | 8% | 8% | 8%
19-20 | 2 | 2001-02-28 | 2001-02-28 |  | 9 |  | 6% | 6% | 6% | 6% | 6%
21-22 | 2 | 2001-03-30 | 2001-03-30 |  | 10 |  | 6% | 6% | 6% | 6% | 6%
23-24 | 2 | 2001-04-30 | 2001-04-30 |  | 11 |  | 3% | 3% | 3% | 3% | 3%
[5 empty] | 12 |  | 4% | 4% | 4% | 4% | 4%
[5 empty] | 13 |  | 5% | 5% | 4% | 4% | 4%
Summary (000$): |  |  |  |  | 14 |  | 0% | 0% | 5% | 5% | 4%
Basis Per Turbine |  |  | 13950 |  | 15 |  | 0% | 0% | 0% | 0% | 5%
Carry Cost Per Turbine |  |  | 289.6163 |  | Sum |  | 100% | 100% | 100% | 100% | 100%
WestLB Structuring, Restructuring & Legal Fees |  |  | 20.8333
Total Price |  |  | 14260.4496
Note on H40: Ben Rogers: Changed from 2 turbines (deal specific)