## Calculator-Hourly
ECONOMIC CALCULATOR FOR FIRM VERSUS NON-FIRM PURCHASE
|  | Current Hour = | 14 |  | Next Hour = | 15 | [5 empty] | PV
|  | Enter Local Generation Avail: | 529 |  | Projected Control Area Load: | 840 |  | Local Avail. | 529 |  |  | IID | 80
|  | Enter Remote Generation: | 581 |  | PNM Contingent: | 41 |  | Gen. | 397 |  |  | real/time | 80
|  | Firm Purchases into EPE: | 25 |  | TNP Firm: | 25 |  | UnLoaded | 132 |  |  | net/pre | -75
|  | Non-Firm Purchases into EPE: | 0 |  | IID Firm + Contingent: | 150 | [5 empty] | Tep/exc | 300
|  | SPS Firm: | 0 |  | Firm Sales: | 0 |  | 103 | Local | 529 |  | iso | 0
|  | Reserves: | 0 |  | Non-Firm Sales: | 0 | -load | 50 | Copper | 69 |  |  | 385
|  | Total Generation for Load: | 1135 |  | Total Load Next Hour: | 1056 |  | 53 |  | 598 |  | (If total goes over 600 EPE has to wheel back)
|  | Enter Total Spin Required: | 78 |  | PNM Contract: | 46 | (Contingent upon units 7 & 8 number automatically feeds from the calculation tab)
|  | Spin Required: | 39 |  | IID Firm Contract: | 100 |  |  |  | Enter Blue Numbers
|  | Non-Spin Required: | 39 |  | TNP Contract: | 25
|  | Spin Required + Regulating Margin: | 69 |  | SPS Contract: | 100 | Lambda = | 47.74 |  |  |  | Spin from Ramp rates
[7 empty] | System avg. = | 25.7
|  | *Amount of Spin: | 79 | Weighted Avg. Purchase Power Calculator | [7 empty] | Output | Highs' | Spin | RR | unloaded
|  | Amount of Non-Spin: | 50 |  |  | MWH | $/MWH |  |  |  | Unit 1 | 50 | 80 | 30 | 3 | 30
|  | Total Spin: | 129 |  | Firm Block 1: | 0 | 0 | 0 |  |  | 2 | 70 | 82 | 12 | 4.5 | 12
|  | Spin Available/(Deficient): | 40 |  | Firm Block 2: | 0 | 0 | 0 |  |  | 3 | 0 | 0 | 0 | 5.1 | 0
|  | Enter Firm Price: | 0 |  | Firm Block 3: | 0 | 0 | 0 |  |  | GT1 | 0 | 0 | 0 | 10 | 0
|  | Enter Non-Firm Price: | 0 |  | Firm Block 4: | 0 | 0 | 0 |  |  | GT2 | 0 | 0 | 0 | 10 | 0
[5 empty] | Firm Block 5: | 0 | 0 | 0 |  |  | GT1S | 0 | 0 | 0 | 3.33 | 0
|  | MWH of Firm Avail./(Deficient): | 40 |  | Total: | 0 | NA | 0 | 0 |  | GT2S | 0 | 0 | 0 | 3.6 | 0
|  | Total Cost of Firm: | 0 |  |  | MWH | $/MWH |  |  |  | NM4 | 148 | 214 | 36 | 3.6 | 66
|  | MWH of Non-Firm Avail./(Deficient): | 40 |  | Non-Firm Block 1: | 0 | 0 | 0 |  |  | Copper | 0 | 0 | 0 | 10 | 0
|  | Total Cost of Non-Firm: | 0 |  | Non-Firm Block 2: | 0 | 0 | 0 |  |  | 6 | 0 | 0 | 0 | 2 | 0
[5 empty] | Non-Firm Block 3: | 0 | 0 | 0 |  |  | 7 | 33 | 33 | 0 | 2.1 | 0
[5 empty] | Non-Firm Block 4: | 0 | 0 | 0 |  |  | 8 | 96 | 120 | 10 | 1 | 24
[5 empty] | Non-Firm Block 5: | 0 | 0 | 0 |  |  | Total | 397 | 529 | 88 |  | 132
[5 empty] | Total: | 0 | NA | 0 | 0 |  | FC | 49 | 108
[11 empty] | PV | 532 | 581 |  | Lost Gen. | 44
NOTE: | * ACTUAL SPIN SHOW MAY BE LESS SINCE UNIT RAMP RATES ARE NOT CONSIDERED. | [6 empty] | 0 |  |  |  | 581 | 689

## Load
Nov 00
Week 1
|  | 30 | 31 | 1 | 2 | 3 | 4 | 5
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | DayChange | WeChange
| 1 | 548 | 609 | 600 | 633 | 605 | 616 | 601 | 599 | 608.5 | 1 | -45.2 | -17.5
| 2 | 534 | 584 | 592 | 596 | 604 | 605 | 577 | 582 | 591 | 2 | -17 | -18
| 3 | 544 | 566 | 583 | 591 | 585 | 594 | 552 | 573.8 | 573 | 3 | -8.2 | -13.5
| 4 | 539 | 561 | 565 | 596 | 594 | 564 | 555 | 571 | 559.5 | 4 | -2.8 | 25.5
| 5 | 544 | 591 | 566 | 589 | 635 | 606 | 564 | 585 | 585 | 5 | 14 | 18
| 6 | 614 | 641 | 629 | 654 | 718 | 626 | 580 | 651.2 | 603 | 6 | 66.2 | -6.5 | 655
| 7 | 698 | 720 | 712 | 745 | 773 | 623 | 570 | 729.6 | 596.5 | 7 | 78.4 | 22 | 677
| 8 | 736 | 764 | 758 | 762 | 791 | 662 | 575 | 762.2 | 618.5 | 8 | 32.6 | 41 | 718
| 9 | 762 | 778 | 785 | 771 | 824 | 709 | 610 | 784 | 659.5 | 9 | 21.8 | 50.5 | 768.5
| 10 | 779 | 792 | 792 | 774 | 871 | 731 | 689 | 801.6 | 710 | 10 | 17.6 | 23 | 791.5
| 11 | 793 | 802 | 806 | 780 | 871 | 771 | 695 | 810.4 | 733 | 11 | 8.8 | 0 | 791.5
| 12 | 803 | 815 | 801 | 775 | 882 | 762 | 704 | 815.2 | 733 | 12 | 4.8 | 20 | 811.5
| 13 | 804 | 811 | 786 | 773 | 882 | 778 | 728 | 811.2 | 753 | 13 | -4 | -0.5 | 811
| 14 | 819 | 813 | 815 | 776 | 889 | 776 | 729 | 822.4 | 752.5 | 14 | 11.2 | -18 | 793
| 15 | 815 | 824 | 794 | 768 | 881 | 760 | 709 | 816.4 | 734.5 | 15 | -6 | 11.5 | 804.5
| 16 | 796 | 793 | 781 | 754 | 871 | 760 | 732 | 799 | 746 | 16 | -17.4 | -16 | 788.5
| 17 | 785 | 796 | 766 | 755 | 843 | 752 | 708 | 789 | 730 | 17 | -10 | 32.5 | 821
| 18 | 862 | 837 | 800 | 773 | 817 | 780 | 745 | 817.8 | 762.5 | 18 | 28.8 | 62 | 883
| 19 | 871 | 812 | 876 | 833 | 868 | 827 | 822 | 852 | 824.5 | 19 | 34.2 | -29.5 | 853.5
| 20 | 854 | 807 | 873 | 819 | 841 | 793 | 797 | 838.8 | 795 | 20 | -13.2 | -11.5 | 842
| 21 | 831 | 793 | 857 | 798 | 792 | 788 | 779 | 814.2 | 783.5 | 21 | -24.6 | -70.5 | 771.5
| 22 | 800 | 780 | 790 | 770 | 760 | 737 | 689 | 780 | 713 | 22 | -34.2 | -87 | 684.5
| 23 | 707 | 707 | 722 | 676 | 693 | 635 | 617 | 701 | 626 | 23 | -79 | -13 | 671.5
| 24 | 659 | 646 | 650 | 623 | 643 | 628 | 598 | 644.2 | 613 | 24 | -56.8 | -4.5
| Total | 17497 | 17642 | 17699 | 17384 | 18533 | 16883 | 15925 | 17751 | 16404
Week 2
|  | 6 | 7 | 8 | 9 | 10 | 11 | 12
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 570 | 593 | 605 | 612 | 605 | 616 | 601 | 597 | 608.5 | 1 | -32.4
| 2 | 556 | 587 | 595 | 581 | 604 | 605 | 577 | 584.6 | 591 | 2 | -12.4
| 3 | 561 | 589 | 572 | 605 | 585 | 594 | 552 | 582.4 | 573 | 3 | -2.2
| 4 | 567 | 606 | 577 | 596 | 594 | 564 | 555 | 588 | 559.5 | 4 | 5.6
| 5 | 606 | 650 | 653 | 626 | 635 | 606 | 564 | 634 | 585 | 5 | 46
| 6 | 698 | 752 | 741 | 733 | 718 | 626 | 580 | 728.4 | 603 | 6 | 94.4 | 765 | 709
| 7 | 764 | 797 | 792 | 770 | 773 | 623 | 570 | 779.2 | 596.5 | 7 | 50.8 | 815.8 | 759.8
| 8 | 793 | 799 | 789 | 803 | 791 | 662 | 575 | 795 | 618.5 | 8 | 15.8 | 831.6 | 775.6
| 9 | 816 | 821 | 815 | 812 | 824 | 709 | 610 | 817.6 | 659.5 | 9 | 22.6 | 854.2 | 798.2
| 10 | 829 | 827 | 824 | 866 | 871 | 731 | 689 | 843.4 | 710 | 10 | 25.8 | 880 | 824
| 11 | 830 | 818 | 831 | 867 | 871 | 771 | 695 | 843.4 | 733 | 11 | 0 | 880 | 824
| 12 | 819 | 803 | 831 | 861 | 882 | 762 | 704 | 839.2 | 733 | 12 | -4.2 | 875.8 | 819.8
| 13 | 814 | 801 | 858 | 877 | 882 | 778 | 728 | 846.4 | 753 | 13 | 7.2 | 883 | 827
| 14 | 803 | 791 | 867 | 888 | 889 | 776 | 729 | 847.6 | 752.5 | 14 | 1.2 | 884.2 | 828.2
| 15 | 788 | 809 | 861 | 876 | 881 | 760 | 709 | 843 | 734.5 | 15 | -4.6 | 879.6 | 823.6
| 16 | 788 | 788 | 849 | 865 | 871 | 760 | 732 | 832.2 | 746 | 16 | -10.8 | 868.8 | 812.8
| 17 | 778 | 774 | 828 | 850 | 843 | 752 | 708 | 814.6 | 730 | 17 | -17.6 | 851.2 | 795.2
| 18 | 809 | 791 | 840 | 834 | 817 | 780 | 745 | 818.2 | 762.5 | 18 | 3.6 | 854.8 | 798.8
| 19 | 875 | 877 | 879 | 897 | 868 | 827 | 822 | 879.2 | 824.5 | 19 | 61 | 915.8 | 859.8
| 20 | 859 | 842 | 888 | 879 | 841 | 793 | 797 | 861.8 | 795 | 20 | -17.4 | 898.4 | 842.4
| 21 | 819 | 799 | 848 | 838 | 792 | 788 | 779 | 819.2 | 783.5 | 21 | -42.6 | 855.8 | 799.8
| 22 | 746 | 742 | 762 | 765 | 760 | 737 | 689 | 755 | 713 | 22 | -64.2
| 23 | 667 | 665 | 686 | 697 | 693 | 635 | 617 | 681.6 | 626 | 23 | -73.4
| 24 | 610 | 608 | 640 | 646 | 643 | 628 | 598 | 629.4 | 613 | 24 | -52.2
| Total | 17765 | 17929 | 18431 | 18644 | 18533 | 16883 | 15925 | 18260.4 | 16404
Week 3
|  | 13 | 14 | 15 | 16 | 17 | 18 | 19
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 558 | 619 | 599 | 595 | 604 | 593 | 573 | 595 | 583 | 1 | -35.6
| 2 | 548 | 595 | 586 | 582 | 601 | 597 | 572 | 582.4 | 584.5 | 2 | -12.6
| 3 | 562 | 596 | 575 | 575 | 567 | 576 | 549 | 575 | 562.5 | 3 | -7.4
| 4 | 579 | 609 | 611 | 577 | 562 | 573 | 563 | 587.6 | 568 | 4 | 12.6
| 5 | 641 | 632 | 643 | 638 | 633 | 583 | 554 | 637.4 | 568.5 | 5 | 49.8
| 6 | 717 | 719 | 741 | 708 | 719 | 608 | 588 | 720.8 | 598 | 6 | 83.4 | 705
| 7 | 762 | 778 | 783 | 760 | 755 | 658 | 569 | 767.6 | 613.5 | 7 | 46.8 | 751.8
| 8 | 756 | 794 | 795 | 779 | 777 | 688 | 609 | 780.2 | 648.5 | 8 | 12.6 | 764.4
| 9 | 784 | 807 | 835 | 798 | 805 | 715 | 630 | 805.8 | 672.5 | 9 | 25.6 | 790
| 10 | 829 | 828 | 859 | 794 | 849 | 750 | 668 | 831.8 | 709 | 10 | 26 | 816
| 11 | 847 | 848 | 858 | 805 | 855 | 729 | 682 | 842.6 | 705.5 | 11 | 10.8 | 826.8
| 12 | 869 | 866 | 888 | 798 | 862 | 742 | 677 | 856.6 | 709.5 | 12 | 14 | 840.8
| 13 | 892 | 878 | 858 | 797 | 871 | 726 | 685 | 859.2 | 705.5 | 13 | 2.6 | 843.4
| 14 | 905 | 870 | 852 | 802 | 868 | 716 | 704 | 859.4 | 710 | 14 | 0.2 | 843.6
| 15 | 911 | 897 | 850 | 799 | 861 | 691 | 669 | 863.6 | 680 | 15 | 4.2 | 847.8
| 16 | 900 | 888 | 844 | 776 | 833 | 707 | 681 | 848.2 | 694 | 16 | -15.4 | 832.4
| 17 | 858 | 857 | 828 | 778 | 800 | 691 | 705 | 824.2 | 698 | 17 | -24 | 808.4
| 18 | 840 | 901 | 831 | 845 | 836 | 731 | 748 | 850.6 | 739.5 | 18 | 26.4 | 834.8
| 19 | 931 | 901 | 909 | 847 | 850 | 778 | 783 | 887.6 | 780.5 | 19 | 37 | 871.8
| 20 | 894 | 895 | 871 | 863 | 826 | 763 | 778 | 869.8 | 770.5 | 20 | -17.8 | 854
| 21 | 820 | 812 | 823 | 787 | 783 | 749 | 742 | 805 | 745.5 | 21 | -64.8 | 789.2
| 22 | 772 | 774 | 724 | 742 | 742 | 699 | 687 | 750.8 | 693 | 22 | -54.2 | 735
| 23 | 680 | 679 | 667 | 663 | 658 | 648 | 617 | 669.4 | 632.5 | 23 | -81.4 | 653.6
| 24 | 639 | 640 | 621 | 612 | 641 | 593 | 590 | 630.6 | 591.5 | 24 | -38.8 | 614.8
| Total | 18494 | 18683 | 18451 | 17720 | 18158 | 16304 | 15623 | 18301.2 | 15963.5
Week 4
|  | 20 | 21 | 22 | 23 | 24 | 25 | 26
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 564 | 593 | 599 | 574 | 596 | 599 | 552 | 585.2 | 575.5 | 1 | -35.6
| 2 | 569 | 587 | 575 | 573 | 575 | 575 | 516 | 575.8 | 545.5 | 2 | -9.4
| 3 | 562 | 589 | 577 | 555 | 571 | 584 | 525 | 570.8 | 554.5 | 3 | -5
| 4 | 586 | 606 | 571 | 571 | 577 | 577 | 524 | 582.2 | 550.5 | 4 | 11.4
| 5 | 604 | 650 | 628 | 622 | 626 | 589 | 523 | 626 | 556 | 5 | 43.8
| 6 | 702 | 752 | 715 | 713 | 704 | 618 | 560 | 717.2 | 589 | 6 | 91.2 | 804
| 7 | 756 | 797 | 745 | 761 | 780 | 647 | 569 | 767.8 | 608 | 7 | 50.6 | 854.6 | 864
| 8 | 787 | 799 | 791 | 775 | 788 | 689 | 573 | 788 | 631 | 8 | 20.2 | 874.8 | 884.2
| 9 | 802 | 821 | 815 | 794 | 793 | 738 | 621 | 805 | 679.5 | 9 | 17 | 891.8 | 901.2
| 10 | 850 | 827 | 818 | 806 | 813 | 740 | 635 | 822.8 | 687.5 | 10 | 17.8 | 909.6 | 919
| 11 | 830 | 818 | 848 | 808 | 832 | 727 | 651 | 827.2 | 689 | 11 | 4.4 | 914 | 923.4
| 12 | 824 | 803 | 861 | 815 | 831 | 728 | 660 | 826.8 | 694 | 12 | -0.4 | 913.6 | 923
| 13 | 842 | 801 | 854 | 827 | 834 | 702 | 660 | 831.6 | 681 | 13 | 4.8 | 918.4 | 927.8
| 14 | 856 | 791 | 853 | 826 | 824 | 678 | 662 | 830 | 670 | 14 | -1.6 | 916.8 | 926.2
| 15 | 836 | 809 | 854 | 820 | 804 | 667 | 649 | 824.6 | 658 | 15 | -5.4 | 911.4 | 920.8
| 16 | 839 | 788 | 818 | 817 | 803 | 675 | 654 | 813 | 664.5 | 16 | -11.6 | 899.8 | 909.2
| 17 | 812 | 774 | 798 | 784 | 782 | 691 | 657 | 790 | 674 | 17 | -23 | 876.8 | 886.2
| 18 | 836 | 791 | 845 | 835 | 811 | 705 | 725 | 823.6 | 715 | 18 | 33.6 | 910.4 | 919.8
| 19 | 885 | 877 | 858 | 854 | 845 | 746 | 773 | 863.8 | 759.5 | 19 | 40.2 | 950.6 | 960
| 20 | 869 | 842 | 856 | 838 | 804 | 734 | 746 | 841.8 | 740 | 20 | -22 | 928.6 | 938
| 21 | 817 | 799 | 818 | 804 | 799 | 720 | 714 | 807.4 | 717 | 21 | -34.4 | 894.2 | 903.6
| 22 | 759 | 742 | 729 | 732 | 739 | 683 | 693 | 740.2 | 688 | 22 | -67.2 | 827 | 836.4
| 23 | 683 | 665 | 687 | 664 | 685 | 618 | 637 | 676.8 | 627.5 | 23 | -63.4 | 763.6
| 24 | 619 | 608 | 618 | 619 | 640 | 575 | 588 | 620.8 | 581.5 | 24 | -56
| Total | 18089 | 17929 | 18131 | 17787 | 17856 | 16005 | 15067 | 17958.4 | 15536
Week 5
|  | 27 | 28 | 29 | 30 | 1 | 2 | 3
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 548 | 609 | 600 | 633 | 605 | 616 | 601 | 599 | 608.5 | 1 | -45.2
| 2 | 534 | 584 | 592 | 596 | 604 | 605 | 577 | 582 | 591 | 2 | -17
| 3 | 544 | 566 | 583 | 591 | 585 | 594 | 552 | 573.8 | 573 | 3 | -8.2
| 4 | 539 | 561 | 565 | 596 | 594 | 564 | 555 | 571 | 559.5 | 4 | -2.8
| 5 | 544 | 591 | 566 | 589 | 635 | 606 | 564 | 585 | 585 | 5 | 14
| 6 | 614 | 641 | 629 | 654 | 718 | 626 | 580 | 651.2 | 603 | 6 | 66.2 | 668
| 7 | 698 | 720 | 712 | 745 | 773 | 623 | 570 | 729.6 | 596.5 | 7 | 78.4 | 746.4
| 8 | 736 | 764 | 758 | 762 | 791 | 662 | 575 | 762.2 | 618.5 | 8 | 32.6 | 779
| 9 | 762 | 778 | 785 | 771 | 824 | 709 | 610 | 784 | 659.5 | 9 | 21.8 | 800.8
| 10 | 779 | 792 | 792 | 774 | 871 | 731 | 689 | 801.6 | 710 | 10 | 17.6 | 818.4
| 11 | 793 | 802 | 806 | 780 | 871 | 771 | 695 | 810.4 | 733 | 11 | 8.8 | 827.2
| 12 | 803 | 815 | 801 | 775 | 882 | 762 | 704 | 815.2 | 733 | 12 | 4.8 | 832
| 13 | 804 | 811 | 786 | 773 | 882 | 778 | 728 | 811.2 | 753 | 13 | -4 | 828
| 14 | 819 | 813 | 815 | 776 | 889 | 776 | 729 | 822.4 | 752.5 | 14 | 11.2 | 839.2
| 15 | 815 | 824 | 794 | 768 | 881 | 760 | 709 | 816.4 | 734.5 | 15 | -6 | 833.2
| 16 | 796 | 793 | 781 | 754 | 871 | 760 | 732 | 799 | 746 | 16 | -17.4 | 815.8
| 17 | 785 | 796 | 766 | 755 | 843 | 752 | 708 | 789 | 730 | 17 | -10 | 805.8
| 18 | 862 | 837 | 800 | 773 | 817 | 780 | 745 | 817.8 | 762.5 | 18 | 28.8 | 834.6
| 19 | 871 | 812 | 876 | 833 | 868 | 827 | 822 | 852 | 824.5 | 19 | 34.2 | 868.8
| 20 | 854 | 807 | 873 | 819 | 841 | 793 | 797 | 838.8 | 795 | 20 | -13.2 | 855.6
| 21 | 831 | 793 | 857 | 798 | 792 | 788 | 779 | 814.2 | 783.5 | 21 | -24.6 | 831
| 22 | 800 | 780 | 790 | 770 | 760 | 737 | 689 | 780 | 713 | 22 | -34.2 | 796.8
| 23 | 707 | 707 | 722 | 676 | 693 | 635 | 617 | 701 | 626 | 23 | -79
| 24 | 659 | 646 | 650 | 623 | 643 | 628 | 598 | 644.2 | 613 | 24 | -56.8
| Total | 17497 | 17642 | 17699 | 17384 | 18533 | 16883 | 15925 | 17751 | 16404
| Nov 00 | Week 5 1: Weekly Average
Loads are averaged from the previous five weeks
| Scalar | 27: 0.95
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 529.72 | 574.37 | 570.57 | 578.93 | 572.85 | 577.6 | 556.32 | 565.288 | 593.875 | 1 | -36.86
| 2 | 520.79 | 558.03 | 558.6 | 556.32 | 567.72 | 567.53 | 535.61 | 552.292 | 578 | 2 | -12.996
| 3 | 526.87 | 552.14 | 549.1 | 554.23 | 549.67 | 558.98 | 518.7 | 546.402 | 565.75 | 3 | -5.89
| 4 | 533.9 | 559.17 | 548.91 | 557.84 | 554.99 | 539.98 | 522.88 | 550.962 | 559.375 | 4 | 4.56
| 5 | 558.41 | 591.66 | 580.64 | 582.16 | 601.16 | 568.1 | 526.11 | 582.806 | 573.625 | 5 | 31.844
| 6 | 635.55 | 665.95 | 656.45 | 657.78 | 679.63 | 589.76 | 548.72 | 659.072 | 598.25 | 6 | 76.266 | 804
| 7 | 698.82 | 724.28 | 711.36 | 718.39 | 732.26 | 603.06 | 541.12 | 717.022 | 603.625 | 7 | 57.95 | 861.95
| 8 | 723.52 | 744.8 | 739.29 | 737.39 | 748.22 | 638.97 | 552.33 | 738.644 | 629.125 | 8 | 21.622 | 883.572
| 9 | 745.94 | 760.95 | 766.65 | 749.74 | 773.3 | 680.2 | 585.39 | 759.316 | 667.75 | 9 | 20.672 | 904.244
| 10 | 772.54 | 772.54 | 776.15 | 762.66 | 812.25 | 699.77 | 640.3 | 779.228 | 704.125 | 10 | 19.912 | 924.156
| 11 | 777.67 | 776.72 | 788.31 | 767.6 | 817 | 716.11 | 649.42 | 785.46 | 715.125 | 11 | 6.232 | 930.388
| 12 | 782.42 | 779.38 | 794.58 | 764.56 | 824.41 | 713.64 | 655.31 | 789.07 | 717.375 | 12 | 3.61 | 933.998
| 13 | 789.64 | 779.38 | 786.98 | 768.93 | 826.69 | 714.78 | 670.51 | 790.324 | 723.125 | 13 | 1.254 | 935.252
| 14 | 798.38 | 774.82 | 798.38 | 772.92 | 828.21 | 707.18 | 675.07 | 794.542 | 721.25 | 14 | 4.218 | 939.47
| 15 | 791.35 | 790.97 | 789.07 | 765.89 | 818.52 | 691.22 | 654.55 | 791.16 | 701.75 | 15 | -3.382 | 936.088
| 16 | 782.61 | 769.5 | 773.87 | 753.54 | 807.31 | 695.78 | 670.89 | 777.366 | 712.625 | 16 | -13.794 | 922.294
| 17 | 763.42 | 759.43 | 757.34 | 745.18 | 781.09 | 691.22 | 662.34 | 761.292 | 708 | 17 | -16.074 | 906.22
| 18 | 799.71 | 789.83 | 782.04 | 771.4 | 778.62 | 717.44 | 704.52 | 784.32 | 744.875 | 18 | 23.028 | 929.248
| 19 | 842.27 | 813.01 | 835.62 | 810.16 | 816.81 | 760.95 | 764.18 | 823.574 | 797.25 | 19 | 39.254 | 968.502
| 20 | 822.7 | 796.67 | 828.59 | 801.42 | 789.07 | 736.44 | 743.85 | 807.69 | 775.125 | 20 | -15.884 | 952.618
| 21 | 782.42 | 759.24 | 798.57 | 764.75 | 752.02 | 728.27 | 720.67 | 771.4 | 757.375 | 21 | -36.29 | 916.328
| 22 | 736.63 | 725.42 | 721.05 | 718.01 | 714.59 | 682.67 | 654.93 | 723.14 | 701.75 | 22 | -48.26
| 23 | 654.36 | 650.37 | 661.96 | 641.44 | 650.18 | 602.49 | 589.95 | 651.662 | 628 | 23 | -71.478
| 24 | 605.34 | 598.12 | 604.01 | 593.37 | 609.9 | 579.88 | 564.68 | 602.148 | 599.75 | 24 | -49.514
| Total | 16974.98 | 17066.75 | 17178.09 | 16894.61 | 17406.47 | 15762.02 | 14908.35 | 17104.18 | 16076.875

## Last Year's Load
1999-12-01
Week 1
|  | 29 | 30 | 1 | 2 | 3 | 4 | 5
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 531 | 554 | 567 | 567 | 570 | 601 | 589 | 557.8 | 595 | 1 | -57
| 2 | 517 | 542 | 517 | 539 | 549 | 584 | 579 | 532.8 | 581.5 | 2 | -25
| 3 | 509 | 537 | 506 | 530 | 533 | 569 | 568 | 523 | 568.5 | 3 | -9.8
| 4 | 510 | 532 | 549 | 517 | 531 | 557 | 554 | 527.8 | 555.5 | 4 | 4.8
| 5 | 527 | 556 | 561 | 546 | 553 | 562 | 573 | 548.6 | 567.5 | 5 | 20.8
| 6 | 574 | 596 | 625 | 603 | 587 | 590 | 578 | 597 | 584 | 6 | 48.4
| 7 | 684 | 717 | 718 | 694 | 680 | 618 | 613 | 698.6 | 615.5 | 7 | 101.6
| 8 | 721 | 754 | 763 | 726 | 720 | 660 | 602 | 736.8 | 631 | 8 | 38.2
| 9 | 728 | 763 | 764 | 766 | 723 | 694 | 650 | 748.8 | 672 | 9 | 12
| 10 | 751 | 761 | 775 | 768 | 742 | 698 | 656 | 759.4 | 677 | 10 | 10.6
| 11 | 762 | 785 | 770 | 803 | 751 | 695 | 653 | 774.2 | 674 | 11 | 14.8
| 12 | 761 | 768 | 778 | 732 | 741 | 683 | 660 | 756 | 671.5 | 12 | -18.2
| 13 | 753 | 765 | 767 | 739 | 726 | 678 | 623 | 750 | 650.5 | 13 | -6
| 14 | 751 | 780 | 773 | 730 | 728 | 666 | 640 | 752.4 | 653 | 14 | 2.4
| 15 | 752 | 763 | 763 | 735 | 722 | 657 | 622 | 747 | 639.5 | 15 | -5.4
| 16 | 737 | 766 | 758 | 726 | 729 | 664 | 620 | 743.2 | 642 | 16 | -3.8
| 17 | 735 | 753 | 773 | 723 | 741 | 650 | 635 | 745 | 642.5 | 17 | 1.8
| 18 | 821 | 843 | 846 | 827 | 823 | 780 | 767 | 832 | 773.5 | 18 | 87
| 19 | 842 | 838 | 851 | 847 | 820 | 800 | 818 | 839.6 | 809 | 19 | 7.6
| 20 | 822 | 830 | 827 | 833 | 812 | 797 | 818 | 824.8 | 807.5 | 20 | -14.8
| 21 | 812 | 811 | 803 | 819 | 794 | 760 | 814 | 807.8 | 787 | 21 | -17
| 22 | 749 | 768 | 772 | 757 | 753 | 740 | 772 | 759.8 | 756 | 22 | -48
| 23 | 667 | 699 | 675 | 686 | 709 | 693 | 689 | 687.2 | 691 | 23 | -72.6
| 24 | 602 | 615 | 607 | 609 | 641 | 639 | 650 | 614.8 | 644.5 | 24 | -72.4
| Total | 16618 | 17096 | 17108 | 16822 | 16678 | 16035 | 15743 | 16864.4 | 15889
| Temps hi | 75 | 74 | 73 | 72 | 70 | 70 | 69 | 72.3333 | 69.5
| low | 45 | 45 | 41 | 41 | 39 | 37 | 35 | 41.3333 | 36
Week 2
|  | 6 | 7 | 8 | 9 | 10 | 11 | 12
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 585 | 632 | 612 | 629 | 629 | 633 | 604 | 617.4 | 618.5 | 1 | -63.4
| 2 | 554 | 611 | 612 | 578 | 612 | 620 | 591 | 593.4 | 605.5 | 2 | -24
| 3 | 560 | 593 | 592 | 580 | 597 | 603 | 577 | 584.4 | 590 | 3 | -9
| 4 | 557 | 575 | 600 | 584 | 597 | 596 | 569 | 582.6 | 582.5 | 4 | -1.8
| 5 | 585 | 597 | 608 | 597 | 617 | 592 | 599 | 600.8 | 595.5 | 5 | 18.2
| 6 | 627 | 648 | 661 | 651 | 637 | 625 | 593 | 644.8 | 609 | 6 | 44
| 7 | 684 | 747 | 789 | 734 | 738 | 632 | 604 | 738.4 | 618 | 7 | 93.6
| 8 | 793 | 827 | 797 | 789 | 812 | 677 | 635 | 803.6 | 656 | 8 | 65.2
| 9 | 819 | 808 | 815 | 788 | 816 | 716 | 641 | 809.2 | 678.5 | 9 | 5.6
| 10 | 803 | 801 | 819 | 791 | 829 | 745 | 663 | 808.6 | 704 | 10 | -0.6
| 11 | 825 | 817 | 800 | 791 | 820 | 752 | 641 | 810.6 | 696.5 | 11 | 2
| 12 | 784 | 814 | 799 | 741 | 846 | 713 | 649 | 796.8 | 681 | 12 | -13.8
| 13 | 790 | 799 | 789 | 772 | 809 | 740 | 640 | 791.8 | 690 | 13 | -5
| 14 | 771 | 773 | 797 | 761 | 810 | 741 | 643 | 782.4 | 692 | 14 | -9.4
| 15 | 783 | 794 | 792 | 752 | 785 | 731 | 640 | 781.2 | 685.5 | 15 | -1.2
| 16 | 772 | 775 | 789 | 744 | 753 | 725 | 632 | 766.6 | 678.5 | 16 | -14.6
| 17 | 773 | 781 | 804 | 749 | 758 | 737 | 650 | 773 | 693.5 | 17 | 6.4
| 18 | 848 | 869 | 910 | 850 | 852 | 832 | 801 | 865.8 | 816.5 | 18 | 92.8
| 19 | 909 | 903 | 945 | 892 | 882 | 850 | 814 | 906.2 | 832 | 19 | 40.4
| 20 | 913 | 889 | 918 | 884 | 854 | 846 | 839 | 891.6 | 842.5 | 20 | -14.6
| 21 | 910 | 892 | 901 | 873 | 833 | 830 | 819 | 881.8 | 824.5 | 21 | -9.8
| 22 | 872 | 820 | 864 | 828 | 771 | 788 | 794 | 831 | 791 | 22 | -50.8
| 23 | 747 | 753 | 764 | 739 | 727 | 733 | 737 | 746 | 735 | 23 | -85
| 24 | 675 | 690 | 680 | 667 | 692 | 688 | 639 | 680.8 | 663.5 | 24 | -65.2
| Total | 17939 | 18208 | 18457 | 17764 | 18076 | 17145 | 16014 | 18088.8 | 16579.5
| Temps hi | 55 | 50 | 51 | 55 | 60 | 55 | 58 | 54.3333 | 56.5
| low | 29 | 25 | 23 | 26 | 28 | 26 | 27 | 26.1667 | 26.5
Week 3
|  | 13 | 14 | 15 | 16 | 17 | 18 | 19
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 618 | 633 | 647 | 664 | 658 | 607 | 585 | 644 | 596 | 1 | -43.2
| 2 | 605 | 615 | 643 | 644 | 622 | 589 | 556 | 625.8 | 572.5 | 2 | -18.2
| 3 | 588 | 619 | 623 | 634 | 632 | 571 | 556 | 619.2 | 563.5 | 3 | -6.6
| 4 | 597 | 598 | 621 | 637 | 624 | 570 | 534 | 615.4 | 552 | 4 | -3.8
| 5 | 616 | 600 | 648 | 643 | 624 | 572 | 534 | 626.2 | 553 | 5 | 10.8
| 6 | 672 | 662 | 682 | 687 | 651 | 588 | 545 | 670.8 | 566.5 | 6 | 44.6
| 7 | 784 | 773 | 775 | 770 | 732 | 621 | 565 | 766.8 | 593 | 7 | 96
| 8 | 814 | 819 | 836 | 840 | 774 | 649 | 584 | 816.6 | 616.5 | 8 | 49.8
| 9 | 832 | 826 | 846 | 843 | 793 | 672 | 600 | 828 | 636 | 9 | 11.4
| 10 | 835 | 822 | 824 | 852 | 798 | 691 | 623 | 826.2 | 657 | 10 | -1.8
| 11 | 844 | 830 | 827 | 843 | 803 | 695 | 635 | 829.4 | 665 | 11 | 3.2
| 12 | 826 | 814 | 817 | 811 | 782 | 679 | 639 | 810 | 659 | 12 | -19.4
| 13 | 802 | 780 | 776 | 790 | 740 | 664 | 638 | 777.6 | 651 | 13 | -32.4
| 14 | 801 | 781 | 772 | 806 | 744 | 646 | 642 | 780.8 | 644 | 14 | 3.2
| 15 | 794 | 786 | 780 | 791 | 731 | 637 | 636 | 776.4 | 636.5 | 15 | -4.4
| 16 | 785 | 800 | 758 | 764 | 712 | 632 | 627 | 763.8 | 629.5 | 16 | -12.6
| 17 | 785 | 803 | 782 | 780 | 704 | 638 | 638 | 770.8 | 638 | 17 | 7
| 18 | 876 | 927 | 909 | 883 | 813 | 768 | 768 | 881.6 | 768 | 18 | 110.8
| 19 | 918 | 926 | 938 | 907 | 840 | 800 | 800 | 905.8 | 800 | 19 | 24.2
| 20 | 918 | 949 | 943 | 919 | 830 | 790 | 801 | 911.8 | 795.5 | 20 | 6
| 21 | 908 | 921 | 912 | 908 | 811 | 777 | 792 | 892 | 784.5 | 21 | -19.8
| 22 | 888 | 872 | 876 | 846 | 782 | 748 | 767 | 852.8 | 757.5 | 22 | -39.2
| 23 | 792 | 803 | 783 | 787 | 726 | 703 | 710 | 778.2 | 706.5 | 23 | -74.6
| 24 | 661 | 704 | 722 | 697 | 652 | 636 | 636 | 687.2 | 636 | 24 | -91
| Total | 18559 | 18663 | 18740 | 18746 | 17578 | 15943 | 15411 | 18457.2 | 15677
| Temps hi | 52 | 47 | 48 | 52 | 57 | 52 | 51 | 51.3333 | 51.5
| low | 26 | 22 | 20 | 23 | 25 | 23 | 24 | 23.1667 | 23.5
Week 4
|  | 20 | 21 | 22 | 23 | 24 | 25 | 26
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 598 | 614 | 629 | 625 | 583 | 613 | 549 | 609.8 | 581 | 1 | -57.4
| 2 | 578 | 590 | 594 | 601 | 552 | 581 | 515 | 583 | 548 | 2 | -26.8
| 3 | 567 | 575 | 571 | 585 | 548 | 559 | 503 | 569.2 | 531 | 3 | -13.8
| 4 | 574 | 588 | 573 | 575 | 540 | 539 | 498 | 570 | 518.5 | 4 | 0.8
| 5 | 587 | 598 | 582 | 590 | 536 | 536 | 498 | 578.6 | 517 | 5 | 8.6
| 6 | 621 | 633 | 623 | 623 | 546 | 541 | 511 | 609.2 | 526 | 6 | 30.6
| 7 | 693 | 715 | 684 | 680 | 574 | 560 | 536 | 669.2 | 548 | 7 | 60
| 8 | 741 | 742 | 726 | 722 | 597 | 573 | 542 | 705.6 | 557.5 | 8 | 36.4
| 9 | 767 | 770 | 774 | 733 | 652 | 601 | 571 | 739.2 | 586 | 9 | 33.6
| 10 | 835 | 781 | 788 | 747 | 690 | 616 | 597 | 768.2 | 606.5 | 10 | 29
| 11 | 776 | 774 | 794 | 750 | 703 | 626 | 620 | 759.4 | 623 | 11 | -8.8
| 12 | 770 | 775 | 768 | 741 | 705 | 623 | 628 | 751.8 | 625.5 | 12 | -7.6
| 13 | 756 | 747 | 745 | 716 | 707 | 607 | 634 | 734.2 | 620.5 | 13 | -17.6
| 14 | 746 | 732 | 734 | 711 | 691 | 589 | 610 | 722.8 | 599.5 | 14 | -11.4
| 15 | 741 | 721 | 712 | 703 | 678 | 572 | 603 | 711 | 587.5 | 15 | -11.8
| 16 | 726 | 713 | 703 | 698 | 679 | 568 | 600 | 703.8 | 584 | 16 | -7.2
| 17 | 721 | 739 | 708 | 712 | 697 | 575 | 621 | 715.4 | 598 | 17 | 11.6
| 18 | 844 | 839 | 836 | 810 | 778 | 662 | 655 | 821.4 | 658.5 | 18 | 106
| 19 | 889 | 882 | 867 | 833 | 786 | 690 | 720 | 851.4 | 705 | 19 | 30
| 20 | 880 | 876 | 864 | 826 | 765 | 692 | 755 | 842.2 | 723.5 | 20 | -9.2
| 21 | 872 | 858 | 850 | 805 | 748 | 692 | 741 | 826.6 | 716.5 | 21 | -15.6
| 22 | 836 | 818 | 824 | 779 | 722 | 673 | 717 | 795.8 | 695 | 22 | -30.8
| 23 | 770 | 748 | 751 | 723 | 694 | 642 | 667 | 737.2 | 654.5 | 23 | -58.6
| 24 | 690 | 665 | 683 | 642 | 656 | 587 | 603 | 667.2 | 595 | 24 | -70
| Total | 17578 | 17493 | 17383 | 16930 | 15827 | 14517 | 14494 | 17042.2 | 14505.5
| Temps hi | 52 | 47 | 48 | 52 | 57 | 52 | 51 | 51.3333 | 51.5
| low | 26 | 22 | 20 | 23 | 25 | 23 | 24 | 23.1667 | 23.5
Week 5
|  | 27 | 28 | 29 | 30 | 31 | 1 | 2
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 558 | 585 | 570 | 580 | 590 | 565 | 760 | 576.6 | 662.5 | 1 | -28.2
| 2 | 534 | 559 | 530 | 535 | 534 | 532 | 651 | 538.4 | 591.5 | 2 | -38.2
| 3 | 521 | 544 | 520 | 516 | 517 | 506 | 690 | 523.6 | 598 | 3 | -14.8
| 4 | 504 | 542 | 515 | 524 | 509 | 486 | 672 | 518.8 | 579 | 4 | -4.8
| 5 | 521 | 535 | 546 | 525 | 510 | 488 | 659 | 527.4 | 573.5 | 5 | 8.6
| 6 | 557 | 580 | 575 | 559 | 525 | 487 | 660 | 559.2 | 573.5 | 6 | 31.8
| 7 | 622 | 639 | 619 | 614 | 554 | 489 | 760 | 609.6 | 624.5 | 7 | 50.4
| 8 | 653 | 672 | 668 | 638 | 569 | 487 | 747 | 640 | 617 | 8 | 30.4
| 9 | 695 | 702 | 694 | 677 | 606 | 495 | 827 | 674.8 | 661 | 9 | 34.8
| 10 | 717 | 726 | 699 | 698 | 627 | 512 | 831 | 693.4 | 671.5 | 10 | 18.6
| 11 | 716 | 737 | 697 | 705 | 640 | 532 | 819 | 699 | 675.5 | 11 | 5.6
| 12 | 722 | 737 | 702 | 705 | 629 | 546 | 820 | 699 | 683 | 12 | 0
| 13 | 712 | 722 | 691 | 688 | 619 | 535 | 783 | 686.4 | 659 | 13 | -12.6
| 14 | 694 | 711 | 690 | 711 | 608 | 531 | 761 | 682.8 | 646 | 14 | -3.6
| 15 | 689 | 699 | 676 | 699 | 597 | 523 | 734 | 672 | 628.5 | 15 | -10.8
| 16 | 672 | 685 | 674 | 685 | 593 | 513 | 741 | 661.8 | 627 | 16 | -10.2
| 17 | 665 | 679 | 667 | 679 | 597 | 530 | 762 | 657.4 | 646 | 17 | -4.4
| 18 | 767 | 760 | 759 | 760 | 678 | 601 | 887 | 744.8 | 744 | 18 | 87.4
| 19 | 812 | 814 | 797 | 814 | 740 | 660 | 928 | 795.4 | 794 | 19 | 50.6
| 20 | 800 | 809 | 793 | 809 | 721 | 664 | 932 | 786.4 | 798 | 20 | -9
| 21 | 788 | 798 | 780 | 798 | 686 | 652 | 893 | 770 | 772.5 | 21 | -16.4
| 22 | 760 | 771 | 729 | 771 | 654 | 639 | 860 | 737 | 749.5 | 22 | -33
| 23 | 674 | 681 | 666 | 681 | 622 | 614 | 833 | 664.8 | 723.5 | 23 | -72.2
| 24 | 630 | 600 | 608 | 600 | 586 | 564 | 748 | 604.8 | 656 | 24 | -60
| Total | 15983 | 16287 | 15865 | 15971 | 14511 | 13151 | 18758 | 15723.4 | 15954.5
| Temps hi | 59 | 60 | 63 | 69 | 67 | 67 | 60 | 64.1667 | 63.5
| low | 30 | 31 | 39 | 37 | 36 | 43 | 35 | 36 | 39
| 1999-12-01 | Week 5 31: Weekly Average
Loads are averaged from the previous five weeks
| Scaler | 27: 0.95
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 549.1 | 573.42 | 574.75 | 582.35 | 575.7 | 573.61 | 586.53 | 571.064 | 597.625 | 1 | -47.348
| 2 | 529.72 | 554.23 | 550.24 | 550.43 | 545.11 | 552.14 | 549.48 | 545.946 | 576.875 | 2 | -25.118
| 3 | 521.55 | 544.92 | 534.28 | 540.55 | 537.13 | 533.52 | 549.86 | 535.686 | 563.25 | 3 | -10.26
| 4 | 520.98 | 538.65 | 543.02 | 539.03 | 532.19 | 522.12 | 537.13 | 534.774 | 552.125 | 4 | -0.912
| 5 | 538.84 | 548.34 | 559.55 | 551.19 | 539.6 | 522.5 | 543.97 | 547.504 | 558.25 | 5 | 12.73
| 6 | 579.69 | 592.61 | 601.54 | 593.37 | 559.74 | 537.89 | 548.53 | 585.39 | 571.375 | 6 | 37.886
| 7 | 658.73 | 682.29 | 681.15 | 663.48 | 622.82 | 554.8 | 584.82 | 661.694 | 593.625 | 7 | 76.304
| 8 | 707.18 | 724.66 | 720.1 | 705.85 | 659.68 | 578.74 | 590.9 | 703.494 | 615.25 | 8 | 41.8
| 9 | 729.79 | 735.11 | 739.67 | 723.33 | 682.1 | 603.82 | 624.91 | 722 | 643.125 | 9 | 18.506
| 10 | 748.79 | 739.29 | 741.95 | 732.64 | 700.34 | 619.78 | 640.3 | 732.602 | 661.125 | 10 | 10.602
| 11 | 745.37 | 749.17 | 738.72 | 739.48 | 706.23 | 627 | 639.92 | 735.794 | 664.625 | 11 | 3.192
| 12 | 733.97 | 742.52 | 734.16 | 708.7 | 703.57 | 616.36 | 645.24 | 724.584 | 659.25 | 12 | -11.21
| 13 | 724.47 | 724.47 | 715.92 | 703.95 | 684.19 | 612.56 | 630.42 | 710.6 | 653 | 13 | -13.984
| 14 | 714.97 | 717.63 | 715.54 | 706.61 | 680.39 | 602.87 | 626.24 | 707.028 | 647.125 | 14 | -3.572
| 15 | 714.21 | 714.97 | 707.37 | 699.2 | 667.47 | 592.8 | 614.65 | 700.644 | 637.25 | 15 | -6.384
| 16 | 701.48 | 710.41 | 699.58 | 687.23 | 658.54 | 589.38 | 611.8 | 691.448 | 633.5 | 16 | -9.196
| 17 | 699.01 | 713.45 | 709.46 | 692.17 | 664.43 | 594.7 | 628.14 | 695.704 | 643 | 17 | 4.256
| 18 | 789.64 | 805.22 | 809.4 | 784.7 | 749.36 | 692.17 | 736.82 | 787.664 | 754.125 | 18 | 91.96
| 19 | 830.3 | 828.97 | 835.62 | 815.67 | 772.92 | 722 | 775.2 | 816.696 | 786.5 | 19 | 29.032
| 20 | 823.27 | 827.07 | 825.55 | 811.49 | 756.58 | 719.91 | 787.55 | 808.792 | 792.25 | 20 | -7.904
| 21 | 815.1 | 813.2 | 806.74 | 798.57 | 735.68 | 705.09 | 771.21 | 793.858 | 778.125 | 21 | -14.934
| 22 | 779.95 | 769.31 | 772.35 | 756.39 | 699.58 | 681.72 | 742.9 | 755.516 | 749.875 | 22 | -38.342
| 23 | 693.5 | 699.96 | 691.41 | 687.04 | 660.82 | 643.15 | 690.84 | 686.546 | 696.75 | 23 | -68.97
| 24 | 619.02 | 622.06 | 627 | 610.85 | 613.13 | 591.66 | 622.44 | 618.412 | 634.75 | 24 | -68.134
| Total | 16468.63 | 16671.93 | 16635.07 | 16384.27 | 15707.3 | 14590.29 | 15279.8 | 16373.44 | 15662.75
| Average | 58.6 | 55.6 | 56.6 | 60 | 62.2 | 59.2 | 57.8 | Month | Average | High | 58.5714
| Temp. | 31.2 | 29 | 28.6 | 30 | 30.6 | 30.4 | 29 |  | Temp. | Low | 29.8286

## Calculations
| cost |  |  |  | SPS or TNP
Copper mw | 70 | 15% | 10.5 | Trans | 15% | 11.7 |  |  | 15% | 40%
GAS $ | 4.5 | Adder | Margin | 5.71 | Adder | Margin | Lambda | 19.3 | 22.195 | 27.02
Start | 2956.5 | [5 empty] | Trans | 5.71 | 27.905 | 32.73
4 HR Run | 73.5589 | 84.5928 | 84.0589 | 79.2689 | 90.3028 | 90.9689
5 HR Run | 71.4471 | 82.1642 | 81.9471 | 77.1571 | 87.8742 | 88.8571
6 HR Run | 70.0393 | 80.5452 | 80.5393 | 75.7493 | 86.2552 | 87.4493
7 HR Run | 69.0337 | 79.3887 | 79.5337 | 74.7437 | 85.0987 | 86.4437 |  | Enter Blue Numbers
8 HR Run | 68.2795 | 78.5214 | 78.7795 | 73.9895 | 84.2314 | 85.6895
9 HR Run | 67.6929 | 77.8468 | 78.1929 | 73.4029 | 83.5568 | 85.1029
10 HR Run | 67.2236 | 77.3071 | 77.7236 | 72.9336 | 83.0171 | 84.6336 |  | PNM's Contingent
11 HR Run | 66.8396 | 76.8656 | 77.3396 | 72.5496 | 82.5756 | 84.2496 |  | Gross output | Station Services*** NET |  | % of cap
12 HR Run | 66.5196 | 76.4976 | 77.0196 | 72.2296 | 82.2076 | 83.9296 | Rio 7* | 32 | 3 | 29 | 58%
13 HR Run | 66.2489 | 76.1862 | 76.7489 | 71.9589 | 81.8962 | 83.6589 | Rio 8* | 110 | 7 | 103 | 68.67%
14 HR Run | 66.0168 | 75.9194 | 76.5168 | 71.7268 | 81.6294 | 83.4268
15 HR Run | 65.8157 | 75.6881 | 76.3157 | 71.5257 | 81.3981 | 83.2257 | PNM's Contingent** |  | 70
16 HR Run | 65.6397 | 75.4857 | 76.1397 | 71.3497 | 81.1957 | 83.0497 | Rio 7= .25 |  | 10.15 | 10 | 10
[7 empty] | Rio 8 =.75 |  | 36.05 | 36 | 10
[7 empty] | Current Maximum Take |  | 46.2 | 46
|  | Position |  |  |  |  | Current Maximum Increase or Decrease |  |  |  | 20
| Local | 385 | IID | 50 |  |  | **PNM's total contingent = 70 with Units @ 100%
| Remote | 504 | TNP | 25 |  |  | *based on high numbers on Manual
|  |  | PNM | 50 |  |  | ***Station Services Approximately 6%
|  |  | Load | 764 |  |  | When taking a unit to zero it is important to take out Station Services for that unit
Purchase | a. | 200 | Ace | 3 |  |  | Sample
| b. | 0 | Sales a. | 100 |  |  | RG 7 entitlement = 0.25 * 70MW * ((48-3)/50) = 15.75 or 16 MW rounded.
| c. | 0 | b. | 110 |  |  | RG 8 entitlement = 0.75 * 70 MW * ((100-5)/150) = 33.25 or 33 MW rounded.
| d. | 0 | c. | 0
|  |  | d. | 0 |  |  | Total of 49 MW's
| Total | 1089 | Total | 1102 | Difference | 13
The unit high numbers 50 and 150 came from Pete.
At the time of the contract these were the net numbers for unit 7 and 8
This calculation is calculated using the current high numbers for unit 7 and 8

## Spin
|  | California Spin |  |  |  | Total spin needed to Carry |  |  |  | California Replacement
| MST HE | PST HE | Bid Amt (MW) | Awarded Capacity (MW) | MST HE | PNM Reserves | EPE Contingency | Total Contingency | Spin | HE | Bid Amt (MW) | Awarded Capacity (MW)
1 | 1 | 1 | 0 | 0 | 1 |  | 83 | 83 | 41.5 | 1 | 0 | 0
2 | 2 | 2 | 0 | 0 | 2 |  | 85 | 85 | 42.5 | 2 | 0 | 0
2 | 3 | 3 | 0 | 0 | 3 |  | 87 | 87 | 43.5 | 3 | 0 | 0
3 | 4 | 4 | 0 | 0 | 4 |  | 88 | 88 | 44 | 4 | 0 | 0
4 | 5 | 5 | 0 | 0 | 5 |  | 88 | 88 | 44 | 5 | 0 | 0
| 6 | 6 | 0 | 0 | 6 |  | 85 | 85 | 42.5 | 6 | 0 | 0
| 7 | 7 | 0 | 0 | 7 |  | 89 | 89 | 44.5 | 7 | 0 | 0
| 8 | 8 | 0 | 0 | 8 |  | 87 | 87 | 43.5 | 8 | 0 | 0
| 9 | 9 | 0 | 0 | 9 |  | 84 | 84 | 42 | 9 | 0 | 0
| 10 | 10 | 0 | 0 | 10 |  | 82 | 82 | 41 | 10 | 0 | 0
| 11 | 11 | 0 | 0 | 11 |  | 83 | 83 | 41.5 | 11 | 0 | 0
| 12 | 12 | 0 | 0 | 12 |  | 86 | 86 | 43 | 12 | 15 | 17.1 | 222
| 13 | 13 | 0 | 0 | 13 |  | 86 | 86 | 43 | 13 | 0 | 0 | 80
| 14 | 14 | 0 | 0 | 14 |  | 87 | 87 | 43.5 | 14 | 0 | 0
| 15 | 15 | 0 | 0 | 15 |  | 87 | 87 | 43.5 | 15 | 0 | 0
| 16 | 16 | 0 | 0 | 16 |  | 87 | 87 | 43.5 | 16 | 0 | 0
| 17 | 17 | 0 | 0 | 17 |  | 86 | 86 | 43 | 17 | 0 | 0
| 18 | 18 | 0 | 0 | 18 |  | 85 | 85 | 42.5 | 18 | 0 | 0
| 19 | 19 | 0 | 0 | 19 |  | 84 | 84 | 42 | 19 | 0 | 0
| 20 | 20 | 0 | 0 | 20 |  | 84 | 84 | 42 | 20 | 0 | 0
| 21 | 21 | 0 | 0 | 21 |  | 83 | 83 | 41.5 | 21 | 0 | 0
| 22 | 22 | 0 | 0 | 22 |  | 78 | 78 | 39 | 22 | 0 | 0
| 23 | 23 | 0 | 0 | 23 |  | 79 | 79 | 39.5 | 23 | 0 | 0
| 24 | 24 | 0 | 0 | 24 |  | 82 | 82 | 41 | 24 | 0 | 0
|  |  | 0 | 0 | [6 empty] | 15 | 17.1
Enter Blue Numbers

## Calculator-Peak
ECONOMIC CALCULATOR FOR FIRM VERSUS NON-FIRM PURCHASE
[6 empty] | HE | 19
|  | Enter Local Generation Avail: | 519 |  |  | Projected Control Area Load: | 920 |  | Local Avail. | 519
|  | Enter Remote Generation: | 582 |  |  | PNM Contingent: | 46 |  | Gen. | 433
|  | Firm Purchases into EPE: | 50 |  |  | TNP Firm: | 25 |  | UnLoaded | 86
|  | Non-Firm Purchases into EPE: | 0 |  |  | IID Firm + Contingent: | 150
|  | SPS Firm: | 0 |  |  | Firm Sales: | 0 | Eddy | 118 | Local | 519
|  | Reserves: | 52 |  |  | Non-Firm Sales: | 0 | -load | 50 | Copper | 0
|  | Total Generation for Load: | 1203 |  |  | Total Load Next Hour: | 1141 |  | 68 |  | 519
|  | Enter Total Spin Required: | 90 |  |  | PNM Contract: | 46 | (Contingent upon units 7 & 8 number automatically feeds from the calculation tab)
|  | Spin Required: | 45 |  |  | IID Firm Contract: | 100 |  |  |  | Enter Blue Numbers
|  | Non-Spin Required: | 45 |  |  | TNP Contract: | 25
|  | Spin Required + Regulating Margin: | 69 |  |  | SPS Contract: | 100
[8 empty] | Lambda = | 45.75
|  | *Amount of Spin: | 62 | 89 | Weighted Avg. Purchase Power Calculator | [6 empty] | * | Output | Highs' | Spin | RR
|  | Amount of Non-Spin: | 50 | 119 |  |  | MWH | $/MWH |  |  |  | Unit 1 | 43 | 80 | 30 | 3
|  | Total Spin: | 112 |  |  | Firm Block 1: | 0 | 0 | 0 |  |  | 2 | 48 | 82 | 34 | 4.5
|  | Spin Available/(Deficient): | 17 |  |  | Firm Block 2: | 0 | 0 | 0 |  |  | 3 | 0 | 0 | 0 | 3.37
|  | Enter Firm Price: | 0 |  |  | Firm Block 3: | 0 | 0 | 0 |  |  | GT1 | 0 | 0 | 0 | 10
|  | Enter Non-Firm Price: | 0 |  |  | Firm Block 4: | 0 | 0 | 0 |  |  | GT2 | 0 | 0 | 0 | 10
[6 empty] | Firm Block 5: | 0 | 0 | 0 |  |  | GT1S | 0 | 0 | 0 | 3.33
|  | MWH of Firm Avail./(Deficient): | 17 |  |  | Total: | 0 | NA | 0 |  |  | GT2S | 0 | 0 | 0 | 3.6
|  | Total Cost of Firm: | 0 |  |  |  | MWH | $/MWH |  |  |  | NM4 | 214 | 214 | 0 | 3.6
|  | MWH of Non-Firm Avail./(Deficient): | 40 |  |  | Non-Firm Block 1: | 0 | 0 | 0 |  |  | Copper | 0 | 0 | 0 | 10
|  | Total Cost of Non-Firm: | 0 |  |  | Non-Firm Block 2: | 0 | 0 | 0 |  |  | 6 | 0 | 0 | 0 | 2
[6 empty] | Non-Firm Block 3: | 0 | 0 | 0 |  |  | 7 | 33 | 33 | 0 | 2.1
[6 empty] | Non-Firm Block 4: | 0 | 0 | 0 |  |  | 8 | 95 | 110 | 15 | 2.1
[6 empty] | Non-Firm Block 5: | 0 | 0 | 0 |  |  | Total | 433 | 519 | 79
[6 empty] | Total: | 0 | NA | 0 |  |  | FC | 52 | 108
[12 empty] | PV | 530 | 600
NOTE: | * ACTUAL SPIN SHOW MAY BE LESS SINCE UNIT RAMP RATES ARE NOT CONSIDERED. | [7 empty] | 0 |  |  |  | 582 | 708
* If unit is off put zero's in both places