## Calculator-Hourly
ECONOMIC CALCULATOR FOR FIRM VERSUS NON-FIRM PURCHASE
|  | Current Hour = | 8 |  |  | Next Hour = | 9 | [5 empty] | PV
|  | Enter Local Generation Avail: | 540 |  |  | Projected Control Area Load: | 780 |  | Local Avail. | 540 |  |  | IID | 130
|  | Enter Remote Generation: | 650 |  |  | PNM Contingent: | 43 |  | Gen. | 464 |  |  | real/time | 90
|  | Firm Purchases into EPE: | 0 |  |  | TNP Firm: | 25 |  | UnLoaded | 76 |  |  | net/pre | 0
|  | Non-Firm Purchases into EPE: | 0 |  |  | IID Firm + Contingent: | 148 | [5 empty] | Tep/exc | 300
|  | SPS Firm: | 0 |  |  | Firm Sales: | 130 | Eddy | 133 | Local | 374 |  | iso | 150
|  |  | 0 |  |  | Non-Firm Sales: | 0 | -load | 50 | Copper | 69 |  |  | 670
|  | Total Generation for Load: | 1190 |  |  | Total Load Next Hour: | 1126 |  | 83 |  | 443 |  | (If total goes over 600 EPE has to wheel back)
|  | Enter Total Spin Required: | 75 |  |  | PNM Contract: | 53 | (Contingent upon units 7 & 8 number automatically feeds from the calculation tab)
|  | Spin Required: | 37.5 |  |  | IID Firm Contract: | 100 |  |  |  | Enter Blue Numbers
|  | Non-Spin Required: | 37.5 |  |  | TNP Contract: | 25
|  | Spin Required + Regulating Margin: | 67.5 |  |  | SPS Contract: | 0 | [5 empty] | Spin from Ramp rates
[8 empty] | Lambda = | 19.5
|  | *Amount of Spin: | 64 | 75 | Weighted Avg. Purchase Power Calculator | [7 empty] | Output | Highs' | Spin | RR
|  | Amount of Non-Spin: | 38 | 105.5 |  |  | MWH | $/MWH |  |  |  | Unit 1 | 0 | 0 | 0 | 3
|  | Total Spin: | 102 |  |  | Firm Block 1: | 0 | 0 | 0 |  |  | 2 | 36 | 46 | 10 | 4.5
|  | Spin Available/(Deficient): | 26.5 |  |  | Firm Block 2: | 0 | 0 | 0 |  |  | 3 | 50 | 100 | 50 | 5.1
|  | Enter Firm Price: | 0 |  |  | Firm Block 3: | 0 | 0 | 0 |  |  | GT1 | 0 | 0 | 0 | 10
|  | Enter Non-Firm Price: | 0 |  |  | Firm Block 4: | 0 | 0 | 0 |  |  | GT2 | 0 | 0 | 0 | 10
[6 empty] | Firm Block 5: | 0 | 0 | 0 |  |  | GT1S | 0 | 0 | 0 | 3.33
|  | MWH of Firm Avail./(Deficient): | 26.5 |  |  | Total: | 0 | NA | 0 | 0 |  | GT2S | 0 | 0 | 0 | 3.6
|  | Total Cost of Firm: | 0 |  |  |  | MWH | $/MWH |  |  |  | NM4 | 179 | 214 | 35 | 3.6
|  | MWH of Non-Firm Avail./(Deficient): | 26.5 |  |  | Non-Firm Block 1: | 0 | 0 | 0 |  |  | Copper | 0 | 0 | 0 | 10
|  | Total Cost of Non-Firm: | 0 |  |  | Non-Firm Block 2: | 0 | 0 | 0 |  |  | 6 | 29 | 50 | 20 | 2
[6 empty] | Non-Firm Block 3: | 0 | 0 | 0 |  |  | 7 | 40 | 0 | -40 | 2.1
[6 empty] | Non-Firm Block 4: | 0 | 0 | 0 |  |  | 8 | 130 | 130 | 0 | 2.1
[6 empty] | Non-Firm Block 5: | 0 | 0 | 0 |  |  | Total | 464 | 540 | 75
[6 empty] | Total: | 0 | NA | 0 | 0 |  | FC | 52 | 104
[12 empty] | PV | 598 | 600
NOTE: | * ACTUAL SPIN SHOW MAY BE LESS SINCE UNIT RAMP RATES ARE NOT CONSIDERED. | [7 empty] | 0 |  |  |  | 650 | 704

## Load
2000-02-01
Week 1
|  | 31 | 1 | 2 | 3 | 4 | 5 | 6
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 550 | 558 | 620 | 597 | 580 | 598 | 551 | 581 | 574.5 | 1 | -36
| 2 | 529 | 534 | 601 | 593 | 568 | 566 | 538 | 565 | 552 | 2 | -16
| 3 | 523 | 521 | 601 | 567 | 556 | 558 | 526 | 553.6 | 542 | 3 | -11.4
| 4 | 542 | 504 | 583 | 575 | 555 | 553 | 515 | 551.8 | 534 | 4 | -1.8
| 5 | 549 | 521 | 628 | 594 | 575 | 557 | 515 | 573.4 | 536 | 5 | 21.6
| 6 | 577 | 557 | 671 | 649 | 626 | 575 | 534 | 616 | 554.5 | 6 | 42.6 | 622
| 7 | 707 | 622 | 770 | 762 | 738 | 620 | 551 | 719.8 | 585.5 | 7 | 103.8 | 725.8
| 8 | 776 | 653 | 808 | 796 | 769 | 629 | 559 | 760.4 | 594 | 8 | 40.6 | 766.4
| 9 | 771 | 695 | 827 | 799 | 774 | 665 | 592 | 773.2 | 628.5 | 9 | 12.8 | 779.2
| 10 | 784 | 717 | 787 | 791 | 776 | 689 | 611 | 771 | 650 | 10 | -2.2 | 777
| 11 | 795 | 716 | 792 | 786 | 779 | 689 | 635 | 773.6 | 662 | 11 | 2.6 | 779.6
| 12 | 799 | 722 | 781 | 776 | 772 | 677 | 623 | 770 | 650 | 12 | -3.6 | 776
| 13 | 766 | 712 | 759 | 763 | 751 | 679 | 617 | 750.2 | 648 | 13 | -19.8 | 756.2
| 14 | 758 | 694 | 790 | 761 | 742 | 646 | 613 | 749 | 629.5 | 14 | -1.2 | 755
| 15 | 774 | 689 | 781 | 740 | 738 | 634 | 609 | 744.4 | 621.5 | 15 | -4.6 | 750.4
| 16 | 760 | 672 | 770 | 733 | 719 | 628 | 605 | 730.8 | 616.5 | 16 | -13.6 | 736.8
| 17 | 749 | 665 | 770 | 718 | 708 | 621 | 609 | 722 | 615 | 17 | -8.8 | 728
| 18 | 773 | 767 | 801 | 733 | 720 | 654 | 638 | 758.8 | 646 | 18 | 36.8 | 764.8
| 19 | 834 | 812 | 852 | 821 | 795 | 723 | 730 | 822.8 | 726.5 | 19 | 64 | 828.8
| 20 | 812 | 800 | 828 | 816 | 783 | 730 | 724 | 807.8 | 727 | 20 | -15 | 813.8
| 21 | 815 | 788 | 807 | 809 | 773 | 718 | 708 | 798.4 | 713 | 21 | -9.4
| 22 | 742 | 760 | 744 | 758 | 744 | 687 | 691 | 749.6 | 689 | 22 | -48.8
| 23 | 727 | 674 | 670 | 694 | 681 | 654 | 633 | 689.2 | 643.5 | 23 | -60.4
| 24 | 628 | 630 | 604 | 599 | 624 | 593 | 592 | 617 | 592.5 | 24 | -72.2
| Total | 17040 | 15983 | 17645 | 17230 | 16846 | 15343 | 14519 | 16948.8 | 14931
| Temps hi | 75 | 74 | 73 | 72 | 70 | 70 | 69 | 72.3333 | 69.5
| low | 45 | 45 | 41 | 41 | 39 | 37 | 35 | 41.3333 | 36
Week 2
|  | 7 | 8 | 9 | 10 | 11 | 12 | 13
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 571 | 574 | 569 | 562 | 576 | 576 | 555 | 570.4 | 565.5 | 1 | -36.8
| 2 | 558 | 560 | 545 | 547 | 565 | 565 | 554 | 555 | 559.5 | 2 | -15.4
| 3 | 541 | 559 | 538 | 535 | 556 | 556 | 534 | 545.8 | 545 | 3 | -9.2
| 4 | 542 | 559 | 539 | 531 | 536 | 536 | 525 | 541.4 | 530.5 | 4 | -4.4
| 5 | 545 | 573 | 543 | 534 | 570 | 570 | 543 | 553 | 556.5 | 5 | 11.6
| 6 | 618 | 618 | 623 | 587 | 629 | 629 | 550 | 615 | 589.5 | 6 | 62 | 650
| 7 | 737 | 748 | 696 | 689 | 714 | 714 | 560 | 716.8 | 637 | 7 | 101.8 | 751.8
| 8 | 754 | 774 | 756 | 709 | 720 | 720 | 564 | 742.6 | 642 | 8 | 25.8 | 777.6
| 9 | 766 | 786 | 756 | 736 | 740 | 740 | 588 | 756.8 | 664 | 9 | 14.2 | 791.8
| 10 | 785 | 773 | 760 | 751 | 766 | 766 | 627 | 767 | 696.5 | 10 | 10.2 | 802
| 11 | 780 | 791 | 763 | 760 | 771 | 771 | 626 | 773 | 698.5 | 11 | 6 | 808
| 12 | 785 | 780 | 763 | 758 | 781 | 781 | 651 | 773.4 | 716 | 12 | 0.4 | 808.4
| 13 | 773 | 752 | 754 | 746 | 757 | 757 | 644 | 756.4 | 700.5 | 13 | -17 | 791.4
| 14 | 783 | 759 | 762 | 751 | 772 | 772 | 621 | 765.4 | 696.5 | 14 | 9 | 800.4
| 15 | 780 | 755 | 756 | 738 | 760 | 760 | 617 | 757.8 | 688.5 | 15 | -7.6 | 792.8
| 16 | 763 | 755 | 754 | 736 | 749 | 749 | 615 | 751.4 | 682 | 16 | -6.4 | 786.4
| 17 | 754 | 738 | 738 | 723 | 721 | 721 | 622 | 734.8 | 671.5 | 17 | -16.6 | 769.8
| 18 | 765 | 781 | 744 | 719 | 719 | 719 | 642 | 745.6 | 680.5 | 18 | 10.8 | 780.6
| 19 | 827 | 833 | 825 | 803 | 778 | 778 | 740 | 813.2 | 759 | 19 | 67.6 | 848.2
| 20 | 832 | 807 | 808 | 794 | 754 | 754 | 754 | 799 | 754 | 20 | -14.2 | 834
| 21 | 804 | 779 | 784 | 785 | 740 | 740 | 731 | 778.4 | 735.5 | 21 | -20.6 | 813.4
| 22 | 761 | 776 | 751 | 704 | 704 | 704 | 721 | 739.2 | 712.5 | 22 | -39.2
| 23 | 683 | 661 | 680 | 657 | 660 | 660 | 659 | 668.2 | 659.5 | 23 | -71
| 24 | 612 | 602 | 598 | 622 | 602 | 602 | 602 | 607.2 | 602 | 24 | -61
| Total | 17119 | 17093 | 16805 | 16477 | 16640 | 16640 | 14845 | 16826.8 | 15742.5
| Temps hi | 55 | 50 | 51 | 55 | 60 | 55 | 58 | 54.3333 | 56.5
| low | 29 | 25 | 23 | 26 | 28 | 26 | 27 | 26.1667 | 26.5
Week 3
|  | 14 | 15 | 16 | 17 | 18 | 19 | 20
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 566 | 575 | 617 | 575 | 572 | 578 | 563 | 581 | 570.5 | 1 | -44.6
| 2 | 546 | 545 | 584 | 529 | 565 | 567 | 520 | 553.8 | 543.5 | 2 | -27.2
| 3 | 541 | 548 | 590 | 535 | 560 | 545 | 515 | 554.8 | 530 | 3 | 1
| 4 | 517 | 524 | 557 | 540 | 553 | 538 | 521 | 538.2 | 529.5 | 4 | -16.6
| 5 | 538 | 536 | 586 | 547 | 563 | 555 | 506 | 554 | 530.5 | 5 | 15.8
| 6 | 590 | 585 | 641 | 611 | 612 | 567 | 490 | 607.8 | 528.5 | 6 | 53.8 | 630
| 7 | 697 | 658 | 727 | 709 | 706 | 607 | 555 | 699.4 | 581 | 7 | 91.6 | 721.6
| 8 | 728 | 728 | 792 | 747 | 740 | 614 | 562 | 747 | 588 | 8 | 47.6 | 769.2
| 9 | 733 | 733 | 765 | 759 | 740 | 657 | 590 | 746 | 623.5 | 9 | -1 | 768.2
| 10 | 764 | 774 | 780 | 770 | 752 | 685 | 600 | 768 | 642.5 | 10 | 22 | 790.2
| 11 | 771 | 794 | 797 | 792 | 763 | 670 | 625 | 783.4 | 647.5 | 11 | 15.4 | 805.6
| 12 | 772 | 783 | 768 | 789 | 770 | 682 | 601 | 776.4 | 641.5 | 12 | -7 | 798.6
| 13 | 764 | 790 | 772 | 795 | 764 | 676 | 606 | 777 | 641 | 13 | 0.6 | 799.2
| 14 | 772 | 793 | 764 | 776 | 763 | 654 | 600 | 773.6 | 627 | 14 | -3.4 | 795.8
| 15 | 769 | 792 | 759 | 789 | 751 | 643 | 586 | 772 | 614.5 | 15 | -1.6 | 794.2
| 16 | 763 | 782 | 752 | 783 | 728 | 643 | 601 | 761.6 | 622 | 16 | -10.4 | 783.8
| 17 | 742 | 791 | 751 | 785 | 699 | 649 | 599 | 753.6 | 624 | 17 | -8 | 775.8
| 18 | 735 | 783 | 790 | 766 | 714 | 664 | 638 | 757.6 | 651 | 18 | 4 | 779.8
| 19 | 814 | 832 | 851 | 842 | 787 | 738 | 713 | 825.2 | 725.5 | 19 | 67.6 | 847.4
| 20 | 825 | 824 | 837 | 829 | 756 | 722 | 717 | 814.2 | 719.5 | 20 | -11 | 836.4
| 21 | 801 | 822 | 823 | 812 | 752 | 707 | 713 | 802 | 710 | 21 | -12.2 | 824.2
| 22 | 738 | 774 | 778 | 768 | 710 | 692 | 689 | 753.6 | 690.5 | 22 | -48.4 | 775.8
| 23 | 687 | 694 | 701 | 691 | 650 | 633 | 633 | 684.6 | 633 | 23 | -69 | 706.8
| 24 | 624 | 621 | 664 | 603 | 616 | 575 | 574 | 625.6 | 574.5 | 24 | -59 | 647.8
| Total | 16797 | 17081 | 17446 | 17142 | 16586 | 15261 | 14317 | 17010.4 | 14789
| Temps hi | 52 | 47 | 48 | 52 | 57 | 52 | 51 | 51.3333 | 51.5
| low | 26 | 22 | 20 | 23 | 25 | 23 | 24 | 23.1667 | 23.5
Week 4
|  | 21 | 22 | 23 | 24 | 25 | 26 | 27
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 566 | 552 | 558 | 579 | 599 | 594 | 585 | 570.8 | 589.5 | 1 | -41.8
| 2 | 519 | 539 | 537 | 573 | 578 | 579 | 549 | 549.2 | 564 | 2 | -21.6
| 3 | 505 | 514 | 533 | 565 | 563 | 562 | 553 | 536 | 557.5 | 3 | -13.2
| 4 | 518 | 518 | 532 | 543 | 567 | 551 | 537 | 535.6 | 544 | 4 | -0.4
| 5 | 525 | 535 | 541 | 555 | 574 | 561 | 552 | 546 | 556.5 | 5 | 10.4
| 6 | 568 | 588 | 589 | 618 | 625 | 587 | 533 | 597.6 | 560 | 6 | 51.6 | 626
| 7 | 653 | 668 | 685 | 703 | 702 | 605 | 576 | 682.2 | 590.5 | 7 | 84.6 | 710.6
| 8 | 702 | 712 | 731 | 753 | 740 | 616 | 582 | 727.6 | 599 | 8 | 45.4 | 756
| 9 | 705 | 740 | 749 | 746 | 763 | 659 | 596 | 740.6 | 627.5 | 9 | 13 | 769
| 10 | 734 | 751 | 757 | 781 | 773 | 666 | 630 | 759.2 | 648 | 10 | 18.6 | 787.6
| 11 | 757 | 761 | 766 | 801 | 792 | 699 | 637 | 775.4 | 668 | 11 | 16.2 | 803.8
| 12 | 769 | 758 | 768 | 780 | 780 | 683 | 623 | 771 | 653 | 12 | -4.4 | 799.4
| 13 | 751 | 749 | 770 | 753 | 756 | 675 | 625 | 755.8 | 650 | 13 | -15.2 | 784.2
| 14 | 769 | 747 | 760 | 790 | 762 | 652 | 632 | 765.6 | 642 | 14 | 9.8 | 794
| 15 | 767 | 736 | 757 | 792 | 748 | 649 | 620 | 760 | 634.5 | 15 | -5.6 | 788.4
| 16 | 762 | 725 | 748 | 769 | 739 | 624 | 631 | 748.6 | 627.5 | 16 | -11.4 | 777
| 17 | 751 | 719 | 740 | 765 | 712 | 631 | 623 | 737.4 | 627 | 17 | -11.2 | 765.8
| 18 | 753 | 711 | 739 | 785 | 706 | 658 | 640 | 738.8 | 649 | 18 | 1.4 | 767.2
| 19 | 824 | 799 | 812 | 842 | 803 | 725 | 721 | 816 | 723 | 19 | 77.2 | 844.4
| 20 | 823 | 796 | 817 | 836 | 787 | 741 | 728 | 811.8 | 734.5 | 20 | -4.2 | 840.2
| 21 | 794 | 790 | 800 | 816 | 783 | 719 | 727 | 796.6 | 723 | 21 | -15.2
| 22 | 737 | 747 | 744 | 778 | 727 | 686 | 695 | 746.6 | 690.5 | 22 | -50
| 23 | 680 | 671 | 690 | 705 | 680 | 656 | 651 | 685.2 | 653.5 | 23 | -61.4
| 24 | 606 | 601 | 609 | 627 | 620 | 602 | 602 | 612.6 | 602 | 24 | -72.6
| Total | 16538 | 16427 | 16732 | 17255 | 16879 | 15380 | 14848 | 16766.2 | 15114
| Temps hi | 52 | 47 | 48 | 52 | 57 | 52 | 51 | 51.3333 | 51.5
| low | 26 | 22 | 20 | 23 | 25 | 23 | 24 | 23.1667 | 23.5
Week 5
|  | 28 | 29 | 1 | 2 | 3 | 4 | 5
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 555 | 579 | 564 | 580 | 590 | 565 | 760 | 573.6 | 662.5 | 1 | -22.6
| 2 | 550 | 534 | 537 | 535 | 534 | 532 | 651 | 538 | 591.5 | 2 | -35.6
| 3 | 532 | 537 | 531 | 516 | 517 | 506 | 690 | 526.6 | 598 | 3 | -11.4
| 4 | 535 | 531 | 528 | 524 | 509 | 486 | 672 | 525.4 | 579 | 4 | -1.2
| 5 | 533 | 542 | 539 | 525 | 510 | 488 | 659 | 529.8 | 573.5 | 5 | 4.4
| 6 | 575 | 590 | 584 | 559 | 525 | 487 | 660 | 566.6 | 573.5 | 6 | 36.8 | 671
| 7 | 667 | 700 | 668 | 614 | 554 | 489 | 760 | 640.6 | 624.5 | 7 | 74 | 745
| 8 | 754 | 731 | 723 | 638 | 569 | 487 | 747 | 683 | 617 | 8 | 42.4 | 787.4
| 9 | 761 | 757 | 734 | 677 | 606 | 495 | 827 | 707 | 661 | 9 | 24 | 811.4
| 10 | 742 | 778 | 743 | 698 | 627 | 512 | 831 | 717.6 | 671.5 | 10 | 10.6 | 822
| 11 | 787 | 784 | 749 | 705 | 640 | 532 | 819 | 733 | 675.5 | 11 | 15.4 | 837.4
| 12 | 796 | 772 | 750 | 705 | 629 | 546 | 820 | 730.4 | 683 | 12 | -2.6 | 834.8
| 13 | 792 | 775 | 752 | 688 | 619 | 535 | 783 | 725.2 | 659 | 13 | -5.2 | 829.6
| 14 | 797 | 770 | 754 | 711 | 608 | 531 | 761 | 728 | 646 | 14 | 2.8 | 832.4
| 15 | 789 | 765 | 758 | 699 | 597 | 523 | 734 | 721.6 | 628.5 | 15 | -6.4 | 826
| 16 | 755 | 762 | 740 | 685 | 593 | 513 | 741 | 707 | 627 | 16 | -14.6 | 811.4
| 17 | 760 | 747 | 731 | 679 | 597 | 530 | 762 | 702.8 | 646 | 17 | -4.2 | 807.2
| 18 | 750 | 765 | 740 | 760 | 678 | 601 | 887 | 738.6 | 744 | 18 | 35.8 | 843
| 19 | 827 | 824 | 804 | 814 | 740 | 660 | 928 | 801.8 | 794 | 19 | 63.2 | 906.2
| 20 | 820 | 816 | 802 | 809 | 721 | 664 | 932 | 793.6 | 798 | 20 | -8.2 | 898
| 21 | 813 | 805 | 782 | 798 | 686 | 652 | 893 | 776.8 | 772.5 | 21 | -16.8 | 881.2
| 22 | 744 | 761 | 737 | 771 | 654 | 639 | 860 | 733.4 | 749.5 | 22 | -43.4 | 837.8
| 23 | 679 | 663 | 669 | 681 | 622 | 614 | 833 | 662.8 | 723.5 | 23 | -70.6
| 24 | 618 | 604 | 573 | 600 | 586 | 564 | 748 | 596.2 | 656 | 24 | -66.6
| Total | 16931 | 16892 | 16492 | 15971 | 14511 | 13151 | 18758 | 16159.4 | 15954.5
| Temps hi | 59 | 60 | 63 | 69 | 67 | 67 | 60 | 64.1667 | 63.5
| low | 30 | 31 | 39 | 37 | 36 | 43 | 35 | 36 | 39
Scaler | bar: 28
| 2000-02-01 | Week 5 3: Weekly Average
Loads are averaged from the previous five weeks
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | Day AVG | WE Avg. | Hour | Change
| 1 | 561.6 | 567.6 | 585.6 | 578.6 | 583.4 | 582.2 | 602.8 | 575.36 | 575 | 1 | -36.36
| 2 | 540.4 | 542.4 | 560.8 | 555.4 | 562 | 561.8 | 562.4 | 552.2 | 554.75 | 2 | -23.16
| 3 | 528.4 | 535.8 | 558.6 | 543.6 | 550.4 | 545.4 | 563.6 | 543.36 | 543.625 | 3 | -8.84
| 4 | 530.8 | 527.2 | 547.8 | 542.6 | 544 | 532.8 | 554 | 538.48 | 534.5 | 4 | -4.88
| 5 | 538 | 541.4 | 567.4 | 551 | 558.4 | 546.2 | 555 | 551.24 | 544.875 | 5 | 12.76
| 6 | 585.6 | 587.6 | 621.6 | 604.8 | 603.4 | 569 | 553.4 | 600.6 | 558.125 | 6 | 49.36 | 722
| 7 | 692.2 | 679.2 | 709.2 | 695.4 | 682.8 | 607 | 600.4 | 691.76 | 598.5 | 7 | 91.16 | 813.16
| 8 | 742.8 | 719.6 | 762 | 728.6 | 707.6 | 613.2 | 602.8 | 732.12 | 605.75 | 8 | 40.36 | 853.52
| 9 | 747.2 | 742.2 | 766.2 | 743.4 | 724.6 | 643.2 | 638.6 | 744.72 | 635.875 | 9 | 12.6 | 866.12
| 10 | 761.8 | 758.6 | 765.4 | 758.2 | 738.8 | 663.6 | 659.8 | 756.56 | 659.25 | 10 | 11.84 | 877.96
| 11 | 778 | 769.2 | 773.4 | 768.8 | 749 | 672.2 | 668.4 | 767.68 | 669 | 11 | 11.12 | 889.08
| 12 | 784.2 | 763 | 766 | 761.6 | 746.4 | 673.8 | 663.6 | 764.24 | 665.125 | 12 | -3.44 | 885.64
| 13 | 769.2 | 755.6 | 761.4 | 749 | 729.4 | 664.4 | 655 | 752.92 | 659.875 | 13 | -11.32 | 874.32
| 14 | 775.8 | 752.6 | 766 | 757.8 | 729.4 | 651 | 645.4 | 756.32 | 648.75 | 14 | 3.4 | 877.72
| 15 | 775.8 | 747.4 | 762.2 | 751.6 | 718.8 | 641.8 | 633.2 | 751.16 | 639.75 | 15 | -5.16 | 872.56
| 16 | 760.6 | 739.2 | 752.8 | 741.2 | 705.6 | 631.4 | 638.6 | 739.88 | 637 | 16 | -11.28 | 861.28
| 17 | 751.2 | 732 | 746 | 734 | 687.4 | 630.4 | 643 | 730.12 | 634.375 | 17 | -9.76 | 851.52
| 18 | 755.2 | 761.4 | 762.8 | 752.6 | 707.4 | 659.2 | 689 | 747.88 | 656.625 | 18 | 17.76 | 869.28
| 19 | 825.2 | 820 | 828.8 | 824.4 | 780.6 | 724.8 | 766.4 | 815.8 | 733.5 | 19 | 67.92 | 937.2
| 20 | 822.4 | 808.6 | 818.4 | 816.8 | 760.2 | 722.2 | 771 | 805.28 | 733.75 | 20 | -10.52 | 926.68
| 21 | 805.4 | 796.8 | 799.2 | 804 | 746.8 | 707.2 | 754.4 | 790.44 | 720.375 | 21 | -14.84 | 911.84
| 22 | 744.4 | 763.6 | 750.8 | 755.8 | 707.8 | 681.6 | 731.2 | 744.48 | 695.625 | 22 | -45.96
| 23 | 691.2 | 672.6 | 682 | 685.6 | 658.6 | 643.4 | 681.8 | 678 | 647.375 | 23 | -66.48
| 24 | 617.6 | 611.6 | 609.6 | 610.2 | 609.6 | 587.2 | 623.6 | 611.72 | 592.75 | 24 | -66.28
| Total | 16885 | 16695.2 | 17024 | 16815 | 16292.4 | 15155 | 15457.4 | 16742.32 | 15144.125
| Average | 58.6 | 55.6 | 56.6 | 60 | 62.2 | 59.2 | 57.8 | Month | Average | High | 58.5714
| Temp. | 31.2 | 29 | 28.6 | 30 | 30.6 | 30.4 | 29 |  | Temp. | Low | 29.8286

## Last Year's Load
1999-02-01 | [5 empty] | Week 1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | WeekDay AVG | WeekEnd Avg. | Hour | Change
| 1 | 547 | 603 | 608 | 590 | 593 | 532 | 544 | 588.2 | 538 | 1 | -37
| 2 | 544 | 577 | 567 | 568 | 559 | 516 | 529 | 563 | 522.5 | 2 | -25.2
| 3 | 529 | 580 | 581 | 562 | 552 | 506 | 524 | 560.8 | 515 | 3 | -2.2
| 4 | 543 | 584 | 578 | 573 | 561 | 501 | 511 | 567.8 | 506 | 4 | 7
| 5 | 555 | 593 | 582 | 586 | 564 | 509 | 502 | 576 | 505.5 | 5 | 8.2
| 6 | 611 | 647 | 634 | 640 | 600 | 522 | 510 | 626.4 | 516 | 6 | 50.4
| 7 | 718 | 752 | 766 | 739 | 714 | 561 | 553 | 737.8 | 557 | 7 | 111.4
| 8 | 772 | 805 | 784 | 766 | 755 | 571 | 571 | 776.4 | 571 | 8 | 38.6
| 9 | 783 | 809 | 802 | 768 | 756 | 598 | 612 | 783.6 | 605 | 9 | 7.2
| 10 | 795 | 807 | 792 | 771 | 775 | 622 | 614 | 788 | 618 | 10 | 4.4
| 11 | 811 | 805 | 791 | 773 | 780 | 635 | 635 | 792 | 635 | 11 | 4
| 12 | 801 | 795 | 790 | 764 | 783 | 631 | 621 | 786.6 | 626 | 12 | -5.4
| 13 | 783 | 782 | 778 | 758 | 772 | 642 | 626 | 774.6 | 634 | 13 | -12
| 14 | 778 | 780 | 774 | 753 | 766 | 612 | 629 | 770.2 | 620.5 | 14 | -4.4
| 15 | 775 | 758 | 768 | 743 | 759 | 650 | 602 | 760.6 | 626 | 15 | -9.6
| 16 | 744 | 756 | 746 | 734 | 744 | 610 | 621 | 744.8 | 615.5 | 16 | -15.8
| 17 | 734 | 739 | 730 | 722 | 740 | 612 | 602 | 733 | 607 | 17 | -11.8
| 18 | 750 | 741 | 745 | 764 | 787 | 643 | 670 | 757.4 | 656.5 | 18 | 24.4
| 19 | 833 | 837 | 824 | 815 | 789 | 739 | 730 | 819.6 | 734.5 | 19 | 62.2
| 20 | 843 | 825 | 833 | 808 | 767 | 731 | 710 | 815.2 | 720.5 | 20 | -4.4
| 21 | 822 | 818 | 820 | 789 | 755 | 716 | 707 | 800.8 | 711.5 | 21 | -14.4
| 22 | 770 | 776 | 770 | 772 | 726 | 694 | 674 | 762.8 | 684 | 22 | -38
| 23 | 698 | 737 | 705 | 697 | 688 | 641 | 643 | 705 | 642 | 23 | -57.8
| 24 | 638 | 635 | 630 | 623 | 600 | 608 | 574 | 625.2 | 591 | 24 | -79.8
| Total | 17177 | 17541 | 17398 | 17078 | 16885 | 14602 | 14514 | 17215.8 | 14558
| Temps hi | 80 | 78 | 74 | 80 | 78 | 73 | 65 | 77.1667 | 69
| low | 50 | 50 | 48 | 50 | 50 | 50 | 45 | 49.6667 | 47.5
Week 2
|  | 8 | 9 | 10 | 11 | 12 | 13 | 14
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | WeekDay AVG | WeekEnd Avg. | Hour | Change
| 1 | 577 | 606 | 595 | 603 | 591 | 592 | 580 | 594.4 | 586 | 1 | -33
| 2 | 563 | 582 | 567 | 560 | 586 | 566 | 551 | 571.6 | 558.5 | 2 | -22.8
| 3 | 560 | 576 | 561 | 559 | 567 | 570 | 555 | 564.6 | 562.5 | 3 | -7
| 4 | 558 | 575 | 562 | 568 | 576 | 554 | 539 | 567.8 | 546.5 | 4 | 3.2
| 5 | 566 | 600 | 583 | 586 | 593 | 561 | 540 | 585.6 | 550.5 | 5 | 17.8
| 6 | 615 | 654 | 630 | 616 | 650 | 586 | 541 | 633 | 563.5 | 6 | 47.4
| 7 | 711 | 728 | 724 | 686 | 748 | 636 | 574 | 719.4 | 605 | 7 | 86.4
| 8 | 761 | 772 | 754 | 761 | 771 | 645 | 627 | 763.8 | 636 | 8 | 44.4
| 9 | 761 | 791 | 769 | 761 | 777 | 680 | 592 | 771.8 | 636 | 9 | 8
| 10 | 767 | 804 | 764 | 775 | 801 | 672 | 592 | 782.2 | 632 | 10 | 10.4
| 11 | 799 | 806 | 771 | 771 | 775 | 702 | 625 | 784.4 | 663.5 | 11 | 2.2
| 12 | 780 | 795 | 754 | 757 | 777 | 670 | 601 | 772.6 | 635.5 | 12 | -11.8
| 13 | 770 | 776 | 730 | 812 | 757 | 654 | 624 | 769 | 639 | 13 | -3.6
| 14 | 761 | 761 | 738 | 750 | 757 | 649 | 602 | 753.4 | 625.5 | 14 | -15.6
| 15 | 747 | 752 | 739 | 723 | 747 | 640 | 593 | 741.6 | 616.5 | 15 | -11.8
| 16 | 739 | 745 | 722 | 718 | 733 | 614 | 606 | 731.4 | 610 | 16 | -10.2
| 17 | 735 | 736 | 699 | 704 | 700 | 627 | 602 | 714.8 | 614.5 | 17 | -16.6
| 18 | 800 | 800 | 795 | 801 | 720 | 616 | 624 | 783.2 | 620 | 18 | 68.4
| 19 | 835 | 847 | 811 | 805 | 781 | 735 | 705 | 815.8 | 720 | 19 | 32.6
| 20 | 842 | 850 | 813 | 789 | 784 | 717 | 719 | 815.6 | 718 | 20 | -0.2
| 21 | 825 | 823 | 795 | 770 | 766 | 715 | 711 | 795.8 | 713 | 21 | -19.8
| 22 | 782 | 781 | 728 | 737 | 745 | 688 | 674 | 754.6 | 681 | 22 | -41.2
| 23 | 708 | 705 | 669 | 671 | 707 | 642 | 632 | 692 | 637 | 23 | -62.6
| 24 | 646 | 634 | 611 | 605 | 641 | 616 | 584 | 627.4 | 600 | 24 | -64.6
| Total | 17208 | 17499 | 16884 | 16888 | 17050 | 15347 | 14593 | 17105.8 | 14970
| Temps hi | 80 | 78 | 74 | 80 | 78 | 73 | 65 | 77.1667 | 69
| low | 50 | 50 | 48 | 50 | 50 | 50 | 45 | 49.6667 | 47.5
Week 3
|  | 15 | 16 | 17 | 18 | 19 | 20 | 21
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | WeekDay AVG | WeekEnd Avg. | Hour | Change
| 1 | 547 | 558 | 601 | 549 | 568 | 549 | 568 | 564.6 | 558.5 | 1 | -44.2
| 2 | 531 | 554 | 587 | 536 | 540 | 534 | 546 | 549.6 | 540 | 2 | -15
| 3 | 529 | 534 | 582 | 530 | 532 | 527 | 539 | 541.4 | 533 | 3 | -8.2
| 4 | 530 | 537 | 574 | 527 | 529 | 522 | 531 | 539.4 | 526.5 | 4 | -2
| 5 | 535 | 559 | 597 | 538 | 548 | 519 | 533 | 555.4 | 526 | 5 | 16
| 6 | 567 | 618 | 663 | 595 | 603 | 547 | 543 | 609.2 | 545 | 6 | 53.8
| 7 | 664 | 688 | 729 | 694 | 695 | 567 | 568 | 694 | 567.5 | 7 | 84.8
| 8 | 712 | 743 | 804 | 718 | 726 | 624 | 551 | 740.6 | 587.5 | 8 | 46.6
| 9 | 726 | 744 | 798 | 729 | 749 | 630 | 585 | 749.2 | 607.5 | 9 | 8.6
| 10 | 735 | 767 | 782 | 741 | 758 | 653 | 594 | 756.6 | 623.5 | 10 | 7.4
| 11 | 769 | 769 | 803 | 751 | 773 | 655 | 615 | 773 | 635 | 11 | 16.4
| 12 | 768 | 766 | 783 | 750 | 758 | 678 | 621 | 765 | 649.5 | 12 | -8
| 13 | 739 | 763 | 777 | 742 | 752 | 657 | 626 | 754.6 | 641.5 | 13 | -10.4
| 14 | 745 | 750 | 786 | 743 | 747 | 660 | 613 | 754.2 | 636.5 | 14 | -0.4
| 15 | 748 | 739 | 777 | 743 | 753 | 645 | 615 | 752 | 630 | 15 | -2.2
| 16 | 734 | 729 | 756 | 730 | 733 | 649 | 604 | 736.4 | 626.5 | 16 | -15.6
| 17 | 717 | 732 | 758 | 720 | 722 | 625 | 615 | 729.8 | 620 | 17 | -6.6
| 18 | 716 | 740 | 781 | 714 | 712 | 641 | 670 | 732.6 | 655.5 | 18 | 2.8
| 19 | 812 | 822 | 832 | 791 | 777 | 734 | 729 | 806.8 | 731.5 | 19 | 74.2
| 20 | 802 | 804 | 821 | 791 | 778 | 728 | 704 | 799.2 | 716 | 20 | -7.6
| 21 | 787 | 799 | 802 | 763 | 739 | 696 | 699 | 778 | 697.5 | 21 | -21.2
| 22 | 732 | 739 | 761 | 741 | 708 | 678 | 667 | 736.2 | 672.5 | 22 | -41.8
| 23 | 657 | 681 | 684 | 676 | 647 | 637 | 634 | 669 | 635.5 | 23 | -67.2
| 24 | 605 | 627 | 636 | 589 | 587 | 580 | 584 | 608.8 | 582 | 24 | -60.2
| Total | 16407 | 16762 | 17474 | 16401 | 16434 | 14935 | 14554 | 16695.6 | 14744.5
| Temps hi | 80 | 78 | 74 | 80 | 78 | 73 | 65 | 77.1667 | 69
| low | 50 | 50 | 48 | 50 | 50 | 50 | 45 | 49.6667 | 47.5
Week 4
|  | 22 | 23 | 24 | 25 | 26 | 27 | 28
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | WeekDay AVG | WeekEnd Avg. | Hour | Change
| 1 | 544 | 580 | 610 | 562 | 664 | 587 | 551 | 592 | 569 | 1 | -63.1748
| 2 | 538 | 554 | 586 | 540 | 632 | 574 | 547 | 570 | 560.5 | 2 | -22
| 3 | 531 | 547 | 555 | 534 | 610 | 555 | 536 | 555.4 | 545.5 | 3 | -14.6
| 4 | 538 | 551 | 557 | 549 | 595 | 551 | 532 | 558 | 541.5 | 4 | 2.6
| 5 | 540 | 557 | 570 | 545 | 588 | 558 | 516 | 560 | 537 | 5 | 2
| 6 | 585 | 625 | 596 | 618 | 590 | 592 | 545 | 602.8 | 568.5 | 6 | 42.8
| 7 | 628 | 755 | 727 | 705 | 612 | 614 | 551 | 685.4 | 582.5 | 7 | 82.6
| 8 | 689 | 780 | 783 | 741 | 604 | 630 | 568 | 719.4 | 599 | 8 | 34
| 9 | 711 | 763 | 780 | 737 | 617 | 660 | 597 | 721.6 | 628.5 | 9 | 2.2
| 10 | 743 | 789 | 774 | 751 | 625 | 677 | 616 | 736.4 | 646.5 | 10 | 14.8
| 11 | 761 | 775 | 785 | 770 | 623 | 677 | 615 | 742.8 | 646 | 11 | 6.4
| 12 | 766 | 782 | 791 | 768 | 617 | 669 | 622 | 744.8 | 645.5 | 12 | 2
| 13 | 764 | 764 | 777 | 758 | 605 | 653 | 613 | 733.6 | 633 | 13 | -11.2
| 14 | 739 | 774 | 776 | 752 | 586 | 638 | 600 | 725.4 | 619 | 14 | -8.2
| 15 | 750 | 791 | 785 | 744 | 563 | 624 | 601 | 726.6 | 612.5 | 15 | 1.2
| 16 | 741 | 775 | 753 | 740 | 557 | 621 | 601 | 713.2 | 611 | 16 | -13.4
| 17 | 724 | 752 | 755 | 738 | 567 | 638 | 602 | 707.2 | 620 | 17 | -6
| 18 | 780 | 775 | 729 | 778 | 670 | 766 | 661 | 746.4 | 713.5 | 18 | 39.2
| 19 | 840 | 794 | 840 | 849 | 725 | 807 | 722 | 809.6 | 764.5 | 19 | 63.2
| 20 | 808 | 762 | 815 | 839 | 734 | 796 | 732 | 791.6 | 764 | 20 | -18
| 21 | 792 | 838 | 775 | 806 | 734 | 788 | 717 | 789 | 752.5 | 21 | -2.6
| 22 | 748 | 771 | 740 | 749 | 727 | 739 | 670 | 747 | 704.5 | 22 | -42
| 23 | 682 | 715 | 672 | 784.117 | 684 | 702 | 612 | 707.4234 | 657 | 23 | -39.5766
| 24 | 620 | 696 | 612 | 707.8738 | 640 | 634 | 568 | 655.1748 | 601 | 24 | -52.2487
| Total | 16562 | 17265 | 17143 | 17064.9908 | 15169 | 15750 | 14495 | 16640.7982 | 15122.5
| Temps hi | 80 | 78 | 74 | 80 | 78 | 73 | 65 | 77.1667 | 69
| low | 50 | 50 | 48 | 50 | 50 | 50 | 45 | 49.6667 | 47.5
1999-03-01 |  | Week 4 26: Week 5
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | WeekDay AVG | WeekEnd Avg. | Hour | Change
| 1 | 584 | 546 | 565 | 548 | 547 | 618 | 590 | 558 | 604 | 1 | -41
| 2 | 563 | 534 | 547 | 520 | 531 | 600 | 580 | 539 | 590 | 2 | -19
| 3 | 553 | 528 | 522 | 509 | 516 | 581 | 567 | 525.6 | 574 | 3 | -13.4
| 4 | 550 | 523 | 535 | 504 | 515 | 586 | 558 | 525.4 | 572 | 4 | -0.2
| 5 | 561 | 537 | 536 | 530 | 526 | 571 | 573 | 538 | 572 | 5 | 12.6
| 6 | 602 | 579 | 591 | 567 | 566 | 617 | 571 | 581 | 594 | 6 | 43
| 7 | 659 | 664 | 677 | 664 | 654 | 647 | 605 | 663.6 | 626 | 7 | 82.6
| 8 | 719 | 716 | 712 | 713 | 698 | 663 | 609 | 711.6 | 636 | 8 | 48
| 9 | 744 | 724 | 733 | 734 | 721 | 694 | 647 | 731.2 | 670.5 | 9 | 19.6
| 10 | 773 | 770 | 748 | 744 | 733 | 705 | 657 | 753.6 | 681 | 10 | 22.4
| 11 | 791 | 791 | 762 | 762 | 750 | 711 | 644 | 771.2 | 677.5 | 11 | 17.6
| 12 | 795 | 781 | 767 | 768 | 745 | 703 | 651 | 771.2 | 677 | 12 | 0
| 13 | 778 | 788 | 761 | 762 | 739 | 676 | 638 | 765.6 | 657 | 13 | -5.6
| 14 | 767 | 791 | 772 | 764 | 745 | 666 | 628 | 767.8 | 647 | 14 | 2.2
| 15 | 751 | 791 | 760 | 757 | 743 | 640 | 640 | 760.4 | 640 | 15 | -7.4
| 16 | 733 | 780 | 773 | 751 | 728 | 651 | 621 | 753 | 636 | 16 | -7.4
| 17 | 726 | 757 | 743 | 729 | 714 | 644 | 613 | 733.8 | 628.5 | 17 | -19.2
| 18 | 836 | 742 | 732 | 724 | 693 | 699 | 675 | 745.4 | 687 | 18 | 11.6
| 19 | 874 | 808 | 798 | 791 | 758 | 745 | 720 | 805.8 | 732.5 | 19 | 60.4
| 20 | 861 | 814 | 800 | 798 | 750 | 735 | 723 | 804.6 | 729 | 20 | -1.2
| 21 | 845 | 804 | 772 | 776 | 728 | 737 | 736 | 785 | 736.5 | 21 | -19.6
| 22 | 804 | 749 | 733 | 731 | 679 | 707 | 702 | 739.2 | 704.5 | 22 | -45.8
| 23 | 725 | 670 | 655 | 652 | 634 | 664 | 639 | 667.2 | 651.5 | 23 | -72
| 24 | 633 | 601 | 585 | 581 | 595 | 635 | 574 | 599 | 604.5 | 24 | -68.2
| Total | 17227 | 16788 | 16579 | 16379 | 16008 | 15895 | 15161 | 16596.2 | 15528
| Temps hi | 80 | 78 | 74 | 80 | 78 | 73 | 65 | 77.1667 | 69
| low | 50 | 50 | 48 | 50 | 50 | 50 | 45 | 49.6667 | 47.5
Scaler | bar: 1
Weekly Average
Loads are averaged from the previous five weeks
| Hour | Monday | Tuesday | Wednesday | Thursday | Friday | Saturday | Sunday | WeekDay AVG | WeekEnd Avg. | Hour | Change
| 1 | 559.8 | 578.6 | 595.8 | 570.4 | 592.6 | 575.6 | 566.6 | 579.44 | 562.875 | 1 | -43.675
| 2 | 547.8 | 560.2 | 570.8 | 544.8 | 569.6 | 558 | 550.6 | 558.64 | 545.375 | 2 | -20.8
| 3 | 540.4 | 553 | 560.2 | 538.8 | 555.4 | 547.8 | 544.2 | 549.56 | 539 | 3 | -9.08
| 4 | 543.8 | 554 | 561.2 | 544.2 | 555.2 | 542.8 | 534.2 | 551.68 | 530.125 | 4 | 2.12
| 5 | 551.4 | 569.2 | 573.6 | 557 | 563.8 | 543.6 | 532.8 | 563 | 529.75 | 5 | 11.32
| 6 | 596 | 624.6 | 622.8 | 607.2 | 601.8 | 572.8 | 542 | 610.48 | 548.25 | 6 | 47.48
| 7 | 676 | 717.4 | 724.6 | 697.6 | 684.6 | 605 | 570.2 | 700.04 | 578 | 7 | 89.56
| 8 | 730.6 | 763.2 | 767.4 | 739.8 | 710.8 | 626.6 | 585.2 | 742.36 | 598.375 | 8 | 42.32
| 9 | 745 | 766.2 | 776.4 | 745.8 | 724 | 652.4 | 606.6 | 751.48 | 619.25 | 9 | 9.12
| 10 | 762.6 | 787.4 | 772 | 756.4 | 738.4 | 665.8 | 614.6 | 763.36 | 630 | 10 | 11.88
| 11 | 786.2 | 789.2 | 782.4 | 765.4 | 740.2 | 676 | 626.8 | 772.68 | 644.875 | 11 | 9.32
| 12 | 782 | 783.8 | 777 | 761.4 | 736 | 670.2 | 623.2 | 768.04 | 639.125 | 12 | -4.64
| 13 | 766.8 | 774.6 | 764.6 | 766.4 | 725 | 656.4 | 625.4 | 759.48 | 636.875 | 13 | -8.56
| 14 | 758 | 771.2 | 769.2 | 752.4 | 720.2 | 645 | 614.4 | 754.2 | 625.375 | 14 | -5.28
| 15 | 754.2 | 766.2 | 765.8 | 742 | 713 | 639.8 | 610.2 | 748.24 | 621.25 | 15 | -5.96
| 16 | 738.2 | 757 | 750 | 734.6 | 699 | 629 | 610.6 | 735.76 | 615.75 | 16 | -12.48
| 17 | 727.2 | 743.2 | 737 | 722.6 | 688.6 | 629.2 | 606.8 | 723.72 | 615.375 | 17 | -12.04
| 18 | 776.4 | 759.6 | 756.4 | 756.2 | 716.4 | 673 | 660 | 753 | 661.375 | 18 | 29.28
| 19 | 838.8 | 821.6 | 821 | 810.2 | 766 | 752 | 721.2 | 811.52 | 737.625 | 19 | 58.52
| 20 | 831.2 | 811 | 816.4 | 805 | 762.6 | 741.4 | 717.6 | 805.24 | 729.625 | 20 | -6.28
| 21 | 814.2 | 816.4 | 792.8 | 780.8 | 744.4 | 730.4 | 714 | 789.72 | 718.625 | 21 | -15.52
| 22 | 767.2 | 763.2 | 746.4 | 746 | 717 | 701.2 | 677.4 | 747.96 | 685.5 | 22 | -41.76
| 23 | 694 | 701.6 | 677 | 696.0234 | 672 | 657.2 | 632 | 688.1247 | 642.875 | 23 | -59.8353
| 24 | 628.4 | 638.6 | 614.8 | 621.1748 | 612.6 | 614.6 | 576.8 | 623.115 | 593.5 | 24 | -65.0097
| Total | 16916.2 | 17171 | 17095.6 | 16762.1982 | 16309.2 | 15305.8 | 14663.4 | 16850.8396 | 14848.75
| Temps hi | 80 | 78 | 74 | 80 | 78 | 73 | 65 | 77.1667 | 69
| low | 50 | 50 | 48 | 50 | 50 | 50 | 45 | 49.6667 | 47.5

## Calculations
| cost |  |  |  | SPS or TNP
Copper mw | 69 | 41.5% | 3 | Trans | 15% | 3 |  |  | 15% | 40%
GAS $ | 2.02 | Adder | Margin | 5.71 | Adder | Margin | Lambda | 19.3 | 22.195 | 27.02
Start | 1327.14 | [5 empty] | Trans | 5.71 | 27.905 | 32.73
4 HR Run | 33.0885 | 46.8202 | 36.0885 | 38.7985 | 43.7617 | 41.7985
5 HR Run | 32.1268 | 45.4594 | 35.1268 | 37.8368 | 42.6558 | 40.8368
6 HR Run | 31.4857 | 44.5522 | 34.4857 | 37.1957 | 41.9185 | 40.1957
7 HR Run | 31.0277 | 43.9042 | 34.0277 | 36.7377 | 41.3919 | 39.7377 |  | Enter Blue Numbers
8 HR Run | 30.6842 | 43.4182 | 33.6842 | 36.3942 | 40.9969 | 39.3942
9 HR Run | 30.4171 | 43.0402 | 33.4171 | 36.1271 | 40.6897 | 39.1271
10 HR Run | 30.2034 | 42.7378 | 33.2034 | 35.9134 | 40.4439 | 38.9134 |  | PNM's Contingent
11 HR Run | 30.0285 | 42.4904 | 33.0285 | 35.7385 | 40.2428 | 38.7385 |  | Gross output | Station Services*** NET |  | % of cap
12 HR Run | 29.8828 | 42.2842 | 32.8828 | 35.5928 | 40.0752 | 38.5928 | Rio 7* | 38 | 3 | 35 | 70%
13 HR Run | 29.7595 | 42.1097 | 32.7595 | 35.4695 | 39.9335 | 38.4695 | Rio 8* | 120 | 5 | 115 | 76.67%
14 HR Run | 29.6539 | 41.9602 | 32.6539 | 35.3639 | 39.8119 | 38.3639
15 HR Run | 29.5623 | 41.8306 | 32.5623 | 35.2723 | 39.7066 | 38.2723 | PNM's Contingent** |  | 70
16 HR Run | 29.4821 | 41.7172 | 32.4821 | 35.1921 | 39.6144 | 38.1921 | Rio 7= .25 |  | 12.25 | 12 | 12
[7 empty] | Rio 8 =.75 |  | 40.25 | 40 | 21
[7 empty] | Current Maximum Take |  | 52.5 | 53
|  | Position |  |  |  |  | Current Maximum Increase or Decrease |  |  |  | 33
| Local | 282 | IID | 70 |  |  | **PNM's total contingent = 70 with Units @ 100%
| Remote | 702 | TNP | 25 |  |  | *based on high numbers on Manual
|  |  | PNM | 19 |  |  | ***Station Services Approximately 6%
|  |  | Load | 702 |  |  | When taking a unit to zero it is important to take out Station Services for that unit
Purchase | a. | 0 | Ace | 2 |  |  | Sample
| b. | 0 | Sales a. | 170 |  |  | RG 7 entitlement = 0.25 * 70MW * ((48-3)/50) = 15.75 or 16 MW rounded.
| c. | 0 | b. | 0 |  |  | RG 8 entitlement = 0.75 * 70 MW * ((100-5)/150) = 33.25 or 33 MW rounded.
| d. | 0 | c. | 0
|  |  | d. | 0 |  |  | Total of 49 MW's
| Total | 984 | Total | 988 | Difference | 4
The unit high numbers 50 and 150 came from Pete.
At the time of the contract these were the net numbers for unit 7 and 8
This calculation is calculated using the current high numbers for unit 7 and 8

## Spin
| California Spin |  |  |  | Total spin needed to Carry |  |  |  | California Replacement
MST HE | PST HE | Bid Amt (MW) | Awarded Capacity (MW) | MST HE | PNM Reserves | EPE Contingency | Total Contingency | Spin | HE | Bid Amt (MW) | Awarded Capacity (MW)
2 | 1 | 0 | 0 | 2 |  | 84 | 84 | 42 | 1 | 20 | 0
3 | 2 | 0 | 0 | 3 |  | 79 | 79 | 39.5 | 2 | 20 | 0
4 | 3 | 0 | 0 | 4 |  | 79 | 79 | 39.5 | 3 | 20 | 0
5 | 4 | 0 | 0 | 5 |  | 73 | 73 | 36.5 | 4 | 20 | 0
6 | 5 | 0 | 0 | 6 |  | 72 | 72 | 36 | 5 | 20 | 0
7 | 6 | 0 | 0 | 7 |  | 74 | 74 | 37 | 6 | 20 | 0
8 | 7 | 0 | 0 | 8 |  | 67 | 67 | 33.5 | 7 | 20 | 0
9 | 8 | 0 | 0 | 9 |  | 68 | 68 | 34 | 8 | 20 | 0
10 | 9 | 0 | 0 | 10 |  | 70 | 70 | 35 | 9 | 20 | 0
11 | 10 | 0 | 0 | 11 |  | 72 | 72 | 36 | 10 | 20 | 0
12 | 11 | 0 | 0 | 12 |  | 72 | 72 | 36 | 11 | 20 | 0
13 | 12 | 0 | 0 | 13 |  | 72 | 72 | 36 | 12 | 20 | 0
14 | 13 | 0 | 0 | 14 |  | 71 | 71 | 35.5 | 13 | 20 | 0
15 | 14 | 0 | 0 | 15 |  | 72 | 72 | 36 | 14 | 20 | 0
16 | 15 | 0 | 0 | 16 |  | 72 | 72 | 36 | 15 | 20 | 0
17 | 16 | 0 | 0 | 17 |  | 72 | 72 | 36 | 16 | 20 | 0
18 | 17 | 0 | 0 | 18 |  | 72 | 72 | 36 | 17 | 20 | 0
19 | 18 | 0 | 0 | 19 |  | 70 | 70 | 35 | 18 | 20 | 0
20 | 19 | 0 | 0 | 20 |  | 69 | 69 | 34.5 | 19 | 20 | 0
21 | 20 | 0 | 0 | 21 |  | 69 | 69 | 34.5 | 20 | 20 | 0
22 | 21 | 0 | 0 | 22 |  | 69 | 69 | 34.5 | 21 | 20 | 0
23 | 22 | 0 | 0 | 23 |  | 70 | 70 | 35 | 22 | 20 | 0
24 | 23 | 0 | 0 | 24 |  | 72 | 72 | 36 | 23 | 20 | 0
1 | 24 | 0 | 0 | 1 |  | 77 | 77 | 38.5 | 24 | 20 | 0
|  | 0 | 0 | [6 empty] | 480 | 0
Enter Blue Numbers

## Calculator-Peak
ECONOMIC CALCULATOR FOR FIRM VERSUS NON-FIRM PURCHASE
[6 empty] | HE | 19
|  | Enter Local Generation Avail: | 446 |  |  | Projected Control Area Load: | 838 |  | Local Avail. | 446
|  | Enter Remote Generation: | 704 |  |  | PNM Contingent: | 14 |  | Gen. | 307
|  | Firm Purchases into EPE: | 0 |  |  | TNP Firm: | 25 |  | UnLoaded | 139
|  | Non-Firm Purchases into EPE: | 0 |  |  | IID Firm + Contingent: | 150
|  | SPS Firm: | 0 |  |  | Firm Sales: | 30 | Eddy | 118 | Local | 446
|  |  | 0 |  |  | Non-Firm Sales: | 0 | -load | 50 | Copper | 69
|  | Total Generation for Load: | 1150 |  |  | Total Load Next Hour: | 1057 |  | 68 |  | 515
|  | Enter Total Spin Required: | 98 |  |  | PNM Contract: | 53 | (Contingent upon units 7 & 8 number automatically feeds from the calculation tab)
|  | Spin Required: | 49 |  |  | IID Firm Contract: | 100 |  |  |  | Enter Blue Numbers
|  | Non-Spin Required: | 49 |  |  | TNP Contract: | 25
|  | Spin Required + Regulating Margin: | 67.5 |  |  | SPS Contract: | 0
[8 empty] | Lambda = | 19.5
|  | *Amount of Spin: | 93 | 75.5 | Weighted Avg. Purchase Power Calculator | [6 empty] | * | Output | Highs' | Spin | RR
|  | Amount of Non-Spin: | 11 | 105.5 |  |  | MWH | $/MWH |  |  |  | Unit 1 | 0 | 0 | 0 | 3
|  | Total Spin: | 104 |  |  | Firm Block 1: | 0 | 0 | 0 |  |  | 2 | 39 | 46 | 7 | 4.5
|  | Spin Available/(Deficient): | 6 |  |  | Firm Block 2: | 0 | 0 | 0 |  |  | 3 | 39 | 101 | 33.7 | 3.37
|  | Enter Firm Price: | 0 |  |  | Firm Block 3: | 0 | 0 | 0 |  |  | GT1 | 0 | 0 | 0 | 10
|  | Enter Non-Firm Price: | 0 |  |  | Firm Block 4: | 0 | 0 | 0 |  |  | GT2 | 0 | 0 | 0 | 10
[6 empty] | Firm Block 5: | 0 | 0 | 0 |  |  | GT1S | 0 | 0 | 0 | 3.33
|  | MWH of Firm Avail./(Deficient): | 6 |  |  | Total: | 0 | NA | 0 |  |  | GT2S | 0 | 0 | 0 | 3.6
|  | Total Cost of Firm: | 0 |  |  |  | MWH | $/MWH |  |  |  | NM4 | 165 | 202 | 36 | 3.6
|  | MWH of Non-Firm Avail./(Deficient): | 26.5 |  |  | Non-Firm Block 1: | 0 | 0 | 0 |  |  | Copper | 0 | 0 | 0 | 10
|  | Total Cost of Non-Firm: | 0 |  |  | Non-Firm Block 2: | 0 | 0 | 0 |  |  | 6 | 32 | 48 | 16 | 2
[6 empty] | Non-Firm Block 3: | 0 | 0 | 0 |  |  | 7 | 32 | 49 | 17 | 2.1
[6 empty] | Non-Firm Block 4: | 0 | 0 | 0 |  |  | 8 | 0 | 0 | 0 | 2.1
[6 empty] | Non-Firm Block 5: | 0 | 0 | 0 |  |  | Total | 307 | 446 | 109.7
[6 empty] | Total: | 0 | NA | 0 |  |  | FC | 104 | 104
[12 empty] | PV | 600 | 600
NOTE: | * ACTUAL SPIN SHOW MAY BE LESS SINCE UNIT RAMP RATES ARE NOT CONSIDERED. | [7 empty] | 0 |  |  |  | 704 | 704
* If unitis off put zero's in both places