## Gen Summary
| 1999 | 2000
MAPP | 648.5 | 100
MAIN | 2215 | 2201
ECAR | 2049.625
NYPP
MAAC
SERC
SPP
ERCOT
FRCC

## Sheet4
Sum of MW |  | Region
Year | Fuel | ECAR | ERCOT | FRCC | MAAC | MAIN | MAPP | NEPOOL | NYPP | SERC | SPP | Grand Total
1999 | Coal | 182 | [9 empty] | 182
| FO2 | 39 | [9 empty] | 39
| NG | 1612.625 | 1567 | 249 |  | 1969 | 210 | 435 |  | 2232 | 570 | 8844.625
| Oil |  |  |  |  | 235 | [5 empty] | 235
| PC |  |  |  | 360 | [6 empty] | 360
| WAT | 122 | [9 empty] | 122
| WND |  | 75 |  |  | 11 | 438.5 |  |  |  |  | 524.5
| WTE | 94 | [9 empty] | 94
1999 Total |  | 2049.625 | 1642 | 249 | 360 | 2215 | 648.5 | 435 |  | 2232 | 570 | 10401.125
2000 | NG | 3434 | 3694 | 305 | 289 | 2186 | 100 | 1934 | 250 | 4499 | 2239 | 18930
| Oil |  |  |  | 135 | [6 empty] | 135
| WTE | 35 |  |  |  | 15 | [5 empty] | 50
2000 Total |  | 3469 | 3694 | 305 | 424 | 2201 | 100 | 1934 | 250 | 4499 | 2239 | 19115
Grand Total |  | 5518.625 | 5336 | 554 | 784 | 4416 | 748.5 | 2369 | 250 | 6731 | 2809 | 29516.125

## Raw Data
Company | Region | Plant | MW | Unit | Fuel | Mo | Year | City | State | Status | Cost/Mllns | Service | Mmbtu/d | Host/Utility | Source/Site | Number | Contact | First | Last | Notes
AES | ECAR | Hoosier Merchant | 400 | CT | NG | 6 | 2000 | (southern) | IN | PLN |  | Merchant |  | HEC | http://www.state.in.us/iurc/schedule/hearing.html | 317-232-2765 | Jerry Webb | 1999-01-20 | 1999-08-09 | Applied for permit with IURC. Originally 200 MW, and starting in summer 99. Now starting summer 2000 with 400. Constructed on property leased from HEC. Permitted 7/15/99
Cinergy | ECAR | Henry Cty Peaker | 135 | CT | NG | 6 | 2000 | New Castle | IN | PLN | 64 | Utility |  | Cinergy |  |  |  | 1999-09-17 | 1999-09-27 | Already have air permit, awaiting final call from management which should be by year end. 3x45 MW units. Did not receive tax abatement as economic development zone from Henry Cty Council.
Duke Energy | ECAR | Vermillion County Merchant | 640 | CT | NG | 6 | 2000 | Cayuga | IN | PLN | [5 empty] | 317-232-2297 | Ryan Soultz | 1999-03-01 | 1999-06-21 | 8x80 MW GT's. (Enron Dublin 2/16/99). IURC gave approval 4-99. Breaking ground on Aug 11.
Enron Capital & Trade | ECAR | West Fork Land LLC Peaker | 514 | CT | NG | 6 | 2000 | Wheatland | IN | PLN |  | Merchant | [5 empty] | 1999-01-25 | 1999-07-28 | They are asking the Indiana regulatory commission to approve the new plant. The certificant of convience was filed by Enron's subsidiary West Fork Land Development. Approval received.
IPALCO & DTE J/V | ECAR | Marion County | 240 | GT | NG | 6 | 2000 | Indianapolis | IN | CON | 30 | Merchant | [5 empty] | 1998-12-21 | 1999-12-21 | Announced plans to build up to 200 MW of new CT to be used for peaking demand by spring of 2001 – 100 MW by June 2000. As of Oct, J/V with DTE (who has equipment, IPL has site) IPL to run units - IPL to get 80 MW, DTE to get 160 MW. Stone & Webster to ge
East Kentucky Power | ECAR | JK Smith | 110 | GT | NG | 6 | 2000 | Clark Cty | KY | CON |  | Utility | [5 empty] | 1999-02-08 | 1999-06-28 | Filed with commission, awaiting approval. Long term ppa with Kentucky Pioneer when online (see below). PSC Oks plant end of June. PMW calls it 80 MW.
DQE / Michcon | ECAR | Midfield Airport | 60 | CG | NG | 12 | 2000 | Wayne Cty | MI | PLN |  | Cogen |  |  | PRNewswire |  |  | 1998-12-08 | 1998-12-08
Holland, City of | ECAR | 48th Street | 80 |  | NG | 6 | 2000 | Holland | MI | PLN |  |  |  |  | ES&D 98 |  |  | 1998-10-29 | 1998-10-29 | B&V is EPC. To be ready June 1, 2000.
AMP-Ohio | ECAR | Landfill Project | 35 | ST | WTE | 6 | 2000 | 9 sites | OH | PLN |  | Utility |  | AMP Ohio | AMP Ohio |  |  | 1999-06-01 |  | Landfill gas reclamation
Cinergy | ECAR | Peaker | 0 | GT | NG | 4 | 2000 |  | OH | PLN | [7 empty] | 1999-08-11 |  | Peaker needed because of Summer '99 fiasco. Should be 200 MW, awaiting announcement
Dayton Power & Light | ECAR | Darke County Phase II | 225 | GT | NG | 6 | 2000 | Darke County | OH | PLN | 80 | Utility |  | DPL | Electric Power Daily |  |  | 1999-08-30 |  | Phase II of expansion plan. 4x56 MW aeroderivatives from Pratt & Whitney.
Duke Energy | ECAR | Madison Generating Station | 640 | CT | NG | 6 | 2000 | Butler County | OH | CON | 200 | Merchant |  |  | http://www.puc.state.oh.us/pubrel/opsb/98-1603.html |  |  | 1998-12-07 | 365061 | Northeastern Ohio locatio - east of Cleveland. Approval received from Ohio Power Siting Board 4-99. 8x80 MW CT, 2000 hr/yr. Construction originally to start June 99, now July '99. 8x80 MW. Gas from Tennessee Pipelines. Will be built adjacent to Cinerg
Mid-Atlantic Energy Group | ECAR | Richland Station | 390 | GT | NG | 6 | 2000 | Defiance | OH | PLN | 75 |  |  | FE | http://www.puc.state.oh.us/pubrel/opsb/99-586.html |  |  |  | 1999-08-17 | It is a $75 million gas-fired 3x130 MW peaking plant that would help meet capacity needs of First Energy in the summer of 2000. The plant will be located at Toledo Edision's Richland substation in Defiance County, Ohio. Toledo Edison will operate the pe
Allegheny Energy Supply | ECAR | Springdale Station Upgrade | 88 | CT | NG | 12 | 1999 | Springdale | PA | OPR | 37 | Utility |  | Allegheny |  |  |  | 1999-05-10 |  | This is an addition to their Springdale Power Station in Allegheny County. Cost 37 milion, Designed to be a peaker. (BTU WK. May 10,1999)
City of Columbus | ECAR | City of Columbus | 16 |  | FO2 | 8 | 1999 |  | WV | CON | 50 | Utility |  |  | UDI, Generation week (1/13/99) | 304-872-2211 | Steve LaRose |  |  | Broke ground 5/98. Catamount, sub of CVPS, managing developer. The plant will generate electricity for AEP subsidiary Appalachina Power customers.
Gauley River Power Prtnr | ECAR | Summersville HY 1&2 | 80 | HY | WAT | 12 | 1999 | Summersville |  | OPR |  |  |  |  | Summer Assessment |  |  |  | 1999-06-22
Central Wayne WTE | ECAR | Central Wayne | 20 | ST | WTE | 12 | 1999 | Dearborn | IN | OPR |  |  |  |  | Summer Assessment |  |  | 1999-06-21 | 1999-06-21 | Summer Assessment. Plant name Napoleon 46
Detroit Edison | ECAR | Belle River | 75 | CT | NG |  | 1999 |  | MI | OPR
Detroit Edison | ECAR | Belle River | 150 | CT | NG |  | 1999 |  | MI | OPR
Detroit Edison | ECAR | Conners Creek | 300 | CT | NG |  | 1999 |  | MI | OPR
Detroit Edison | ECAR | Delray | 150 | CT | NG |  | 1999 |  | MI | OPR
Detroit Edison | ECAR | Greenwood | 225 | CT | NG |  | 1999 |  | MI | OPR
Jackson Center | ECAR | Jackson Center | 2 | N/A | FO2 |  | 1999 |  | MI | OPR
Arcunum | ECAR | Arcunum 3 | 2 | GT | FO2 |  | 1999 |  | OH | OPR
City of Napoleon | ECAR | Napoleon 46 | 5 | GT | FO2 |  | 1999 |  | OH | OPR
Dayton Power & Light | ECAR | FM Tait | 84 | GT | NG |  | 1999 |  | OH | OPR
Virginia Power | ECAR | Baynard | 74 | ST | WTE |  | 1999 |  | OH | OPR
Consumers Energy | ECAR | Livingston | 140 | CT | NG |  | 1999 |  | KY | OPR
AES | ECAR | Warrior Run | 182 | ST | Coal |  | 1999 |  | WV | OPR
AMP-Ohio | ECAR | Belle Ville | 42 | HY | WAT |  | 1999 |  | MI | OPR
AMP-Ohio | ECAR | DistGen Project Phase 1 | 45.625 | GT | NG |  | 1999 |  | MI | OPR
Consumers Energy | ECAR | Cobb | 56 | CT | NG |  | 1999 |  | MI | OPR
Consumers Energy | ECAR | Morrow | 63 | CT | NG |  | 1999 |  | MI | OPR
AMP-Ohio | ECAR | St Mary's GT | 11 | GT | NG |  | 1999 |  | MI | OPR
City of Bryan | ECAR | City of Bryan | 5 | N/A | FO2 |  | 1999 |  | MI | OPR
City of Cleveland | ECAR | City of Cleveland | 9 | N/A | FO2 |  | 1999 |  | MI | OPR
Consumers Energy | ECAR | Kalamazoo | 65 | CT | NG |  | 1999 |  | MI | OPR
Dearborn Ind. Generation | ECAR | Rouge Cogen | 160 | CT | NG |  | 1999 |  | MI | OPR
Calpine | ERCOT | Clearlake Expansion | 35 | CG | NG | 12 | 1999 | Pasadena | TX | CON |  | Cogen | [5 empty] | 1998-08-15 | 1999-04-12 | Online by 12/99.
FPL Energy | ERCOT | McCamey Wind | 75 | WT | WND | 6 | 1999 | McCamey | TX | CON |  | NUG |  | CSW | FPL Website | (561) 694-4699 | Max Kuniansky | 1999-03-08 | 1999-03-08 | Some capacity available before June 99.
Koch Power | ERCOT | Corpus Christi | 200 | CC | NG | 6 | 1999 | Corpus Christi | TX | CON |  | Merchant
Lubbock Power & Light | ERCOT | Massengale Station | 62 | CC | NG | 7 | 1999 | Lubbock | TX | PLN |  | Utility | [5 empty] | 1998-10-10 | 1998-10-10 | GE LM 6000 SPRINT. Existing 22 MW ST
Reliant Energy | ERCOT | Sabine | 100 | CG | NG | 11 | 1999 | Orange | TX | CON | 66 | Cogen |  | Bayer |  |  |  | 1998-08-03 | 1998-08-03 | Air Liquide to manage plant. 60 MW sold to Alabama Eelectric Co-op for 3 years. Other capacity and steam to go to Bayer Corp synthetic rubber plant.
ANP | ERCOT | Midlothian | 1100 | CC | NG | 6 | 2000 | Midlothian | TX | CON |  | Merchant |  |  | Megawatt Daily (7/6/99) |  |  |  | 1999-07-12 | The plant was changed from 750 MW to 1100 MW and changed from 2001 to 2000 according to article. The plant has begun construction according to ANP.
Calpine | ERCOT | Pasadena Expansion | 510 | CC | NG | 6 | 2000 | Pasadena | TX | CON | 265 | Merchant |  |  | http://www.calpine.com/portfolio/portfolio.htm |  |  | 1998-10-21 | 1999-02-04 | Phillips Petroleum. Financing complete in Feb now 265 million (was 235 million). TU and LG&E signed PPAs. Westinghouse equipment.
City Public Service | ERCOT | Arthur Von Rosenberg | 509 | CC | NG | 4 | 2000 | Braunig Lake | TX | CON |  | Utility |  |  | http://www.calpine.com/portfolio/portfolio.htm |  |  | 1998-07-01 | 1999-10-11 | GE F technology. Due online in March 00.
Duke Energy | ERCOT | Hidalgo | 520 | CC | NG | 6 | 2000 | Edinburg | TX | CON | 175 | Merchant |  |  | Duke PR |  |  | 1998-12-08 | 1999-11-18 | Construction originally to start in mid 1999/Broke ground in February. 21.5% sold to Brownsville. Still called June start-up
Dynegy | ERCOT | CoGen Lyondell | 155 | GT | NG | 6 | 2000 | Houston | TX | PLN |  | Merchant/Cogen |  | CoGen |  |  |  | 1999-01-20 | 1999-03-01 | Expansion at existing site from 610 MW. F-Class turbine
Lamar Power Prtnr (FPL) | ERCOT | Paris | 500 | CC | NG | 6 | 2000 | Paris / Marion | TX | CON | 400 | Merchant | 170000 |  | MWBB Website |  |  | 1998-10-01 | 1999-07-28 | 700 MW to TU, TNP and Constellation; rest wholesale sales to ERCOT and SPP. Construction to begin 1-99. Panda sold interest to FPL in Feb 99. On schedule -Rusty Kelley. To use 4xGE MS7001FA GTs and 2x200 MW STs (ordered in Oct).
LG&E / Columbia | ERCOT | Reynolds/Gregory | 400 | CG | NG | 6 | 2000 | Gregory | TX | CON | 365 | Cogen/Merchant |  | Reynolds Aluminum | MW Daily |  |  | 1998-06-05 | 1999-11-04 | Final negotiations due to end this Summer. Output limited to 400 MW when producing 1.5 million lbs steam for Reynolds Sherwin Alumina plant, will also sell Reyonlds 55 MW. Coral supplying 10 yrs of gas. Fully financed from ING Barings. Clearinghouse to
Borger Energy Assoc | ERCOT | Blackhawk | 230 | CG | NG |  | 1999 |  | TX | OPR
CSW | ERCOT | Frontera | 500 | CC | NG |  | 1999 |  | TX | OPR
Ingleside Cogen | ERCOT | Ingleside | 440 | CG | NG |  | 1999 |  | TX | OPR
Tallahassee City Of | FRCC | S. O. Purdom Unit 8 | 230 | CC | NG | 5 | 2000 | Tallahassee | FL | CON | 108 |  |  |  | Tallahassee | 850-891-5534 | Rob McGarrah | 1998-05-08 | 1999-11-08 | Allows city to retire units 5&6. Broke ground in Jan-99. GE7FA gas turbine + 80 MW steam turbine. On-time as of 11/99.
Tampa Electric | FRCC | Hardee Power Station | 75 | CT | NG | 5 | 2000 | Hardee Cty | FL | PLN | 38 | Utility |  |  | PR Newswire |  |  | 1999-09-15 |  | Upgrade to existing unit. Station serves both TECO and Seminole.
Lakeland, City of | FRCC | CT | 249 | CT | NG | 10 | 1999 | Lakeland | FL | CON | 55 | Utility |  |  | MW Daily | (941) 499-6461 | Al Dodd |  | 1999-07-28 | Westinghouse W501G unit
Star Enterprises | MAAC | Delaware City | 180 | ST | PC | 10 | 1999 | Delaware City | DE | OPR | 250 | Cogen |  |  | PUF | 302-834-6000 |  | 1997-12-01 | 1997-12-01 | IGCC
Williams/PP&L | MAAC | Hazleton | 88 | CC | NG | 6 | 2000 | Hazleton | PA | CON |  | Merchant |  |  | Williams Website | twc.com |  | 1998-04-02 | 1999-04-26 | Repower additional. 83 MW online. This is HRSG
Williams/PP&L | MAAC | Hazleton | 201 | CC | NG | 6 | 2000 | Hazleton | PA | CON |  | Merchant |  |  | Williams Website | twc.com |  | 1998-04-02 | 1999-04-26 | Repower additional. 83 MW online. This is additional CC.
Commonwealth Chesapeake | MAAC | New Church | 135 | CT | Oil | 6 | 2000 | New Church | VA | PLN | 100 | Merchant |  |  | VA SCC Website | 804-371-9141 | Ken Schrad | 1998-08-05 | 1999-08-17 | J/V with AES. Originally due on-line 12-99, now split 2000/2001. For sale to PJM, although physically part of SERC-VACAR.
Star Enterprises | MAAC | Delaware City | 180 | ST | PC | 10 | 1999 | Delaware City | DE | OPR | 250 | Cogen |  |  | PUF | 302-834-6000 |  | 1997-12-01 | 1997-12-01 | IGCC
Ameren | MAIN | Carlyle Lake | 230 | CT | NG | 6 | 2000 | Patoka | IL | PLN | 87 | Utility |  | Ameren | Ameren |  |  | 1999-03-20 | 1999-06-22 | Total project to add 700 MW
Ameren | MAIN | Gibson City Peaker | 230 | CT | NG | 6 | 2000 | Gibson City | IL | PLN | 87 | Utility |  | Ameren | Ameren |  |  | 1999-03-20 | 1999-06-22 | Total project to add 700 MW
City Water Light & Power | MAIN | Springfield Peaker RFP | 100 | CT | NG | 6 | 2000 | Springfield | IL | PLN |  | Utility |  | CWL&P | PMW |  |  | 1999-03-29 |  | Issued RFP for Summer 99, but no one could produce. Will issue '00 RFP later this year.
Coga Industries | MAIN | Macoupin County | 65 |  | NG |  | 1999 | Macoupin County | IL | PLN |  |  |  |  | UDI
Dynegy/NICOR J/V | MAIN | Rocky Road Power Plant | 100 | CT | NG | 7 | 2000 | East Dundee | IL | PLN | 40 | Merchant |  |  | MW Daily |  |  | 1999-08-09 |  | Upgrading new plant for next summer. To begin construction in 4th qtr.
Enron Capital & Trade | MAIN | Wilton Center | 668 | CT | NG | 2 | 2000 | Manhattan | IL | PLN | 150 | Merchant |  |  | MW Daily |  |  | 1999-04-02 | 1999-09-17 | ComEd territory, near substation. Genco/Orgination. Approval received. Should be early 2000 online date.
Reliant Energy | MAIN | Shelby County Peaker | 340 | CT | NG | 6 | 2000 | Shelby County | IL | PLN |  |  |  |  | PMW |  |  | 1999-11-29 | 1999-12-21 | Due on-line by next summer. 8x45 MW turbines. If permits received, construction to begin in January. Reached agreement to receive cooling water from Lake Mattoon municipal authority.
Soyland Power Coop | MAIN | Winchester (Alsey) | 100 | CT | NG | 5 | 1999 | Alsey | IL | CON |  | Utility |  |  | MAIN |  |  | 1999-04-06 | 1999-07-28 | 4x25 MW. 1 unit is opr as of 7/28/99.. The other 3 will be on mid Aug.
Unicom DistGen | MAIN | ComEd Territory | 213 | CT | NG | 6 | 1999 | Chicago | IL | PLN |  | Merchant | [5 empty] | 1998-09-28 | 1998-09-28 | Managed by ASNI Consultants. Developer is anonymous. For Calumet, Crawford, Ithasca, Elmhurst, Northbrook, Skokie, etc. Was 233 MW, but 20 MW dropped out.
Itasca Power Companu | MAIN |  | 15 | ST | WTE | 6 | 2000 | Northome | MN | PLN |  |  |  |  | MW Daily |  |  | 1999-05-05 | 1999-06-22 | Great River will purchase the 15 MW from Itasca Power compay. Great river will connect the plant to the transmission grid by connecting about 11 miles of 69kv lines. The palnt will be fueled by wood waste. (MWD 5/5/99)
Trigen Energy | MAIN | St Louis Cogen | 15 | CG | NG | 6 | 1999 | St Louis | MO | OPR | 13.5 | Cogen
Madison G&E | MAIN | Temporary Backup | 20 | CT | NG | 6 | 1999 | Huiskamp/Middleton | WI | CON |  | Utility | [5 empty] | 1999-04-06 |  | MAIN report stats.
Madison G&E / WPS | MAIN | Al Alatalo Backup | 83 | GT | NG | 6 | 2000 | West Marionette | WI | PLN | 31 | Peaking | [7 empty] | Construction starts in early 1999. Sheboygan area. SIS completed
Manitowoc | MAIN | Peaker | 25 | CT | NG | 6 | 1999 | Manitowoc | WI | CON |  | Peaking |  |  | WI PSC |  | Jim Loock | 1999-03-22
Southern Energy | MAIN | Herman | 300 | CT | NG | 6 | 2000 | Neenah | WI | PLN | 100 | Utility |  | WI Electric; GW |  | 414-221-4444 | Mary Carpenter | 1998-08-03 | 1999-06-22 | WI Electric to buy for eight years. Plan to add HRSG in future; could expand to 525 (8/98 Atlanta Journal)/ Plant recieves PSC approval (Generation Week 1/20/99)
Wisconsin Electric Power | MAIN | Concord/Paris | 112 | CT | NG | 6 | 1999 | Jefferson/Kenosha | WI | CON |  | Utility |  | WI Electric | WI PSC |  | Jim Loock | 1999-03-22 |  | Plant refurbishment adding cooling to increase output.
Wisconsin Electric Power | MAIN | Germantown | 135 | CT | NG | 6 | 2000 | Germantown | WI | PLN | 60 | Utility |  | WI Electric | WI Electric |  |  | 1999-01-01 | 1999-03-10 | Plant refurbishment (conversion of 4 turbines from oil to gas), new gas peaker (85 MW). Ice pack to each cooling tower adds 10 MW to existing turbines.
Dominion/Peoples | MAIN | Elwood | 300 | CT | NG |  | 1999 | Elwood | IL | OPR
Dominion/Peoples | MAIN | Elwood | 300 | CT | NG |  | 1999 | Elwood | IL | OPR
Dynegy/NICOR J/V | MAIN | Rocky Road Power Plant | 250 | CT | NG |  | 1999 | East Dundee | IL | OPR
Illinois Power | MAIN | Havana | 235 | CT | Oil |  | 1999 | Havana | IL | OPR
Illinois Power | MAIN | Tilton | 176 | CT | NG |  | 1999 | Tilton | IL | OPR
Associated Elec Coop | MAIN | Nodaway | 100 | GT | NG |  | 1999 | Maryville | MO | OPR
Associated Elec Coop | MAIN | Nodaway | 100 | GT | NG |  | 1999 | Maryville | MO | OPR
Trigen Energy | MAIN | St Louis Cogen | 15 | CG | NG |  | 1999 | St Louis | MO | OPR
Madison Gas & Electric | MAIN | Wind1 | 11 | WT | WND |  | 1999 |  | WI | OPR
SkyGen (Polsky) | MAIN | DePere Energy/Phase I | 178 | CT | NG |  | 1999 | De Pere | WI | OPR
FPL Energy/Interstate Power | MAPP |  | 42 | WT | WND | 8 | 1999 | Clear Lake | IA | PLN
Northern Alternative Energy | MAPP |  | 293 | WT | WND | 6 | 1999 | ? | MN | CON | [9 empty] | 103mw are scheduled to be online by mid-99. NSP is required by legilation to have 425 mw of wind energy. To date 132 mw are installed. (EPD 2/17/99)
Zond Systems | MAPP | Ruthton | 103.5 | WT | WND | 5 | 1999 | Ruthton | MN | CON |  |  |  |  | UDI
OPPD | MAPP | Sarpy | 100 | CT | NG | 5 | 2000 | Omaha | NE | PLN |  | Utility
TransAlta Energy | MAPP | Meridian Cogen Project | 210 | CC | NG | 12 | 1999 | Lloydminster | SK | PLN |  | Cogen |  | Sak Power | Natural Gas Mkt Report |  |  | 1998-04-09 | 1998-04-09
Power Development | NEPOOL | Milford Power / Devon | 544 | CC | NG | 3 | 2000 | Milford | CT | PLN |  |  |  |  | http://www.iso-ne.com/transmission_services_and_generation_interconnection/documents/New_Interconnections/Listing_of_Interconnection_Studies_in_Progress/Interconnection_Study_Status.htm |  |  | 1998-01-22 | 1999-09-13 | Siting decision deadline 5-99. EPG signed gas contract with Eastern Express 3-18. Received approval. Would sell power on a merchant basis with a target price of 4 cents/kWh. (3Q PGMQ) Does not have air permit (doubtful). Also filed with ISO I/C for 4
Berkshire Power | NEPOOL | Berkshire Power | 270 | CC | NG | 12 | 1999 | Agawam | MA | CON | 190 | Merchant |  |  | http://www.iso-ne.com/transmission_services_and_generation_interconnection/documents/New_Interconnections/Listing_of_Interconnection_Studies_in_Progress/Interconnection_Study_Status.htm |  |  | 1998-01-22 | 1999-03-18 | El Paso has part. 6700 heat rate / con started 12,97. ABB equipment. Signed gas contract with Eastern Express (3-18) The case is in the air as yet. Mass Sitting. Also said will be on in Dec 1999.
PG&E Gen (US Gen) | NEPOOL | Millennium | 360 | CC | NG | 6 | 2000 | Charlton | MA | CON |  | Merchant |  |  | http://www.usgen.com/news/pr062498.html |  |  | 1998-01-22 | 1999-03-04 | First US HSRG using Westinghouse 501G CTs (230MW of CT). Will use SCR. Interconnect study complete
Casco Bay Energy/Duke | NEPOOL | ME Independence | 500 | CC | NG | 6 | 2000 | Veazie | ME | CON | 221 | Merchant | 105000 |  | http://www.iso-ne.com/transmission_services_and_generation_interconnection/documents/New_Interconnections/Listing_of_Interconnection_Studies_in_Progress/Interconnection_Study_Status.htm |  |  | 1998-01-22 | 1999-04-12 | 2x250 MW Duke subsidiary to own/operate. Uses existing site of Bangor Hydro. Under Construction, Turbine Ordered.
EMI / Calpine | NEPOOL | Rumford | 265 | CC | NG | 5 | 2000 | Rumford | ME | CON |  | Merchant | 46000 |  | http://www.iso-ne.com/transmission_services_and_generation_interconnection/documents/New_Interconnections/Listing_of_Interconnection_Studies_in_Progress/Interconnection_Study_Status.htm |  |  | 1998-01-22 | 1999-01-22 | Aquila to supply gas on partial fuel subordinated payment basis for 8 yrs. Financing secured approximately 10/6/98 (RDI). I/C study finished. Stone & Webster to construct. Under Construction, Turbine Ordered
SkyGen (Polsky) | NEPOOL | Androscoggin Energy Center | 165 | CC | NG | 10 | 1999 | Jay | ME | CON |  | Cogen |  | Intl Paper | http://www.polskyenergy.com/project/projectframe.html |  |  | 1998-01-22 | 1998-01-22 | B&V is EPC. IP is steam host. Interconnect approval received, Under Construction, Turbine Ordered.
EMI | NEPOOL | Tiverton | 265 | CC | NG | 6 | 2000 | Tiverton | RI | CON | 500 |  | 46000 |  | http://www.iso-ne.com/transmission_services_and_generation_interconnection/documents/New_Interconnections/Listing_of_Interconnection_Studies_in_Progress/Interconnection_Study_Status.htm |  |  | 1998-01-22 | 1998-01-22 | Construction to begin end of 1998 Calpine markets power. Aquila supplies gas through Algonquin line. Interconnect received. Stone & Webster to construct. Under Construction, Turbine Ordered.
Enron Capital & Trade | NYPP | Linden (CogenTech) | 250 | CC | NG | 6 | 2000 | Linden NJ | NY | PLN |  | Merchant |  | ConEd | [5 empty] | Qualifies for in-city generation. Plant uprate
Alabama Power | SERC | APC1 | 532 | CC | NG | 5 | 2000 | Lee County | AL | PLN |  | Utility |  | Ala Power | APSC | 334-242-9714 | Rick
Carolina Power & Light | SERC | MEAG/Merchant | 160 | CT | NG | 9 | 1999 | Monroe | GA | PLN | 50 | Utility | [5 empty] | 1998-12-22 | 1999-02-19 | Could be upto 300 MW, anything over 160 sold to grid. Looking for buyers of output
Georgia Power Co | SERC | Plant Dahlberg | 640 | CT | NG | 5 | 2000 | Jackson County | GA | PLN |  | Utility |  | GPC | MW Daily |  |  | 1999-01-18 | 1999-12-14 | Could grow up to 1,200 MW by 2002. (See SOCO 10-K). Plant expands to 640 MW from 400 Mw for summer 2000. 160 MW sold to unidentified buyer by Southern Wholesale Energy. Total 540 MW now under contract from this unit
Sonat | SERC | Thomaston Peaker | 680 | CT | NG | 6 | 2000 | Thomaston | GA | CON | 230 | Merchant |  |  | Sonat.com |  |  | 1999-03-10 | 1999-09-17 | Being developed to fulfill Georgia Power contract, as originally intended for Cataula plant (see below). 310 MW being sold to GA Power
LS Power / Cogentrix | SERC | Batesville | 837 | CC | NG | 6 | 2000 | Batesville | MS | CON |  | Merchant |  |  | EPSA | epsa.org |  | 1997-12-08 | 1999-07-29 | Construction began Sept 1998. TVA backed out / Cogentrix now 52%. 2/3 sold to Vepco, 1/3 to Aquila. Aquila supplies gas. Aquila sold its 1/3 output to SMEPA for 20 years. Financed by CS First Boston
Carolina Power & Light | SERC | Asheville CT | 160 | GT | NG | 6 | 2000 | Asheville | NC | CON |  | Utility |  |  | NCPUC Minutes |  |  | 1998-09-29 | 1999-07-29 | Extra CT because NUG RFP winner backed out
Carolina Power & Light | SERC | Lee Station CT | 640 | GT | NG | 6 | 2000 | Wayne County | NC | CON |  | Utility |  |  | NCPUC Minutes |  |  | 1998-09-29 | 1999-07-29 | Extra CT because NUG RFP winner backed out
Carolina Power & Light | SERC | Wayne Cty CT | 500 | GT | NG | 6 | 2000 | Wayne County | NC | CON | 130 | Utility |  |  | CP&L 10 K |  |  | 1997-05-01 | 1999-07-29 | Site permitted in 96. Plans unknown yet.
Enron Capital & Trade | SERC | Gleason Peaker | 510 | CT | NG | 6 | 2000 | Gleason | TN | PLN |  | Merchant
Alabama Power | SERC | GE Cogen | 104 | CG | NG |  | 1999 |  | AL | OPR
Alabama Power | SERC | Olin Cogen | 111 | CG | NG |  | 1999 |  | AL | OPR
MCN | SERC | Mobile Bay Cogen | 40 | CG | NG |  | 1999 | Mobile | AL | OPR
South Eastern Electric DC | SERC | Lee County Peaker | 100 | CT | NG |  | 1999 | Phenix City | AL | OPR
Oglethorpe Power | SERC | Monroe | 217 | GT | NG |  | 1999 | Monroe | GA | OPR
Enron Capital & Trade | SERC | Caledonia | 475 | GT | NG |  | 1999 | Lowndes Cty | MS | OPR
Enron Capital & Trade | SERC | New Albany | 390 | GT | NG |  | 1999 | New Albany | MS | OPR
Carolina Power & Light | SERC | Asheville CT | 160 | GT | NG |  | 1999 | Asheville | NC | OPR
Enron Capital & Trade | SERC | SCC-L1 Brownsville | 475 | GT | NG |  | 1999 | Brownsville | TN | OPR
Western Resources | SPP | Gordon Evans Energy Ctr | 150 | CT | NG | 6 | 2000 | Wichita | KS | PLN | 80 | Utility |  | KCPL/KGE | MW Daily |  |  | 1998-10-07 | 1999-10-11 | 2 units in late Spring 2000, third in 2001. Originally, one unit starts in 99, two others in 2000
CLECO Evangeline | SPP | Coughlin | 420 | CT | NG | 6 | 2000 | St Landry | LA | PLN | 250 | Merchant |  | CLECO | PMW |  |  | 1999-03-01 | 1999-12-20 | Repower units 6&7 (330 MW) and add 3x150 MW units. Lower heat rate from 11,600 to 7,100 btu/kwh. Unreg sub signed deal in Nov with Williams Power Marketer to toll gas and release output for 20 years. Construction 37% done as of November.
Dynegy | SPP | Calcasieu Generation Project | 175 | CT | NG | 6 | 2000 | Lake Charles | LA | PLN | 50 | Merchant |  | Entergy | PRNewswire |  |  | 1999-07-26 | 1999-12-14 | Should start construction in by Fall '99. Parsons will be EPC, to use Siemens 501F technology. Construction to start January.
KCP&L | SPP | Hawthorn CTs + Repower | 254 | CC | NG | 6 | 2000 | Hawthorn | MO | PLN |  | Utility |  | KCPL | KCPL Website |  |  | 1999-03-01 | 1999-03-01 | Two new CTs plus repower existing unit.
Entergy | SPP | Restart Mothballed | 710 | CT | NG | 6 | 2000 |  |  |  |  | Utility |  | Entergy |  |  |  | 1999-10-10
Associated Elec Coop | SPP | Chouteau | 530 | CT | NG | 9 | 2000 | Mayes/Rogers Cty | OK | CON | 220 | Utility |  | AECI | MW Daily |  |  | 1998-10-28 | 1999-07-29 | 2. J/V with KAMO
Nelson Ind Steam Co | SPP | RS Nelson | 150 | CG | NG | 8 | 1999 |  | LA | CON |  | Cogen |  |  | UDI
Associated Elec Coop | SPP | Essex | 100 | GT | NG |  | 1999 | Stoddard | MO
Associated Elec Coop | SPP | St Francis | 250 | CC | NG |  | 1999 | St Francis | MO
Colorado Springs Utilities | SPP | Ray Nixon | 70 | CT | NG |  | 1999 | Colorado Springs | CO
|  |  | 29516.125 | `

## Rogers Info
ECAR
Summer 2000
Company | Plant | MW | Unit | Fuel | Mo | Year | City | State | NERC/Reg | Status | Cost/Mllns | Service | Mmbtu/d | Host/Utility | Source/Site | Number | Contact | First | Last | Notes
AES | Hoosier Merchant | 400 | CT | NG | 6 | 2000 | (southern) | IN | ECAR | PLN |  | Merchant |  | HEC | http://www.state.in.us/iurc/schedule/hearing.html | 317-232-2765 | Jerry Webb | 1999-01-20 | 1999-08-09 | Applied for permit with IURC. Originally 200 MW, and starting in summer 99. Now starting summer 2000 with 400. Constructed on property leased from HEC. Permitted 7/15/99
Cinergy | Henry Cty Peaker | 135 | CT | NG | 6 | 2000 | New Castle | IN | ECAR | PLN | 64 | Utility |  | Cinergy |  |  |  | 1999-09-17 | 1999-09-27 | Already have air permit, awaiting final call from management which should be by year end. 3x45 MW units. Did not receive tax abatement as economic development zone from Henry Cty Council.
Duke Energy | Vermillion County Merchant | 640 | CT | NG | 6 | 2000 | Cayuga | IN | ECAR | PLN | [5 empty] | 317-232-2297 | Ryan Soultz | 1999-03-01 | 1999-06-21 | 8x80 MW GT's. (Enron Dublin 2/16/99). IURC gave approval 4-99. Breaking ground on Aug 11.
Enron Capital & Trade | West Fork Land LLC Peaker | 514 | CT | NG | 6 | 2000 | Wheatland | IN | ECAR | PLN |  | Merchant | [5 empty] | 1999-01-25 | 1999-07-28 | They are asking the Indiana regulatory commission to approve the new plant. The certificant of convience was filed by Enron's subsidiary West Fork Land Development. Approval received.
IPALCO & DTE J/V | Marion County | 240 | GT | NG | 6 | 2000 | Indianapolis | IN | ECAR | CON | 30 | Merchant | [5 empty] | 1998-12-21 | 1999-12-21 | Announced plans to build up to 200 MW of new CT to be used for peaking demand by spring of 2001 – 100 MW by June 2000. As of Oct, J/V with DTE (who has equipment, IPL has site) IPL to run units - IPL to get 80 MW, DTE to get 160 MW. Stone & Webster to ge
East Kentucky Power | JK Smith | 110 | GT | NG | 6 | 2000 | Clark Cty | KY | ECAR | CON |  | Utility | [5 empty] | 1999-02-08 | 1999-06-28 | Filed with commission, awaiting approval. Long term ppa with Kentucky Pioneer when online (see below). PSC Oks plant end of June. PMW calls it 80 MW.
DQE / Michcon | Midfield Airport | 60 | CG | NG | 12 | 2000 | Wayne Cty | MI | ECAR | PLN |  | Cogen |  |  | PRNewswire |  |  | 1998-12-08 | 1998-12-08
Holland, City of | 48th Street | 80 |  | NG | 6 | 2000 | Holland | MI | ECAR | PLN |  |  |  |  | ES&D 98 |  |  | 1998-10-29 | 1998-10-29 | B&V is EPC. To be ready June 1, 2000.
AMP-Ohio | Landfill Project | 35 | ST | WTE | 6 | 2000 | 9 sites | OH | ECAR | PLN |  | Utility |  | AMP Ohio | AMP Ohio |  |  | 1999-06-01 |  | Landfill gas reclamation
Cinergy | Peaker | 0 | GT | NG | 4 | 2000 |  | OH | ECAR | PLN | [7 empty] | 1999-08-11 |  | Peaker needed because of Summer '99 fiasco. Should be 200 MW, awaiting announcement
Dayton Power & Light | Darke County Phase II | 225 | GT | NG | 6 | 2000 | Darke County | OH | ECAR | PLN | 80 | Utility |  | DPL | Electric Power Daily |  |  | 1999-08-30 |  | Phase II of expansion plan. 4x56 MW aeroderivatives from Pratt & Whitney.
Duke Energy | Madison Generating Station | 640 | CT | NG | 6 | 2000 | Butler County | OH | ECAR | CON | 200 | Merchant |  |  | http://www.puc.state.oh.us/pubrel/opsb/98-1603.html |  |  | 1998-12-07 | 365061 | Northeastern Ohio locatio - east of Cleveland. Approval received from Ohio Power Siting Board 4-99. 8x80 MW CT, 2000 hr/yr. Construction originally to start June 99, now July '99. 8x80 MW. Gas from Tennessee Pipelines. Will be built adjacent to Cinerg
Mid-Atlantic Energy Group | Richland Station | 390 | GT | NG | 6 | 2000 | Defiance | OH | ECAR | PLN | 75 |  |  | FE | http://www.puc.state.oh.us/pubrel/opsb/99-586.html |  |  |  | 1999-08-17 | It is a $75 million gas-fired 3x130 MW peaking plant that would help meet capacity needs of First Energy in the summer of 2000. The plant will be located at Toledo Edision's Richland substation in Defiance County, Ohio. Toledo Edison will operate the pe
Allegheny Energy Supply | Springdale Station Upgrade | 88 | CT | NG | 12 | 1999 | Springdale | PA | ECAR | OPR | 37 | Utility |  | Allegheny |  |  |  | 1999-05-10 |  | This is an addition to their Springdale Power Station in Allegheny County. Cost 37 milion, Designed to be a peaker. (BTU WK. May 10,1999)
City of Columbus | City of Columbus | 16 |  | FO2 | 8 | 1999 |  | WV | ECAR | CON | 50 | Utility |  |  | UDI, Generation week (1/13/99) | 304-872-2211 | Steve LaRose |  |  | Broke ground 5/98. Catamount, sub of CVPS, managing developer. The plant will generate electricity for AEP subsidiary Appalachina Power customers.
Gauley River Power Prtnr | Summersville HY 1&2 | 80 | HY | WAT | 12 | 1999 | Summersville |  | ECAR | OPR |  |  |  |  | Summer Assessment |  |  |  | 1999-06-22
Central Wayne WTE | Central Wayne | 20 | ST | WTE | 12 | 1999 | Dearborn | IN | ECAR | OPR |  |  |  |  | Summer Assessment |  |  | 1999-06-21 | 1999-06-21 | Summer Assessment. Plant name Napoleon 46
Detroit Edison | Belle River | 75 | CT | NG |  | 1999 |  | MI |  | OPR
Detroit Edison | Belle River | 150 | CT | NG |  | 1999 |  | MI |  | OPR
Detroit Edison | Conners Creek | 300 | CT | NG |  | 1999 |  | MI |  | OPR
Detroit Edison | Delray | 150 | CT | NG |  | 1999 |  | MI |  | OPR
Detroit Edison | Greenwood | 225 | CT | NG |  | 1999 |  | MI |  | OPR
Jackson Center | Jackson Center | 2 | N/A | FO2 |  | 1999 |  | MI |  | OPR
Arcunum | Arcunum 3 | 2 | GT | FO2 |  | 1999 |  | OH |  | OPR
City of Napoleon | Napoleon 46 | 5 | GT | FO2 |  | 1999 |  | OH |  | OPR
Dayton Power & Light | FM Tait | 84 | GT | NG |  | 1999 |  | OH |  | OPR
Virginia Power | Baynard | 74 | ST | WTE |  | 1999 |  | OH |  | OPR
Consumers Energy | Livingston | 140 | CT | NG |  | 1999 |  | KY |  | OPR
AES | Warrior Run | 182 | ST | Coal |  | 1999 |  | WV |  | OPR
AMP-Ohio | Belle Ville | 42 | HY | WAT |  | 1999 |  | MI |  | OPR
AMP-Ohio | DistGen Project Phase 1 | 45.625 | GT | NG |  | 1999 |  | MI |  | OPR
Consumers Energy | Cobb | 56 | CT | NG |  | 1999 |  | MI |  | OPR
Consumers Energy | Morrow | 63 | CT | NG |  | 1999 |  | MI |  | OPR
AMP-Ohio | St Mary's GT | 11 | GT | NG |  | 1999 |  | MI |  | OPR
City of Bryan | City of Bryan | 5 | N/A | FO2 |  | 1999 |  | MI |  | OPR
City of Cleveland | City of Cleveland | 9 | N/A | FO2 |  | 1999 |  | MI |  | OPR
Consumers Energy | Kalamazoo | 65 | CT | NG |  | 1999 |  | MI |  | OPR
Dearborn Ind. Generation | Rouge Cogen | 160 | CT | NG |  | 1999 |  | MI |  | OPR
| Total | 5518.625
ERCOT
Summer 2000
Company | Plant | MW | Unit | Fuel | Mo | Year | City | State | NERC/Reg | Status | Cost/Mllns | Service | Mmbtu/d | Host/Utility | Source/Site | Number | Contact | First | Last | Notes
Calpine | Clearlake Expansion | 35 | CG | NG | 12 | 1999 | Pasadena | TX | ERCOT | CON |  | Cogen | [5 empty] | 1998-08-15 | 1999-04-12 | Online by 12/99.
FPL Energy | McCamey Wind | 75 | WT | WND | 6 | 1999 | McCamey | TX | ERCOT | CON |  | NUG |  | CSW | FPL Website | (561) 694-4699 | Max Kuniansky | 1999-03-08 | 1999-03-08 | Some capacity available before June 99.
Koch Power | Corpus Christi | 200 | CC | NG | 6 | 1999 | Corpus Christi | TX | ERCOT | CON |  | Merchant
Lubbock Power & Light | Massengale Station | 62 | CC | NG | 7 | 1999 | Lubbock | TX | ERCOT | PLN |  | Utility | [5 empty] | 1998-10-10 | 1998-10-10 | GE LM 6000 SPRINT. Existing 22 MW ST
Reliant Energy | Sabine | 100 | CG | NG | 11 | 1999 | Orange | TX | ERCOT | CON | 66 | Cogen |  | Bayer |  |  |  | 1998-08-03 | 1998-08-03 | Air Liquide to manage plant. 60 MW sold to Alabama Eelectric Co-op for 3 years. Other capacity and steam to go to Bayer Corp synthetic rubber plant.
ANP | Midlothian | 1100 | CC | NG | 6 | 2000 | Midlothian | TX | ERCOT | CON |  | Merchant |  |  | Megawatt Daily (7/6/99) |  |  |  | 1999-07-12 | The plant was changed from 750 MW to 1100 MW and changed from 2001 to 2000 according to article. The plant has begun construction according to ANP.
Calpine | Pasadena Expansion | 510 | CC | NG | 6 | 2000 | Pasadena | TX | ERCOT | CON | 265 | Merchant |  |  | http://www.calpine.com/portfolio/portfolio.htm |  |  | 1998-10-21 | 1999-02-04 | Phillips Petroleum. Financing complete in Feb now 265 million (was 235 million). TU and LG&E signed PPAs. Westinghouse equipment.
City Public Service | Arthur Von Rosenberg | 509 | CC | NG | 4 | 2000 | Braunig Lake | TX | ERCOT | CON |  | Utility |  |  | http://www.calpine.com/portfolio/portfolio.htm |  |  | 1998-07-01 | 1999-10-11 | GE F technology. Due online in March 00.
Duke Energy | Hidalgo | 520 | CC | NG | 6 | 2000 | Edinburg | TX | ERCOT | CON | 175 | Merchant |  |  | Duke PR |  |  | 1998-12-08 | 1999-11-18 | Construction originally to start in mid 1999/Broke ground in February. 21.5% sold to Brownsville. Still called June start-up
Dynegy | CoGen Lyondell | 155 | GT | NG | 6 | 2000 | Houston | TX | ERCOT | PLN |  | Merchant/Cogen |  | CoGen |  |  |  | 1999-01-20 | 1999-03-01 | Expansion at existing site from 610 MW. F-Class turbine
Lamar Power Prtnr (FPL) | Paris | 500 | CC | NG | 6 | 2000 | Paris / Marion | TX | ERCOT | CON | 400 | Merchant | 170000 |  | MWBB Website |  |  | 1998-10-01 | 1999-07-28 | 700 MW to TU, TNP and Constellation; rest wholesale sales to ERCOT and SPP. Construction to begin 1-99. Panda sold interest to FPL in Feb 99. On schedule -Rusty Kelley. To use 4xGE MS7001FA GTs and 2x200 MW STs (ordered in Oct).
LG&E / Columbia | Reynolds/Gregory | 400 | CG | NG | 6 | 2000 | Gregory | TX | ERCOT | CON | 365 | Cogen/Merchant |  | Reynolds Aluminum | MW Daily |  |  | 1998-06-05 | 1999-11-04 | Final negotiations due to end this Summer. Output limited to 400 MW when producing 1.5 million lbs steam for Reynolds Sherwin Alumina plant, will also sell Reyonlds 55 MW. Coral supplying 10 yrs of gas. Fully financed from ING Barings. Clearinghouse to
Borger Energy Assoc | Blackhawk | 230 | CG | NG |  | 1999 |  | TX |  | OPR
CSW | Frontera | 500 | CC | NG |  | 1999 |  | TX |  | OPR
Ingleside Cogen | Ingleside | 440 | CG | NG |  | 1999 |  | TX |  | OPR
| Total | 5336
FRCC
Summer 2000
Company | Plant | MW | Unit | Fuel | Mo | Year | City | State | NERC/Reg | Status | Cost/Mllns | Service | Mmbtu/d | Host/Utility | Source/Site | Number | Contact | First | Last | Notes
Tallahassee City Of | S. O. Purdom Unit 8 | 230 | CC | NG | 5 | 2000 | Tallahassee | FL | FRCC | CON | 108 |  |  |  | Tallahassee | 850-891-5534 | Rob McGarrah | 1998-05-08 | 1999-11-08 | Allows city to retire units 5&6. Broke ground in Jan-99. GE7FA gas turbine + 80 MW steam turbine. On-time as of 11/99.
Tampa Electric | Hardee Power Station | 75 | CT | NG | 5 | 2000 | Hardee Cty | FL | FRCC | PLN | 38 | Utility |  |  | PR Newswire |  |  | 1999-09-15 |  | Upgrade to existing unit. Station serves both TECO and Seminole.
Lakeland, City of | CT | 249 | CT | NG | 10 | 1999 | Lakeland | FL | FRCC | CON | 55 | Utility |  |  | MW Daily | (941) 499-6461 | Al Dodd |  | 1999-07-28 | Westinghouse W501G unit
| Total | 554
MAAC
Summer 2000
Company | Plant | MW | Unit | Fuel | Mo | Year | City | State | NERC/Reg | Status | Cost/Mllns | Service | Mmbtu/d | Host/Utility | Source/Site | Number | Contact | First | Last | Notes
Star Enterprises | Delaware City | 180 | ST | PC | 10 | 1999 | Delaware City | DE | MAAC | OPR | 250 | Cogen |  |  | PUF | 302-834-6000 |  | 1997-12-01 | 1997-12-01 | IGCC
Williams/PP&L | Hazleton | 88 | CC | NG | 6 | 2000 | Hazleton | PA | MAAC | CON |  | Merchant |  |  | Williams Website | twc.com |  | 1998-04-02 | 1999-04-26 | Repower additional. 83 MW online. This is HRSG
Williams/PP&L | Hazleton | 201 | CC | NG | 6 | 2000 | Hazleton | PA | MAAC | CON |  | Merchant |  |  | Williams Website | twc.com |  | 1998-04-02 | 1999-04-26 | Repower additional. 83 MW online. This is additional CC.
Commonwealth Chesapeake | New Church | 135 | CT | Oil | 6 | 2000 | New Church | VA | MAAC | PLN | 100 | Merchant |  |  | VA SCC Website | 804-371-9141 | Ken Schrad | 1998-08-05 | 1999-08-17 | J/V with AES. Originally due on-line 12-99, now split 2000/2001. For sale to PJM, although physically part of SERC-VACAR.
Star Enterprises | Delaware City | 180 | ST | PC | 10 | 1999 | Delaware City | DE | MAAC | OPR | 250 | Cogen |  |  | PUF | 302-834-6000 |  | 1997-12-01 | 1997-12-01 | IGCC
| Total | 784
MAIN
Summer 2000
Company | Plant | MW | Unit | Fuel | Mo | Year | City | State | NERC/Reg | Status | Cost/Mllns | Service | Mmbtu/d | Host/Utility | Source/Site | Number | Contact | First | Last | Notes
Ameren | Carlyle Lake | 230 | CT | NG | 6 | 2000 | Patoka | IL | MAIN | PLN | 87 | Utility |  | Ameren | Ameren |  |  | 1999-03-20 | 1999-06-22 | Total project to add 700 MW
Ameren | Gibson City Peaker | 230 | CT | NG | 6 | 2000 | Gibson City | IL | MAIN | PLN | 87 | Utility |  | Ameren | Ameren |  |  | 1999-03-20 | 1999-06-22 | Total project to add 700 MW
City Water Light & Power | Springfield Peaker RFP | 100 | CT | NG | 6 | 2000 | Springfield | IL | MAIN | PLN |  | Utility |  | CWL&P | PMW |  |  | 1999-03-29 |  | Issued RFP for Summer 99, but no one could produce. Will issue '00 RFP later this year.
Coga Industries | Macoupin County | 65 |  | NG |  | 1999 | Macoupin County | IL | MAIN | PLN |  |  |  |  | UDI
Dynegy/NICOR J/V | Rocky Road Power Plant | 100 | CT | NG | 7 | 2000 | East Dundee | IL | MAIN | PLN | 40 | Merchant |  |  | MW Daily |  |  | 1999-08-09 |  | Upgrading new plant for next summer. To begin construction in 4th qtr.
Enron Capital & Trade | Wilton Center | 668 | CT | NG | 2 | 2000 | Manhattan | IL | MAIN | PLN | 150 | Merchant |  |  | MW Daily |  |  | 1999-04-02 | 1999-09-17 | ComEd territory, near substation. Genco/Orgination. Approval received. Should be early 2000 online date.
Reliant Energy | Shelby County Peaker | 340 | CT | NG | 6 | 2000 | Shelby County | IL | MAIN | PLN |  |  |  |  | PMW |  |  | 1999-11-29 | 1999-12-21 | Due on-line by next summer. 8x45 MW turbines. If permits received, construction to begin in January. Reached agreement to receive cooling water from Lake Mattoon municipal authority.
Soyland Power Coop | Winchester (Alsey) | 100 | CT | NG | 5 | 1999 | Alsey | IL | MAIN | CON |  | Utility |  |  | MAIN |  |  | 1999-04-06 | 1999-07-28 | 4x25 MW. 1 unit is opr as of 7/28/99.. The other 3 will be on mid Aug.
Unicom DistGen | ComEd Territory | 213 | CT | NG | 6 | 1999 | Chicago | IL | MAIN | PLN |  | Merchant | [5 empty] | 1998-09-28 | 1998-09-28 | Managed by ASNI Consultants. Developer is anonymous. For Calumet, Crawford, Ithasca, Elmhurst, Northbrook, Skokie, etc. Was 233 MW, but 20 MW dropped out.
Itasca Power Companu |  | 15 | ST | WTE | 6 | 2000 | Northome | MN | MAIN | PLN |  |  |  |  | MW Daily |  |  | 1999-05-05 | 1999-06-22 | Great River will purchase the 15 MW from Itasca Power compay. Great river will connect the plant to the transmission grid by connecting about 11 miles of 69kv lines. The palnt will be fueled by wood waste. (MWD 5/5/99)
Trigen Energy | St Louis Cogen | 15 | CG | NG | 6 | 1999 | St Louis | MO | MAIN | OPR | 13.5 | Cogen
Madison G&E | Temporary Backup | 20 | CT | NG | 6 | 1999 | Huiskamp/Middleton | WI | MAIN | CON |  | Utility | [5 empty] | 1999-04-06 |  | MAIN report stats.
Madison G&E / WPS | Al Alatalo Backup | 83 | GT | NG | 6 | 2000 | West Marionette | WI | MAIN | PLN | 31 | Peaking | [7 empty] | Construction starts in early 1999. Sheboygan area. SIS completed
Manitowoc | Peaker | 25 | CT | NG | 6 | 1999 | Manitowoc | WI | MAIN | CON |  | Peaking |  |  | WI PSC |  | Jim Loock | 1999-03-22
Southern Energy | Herman | 300 | CT | NG | 6 | 2000 | Neenah | WI | MAIN | PLN | 100 | Utility |  | WI Electric; GW |  | 414-221-4444 | Mary Carpenter | 1998-08-03 | 1999-06-22 | WI Electric to buy for eight years. Plan to add HRSG in future; could expand to 525 (8/98 Atlanta Journal)/ Plant recieves PSC approval (Generation Week 1/20/99)
Wisconsin Electric Power | Concord/Paris | 112 | CT | NG | 6 | 1999 | Jefferson/Kenosha | WI | MAIN | CON |  | Utility |  | WI Electric | WI PSC |  | Jim Loock | 1999-03-22 |  | Plant refurbishment adding cooling to increase output.
Wisconsin Electric Power | Germantown | 135 | CT | NG | 6 | 2000 | Germantown | WI | MAIN | PLN | 60 | Utility |  | WI Electric | WI Electric |  |  | 1999-01-01 | 1999-03-10 | Plant refurbishment (conversion of 4 turbines from oil to gas), new gas peaker (85 MW). Ice pack to each cooling tower adds 10 MW to existing turbines.
Dominion/Peoples | Elwood | 300 | CT | NG |  | 1999 | Elwood | IL |  | OPR
Dominion/Peoples | Elwood | 300 | CT | NG |  | 1999 | Elwood | IL |  | OPR
Dynegy/NICOR J/V | Rocky Road Power Plant | 250 | CT | NG |  | 1999 | East Dundee | IL |  | OPR
Illinois Power | Havana | 235 | CT | Oil |  | 1999 | Havana | IL |  | OPR
Illinois Power | Tilton | 176 | CT | NG |  | 1999 | Tilton | IL |  | OPR
Associated Elec Coop | Nodaway | 100 | GT | NG |  | 1999 | Maryville | MO |  | OPR
Associated Elec Coop | Nodaway | 100 | GT | NG |  | 1999 | Maryville | MO |  | OPR
Trigen Energy | St Louis Cogen | 15 | CG | NG |  | 1999 | St Louis | MO |  | OPR
Madison Gas & Electric | Wind1 | 11 | WT | WND |  | 1999 |  | WI |  | OPR
SkyGen (Polsky) | DePere Energy/Phase I | 178 | CT | NG |  | 1999 | De Pere | WI |  | OPR
4416
MAPP
Summer 2000
Company | Plant | MW | Unit | Fuel | Mo | Year | City | State | NERC/Reg | Status | Cost/Mllns | Service | Mmbtu/d | Host/Utility | Source/Site | Number | Contact | First | Last | Notes
FPL Energy/Interstate Power |  | 42 | WT | WND | 8 | 1999 | Clear Lake | IA | MAPP | PLN
Northern Alternative Energy |  | 293 | WT | WND | 6 | 1999 | ? | MN | MAPP | CON | [9 empty] | 103mw are scheduled to be online by mid-99. NSP is required by legilation to have 425 mw of wind energy. To date 132 mw are installed. (EPD 2/17/99)
Zond Systems | Ruthton | 103.5 | WT | WND | 5 | 1999 | Ruthton | MN | MAPP | CON |  |  |  |  | UDI
OPPD | Sarpy | 100 | CT | NG | 5 | 2000 | Omaha | NE | MAPP | PLN |  | Utility
TransAlta Energy | Meridian Cogen Project | 210 | CC | NG | 12 | 1999 | Lloydminster | SK | MAPP | PLN |  | Cogen |  | Sak Power | Natural Gas Mkt Report |  |  | 1998-04-09 | 1998-04-09
| Total | 748.5
NEPOOL
Summer 2000
Company | Plant | MW | Unit | Fuel | Mo | Year | City | State | NERC/Reg | Status | Cost/Mllns | Service | Mmbtu/d | Host/Utility | Source/Site | Number | Contact | First | Last | Notes
Power Development | Milford Power / Devon | 544 | CC | NG | 3 | 2000 | Milford | CT | NEPOOL | PLN |  |  |  |  | http://www.iso-ne.com/transmission_services_and_generation_interconnection/documents/New_Interconnections/Listing_of_Interconnection_Studies_in_Progress/Interconnection_Study_Status.htm |  |  | 1998-01-22 | 1999-09-13 | Siting decision deadline 5-99. EPG signed gas contract with Eastern Express 3-18. Received approval. Would sell power on a merchant basis with a target price of 4 cents/kWh. (3Q PGMQ) Does not have air permit (doubtful). Also filed with ISO I/C for 4
Berkshire Power | Berkshire Power | 270 | CC | NG | 12 | 1999 | Agawam | MA | NEPOOL | CON | 190 | Merchant |  |  | http://www.iso-ne.com/transmission_services_and_generation_interconnection/documents/New_Interconnections/Listing_of_Interconnection_Studies_in_Progress/Interconnection_Study_Status.htm |  |  | 1998-01-22 | 1999-03-18 | El Paso has part. 6700 heat rate / con started 12,97. ABB equipment. Signed gas contract with Eastern Express (3-18) The case is in the air as yet. Mass Sitting. Also said will be on in Dec 1999.
PG&E Gen (US Gen) | Millennium | 360 | CC | NG | 6 | 2000 | Charlton | MA | NEPOOL | CON |  | Merchant |  |  | http://www.usgen.com/news/pr062498.html |  |  | 1998-01-22 | 1999-03-04 | First US HSRG using Westinghouse 501G CTs (230MW of CT). Will use SCR. Interconnect study complete
Casco Bay Energy/Duke | ME Independence | 500 | CC | NG | 6 | 2000 | Veazie | ME | NEPOOL | CON | 221 | Merchant | 105000 |  | http://www.iso-ne.com/transmission_services_and_generation_interconnection/documents/New_Interconnections/Listing_of_Interconnection_Studies_in_Progress/Interconnection_Study_Status.htm |  |  | 1998-01-22 | 1999-04-12 | 2x250 MW Duke subsidiary to own/operate. Uses existing site of Bangor Hydro. Under Construction, Turbine Ordered.
EMI / Calpine | Rumford | 265 | CC | NG | 5 | 2000 | Rumford | ME | NEPOOL | CON |  | Merchant | 46000 |  | http://www.iso-ne.com/transmission_services_and_generation_interconnection/documents/New_Interconnections/Listing_of_Interconnection_Studies_in_Progress/Interconnection_Study_Status.htm |  |  | 1998-01-22 | 1999-01-22 | Aquila to supply gas on partial fuel subordinated payment basis for 8 yrs. Financing secured approximately 10/6/98 (RDI). I/C study finished. Stone & Webster to construct. Under Construction, Turbine Ordered
SkyGen (Polsky) | Androscoggin Energy Center | 165 | CC | NG | 10 | 1999 | Jay | ME | NEPOOL | CON |  | Cogen |  | Intl Paper | http://www.polskyenergy.com/project/projectframe.html |  |  | 1998-01-22 | 1998-01-22 | B&V is EPC. IP is steam host. Interconnect approval received, Under Construction, Turbine Ordered.
EMI | Tiverton | 265 | CC | NG | 6 | 2000 | Tiverton | RI | NEPOOL | CON | 500 |  | 46000 |  | http://www.iso-ne.com/transmission_services_and_generation_interconnection/documents/New_Interconnections/Listing_of_Interconnection_Studies_in_Progress/Interconnection_Study_Status.htm |  |  | 1998-01-22 | 1998-01-22 | Construction to begin end of 1998 Calpine markets power. Aquila supplies gas through Algonquin line. Interconnect received. Stone & Webster to construct. Under Construction, Turbine Ordered.
| Total | 2369
NYPP
Summer 2000 | NYPP
Company | Plant | MW | Unit | Fuel | Mo | Year | City | State | NERC/Reg | Status | Cost/Mllns | Service | Mmbtu/d | Host/Utility | Source/Site | Number | Contact | First | Last | Notes
Enron Capital & Trade | Linden (CogenTech) | 250 | CC | NG | 6 | 2000 | Linden NJ | NY | NYPP | PLN |  | Merchant |  | ConEd | [5 empty] | Qualifies for in-city generation. Plant uprate
| Total | 250
SERC
Summer 2000
Company | Plant | MW | Unit | Fuel | Mo | Year | City | State | NERC/Reg | Status | Cost/Mllns | Service | Mmbtu/d | Host/Utility | Source/Site | Number | Contact | First | Last | Notes
Alabama Power | APC1 | 532 | CC | NG | 5 | 2000 | Lee County | AL | SERC | PLN |  | Utility |  | Ala Power | APSC | 334-242-9714 | Rick
Carolina Power & Light | MEAG/Merchant | 160 | CT | NG | 9 | 1999 | Monroe | GA | SERC | PLN | 50 | Utility | [5 empty] | 1998-12-22 | 1999-02-19 | Could be upto 300 MW, anything over 160 sold to grid. Looking for buyers of output
Georgia Power Co | Plant Dahlberg | 640 | CT | NG | 5 | 2000 | Jackson County | GA | SERC | PLN |  | Utility |  | GPC | MW Daily |  |  | 1999-01-18 | 1999-12-14 | Could grow up to 1,200 MW by 2002. (See SOCO 10-K). Plant expands to 640 MW from 400 Mw for summer 2000. 160 MW sold to unidentified buyer by Southern Wholesale Energy. Total 540 MW now under contract from this unit
Sonat | Thomaston Peaker | 680 | CT | NG | 6 | 2000 | Thomaston | GA | SERC | CON | 230 | Merchant |  |  | Sonat.com |  |  | 1999-03-10 | 1999-09-17 | Being developed to fulfill Georgia Power contract, as originally intended for Cataula plant (see below). 310 MW being sold to GA Power
LS Power / Cogentrix | Batesville | 837 | CC | NG | 6 | 2000 | Batesville | MS | SERC | CON |  | Merchant |  |  | EPSA | epsa.org |  | 1997-12-08 | 1999-07-29 | Construction began Sept 1998. TVA backed out / Cogentrix now 52%. 2/3 sold to Vepco, 1/3 to Aquila. Aquila supplies gas. Aquila sold its 1/3 output to SMEPA for 20 years. Financed by CS First Boston
Carolina Power & Light | Asheville CT | 160 | GT | NG | 6 | 2000 | Asheville | NC | SERC | CON |  | Utility |  |  | NCPUC Minutes |  |  | 1998-09-29 | 1999-07-29 | Extra CT because NUG RFP winner backed out
Carolina Power & Light | Lee Station CT | 640 | GT | NG | 6 | 2000 | Wayne County | NC | SERC | CON |  | Utility |  |  | NCPUC Minutes |  |  | 1998-09-29 | 1999-07-29 | Extra CT because NUG RFP winner backed out
Carolina Power & Light | Wayne Cty CT | 500 | GT | NG | 6 | 2000 | Wayne County | NC | SERC | CON | 130 | Utility |  |  | CP&L 10 K |  |  | 1997-05-01 | 1999-07-29 | Site permitted in 96. Plans unknown yet.
Enron Capital & Trade | Gleason Peaker | 510 | CT | NG | 6 | 2000 | Gleason | TN | SERC | PLN |  | Merchant
Alabama Power | GE Cogen | 104 | CG | NG |  | 1999 |  | AL |  | OPR
Alabama Power | Olin Cogen | 111 | CG | NG |  | 1999 |  | AL |  | OPR
MCN | Mobile Bay Cogen | 40 | CG | NG |  | 1999 | Mobile | AL |  | OPR
South Eastern Electric DC | Lee County Peaker | 100 | CT | NG |  | 1999 | Phenix City | AL |  | OPR
Oglethorpe Power | Monroe | 217 | GT | NG |  | 1999 | Monroe | GA |  | OPR
Enron Capital & Trade | Caledonia | 475 | GT | NG |  | 1999 | Lowndes Cty | MS |  | OPR
Enron Capital & Trade | New Albany | 390 | GT | NG |  | 1999 | New Albany | MS |  | OPR
Carolina Power & Light | Asheville CT | 160 | GT | NG |  | 1999 | Asheville | NC |  | OPR
Enron Capital & Trade | SCC-L1 Brownsville | 475 | GT | NG |  | 1999 | Brownsville | TN |  | OPR
| Total | 6731
SPP
Summer 2000
Company | Plant | MW | Unit | Fuel | Mo | Year | City | State | NERC/Reg | Status | Cost/Mllns | Service | Mmbtu/d | Host/Utility | Source/Site | Number | Contact | First | Last | Notes
Western Resources | Gordon Evans Energy Ctr | 150 | CT | NG | 6 | 2000 | Wichita | KS | SPP | PLN | 80 | Utility |  | KCPL/KGE | MW Daily |  |  | 1998-10-07 | 1999-10-11 | 2 units in late Spring 2000, third in 2001. Originally, one unit starts in 99, two others in 2000
CLECO Evangeline | Coughlin | 420 | CT | NG | 6 | 2000 | St Landry | LA | SPP | PLN | 250 | Merchant |  | CLECO | PMW |  |  | 1999-03-01 | 1999-12-20 | Repower units 6&7 (330 MW) and add 3x150 MW units. Lower heat rate from 11,600 to 7,100 btu/kwh. Unreg sub signed deal in Nov with Williams Power Marketer to toll gas and release output for 20 years. Construction 37% done as of November.
Dynegy | Calcasieu Generation Project | 175 | CT | NG | 6 | 2000 | Lake Charles | LA | SPP | PLN | 50 | Merchant |  | Entergy | PRNewswire |  |  | 1999-07-26 | 1999-12-14 | Should start construction in by Fall '99. Parsons will be EPC, to use Siemens 501F technology. Construction to start January.
KCP&L | Hawthorn CTs + Repower | 254 | CC | NG | 6 | 2000 | Hawthorn | MO | SPP | PLN |  | Utility |  | KCPL | KCPL Website |  |  | 1999-03-01 | 1999-03-01 | Two new CTs plus repower existing unit.
Entergy | Restart Mothballed | 710 | CT | NG | 6 | 2000 |  |  | SPP |  |  | Utility |  | Entergy |  |  |  | 1999-10-10
Associated Elec Coop | Chouteau | 530 | CT | NG | 9 | 2000 | Mayes/Rogers Cty | OK | SPP | CON | 220 | Utility |  | AECI | MW Daily |  |  | 1998-10-28 | 1999-07-29 | 2. J/V with KAMO
Nelson Ind Steam Co | RS Nelson | 150 | CG | NG | 8 | 1999 |  | LA | SPP | CON |  | Cogen |  |  | UDI
Associated Elec Coop | Essex | 100 | GT | NG |  | 1999 | Stoddard | MO
Associated Elec Coop | St Francis | 250 | CC | NG |  | 1999 | St Francis | MO
Colorado Springs Utilities | Ray Nixon | 70 | CT | NG |  | 1999 | Colorado Springs | CO
| Total | 2739