## 2000 Turbines
2000 Turbine Availability Sheet
Turbine Type | Quantity | MW/unit SC | Total MW | Hz | HR (Btu/kWh) HHV | Emissions PPM | New/Used | Schedule | Cost/unit (000) | Total Cost (000)
GE LM6000 | 24 | 48.58 | 1166 | 60 | 9805 | 25 | N | 1-3 July 2000, 4-6 Aug 2000, 7-8 Sept 2000, 9-11 Oct 2000, 12-13 Nov 2000, 14-15 Dec 2000, 16-18 Jan 2001, 19-20 Feb 2001, 21-22 March 2001, 23-24 April 2001 | $13,9500 avg 1-8 $13,800 9-16 $13,500 17-24 $13,200 Sprint option @ $450 per | 333500
GE 6B | 2 | 38.34 | 76.68 | 50 | 12050 | 25 | U | On hand | 12400 | 24800
GE 7FA | 3 | 156.5 | 469.5 | 60 | 10610 | 9 | N | 1 - 8/31/2000, 2 - 9/30/00 | 32429 | 97287
S/W 501 D5A | 1 | 119.845 | 119.845 | 60 | 11656 | 25 | N
F/W 501C-GT50 | 5 | 85.3 | 426.5 | 50 | 12761 | 25 | U |  | 10600 | 53000
ABB 11N1 | 2 | 78.9 | 157.8 | 60 |  | < 25 | U
Note on C5: Site Conditions: 50F @ inlet, 95% RH, PF .9, water injection, 25 ppm. Doesn't include chiller load.
Note on C6: ISO conditions
Note on C7: @ site conditions: 90F, evap cooler on, 48% RH, 690 ' elevation
Note on C8: @ site conditions: 90F, 60% RH, PF .9, 0" elevation
Note on C9: Average output @ 90F
Note on C10: would have to purchase additional starter to get single unit usage
Note on D10: package deal unless you want to purchase an additional starter motor
Note on G5: with water injection
Note on G6: w/ DLN conversion
Note on G7: w/ DLN
Note on G8: with water injection
Note on J6: per Bob Virgo 2/8/00, does not include 60hz conversion cost or emission control conversion
Note on J9: per Bob Virgo 2/7/00