## Notes
NOTES
1 | Please double check the model/pages before sending out to clients as certain information/comment cells/notes etc. may be too detailed to be disclosed
2 | The model shows only an example of the economics for a LM6000 project. Please update Capital Cost and O&M estimates given by Engineers for
your specific project, and make necessary changes to modify the model for the transaction structure you are trying to model
3 | All yellow shaded cells are required input cells
4 | Please note that the following are very project specific: state taxe, property tax, gross receipt tax, income stream etc.
5 | When quoting heat rate and capacity to Asset Management, please use average numbers
6 | Turbine carrying cost are based on assumptions on the WestLB Structure, the numbers may change after 03/15/00
7 | Heat rate and capacity vary depending on gas compression, altitude, etc.. Please double check with Engineers for specific project heat rate and capacity
SOURCES
|  |  |  | Source | Date
1 | Federal Tax, State Tax, Franchise Tax, Sales & Used Tax, NOL |  |  | Patrick Maloy | 2000-02-04
calculations
2 | 15 year MACRS |  |  | Patrick Maloy | 2000-02-04
3 | Book Depreciation |  |  | Use Genco assumption as per Jody Pierce | 2000-02-03
4 | Fin Fan Cooler |  |  | Calculated by Bruce Golden
5 | No Capacity Degradation for LM 6000 Peaker model |  |  | Bruce Golden | 2000-02-08
6 | Spread Option Model |  |  | Jim Simpson
CONTACTS
| Subjects | Contacts | Extension
| Model/Process | Clement Lau | x 3-9446
|  | Ben Rogers | x 3-7998
| Turbine Technical Info | Doug Sewell | x 3-6337
| Engineers | Mike Coleman | x 6-6385
|  | Bruce Golden | x 6-6063
|  | Chris Booth | x 6-7089
| O&M | Scot Chambers | x 6-8371
| Spread Option Model | im Simpson | x 3-7202
| Accounting | Jody Pierce | x 5-7405
| Tax | Patrick Maloy | x 3-6174

## Tracking Sheet
PROJECT NAME:
TRACKING SHEET
| EQUITY | EQUITY | DSCR
| IRR WITH NO | IRR WITH | FIXED PRICE PERIOD
| RESIDUAL VALUE | RESIDUAL VALUE | MIN | AVGE
Current | #VALUE! | #VALUE! | 1.2889 | 1.3928
Changes | #VALUE! | #VALUE! | 1.2889 | 1.3928

## Assumptions
Unhide Sub Debt, 1999 Columns
PROJECT NAME:
ASSUMPTIONS & SUMMARY OUTPUT
SOURCES & USES: |  |  |  | PROJECT DESCRIPTION: |  |  |  | TECHNICAL ASSUMPTIONS: |  |  |  | Fuel | Capacity $ | VOM | Residual Value | Capacity | Chillers | Compressor | Debt
[12 empty] | Index | Base | Pass-through | EBITDA Exit Multiple | ISO | Yes | Yes | Bank LT Debt
Sources of Funds | % | 000 $ | $/kW | Type of Turbine |  | LM6000 |  | Site Condition (MW) | 136.0185 |  |  | Fixed | Low | Not Pass-through | % of Project Cost | 95 degrees | No | No | Capital Market
Total Equity | 22.05% | 17443.6121 | 128.2444 | Cost Per Turbine (w Carry Cost) (000$) |  | 14260.4496 |  | Evaporative Cooler (MW) | 0 |  |  | Custom | Index |  | 000$/MW |  |  |  | Mini-perm
Debt Issuance | 77.95% | 61666.6026 | 453.3691 | Number of Turbines |  | 3 |  | Net Output (MW) | 136.0185 |  |  |  | Custom |  | None
|  |  |  | Net Turbine Rating (MW) |  | 45.3395 | [5 empty] | 3 | 1 | 1 | 1 | 2 | 1 | 1 | 1
Total Sources | 100% | 79110.2147 | 581.6135 | Heat Rate (HHV) |  | 10320.5564 |  | Available PSIG | 400 |  |  | Custom | Base | Pass-through | EBITDA Exit Multiple | 2 | 10 | Yes | Bank LT Debt
|  |  |  | No. of Construction Months |  | 8 |  | No. of Run Hours per year | 1400
|  |  |  | Start of Commercial Operation |  | 2001-05-01 | [6 empty] | With Chillers | Without Chillers
Uses of Funds |  |  |  | No. of Months in the 1st Operating year |  | 8 |  | OPERATING COSTS ASSUMPTIONS (FROM ENGINEERS/ASSET MANAGEMENT): |  |  |  | ISO | 11 | 21
|  |  |  | Project Life (Years) |  | 30 |  | (1st year Annualized) |  |  |  | 95o | 12 | 22
EPC (From Engineers/Nepco): |  |  |  | Location (State) |  | MO
Turbine (w Carrying Cost) | 54.08% | 42781.3488 | 314.5259 |  |  |  |  | CPI Escalator (%) | 3%
Fin Fan Cooler | 0.2351% | 186 | 1.3675 | Residual Value (at year 30)
BOP & Construction | 25.57% | 20232 | 148.7444 | EBITDA Exit Multiple |  | 5 |  | Escalated Costs:
Pipeline | 0% | 0 | 0 | % of Project Cost |  | 20% |  |  | 000$ -year | $/kW-year | $/mW-hour
Power Interconnection | 0% | 0 | 0 | 000$/MW |  | 200 |  | Variable Operating Cost | 115.61 |  | 0.5
SCR | 0% | 0 | 0 |  |  |  |  | Major Maintenance | 358.39 |  | 1.55
Dual Fuel | 0.9101% | 720 | 5.2934 | FINANCING ASSUMPTIONS: |  |  |  | Total VOM | 474 |  | 2.05
Black Start | 0% | 0 | 0 | DEBT |  | Construction Loan
Gas Compression | 1.213% | 960 | 7.0579 | Debt Issued | 2000-08-01 |  |  | Fixed Operating Expenses | 550 | 4.0436
Demineralized Water Facility | 0% | 0 | 0 | Treasury Rate as of: | 2000-02-01 |  |  | Insurance | 0 | 0
Overhead & Fees - EE&CC | 1.251% | 990 | 7.2784 |  |  |  |  | SG&A | 0 | 0
Overhead & Fees - Nepco | 5.055% | 3999 | 29.4004 | Amount ('000 $) | 61666.6026 |  |  | Utilities, Start Power | 0 | 0
Chillers | 3.603% | 2850 | 20.953 | Term (yrs) | 17 |  |  | Marketing Fee | 0 | 0
Spare Parts | 0% | 0 | 0 | Final Maturity | 2017-08-01 06:00 |  |  | Admin Fees | 0 | 0
Sub Total | 91.92% | 72718.3488 | 534.6209 | Average Life (yrs) | 10.565 |  |  | O&M Fees | 0 | 0
[8 empty] | Total Fixed Escalating Cost | 550 | 4.0436
Soft Cost: (From Engineers/Asset Management) |  |  |  | Treasury Rate (%) | 6.83% | 6.83%
EE&CC Project Management | 0% | 0 | 0 | Spread (%) | 1% | 1% |  | Non-Escalated Costs:
Mobilization Expenses | 0% | 0 | 0 | All-In Rate (%) | 7.83% | 7.83% |  | Fuel | 2992.172 | 21.9983
Environmental Permitting | 0% | 0 | 0 |  |  |  |  | Property Tax | 0 | 0
Insurance During Construction | 0% | 0 | 0 | Maximum DSR Amount (000 $) | 4028.6613 | 6 | (months/year) | Franchise Tax | 192.8623 | 1.4179
Capitalized Salaries | 0% | 0 | 0 | Debt Service Reserve LOC Fee | 2% |  |  | Gross Receipts Tax | 0 | 0
Owner's Engineer | 1.264% | 1000 | 7.3519 | Interest Income Rate | 5% |  |  | Debt Service Reserve Fee (average 000$) | 41.5862 | 0.30574
Development Expenses | 0% | 0 | 0
Legal Expense | 0% | 0 | 0 | EQUITY |  |  |  | DEPRECIATION ASSUMPTIONS:
Interconnect Study | 0% | 0 | 0 | Equity Closed | 2000-08-01
IDC | 3.807% | 3011.7859 | 22.1425 | Equity Partner's Share | 50% | 8721.8061 |  |  | Year | Method | Residual (%)
Land | 0% | 0 | 0 | Enron's Share | 50% | 8721.8061 |  | Federal & State Tax Depreciation
Sales & Used Tax | 3.009% | 2380.08 | 17.4982 |  |  |  |  | EPC Costs | 15 | MACRS | 0%
Contingency | 0% | 0 | 0 | PPA ASSUMPTIONS (MAKE CHANGES AS NEEDED): |  |  |  | Start-Up Cost | 5 | SL | 0%
Sub Total | 8.08% | 6391.8659 | 46.9926 |  |  |  |  | Transaction Costs | 20 | SL | 0%
Fixed Price PPA
Financing Costs: |  |  |  | No. of years |  | 3 |  | Book Depreciation
Lender's Engineer | 0% | 0 | 0 | Capacity Charge ($/kW-mo) |  | 4.75 |  | EPC Costs | 30 | SL | 10%
Lender's Counsel | 0% | 0 | 0 |  |  |  |  | Start-Up Cost | 5 | SL | 0%
Financing Fee | 0% | 0 | 0 | Merchant Price Period |  |  |  | Transaction Costs | 20 | SL | 0%
Sub Total | 0% | 0 | 0 | No. of years |  | 27
|  |  |  | Capacity Charge ($/kW-mo) |  |  |  | TAX ASSUMPTIONS (PROJECT MAY INCLUDE SPECIFIC TAXES):
Total Uses | 100% | 79110.2147 | 581.6135
|  |  |  | Variable Payment ($/mW-hour) |  | 2.05 |  | Federal Income Tax Rate (%) | 35%
SUMMARY OUTPUT: | [7 empty] | State Income Tax Rate (average %) | 7% | (Project Specific)
|  |  |  | Net Generation (MW) |  | 190425.9536 |  | Franchise Tax (% on Net Asset) | 0.25% | (Project Specific)
All-in Capital Cost ($/kW) |  | 581.6135 | [5 empty] | Gross Receipts Tax (%) | 0% | (Project Specific)
Breakeven Capacity Price (first year $/kW-month) |  | 5.3967 | [5 empty] | Sales & Used Tax Rate on Fuel (%) | 1.5% | (Project Specific)
[8 empty] | Sales & Used Tax Rate on Hard Cost (%) | 8% | (Project Specific)
|  | Avg. | Min
DSCR |  | 1.3115 | 0.76167
Enron Equity Returns
30 Yrs After-Tax Cashflow & w/o Residual Value |  | #VALUE!
30 Yrs After-Tax Cashflow & w Residual Value |  | #VALUE!
Key Stats | 2001 | 2002 | 2003
EBITDA (000 $) | 4619.7474 | 6920.4909 | 6910.8657
Net Income (000 $) | 1604.6255 | 2401.4191 | 2395.6007
Pre-Tax Cashflow (000 $) | -703.7071 | 1604.4404 | 789.5667
After-Tax Cashflow (000 $) | -855.0109 | 1604.4404 | 789.5667
Note on C21: clau: $62,000/turbine as per Bruce Golden
Note on H11: clau: Calculated to include Carry Cost on a separate spreadsheet.
Note on H13: clau: This is an estimate, please check with Engineers for specific project
Note on H14: clau: This is an estimate, please check with Engineers for specific project
Note on H60: clau: As per Bruce Golden for simple cycle LM6000
Note on L47: clau: Assumption checked with Patrick Maloy on 2/4/00.
Note on L52: clau: Assumption used for GenCo. Verified with Jody Pierce 2/3/00.

## Price Assumption
PROJECT NAME:
PRICE ASSUMPTIONS
|  | 0.66667 | 1.6667 | 2.6667 | 3.6667 | 4.6667 | 5.6667 | 6.6667 | 7.6667 | 8.6667 | 9.6667 | 10.6667 | 11.6667 | 12.6667 | 13.6667 | 14.6667 | 15.6667 | 16.6667 | 17.6667 | 18.6667 | 19.6667 | 20.6667 | 21.6667 | 22.6667 | 23.6667 | 24.6667 | 25.6667 | 26.6667 | 27.6667 | 28.6667 | 29.6667 | 30.6667
|  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
Capacity Price $/kW-month
| Fixed Price | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75 | 4.75
Merchant Price
1 | Base ($/kW-month) | 5.4933 | 5.6581 | 5.6458 | 5.7213 | 5.6998 | 5.7713 | 5.8419 | 5.9116 | 6.0889 | 6.1596 | 6.3444 | 6.4159 | 6.6084 | 6.6806 | 6.7512 | 6.82 | 6.8869 | 6.9516 | 7.014 | 7.0739 | 7.1311 | 7.1854 | 7.2396 | 7.2939 | 7.3482 | 7.4024 | 7.4567 | 7.5109 | 7.5652 | 7.6195 | 7.6737
2 | Low ($/kW-month) | 4.3775 | 4.5088 | 4.7352 | 4.8772 | 5.0235 | 5.1742 | 5.3295 | 5.2782 | 5.2191 | 5.0397 | 4.9602 | 4.8713 | 4.8951 | 4.9159 | 4.8037 | 4.8141 | 4.8208 | 4.9654 | 5.1144 | 5.1173 | 5.2708 | 5.429 | 5.5871 | 5.7452 | 5.9033 | 6.0615 | 6.2196 | 6.3777 | 6.5358 | 6.694 | 6.8521
3 | Index | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
4 | Custom | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
1 | Market Price Scenario | 5.4933 | 5.6581 | 5.6458 | 5.7213 | 5.6998 | 5.7713 | 5.8419 | 5.9116 | 6.0889 | 6.1596 | 6.3444 | 6.4159 | 6.6084 | 6.6806 | 6.7512 | 6.82 | 6.8869 | 6.9516 | 7.014 | 7.0739 | 7.1311 | 7.1854 | 7.2396 | 7.2939 | 7.3482 | 7.4024 | 7.4567 | 7.5109 | 7.5652 | 7.6195 | 7.6737
| Blended Capacity Price | 4.75 | 4.75 | 4.75 | 5.3976 | 5.6998 | 5.7713 | 5.8419 | 5.9116 | 6.0889 | 6.1596 | 6.3444 | 6.4159 | 6.6084 | 6.6806 | 6.7512 | 6.82 | 6.8869 | 6.9516 | 7.014 | 7.0739 | 7.1311 | 7.1854 | 7.2396 | 7.2939 | 7.3482 | 7.4024 | 7.4567 | 7.5109 | 7.5652 | 7.6195 | 7.6737
Gas Price $/MMBtu
1 | Index - Average Mid ($/MMBtu) | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2 | 2.2
2 | Fixed ($/MMBtu) | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5 | 2.5
3 | Custom ($/MMBtu) | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5 | 1.5
| Sales Tax Rate | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5% | 1.5%
1 | Gas Price Assumption | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225 | 1.5225
Energy Price $/kW-hour
| Fuel $/mW-hour | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713 | 15.713
| Variable O&M ($/mW-hour) | 2.0908 | 2.1535 | 2.2181 | 2.2847 | 2.3532 | 2.4238 | 2.4965 | 2.5714 | 2.6486 | 2.728 | 2.8099 | 2.8942 | 2.981 | 3.0704 | 3.1625 | 3.2574 | 3.3551 | 3.4558 | 3.5594 | 3.6662 | 3.7762 | 3.8895 | 4.0062 | 4.1264 | 4.2502 | 4.3777 | 4.509 | 4.6443 | 4.7836 | 4.9271 | 5.0749
| Marginal cost of Generation $/MWh | 17.8038 | 17.8666 | 17.9312 | 17.9977 | 18.0663 | 18.1369 | 18.2096 | 18.2845 | 18.3616 | 18.4411 | 18.5229 | 18.6072 | 18.694 | 18.7835 | 18.8756 | 18.9704 | 19.0682 | 19.1688 | 19.2725 | 19.3793 | 19.4893 | 19.6025 | 19.7192 | 19.8394 | 19.9632 | 20.0907 | 20.222 | 20.3573 | 20.4966 | 20.6401 | 20.788
Pass-through | Energy Price Assumption | 17.8038 | 17.8666 | 17.9312 | 17.9977 | 18.0663 | 18.1369 | 18.2096 | 18.2845 | 18.3616 | 18.4411 | 18.5229 | 18.6072 | 18.694 | 18.7835 | 18.8756 | 18.9704 | 19.0682 | 19.1688 | 19.2725 | 19.3793 | 19.4893 | 19.6025 | 19.7192 | 19.8394 | 19.9632 | 20.0907 | 20.222 | 20.3573 | 20.4966 | 20.6401 | 20.788

## IS
PROJECT NAME:
INCOME STATEMENT
|  | 0.66667 | 1.6667 | 2.6667 | 3.6667 | 4.6667 | 5.6667 | 6.6667 | 7.6667 | 8.6667 | 9.6667 | 10.6667 | 11.6667 | 12.6667 | 13.6667 | 14.6667 | 15.6667 | 16.6667 | 17.6667 | 18.6667 | 19.6667 | 20.6667 | 21.6667 | 22.6667 | 23.6667 | 24.6667 | 25.6667 | 26.6667 | 27.6667 | 28.6667 | 29.6667 | 30.6667
('000 $) |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
|  | 2001-12-30 12:00 | 2002-12-30 18:00 | 2003-12-31 | 2004-12-30 06:00 | 2005-12-30 12:00 | 2006-12-30 18:00 | 2007-12-31 | 2008-12-30 06:00 | 2009-12-30 12:00 | 2010-12-30 18:00 | 2011-12-31 | 2012-12-30 06:00 | 2013-12-30 12:00 | 2014-12-30 18:00 | 2015-12-31 | 2016-12-30 06:00 | 2017-12-30 12:00 | 2018-12-30 18:00 | 2019-12-31 | 2020-12-30 06:00 | 2021-12-30 12:00 | 2022-12-30 18:00 | 2023-12-31 | 2024-12-30 06:00 | 2025-12-30 12:00 | 2026-12-30 18:00 | 2027-12-31 | 2028-12-30 06:00 | 2029-12-30 12:00 | 2030-12-30 18:00 | 2031-12-31
Revenue
Capacity Revenue |  | 5168.7045 | 7753.0567 | 7753.0567 | 8810.0148 | 9303.2831 | 9419.9684 | 9535.2818 | 9649.036 | 9938.5071 | 10053.8648 | 10355.4807 | 10472.2152 | 10786.3817 | 10904.2329 | 11019.4474 | 11131.761 | 11240.8959 | 11346.5604 | 11448.4478 | 11546.2367 | 11639.5892 | 11728.1513 | 11816.7134 | 11905.2755 | 11993.8376 | 12082.3997 | 12170.9618 | 12259.5239 | 12348.086 | 12436.6481 | 4175.07
Energy Revenue |  | 3390.3141 | 3402.2584 | 3414.561 | 3427.2327 | 3440.2845 | 3453.7279 | 3467.5745 | 3481.8366 | 3496.5265 | 3511.6572 | 3527.2417 | 3543.2938 | 3559.8275 | 3576.8572 | 3594.3977 | 3612.4645 | 3631.0733 | 3650.2403 | 3669.9823 | 3690.3166 | 3711.261 | 3732.8337 | 3755.0535 | 3777.94 | 3801.513 | 3825.7932 | 3850.8019 | 3876.5608 | 3903.0924 | 3930.42 | 3958.5675
Ancillary Services |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Revenue |  | 8559.0186 | 11155.3151 | 11167.6177 | 12237.2475 | 12743.5676 | 12873.6962 | 13002.8563 | 13130.8726 | 13435.0337 | 13565.522 | 13882.7225 | 14015.5091 | 14346.2092 | 14481.09 | 14613.8451 | 14744.2255 | 14871.9692 | 14996.8007 | 15118.4302 | 15236.5533 | 15350.8502 | 15460.985 | 15571.7669 | 15683.2155 | 15795.3506 | 15908.1929 | 16021.7636 | 16136.0846 | 16251.1784 | 16367.0681 | 8133.6375
Expense
Fuel |  | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172 | 2992.172
Fixed Operating Expenses |  | 366.6667 | 566.5 | 583.495 | 600.9999 | 619.0298 | 637.6007 | 656.7288 | 676.4306 | 696.7235 | 717.6253 | 739.154 | 761.3286 | 784.1685 | 807.6935 | 831.9243 | 856.8821 | 882.5885 | 909.0662 | 936.3382 | 964.4283 | 993.3612 | 1023.162 | 1053.8569 | 1085.4726 | 1118.0368 | 1151.5779 | 1186.1252 | 1221.709 | 1258.3602 | 1296.111 | 1334.9944
Variable Operating Expenses |  | 97.1078 | 100.0211 | 103.0217 | 106.1124 | 109.2957 | 112.5746 | 115.9518 | 119.4304 | 123.0133 | 126.7037 | 130.5048 | 134.42 | 138.4526 | 142.6061 | 146.8843 | 151.2909 | 155.8296 | 160.5045 | 165.3196 | 170.2792 | 175.3876 | 180.6492 | 186.0687 | 191.6507 | 197.4002 | 203.3223 | 209.4219 | 215.7046 | 222.1757 | 228.841 | 235.7062
Major Maintenance |  | 301.0343 | 310.0653 | 319.3673 | 328.9483 | 338.8168 | 348.9813 | 359.4507 | 370.2342 | 381.3412 | 392.7815 | 404.5649 | 416.7019 | 429.2029 | 442.079 | 455.3414 | 469.0016 | 483.0717 | 497.5638 | 512.4908 | 527.8655 | 543.7014 | 560.0125 | 576.8129 | 594.1172 | 611.9408 | 630.299 | 649.2079 | 668.6842 | 688.7447 | 709.4071 | 730.6893
Insurance |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
SG&A |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility Start Power |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Property Tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Franchise Tax |  | 128.5749 | 185.4925 | 178.1227 | 170.7529 | 163.3831 | 157.14 | 151.4603 | 145.7805 | 140.1007 | 134.421 | 128.7412 | 123.0615 | 117.3817 | 111.7019 | 106.0222 | 100.3424 | 94.6627 | 88.9829 | 83.3031 | 77.6234 | 71.9436 | 66.2639 | 60.5841 | 54.9043 | 49.2246 | 43.5448 | 37.8651 | 32.1853 | 26.5055 | 20.8258 | 18.9325
Gross Receipts Tax |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt Service Reserve LOC Fee |  | 53.7155 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 80.5732 | 26.8577 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Marketing Fee |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Administrative Fee |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
O&M Fees |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Expense |  | 3939.2712 | 4234.8242 | 4256.752 | 4279.5587 | 4303.2707 | 4329.0419 | 4356.3368 | 4384.621 | 4413.9241 | 4444.2766 | 4475.7102 | 4508.2572 | 4541.9509 | 4576.8259 | 4612.9175 | 4650.2622 | 4635.1822 | 4648.2894 | 4689.6237 | 4732.3684 | 4776.5658 | 4822.2595 | 4869.4945 | 4918.3169 | 4968.7743 | 5020.9159 | 5074.7921 | 5130.455 | 5187.9582 | 5247.3568 | 5312.4944
EBITDA |  | 4619.7474 | 6920.4909 | 6910.8657 | 7957.6888 | 8440.2969 | 8544.6544 | 8646.5195 | 8746.2517 | 9021.1096 | 9121.2453 | 9407.0123 | 9507.2519 | 9804.2583 | 9904.2642 | 10000.9277 | 10093.9633 | 10236.787 | 10348.5113 | 10428.8065 | 10504.185 | 10574.2844 | 10638.7254 | 10702.2724 | 10764.8986 | 10826.5762 | 10887.277 | 10946.9715 | 11005.6296 | 11063.2202 | 11119.7112 | 2821.1432
Depreciation & Amortization |  | 1965.28 | 2947.92 | 2947.92 | 2947.92 | 2947.92 | 2497.2427 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 757.3013
EBIT |  | 2654.4674 | 3972.5709 | 3962.9457 | 5009.7687 | 5492.3769 | 6047.4117 | 6374.6155 | 6474.3476 | 6749.2055 | 6849.3413 | 7135.1082 | 7235.3479 | 7532.3542 | 7632.3601 | 7729.0236 | 7822.0593 | 7964.883 | 8076.6072 | 8156.9025 | 8232.2809 | 8302.3804 | 8366.8214 | 8430.3684 | 8492.9945 | 8554.6722 | 8615.373 | 8675.0675 | 8733.7256 | 8791.3161 | 8847.8072 | 2063.8418
Interest Expense |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pretax Book Income |  | 2654.4674 | 3972.5709 | 3962.9457 | 5009.7687 | 5492.3769 | 6047.4117 | 6374.6155 | 6474.3476 | 6749.2055 | 6849.3413 | 7135.1082 | 7235.3479 | 7532.3542 | 7632.3601 | 7729.0236 | 7822.0593 | 7964.883 | 8076.6072 | 8156.9025 | 8232.2809 | 8302.3804 | 8366.8214 | 8430.3684 | 8492.9945 | 8554.6722 | 8615.373 | 8675.0675 | 8733.7256 | 8791.3161 | 8847.8072 | 2063.8418
Book State Tax Benefit / (Expense) | 7% | -185.8127 | -278.08 | -277.4062 | -350.6838 | -384.4664 | -423.3188 | -446.2231 | -453.2043 | -472.4444 | -479.4539 | -499.4576 | -506.4744 | -527.2648 | -534.2652 | -541.0317 | -547.5441 | -557.5418 | -565.3625 | -570.9832 | -576.2597 | -581.1666 | -585.6775 | -590.1258 | -594.5096 | -598.8271 | -603.0761 | -607.2547 | -611.3608 | -615.3921 | -619.3465 | -144.4689
Shareholder Fed. Tax Benefit / (Expense) | 35% | -864.0291 | -1293.0718 | -1289.9388 | -1630.6797 | -1787.7687 | -1968.4325 | -2074.9373 | -2107.4002 | -2196.8664 | -2229.4606 | -2322.4777 | -2355.1057 | -2451.7813 | -2484.3332 | -2515.7972 | -2546.0803 | -2592.5694 | -2628.9356 | -2655.0718 | -2679.6074 | -2702.4248 | -2723.4004 | -2744.0849 | -2764.4697 | -2784.5458 | -2804.3039 | -2823.7345 | -2842.8277 | -2861.5734 | -2879.9612 | -671.7805
Net Income |  | 1604.6255 | 2401.4191 | 2395.6007 | 3028.4052 | 3320.1418 | 3655.6604 | 3853.4551 | 3913.7431 | 4079.8948 | 4140.4268 | 4313.1729 | 4373.7678 | 4553.3081 | 4613.7617 | 4672.1948 | 4728.4348 | 4814.7717 | 4882.3091 | 4930.8475 | 4976.4138 | 5018.7889 | 5057.7435 | 5096.1577 | 5134.0152 | 5171.2993 | 5207.993 | 5244.0783 | 5279.5371 | 5314.3506 | 5348.4994 | 1247.5924
Breakeven Capacity Prices |  | 5.3967 | 3.767 | 4.2663 | 4.4999 | 4.5556 | 4.6112 | 4.6664 | 4.8046 | 4.8607 | 5.0047 | 5.0617 | 5.2117 | 5.2694 | 5.3259 | 5.3811 | 5.4602 | 3.716 | 0.61147 | 0.6247 | 0.63843 | 0.65267 | 0.66745 | 0.68278 | 0.69867 | 0.71514 | 0.73221 | 0.74989 | 0.76821 | 0.78719 | 0.80684 | 0.8295

## CF
PROJECT NAME:
ANNUAL CASH FLOW AND IRR
| 0 | 0.66667 | 1.6667 | 2.6667 | 3.6667 | 4.6667 | 5.6667 | 6.6667 | 7.6667 | 8.6667 | 9.6667 | 10.6667 | 11.6667 | 12.6667 | 13.6667 | 14.6667 | 15.6667 | 16.6667 | 17.6667 | 18.6667 | 19.6667 | 20.6667 | 21.6667 | 22.6667 | 23.6667 | 24.6667 | 25.6667 | 26.6667 | 27.6667 | 28.6667 | 29.6667 | 30.6667
('000 $) | Close | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
| 2000-08-01 | 2001-12-30 12:00 | 2002-12-30 18:00 | 2003-12-31 | 2004-12-30 06:00 | 2005-12-30 12:00 | 2006-12-30 18:00 | 2007-12-31 | 2008-12-30 06:00 | 2009-12-30 12:00 | 2010-12-30 18:00 | 2011-12-31 | 2012-12-30 06:00 | 2013-12-30 12:00 | 2014-12-30 18:00 | 2015-12-31 | 2016-12-30 06:00 | 2017-12-30 12:00 | 2018-12-30 18:00 | 2019-12-31 | 2020-12-30 06:00 | 2021-12-30 12:00 | 2022-12-30 18:00 | 2023-12-31 | 2024-12-30 06:00 | 2025-12-30 12:00 | 2026-12-30 18:00 | 2027-12-31 | 2028-12-30 06:00 | 2029-12-30 12:00 | 2030-12-30 18:00 | 2031-12-31
PROJECT CASH FLOW
EBITDA | 0 | 4619.7474 | 6920.4909 | 6910.8657 | 7957.6888 | 8440.2969 | 8544.6544 | 8646.5195 | 8746.2517 | 9021.1096 | 9121.2453 | 9407.0123 | 9507.2519 | 9804.2583 | 9904.2642 | 10000.9277 | 10093.9633 | 10236.787 | 10348.5113 | 10428.8065 | 10504.185 | 10574.2844 | 10638.7254 | 10702.2724 | 10764.8986 | 10826.5762 | 10887.277 | 10946.9715 | 11005.6296 | 11063.2202 | 11119.7112 | 2821.1432
Less Principal Payments | 0 | -533.2599 | -568.3757 | -1437.2499 | -1932.0577 | -2168.8071 | -2422.5433 | -2694.8615 | -3127.0351 | -3456.122 | -3957.5608 | -4353.1238 | -4935.613 | -5409.375 | -5918.4232 | -6465.2451 | -7095.6871 | -4852.5007 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Less Interest Payments | 0 | -4790.1946 | -4747.6748 | -4684.0492 | -4560.4784 | -4404.004 | -4228.6256 | -4033.0244 | -3812.2799 | -3560.2205 | -3278.6024 | -2960.1469 | -2606.1241 | -2209.2897 | -1774.5981 | -1299.3421 | -778.7644 | -208.7814 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pre Tax Cash Flow | 0 | -703.7071 | 1604.4404 | 789.5667 | 1465.1527 | 1867.4859 | 1893.4855 | 1918.6336 | 1806.9366 | 2004.767 | 1885.082 | 2093.7416 | 1965.5148 | 2185.5935 | 2211.2429 | 2236.3405 | 2219.5118 | 5175.5049 | 10348.5113 | 10428.8065 | 10504.185 | 10574.2844 | 10638.7254 | 10702.2724 | 10764.8986 | 10826.5762 | 10887.277 | 10946.9715 | 11005.6296 | 11063.2202 | 11119.7112 | 2821.1432
State Tax Benefit / (Expense) | 0 | -26.7794 | 0 | 0 | -18.2341 | -176.1328 | -252.093 | -292.4909 | -298.942 | -318.7122 | -325.1916 | -345.7254 | -352.2121 | -373.5326 | -380.0029 | -387.2995 | -550.1947 | -716.5751 | -724.3958 | -730.0165 | -735.2929 | -740.1999 | -744.7108 | -749.1591 | -753.5429 | -757.8603 | -762.1094 | -766.288 | -770.3941 | -774.4254 | -778.3798 | -197.48
Federal Tax Benefit / (Expense) | 0 | -124.5244 | 0 | 0 | -84.7888 | -819.0174 | -1172.2324 | -1360.0827 | -1390.0805 | -1482.0118 | -1512.141 | -1607.6231 | -1637.7861 | -1736.9267 | -1767.0136 | -1800.9426 | -2558.4054 | -3332.0742 | -3368.4404 | -3394.5765 | -3419.1122 | -3441.9296 | -3462.9051 | -3483.5897 | -3503.9745 | -3524.0506 | -3543.8087 | -3563.2392 | -3582.3324 | -3601.0782 | -3619.466 | -918.2821
After Tax Cash Flow | 0 | -855.0109 | 1604.4404 | 789.5667 | 1362.1298 | 872.3356 | 469.1602 | 266.06 | 117.914 | 204.043 | 47.7495 | 140.393 | -24.4834 | 75.1342 | 64.2264 | 48.0985 | -889.0883 | 1126.8557 | 6255.6751 | 6304.2135 | 6349.7798 | 6392.1549 | 6431.1095 | 6469.5237 | 6507.3812 | 6544.6653 | 6581.3589 | 6617.4443 | 6652.9031 | 6687.7166 | 6721.8654 | 1705.381
Cashflow Available to Equity | 0 | -855.0109 | 1604.4404 | 789.5667 | 1362.1298 | 872.3356 | 469.1602 | 266.06 | 117.914 | 204.043 | 47.7495 | 140.393 | -24.4834 | 75.1342 | 64.2264 | 48.0985 | -889.0883 | 1126.8557 | 6255.6751 | 6304.2135 | 6349.7798 | 6392.1549 | 6431.1095 | 6469.5237 | 6507.3812 | 6544.6653 | 6581.3589 | 6617.4443 | 6652.9031 | 6687.7166 | 6721.8654 | 1705.381

## BS (hidden)
PROJECT NAME:
BALANCE SHEET
| 0 | 0.66667 | 1.6667 | 2.6667 | 3.6667 | 4.6667 | 5.6667 | 6.6667 | 7.6667 | 8.6667 | 9.6667 | 10.6667 | 11.6667 | 12.6667 | 13.6667 | 14.6667 | 15.6667 | 16.6667 | 17.6667 | 18.6667 | 19.6667 | 20.6667 | 21.6667 | 22.6667 | 23.6667 | 24.6667 | 25.6667 | 26.6667 | 27.6667 | 28.6667 | 29.6667 | 30.6667
('000 $) | Close | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
|  | 2001-12-30 12:00 | 2002-12-30 18:00 | 2003-12-31 | 2004-12-30 06:00 | 2005-12-30 12:00 | 2006-12-30 18:00 | 2007-12-31 | 2008-12-30 06:00 | 2009-12-30 12:00 | 2010-12-30 18:00 | 2011-12-31 | 2012-12-30 06:00 | 2013-12-30 12:00 | 2014-12-30 18:00 | 2015-12-31 | 2016-12-30 06:00 | 2017-12-30 12:00 | 2018-12-30 18:00 | 2019-12-31 | 2020-12-30 06:00 | 2021-12-30 12:00 | 2022-12-30 18:00 | 2023-12-31 | 2024-12-30 06:00 | 2025-12-30 12:00 | 2026-12-30 18:00 | 2027-12-31 | 2028-12-30 06:00 | 2029-12-30 12:00 | 2030-12-30 18:00 | 2031-12-31
Assets
Cash | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Accounts Receivable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Inventories | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Current Assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Debt Service Reserve | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Current Assets |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gross PP&E | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147 | 79110.2147
Accumulated Depreciation | 0 | 1965.28 | 4913.2001 | 7861.1201 | 10809.0402 | 13756.9602 | 16254.2029 | 18526.1069 | 20798.011 | 23069.915 | 25341.8191 | 27613.7231 | 29885.6272 | 32157.5312 | 34429.4352 | 36701.3393 | 38973.2433 | 41245.1474 | 43517.0514 | 45788.9555 | 48060.8595 | 50332.7635 | 52604.6676 | 54876.5716 | 57148.4757 | 59420.3797 | 61692.2837 | 63964.1878 | 66236.0918 | 68507.9959 | 70779.8999 | 71537.2013
Net PP&E | 79110.2147 | 77144.9347 | 74197.0147 | 71249.0946 | 68301.1746 | 65353.2545 | 62856.0118 | 60584.1078 | 58312.2037 | 56040.2997 | 53768.3957 | 51496.4916 | 49224.5876 | 46952.6835 | 44680.7795 | 42408.8755 | 40136.9714 | 37865.0674 | 35593.1633 | 33321.2593 | 31049.3552 | 28777.4512 | 26505.5472 | 24233.6431 | 21961.7391 | 19689.835 | 17417.931 | 15146.0269 | 12874.1229 | 10602.2189 | 8330.3148 | 7573.0135
Land | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Other Assets | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Assets | 79110.2147 | 77144.9347 | 74197.0147 | 71249.0946 | 68301.1746 | 65353.2545 | 62856.0118 | 60584.1078 | 58312.2037 | 56040.2997 | 53768.3957 | 51496.4916 | 49224.5876 | 46952.6835 | 44680.7795 | 42408.8755 | 40136.9714 | 37865.0674 | 35593.1633 | 33321.2593 | 31049.3552 | 28777.4512 | 26505.5472 | 24233.6431 | 21961.7391 | 19689.835 | 17417.931 | 15146.0269 | 12874.1229 | 10602.2189 | 8330.3148 | 7573.0135
Liabilities
Accounts Payable | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Accrued Expenses | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Deferred Tax Liability | 0 | -1201.1457 | -2772.2974 | -4339.6424 | -6424.0289 | -9591.4142 | -13407.4908 | -17581.2249 | -21830.852 | -26300.8868 | -30847.1338 | -35622.4176 | -40473.9959 | -45563.5013 | -50729.1163 | -55974.1872 | -62176.4117 | -69375.1721 | -76662.3065 | -84012.9544 | -91423.2267 | -98888.9476 | -106405.6413 | -113972.6008 | -121589.0975 | -129254.3813 | -136967.6793 | -144728.1957 | -152535.1107 | -160387.5798 | -168284.7334 | -170216.7449
Working Capital Revolver | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Long Term Debt | 61666.6026 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Other Non-Current Liabilities | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Long-term Liabilities | 61666.6026 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Stockholders' Equity
Paid-In-Capital | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121 | 17443.6121
Retained earnings | 0 | 2459.6365 | 796.9787 | 1606.034 | 1666.2754 | 2447.8062 | 3186.5002 | 3587.3951 | 3795.8291 | 3875.8517 | 4092.6773 | 4172.7799 | 4398.2512 | 4478.1739 | 4549.5353 | 4624.0963 | 5617.5231 | 3687.9161 | -1373.366 | -1373.366 | -1373.366 | -1373.366 | -1373.366 | -1373.366 | -1373.366 | -1373.366 | -1373.366 | -1373.366 | -1373.366 | -1373.366 | -1373.366 | -457.7887
Total stockholders' equity | 17443.6121 | 19903.2486 | 18240.5909 | 19049.6461 | 19109.8876 | 19891.4183 | 20630.1123 | 21031.0072 | 21239.4413 | 21319.4639 | 21536.2895 | 21616.392 | 21841.8633 | 21921.7861 | 21993.1475 | 22067.7085 | 23061.1353 | 21131.5282 | 16070.2461 | 16070.2461 | 16070.2461 | 16070.2461 | 16070.2461 | 16070.2461 | 16070.2461 | 16070.2461 | 16070.2461 | 16070.2461 | 16070.2461 | 16070.2461 | 16070.2461 | 16985.8235
Total Liabilities & Equity | 79110.2147 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
Proof | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!

## Returns
PROJECT NAME:
RETURNS
| 0 | 0.66667 | 1.6667 | 2.6667 | 3.6667 | 4.6667 | 5.6667 | 6.6667 | 7.6667 | 8.6667 | 9.6667 | 10.6667 | 11.6667 | 12.6667 | 13.6667 | 14.6667 | 15.6667 | 16.6667 | 17.6667 | 18.6667 | 19.6667 | 20.6667 | 21.6667 | 22.6667 | 23.6667 | 24.6667 | 25.6667 | 26.6667 | 27.6667 | 28.6667 | 29.6667 | 30.6667
('000 $) | Close | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
| 2000-08-01 | 2001-12-30 12:00 | 2002-12-30 18:00 | 2003-12-31 | 2004-12-30 06:00 | 2005-12-30 12:00 | 2006-12-30 18:00 | 2007-12-31 | 2008-12-30 06:00 | 2009-12-30 12:00 | 2010-12-30 18:00 | 2011-12-31 | 2012-12-30 06:00 | 2013-12-30 12:00 | 2014-12-30 18:00 | 2015-12-31 | 2016-12-30 06:00 | 2017-12-30 12:00 | 2018-12-30 18:00 | 2019-12-31 | 2020-12-30 06:00 | 2021-12-30 12:00 | 2022-12-30 18:00 | 2023-12-31 | 2024-12-30 06:00 | 2025-12-30 12:00 | 2026-12-30 18:00 | 2027-12-31 | 2028-12-30 06:00 | 2029-12-30 12:00 | 2030-12-30 18:00 | 2031-12-31
ENRON'S EQUITY CASHFLOW
Pre Tax Cash Flow | 0 | -351.8536 | 802.2202 | 394.7833 | 732.5763 | 933.7429 | 946.7428 | 959.3168 | 903.4683 | 1002.3835 | 942.541 | 1046.8708 | 982.7574 | 1092.7968 | 1105.6214 | 1118.1703 | 1109.7559 | 2587.7525 | 5174.2556 | 5214.4033 | 5252.0925 | 5287.1422 | 5319.3627 | 5351.1362 | 5382.4493 | 5413.2881 | 5443.6385 | 5473.4858 | 5502.8148 | 5531.6101 | 5559.8556 | 1410.5716
Enron's State Taxes Benefit (Expense) | 0 | -13.3897 | 0 | 0 | -9.1171 | -88.0664 | -126.0465 | -146.2455 | -149.471 | -159.3561 | -162.5958 | -172.8627 | -176.106 | -186.7663 | -190.0015 | -193.6497 | -275.0974 | -358.2875 | -362.1979 | -365.0082 | -367.6465 | -370.1 | -372.3554 | -374.5795 | -376.7715 | -378.9302 | -381.0547 | -383.144 | -385.197 | -387.2127 | -389.1899 | -98.74
Enron's Federal Taxes Benefit (Expense) | 0 | -62.2622 | 0 | 0 | -42.3944 | -409.5087 | -586.1162 | -680.0414 | -695.0403 | -741.0059 | -756.0705 | -803.8116 | -818.8931 | -868.4633 | -883.5068 | -900.4713 | -1279.2027 | -1666.0371 | -1684.2202 | -1697.2883 | -1709.5561 | -1720.9648 | -1731.4526 | -1741.7948 | -1751.9872 | -1762.0253 | -1771.9043 | -1781.6196 | -1791.1662 | -1800.5391 | -1809.733 | -459.141
After Tax Cash Flow | 0 | -427.5055 | 802.2202 | 394.7833 | 681.0649 | 436.1678 | 234.5801 | 133.03 | 58.957 | 102.0215 | 23.8747 | 70.1965 | -12.2417 | 37.5671 | 32.1132 | 24.0492 | -444.5442 | 563.4278 | 3127.8375 | 3152.1068 | 3174.8899 | 3196.0775 | 3215.5548 | 3234.7618 | 3253.6906 | 3272.3327 | 3290.6795 | 3308.7221 | 3326.4515 | 3343.8583 | 3360.9327 | 852.6905
Equity Contributions from Enron | -8721.8061 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Enron's Cashflow with No Residual
Equity CF | -8721.8061 | -427.5055 | 802.2202 | 394.7833 | 681.0649 | 436.1678 | 234.5801 | 133.03 | 58.957 | 102.0215 | 23.8747 | 70.1965 | -12.2417 | 37.5671 | 32.1132 | 24.0492 | -444.5442 | 563.4278 | 3127.8375 | 3152.1068 | 3174.8899 | 3196.0775 | 3215.5548 | 3234.7618 | 3253.6906 | 3272.3327 | 3290.6795 | 3308.7221 | 3326.4515 | 3343.8583 | 3360.9327 | 852.6905
Other CF | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total CF | -8721.8061 | -427.5055 | 802.2202 | 394.7833 | 681.0649 | 436.1678 | 234.5801 | 133.03 | 58.957 | 102.0215 | 23.8747 | 70.1965 | -12.2417 | 37.5671 | 32.1132 | 24.0492 | -444.5442 | 563.4278 | 3127.8375 | 3152.1068 | 3174.8899 | 3196.0775 | 3215.5548 | 3234.7618 | 3253.6906 | 3272.3327 | 3290.6795 | 3308.7221 | 3326.4515 | 3343.8583 | 3360.9327 | 852.6905
IRR | 2000-08-01: #VALUE!
Enron's Cashflow with Residual Value
Equity CF | -8721.8061 | -427.5055 | 802.2202 | 394.7833 | 681.0649 | 436.1678 | 234.5801 | 133.03 | 58.957 | 102.0215 | 23.8747 | 70.1965 | -12.2417 | 37.5671 | 32.1132 | 24.0492 | -444.5442 | 563.4278 | 3127.8375 | 3152.1068 | 3174.8899 | 3196.0775 | 3215.5548 | 3234.7618 | 3253.6906 | 3272.3327 | 3290.6795 | 3308.7221 | 3326.4515 | 3343.8583 | 3360.9327 | 852.6905
Residual Value | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 27799.2781
Other Cashflow | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total CF | -8721.8061 | -427.5055 | 802.2202 | 394.7833 | 681.0649 | 436.1678 | 234.5801 | 133.03 | 58.957 | 102.0215 | 23.8747 | 70.1965 | -12.2417 | 37.5671 | 32.1132 | 24.0492 | -444.5442 | 563.4278 | 3127.8375 | 3152.1068 | 3174.8899 | 3196.0775 | 3215.5548 | 3234.7618 | 3253.6906 | 3272.3327 | 3290.6795 | 3308.7221 | 3326.4515 | 3343.8583 | 3360.9327 | 28651.9686
IRR | 2000-08-01: #VALUE!

## Debt
Debt Summary
Treasury | 6.83%
Spread | 1%
All In Coupon Rate | 7.83%
Term | 17
Average Life | 10.565
Total amount ($ '000) | 61666.6026
PROJECT NAME:
DEBT ISSUANCE
('000 $) | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
| 2001-12-30 12:00 | 2002-12-30 18:00 | 2003-12-31 | 2004-12-30 06:00 | 2005-12-30 12:00 | 2006-12-30 18:00 | 2007-12-31 | 2008-12-30 06:00 | 2009-12-30 12:00 | 2010-12-30 18:00 | 2011-12-31 | 2012-12-30 06:00 | 2013-12-30 12:00 | 2014-12-30 18:00 | 2015-12-31 | 2016-12-30 06:00 | 2017-12-30 12:00 | 2018-12-30 18:00 | 2019-12-31 | 2020-12-30 06:00 | 2021-12-30 12:00 | 2022-12-30 18:00 | 2023-12-31 | 2024-12-30 06:00 | 2025-12-30 12:00 | 2026-12-30 18:00 | 2027-12-31 | 2028-12-30 06:00 | 2029-12-30 12:00 | 2030-12-30 18:00 | 2031-12-31
EBITDA | 4619.7474 | 6920.4909 | 6910.8657 | 7957.6888 | 8440.2969 | 8544.6544 | 8646.5195 | 8746.2517 | 9021.1096 | 9121.2453 | 9407.0123 | 9507.2519 | 9804.2583 | 9904.2642 | 10000.9277 | 10093.9633 | 10236.787 | 10348.5113 | 10428.8065 | 10504.185 | 10574.2844 | 10638.7254 | 10702.2724 | 10764.8986 | 10826.5762 | 10887.277 | 10946.9715 | 11005.6296 | 11063.2202 | 11119.7112 | 2821.1432
DSCR | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3 | 1.3
Target DS | 3553.6519 | 5323.4546 | 5316.0506 | 6121.2991 | 6492.5361 | 6572.8111 | 6651.1689 | 6727.8859 | 6939.3151 | 7016.3425 | 7236.1633 | 7313.2707 | 7541.7371 | 7618.6648 | 7693.0213 | 7764.5872 | 7874.4515 | 7960.3933 | 8022.1589 | 8080.1423 | 8134.0649 | 8183.6349 | 8232.5173 | 8280.6912 | 8328.1356 | 8374.8285 | 8420.7473 | 8465.8689 | 8510.1694 | 8553.624 | 2170.1101
Principal | 2001-12-30 12:00: 61666.6026
7858.5061
(Construction)
| 2001-02-01 | 2002-02-01 | 2003-02-01 | 2004-02-01 | 2005-02-01 | 2006-02-01 | 2007-02-01 | 2008-02-01 | 2009-02-01 | 2010-02-01 | 2011-02-01 | 2012-02-01 | 2013-02-01 | 2014-02-01 | 2015-02-01 | 2016-02-01 | 2017-02-01 | 2018-02-01 | 2019-02-01 | 2020-02-01 | 2021-02-01 | 2022-02-01 | 2023-02-01 | 2024-02-01 | 2025-02-01 | 2026-02-01 | 2027-02-01 | 2028-02-01 | 2029-02-01 | 2030-02-01 | 2031-02-01
Beginning Balance | 61666.6026 | 61327.8409 | 60794.581 | 60226.2053 | 58788.9554 | 56856.8977 | 54688.0906 | 52265.5473 | 49570.6858 | 46443.6507 | 42987.5287 | 39029.9678 | 34676.8441 | 29741.2311 | 24331.8561 | 18413.4329 | 11948.1878 | 4852.5007 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Addition | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal Payment | 0 | 46.4018 | 49.0778 | 123.1452 | 169.4088 | 188.7194 | 209.1806 | 230.8988 | 274.1881 | 300.7355 | 341.7255 | 372.9806 | 432.7699 | 470.6984 | 511.041 | 553.9496 | 622.1745 | 674.5089 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest Payment | 0 | 427.28 | 420.3065 | 413.1493 | 412.7419 | 396.1303 | 378.089 | 358.5395 | 348.0229 | 323.5797 | 297.1965 | 267.744 | 243.4571 | 207.2115 | 168.2196 | 126.3154 | 83.8851 | 33.8081 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending Balance | 61666.6026 | 61281.4391 | 60745.5031 | 60103.06 | 58619.5466 | 56668.1783 | 54478.91 | 52034.6485 | 49296.4977 | 46142.9152 | 42645.8032 | 38656.9872 | 34244.0742 | 29270.5326 | 23820.815 | 17859.4833 | 11326.0132 | 4177.9918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pro-rata EBITDA | 0 | 3490.085 | 3485.4481 | 3573.1626 | 4052.0743 | 4261.2081 | 4313.4882 | 4364.5476 | 4430.6965 | 4553.4253 | 4620.192 | 4747.7014 | 4816.0474 | 4947.9362 | 4997.9521 | 5046.2637 | 5097.7871 | 5159.8649 | 5220.3028 | 5260.267 | 5297.9214 | 5332.6835 | 5365.0236 | 5396.9122 | 5428.5045 | 5459.4464 | 5489.8949 | 5519.8352 | 5549.4098 | 5578.2847 | 4868.9885
DSCR | 2002-02-01: 1.3; 2003-02-01: 1.3; 2004-02-01: 1.3; 2005-02-01: 1.3; 2006-02-01: 1.3; 2007-02-01: 1.3; 2008-02-01: 1.3; 2009-02-01: 1.3; 2010-02-01: 1.3; 2011-02-01: 1.3; 2012-02-01: 1.3; 2013-02-01: 1.3; 2014-02-01: 1.3; 2015-02-01: 1.3; 2016-02-01: 1.3; 2017-02-01: 1.3; 2018-02-01: 1.3
(Debt Anniversay) | 2001-08-01 | 2002-08-01 | 2003-08-01 | 2004-08-01 | 2005-08-01 | 2006-08-01 | 2007-08-01 | 2008-08-01 | 2009-08-01 | 2010-08-01 | 2011-08-01 | 2012-08-01 | 2013-08-01 | 2014-08-01 | 2015-08-01 | 2016-08-01 | 2017-08-01 06:00 | 2018-08-01 | 2019-08-01 | 2020-08-01 | 2021-08-01 | 2022-08-01 | 2023-08-01 | 2024-08-01 | 2025-08-01 | 2026-08-01 | 2027-08-01 | 2028-08-01 | 2029-08-01 | 2030-08-01 | 2031-08-01
Beginning Balance | 61666.6026 | 61281.4391 | 60745.5031 | 60103.06 | 58619.5466 | 56668.1783 | 54478.91 | 52034.6485 | 49296.4977 | 46142.9152 | 42645.8032 | 38656.9872 | 34244.0742 | 29270.5326 | 23820.815 | 17859.4833 | 11326.0132 | 4177.9918 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Addition | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal Payment | 126.4406 | 260.2227 | 277.3488 | 705.1931 | 942.848 | 1058.3446 | 1182.1221 | 1322.2458 | 1525.9994 | 1686.5346 | 1931.1607 | 2135.8795 | 2408.589 | 2639.6921 | 2887.9976 | 3172.2013 | 3467.5071 | 3782.6678 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest Payment | 1216.2123 | 2377.8205 | 2357.0253 | 2344.982 | 2274.5347 | 2198.8184 | 2113.8712 | 2030.1847 | 1912.7851 | 1790.4209 | 1654.7272 | 1508.2416 | 1328.7263 | 1135.7447 | 924.2868 | 696.8059 | 440.0749 | 162.1129 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending Balance | 61540.162 | 61021.2164 | 60468.1543 | 59397.867 | 57676.6985 | 55609.8336 | 53296.7879 | 50712.4027 | 47770.4983 | 44456.3806 | 40714.6425 | 36521.1077 | 31835.4852 | 26630.8405 | 20932.8174 | 14687.282 | 7858.5061 | 395.3239 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Pro-rata EBITDA | 1745.4487 | 3429.4561 | 3424.6864 | 3965.2275 | 4182.5975 | 4234.312 | 4284.7913 | 4358.1596 | 4470.4198 | 4520.0422 | 4661.6543 | 4737.3576 | 4858.5099 | 4908.0679 | 4955.9696 | 5029.7093 | 5079.8567 | 5128.215 | 5168.0054 | 5234.1182 | 5240.0971 | 5272.0309 | 5303.5217 | 5364.0289 | 5365.1206 | 5395.2009 | 5424.7826 | 5483.9824 | 5482.3897 | 5510.3839 | 1398.0203
DSCR | 2001-08-01: 1.3; 2002-08-01: 1.3; 2003-08-01: 1.3; 2004-08-01: 1.3; 2005-08-01: 1.3; 2006-08-01: 1.3; 2007-08-01: 1.3; 2008-08-01: 1.3; 2009-08-01: 1.3; 2010-08-01: 1.3; 2011-08-01: 1.3; 2012-08-01: 1.3; 2013-08-01: 1.3; 2014-08-01: 1.3; 2015-08-01: 1.3; 2016-08-01: 1.3; 2017-08-01 06:00: 1.3; 2018-08-01: 1.3
| 2001-12-30 12:00 | 2002-12-30 18:00 | 2003-12-31 | 2004-12-30 06:00 | 2005-12-30 12:00 | 2006-12-30 18:00 | 2007-12-31 | 2008-12-30 06:00 | 2009-12-30 12:00 | 2010-12-30 18:00 | 2011-12-31 | 2012-12-30 06:00 | 2013-12-30 12:00 | 2014-12-30 18:00 | 2015-12-31 | 2016-12-30 06:00 | 2017-12-30 12:00 | 2018-12-30 18:00 | 2019-12-31 | 2020-12-30 06:00 | 2021-12-30 12:00 | 2022-12-30 18:00 | 2023-12-31 | 2024-12-30 06:00 | 2025-12-30 12:00 | 2026-12-30 18:00 | 2027-12-31 | 2028-12-30 06:00 | 2029-12-30 12:00 | 2030-12-30 18:00 | 2031-12-31
Beginning Balance | 61540.162 | 61021.2164 | 60468.1543 | 59397.867 | 57676.6985 | 55609.8336 | 53296.7879 | 50712.4027 | 47770.4983 | 44456.3806 | 40714.6425 | 36521.1077 | 31835.4852 | 26630.8405 | 20932.8174 | 14687.282 | 7858.5061 | 395.3239 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Addition | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal Payment | 212.3211 | 226.6355 | 241.9491 | 608.9116 | 819.8009 | 921.743 | 1031.2406 | 1141.7169 | 1326.8476 | 1468.8519 | 1684.6747 | 1844.2636 | 2094.2541 | 2298.9844 | 2519.3846 | 2739.0942 | 3006.0054 | 395.3239 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest Payment | 1998.6779 | 1985.0941 | 1970.343 | 1925.9179 | 1873.2018 | 1809.0553 | 1736.6654 | 1644.3002 | 1551.472 | 1446.2199 | 1326.6787 | 1184.1613 | 1033.9407 | 866.3335 | 682.0918 | 476.2208 | 254.8044 | 12.8604 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending Balance | 61327.8409 | 60794.581 | 60226.2053 | 58788.9554 | 56856.8977 | 54688.0906 | 52265.5473 | 49570.6858 | 46443.6507 | 42987.5287 | 39029.9678 | 34676.8441 | 29741.2311 | 24331.8561 | 18413.4329 | 11948.1878 | 4852.5007 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Principal Payments | 338.7617 | 533.2599 | 568.3757 | 1437.2499 | 1932.0577 | 2168.8071 | 2422.5433 | 2694.8615 | 3127.0351 | 3456.122 | 3957.5608 | 4353.1238 | 4935.613 | 5409.375 | 5918.4232 | 6465.2451 | 7095.6871 | 4852.5007 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Interest Expense | 3214.8902 | 4790.1946 | 4747.6748 | 4684.0492 | 4560.4784 | 4404.004 | 4228.6256 | 4033.0244 | 3812.2799 | 3560.2205 | 3278.6024 | 2960.1469 | 2606.1241 | 2209.2897 | 1774.5981 | 1299.3421 | 778.7644 | 208.7814 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Net Debt Service | 3553.6519 | 5323.4546 | 5316.0506 | 6121.2991 | 6492.5361 | 6572.8111 | 6651.1689 | 6727.8859 | 6939.3151 | 7016.3425 | 7236.1633 | 7313.2707 | 7541.7371 | 7618.6648 | 7693.0213 | 7764.5872 | 7874.4515 | 5061.2821 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
DSCR | 2001-12-30 12:00: 1.3; 2002-12-30 18:00: 1.3; 2003-12-31: 1.3; 2004-12-30 06:00: 1.3; 2005-12-30 12:00: 1.3; 2006-12-30 18:00: 1.3; 2007-12-31: 1.3; 2008-12-30 06:00: 1.3; 2009-12-30 12:00: 1.3; 2010-12-30 18:00: 1.3; 2011-12-31: 1.3; 2012-12-30 06:00: 1.3; 2013-12-30 12:00: 1.3; 2014-12-30 18:00: 1.3; 2015-12-31: 1.3; 2016-12-30 06:00: 1.3; 2017-12-30 12:00: 0.76167; 2018-12-30 18:00: 2.0446
| Average DSCR |  | 1.3115
| Minimum DSCR |  | 0.76167
Time Factor | 0 | 0.99932 | 1.9986 | 3.0007 | 4 | 4.9993 | 5.9986 | 7.0007 | 8 | 8.9993 | 9.9986 | 11.0007 | 12 | 12.9993 | 13.9986 | 15.0007 | 16.0007 | 16.9993 | 17.9986 | 19.0007 | 20 | 20.9993 | 21.9986 | 23.0007 | 24 | 24.9993 | 25.9986 | 27.0007 | 28 | 28.9993 | 29.9986
| 0.41478 | 1.4148 | 2.4148 | 3.4148 | 4.4148 | 5.4148 | 6.4148 | 7.4148 | 8.4148 | 9.4148 | 10.4148 | 11.4148 | 12.4148 | 13.4148 | 14.4148 | 15.4148 | 16.4148 | 17.4148 | 18.4148 | 19.4148 | 20.4148 | 21.4148 | 22.4148 | 23.4148 | 24.4148 | 25.4148 | 26.4148 | 27.4148 | 28.4148 | 29.4148 | 30.4148
Average Life | 2001-12-30 12:00: 10.565
Goal Seek Debt

## Depreciation
PROJECT NAME:
DEPRECIATION SCHEDULE
|  |  | 0.66667 | 1.6667 | 2.6667 | 3.6667 | 4.6667 | 5.6667 | 6.6667 | 7.6667 | 8.6667 | 9.6667 | 10.6667 | 11.6667 | 12.6667 | 13.6667 | 14.6667 | 15.6667 | 16.6667 | 17.6667 | 18.6667 | 19.6667 | 20.6667 | 21.6667 | 22.6667 | 23.6667 | 24.6667 | 25.6667 | 26.6667 | 27.6667 | 28.6667 | 29.6667 | 30.6667
('000 $) |  |  | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
|  |  | 2001-12-30 12:00 | 2002-12-30 18:00 | 2003-12-31 | 2004-12-30 06:00 | 2005-12-30 12:00 | 2006-12-30 18:00 | 2007-12-31 | 2008-12-30 06:00 | 2009-12-30 12:00 | 2010-12-30 18:00 | 2011-12-31 | 2012-12-30 06:00 | 2013-12-30 12:00 | 2014-12-30 18:00 | 2015-12-31 | 2016-12-30 06:00 | 2017-12-30 12:00 | 2018-12-30 18:00 | 2019-12-31 | 2020-12-30 06:00 | 2021-12-30 12:00 | 2022-12-30 18:00 | 2023-12-31 | 2024-12-30 06:00 | 2025-12-30 12:00 | 2026-12-30 18:00 | 2027-12-31 | 2028-12-30 06:00 | 2029-12-30 12:00 | 2030-12-30 18:00 | 2031-12-31
US FEDERAL TAX DEPRECIATION & AMORTIZATION
Years
Plant & Equipment - MACRS | 15 |  | 5% | 9.5% | 8.55% | 7.7% | 6.93% | 6.23% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 2.95% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Start-Up Costs - SL | 5 |  | 13.33% | 20% | 20% | 20% | 20% | 6.667% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Transaction Costs - SL | 20 |  | 3.333% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 1.667% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Plant & Equipment - MACRS | 75730.1347 |  | 3786.5067 | 7194.3628 | 6474.9265 | 5831.2204 | 5248.0983 | 4717.9874 | 4468.0779 | 4475.651 | 4468.0779 | 4475.651 | 4468.0779 | 4475.651 | 4468.0779 | 4475.651 | 4468.0779 | 2234.039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Start-Up Costs - SL | 3380.08 |  | 450.6773 | 676.016 | 676.016 | 676.016 | 676.016 | 225.3387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transaction Costs - SL | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Beginning Book Value | 79110.2147 |  | 4237.1841 | 7870.3788 | 7150.9425 | 6507.2364 | 5924.1143 | 4943.3261 | 4468.0779 | 4475.651 | 4468.0779 | 4475.651 | 4468.0779 | 4475.651 | 4468.0779 | 4475.651 | 4468.0779 | 2234.039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending Value of Assets | 79110.2147 |  | 74873.0307 | 67002.6519 | 59851.7093 | 53344.473 | 47420.3586 | 42477.0326 | 38008.9546 | 33533.3037 | 29065.2257 | 24589.5747 | 20121.4968 | 15645.8458 | 11177.7679 | 6702.1169 | 2234.039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
STATE TAX DEPRECIATION & AMORTIZATION
Years
Plant & Equipment - MACRS | 15 |  | 5% | 9.5% | 8.55% | 7.7% | 6.93% | 6.23% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 5.91% | 5.9% | 2.95% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Start-Up Costs - SL | 5 |  | 13.33% | 20% | 20% | 20% | 20% | 6.667% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Transaction Costs - SL | 20 |  | 3.333% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 1.667% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Plant & Equipment - MACRS | 75730.1347 |  | 3786.5067 | 7194.3628 | 6474.9265 | 5831.2204 | 5248.0983 | 4717.9874 | 4468.0779 | 4475.651 | 4468.0779 | 4475.651 | 4468.0779 | 4475.651 | 4468.0779 | 4475.651 | 4468.0779 | 2234.039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Start-Up Costs - SL | 3380.08 |  | 450.6773 | 676.016 | 676.016 | 676.016 | 676.016 | 225.3387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transaction Costs - SL | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Beginning Book Value | 79110.2147 |  | 4237.1841 | 7870.3788 | 7150.9425 | 6507.2364 | 5924.1143 | 4943.3261 | 4468.0779 | 4475.651 | 4468.0779 | 4475.651 | 4468.0779 | 4475.651 | 4468.0779 | 4475.651 | 4468.0779 | 2234.039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending Value of Assets | 79110.2147 |  | 74873.0307 | 67002.6519 | 59851.7093 | 53344.473 | 47420.3586 | 42477.0326 | 38008.9546 | 33533.3037 | 29065.2257 | 24589.5747 | 20121.4968 | 15645.8458 | 11177.7679 | 6702.1169 | 2234.039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
BOOK DEPRECIATION & AMORTIZATION
| Years | Residual
Plant & Equipment - MACRS | 30 | 10% | 2% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 3% | 1%
Start-Up Costs - SL | 5 |  | 13.33% | 20% | 20% | 20% | 20% | 6.667% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Transaction Costs - SL | 20 |  | 3.333% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 5% | 1.667% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0% | 0%
Plant & Equipment - MACRS | 75730.1347 |  | 1514.6027 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 757.3013
Start-Up Costs - SL | 3380.08 |  | 450.6773 | 676.016 | 676.016 | 676.016 | 676.016 | 225.3387 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Transaction Costs - SL | 0 |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Total Beginning Book Value | 79110.2147 |  | 1965.28 | 2947.92 | 2947.92 | 2947.92 | 2947.92 | 2497.2427 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 757.3013
Ending Book Value of Assets | 79110.2147 |  | 77144.9347 | 74197.0147 | 71249.0946 | 68301.1746 | 65353.2545 | 62856.0118 | 60584.1078 | 58312.2037 | 56040.2997 | 53768.3957 | 51496.4916 | 49224.5876 | 46952.6835 | 44680.7795 | 42408.8755 | 40136.9714 | 37865.0674 | 35593.1633 | 33321.2593 | 31049.3552 | 28777.4512 | 26505.5472 | 24233.6431 | 21961.7391 | 19689.835 | 17417.931 | 15146.0269 | 12874.1229 | 10602.2189 | 8330.3148 | 7573.0135

## Taxes
PROJECT NAME:
TAXES
| 0.66667 | 1.6667 | 2.6667 | 3.6667 | 4.6667 | 5.6667 | 6.6667 | 7.6667 | 8.6667 | 9.6667 | 10.6667 | 11.6667 | 12.6667 | 13.6667 | 14.6667 | 15.6667 | 16.6667 | 17.6667 | 18.6667 | 19.6667 | 20.6667 | 21.6667 | 22.6667 | 23.6667 | 24.6667 | 25.6667 | 26.6667 | 27.6667 | 28.6667 | 29.6667 | 30.6667
('000 $) | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031
| 2001-12-30 12:00 | 2002-12-30 18:00 | 2003-12-31 | 2004-12-30 06:00 | 2005-12-30 12:00 | 2006-12-30 18:00 | 2007-12-31 | 2008-12-30 06:00 | 2009-12-30 12:00 | 2010-12-30 18:00 | 2011-12-31 | 2012-12-30 06:00 | 2013-12-30 12:00 | 2014-12-30 18:00 | 2015-12-31 | 2016-12-30 06:00 | 2017-12-30 12:00 | 2018-12-30 18:00 | 2019-12-31 | 2020-12-30 06:00 | 2021-12-30 12:00 | 2022-12-30 18:00 | 2023-12-31 | 2024-12-30 06:00 | 2025-12-30 12:00 | 2026-12-30 18:00 | 2027-12-31 | 2028-12-30 06:00 | 2029-12-30 12:00 | 2030-12-30 18:00 | 2031-12-31
STATE TAXES
State Income Taxes
Adjusted Pretax Book Income | 2654.4674 | 3972.5709 | 3962.9457 | 5009.7687 | 5492.3769 | 6047.4117 | 6374.6155 | 6474.3476 | 6749.2055 | 6849.3413 | 7135.1082 | 7235.3479 | 7532.3542 | 7632.3601 | 7729.0236 | 7822.0593 | 7964.883 | 8076.6072 | 8156.9025 | 8232.2809 | 8302.3804 | 8366.8214 | 8430.3684 | 8492.9945 | 8554.6722 | 8615.373 | 8675.0675 | 8733.7256 | 8791.3161 | 8847.8072 | 2063.8418
Plus Book Depreciation & Amortization | 1965.28 | 2947.92 | 2947.92 | 2947.92 | 2947.92 | 2497.2427 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 2271.904 | 757.3013
Less State Tax Depreciation | -4237.1841 | -7870.3788 | -7150.9425 | -6507.2364 | -5924.1143 | -4943.3261 | -4468.0779 | -4475.651 | -4468.0779 | -4475.651 | -4468.0779 | -4475.651 | -4468.0779 | -4475.651 | -4468.0779 | -2234.039 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
State Taxable Income | 382.5633 | -949.8879 | -240.0768 | 1450.4524 | 2516.1826 | 3601.3283 | 4178.4416 | 4270.6007 | 4553.0316 | 4645.5944 | 4938.9343 | 5031.6009 | 5336.1803 | 5428.6132 | 5532.8497 | 7859.9243 | 10236.787 | 10348.5113 | 10428.8065 | 10504.185 | 10574.2844 | 10638.7254 | 10702.2724 | 10764.8986 | 10826.5762 | 10887.277 | 10946.9715 | 11005.6296 | 11063.2202 | 11119.7112 | 2821.1432
State Income Tax Rate | bar: 2001-12-30 12:00 to 2031-12-31
Current State Income Tax Expense (Benefit) | 26.7794 | -66.4922 | -16.8054 | 101.5317 | 176.1328 | 252.093 | 292.4909 | 298.942 | 318.7122 | 325.1916 | 345.7254 | 352.2121 | 373.5326 | 380.0029 | 387.2995 | 550.1947 | 716.5751 | 724.3958 | 730.0165 | 735.2929 | 740.1999 | 744.7108 | 749.1591 | 753.5429 | 757.8603 | 762.1094 | 766.288 | 770.3941 | 774.4254 | 778.3798 | 197.48
Beginning NOL's | 0 | 0 | 66.4922 | 83.2975 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New NOL's | 0 | 66.4922 | 16.8054 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Expired NOLs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NOL Utilization (8 years) | 0 | 0 | 0 | -83.2975 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending NOL's | 0 | 66.4922 | 83.2975 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL STATE TAXES UTILIZING NOLs | 26.7794 | 0 | 0 | 18.2341 | 176.1328 | 252.093 | 292.4909 | 298.942 | 318.7122 | 325.1916 | 345.7254 | 352.2121 | 373.5326 | 380.0029 | 387.2995 | 550.1947 | 716.5751 | 724.3958 | 730.0165 | 735.2929 | 740.1999 | 744.7108 | 749.1591 | 753.5429 | 757.8603 | 762.1094 | 766.288 | 770.3941 | 774.4254 | 778.3798 | 197.48
FEDERAL TAXES
State Taxable Income | 382.5633 | -949.8879 | -240.0768 | 1450.4524 | 2516.1826 | 3601.3283 | 4178.4416 | 4270.6007 | 4553.0316 | 4645.5944 | 4938.9343 | 5031.6009 | 5336.1803 | 5428.6132 | 5532.8497 | 7859.9243 | 10236.787 | 10348.5113 | 10428.8065 | 10504.185 | 10574.2844 | 10638.7254 | 10702.2724 | 10764.8986 | 10826.5762 | 10887.277 | 10946.9715 | 11005.6296 | 11063.2202 | 11119.7112 | 2821.1432
Less: State Taxes | -26.7794 | 0 | 0 | -18.2341 | -176.1328 | -252.093 | -292.4909 | -298.942 | -318.7122 | -325.1916 | -345.7254 | -352.2121 | -373.5326 | -380.0029 | -387.2995 | -550.1947 | -716.5751 | -724.3958 | -730.0165 | -735.2929 | -740.1999 | -744.7108 | -749.1591 | -753.5429 | -757.8603 | -762.1094 | -766.288 | -770.3941 | -774.4254 | -778.3798 | -197.48
Federal Taxable Income | 355.7839 | -949.8879 | -240.0768 | 1432.2183 | 2340.0498 | 3349.2353 | 3885.9507 | 3971.6587 | 4234.3194 | 4320.4027 | 4593.2089 | 4679.3889 | 4962.6477 | 5048.6103 | 5145.5502 | 7309.7296 | 9520.2119 | 9624.1155 | 9698.7901 | 9768.892 | 9834.0845 | 9894.0147 | 9953.1134 | 10011.3557 | 10068.7159 | 10125.1676 | 10180.6835 | 10235.2355 | 10288.7948 | 10341.3315 | 2623.6631
Federal Tax Rate | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35% | 35%
Federal Tax Expense/ (Benefit) | 124.5244 | -332.4608 | -84.0269 | 501.2764 | 819.0174 | 1172.2324 | 1360.0827 | 1390.0805 | 1482.0118 | 1512.141 | 1607.6231 | 1637.7861 | 1736.9267 | 1767.0136 | 1800.9426 | 2558.4054 | 3332.0742 | 3368.4404 | 3394.5765 | 3419.1122 | 3441.9296 | 3462.9051 | 3483.5897 | 3503.9745 | 3524.0506 | 3543.8087 | 3563.2392 | 3582.3324 | 3601.0782 | 3619.466 | 918.2821
Beginning NOL's | 0 | 0 | 332.4608 | 416.4876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
New NOL's | 0 | 332.4608 | 84.0269 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Expired NOLs | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
NOL Utilization (15 years) | 0 | 0 | 0 | -416.4876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Ending NOL's | 0 | 332.4608 | 416.4876 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
TOTAL STATE TAXES UTILIZING NOLs | 124.5244 | 0 | 0 | 84.7888 | 819.0174 | 1172.2324 | 1360.0827 | 1390.0805 | 1482.0118 | 1512.141 | 1607.6231 | 1637.7861 | 1736.9267 | 1767.0136 | 1800.9426 | 2558.4054 | 3332.0742 | 3368.4404 | 3394.5765 | 3419.1122 | 3441.9296 | 3462.9051 | 3483.5897 | 3503.9745 | 3524.0506 | 3543.8087 | 3563.2392 | 3582.3324 | 3601.0782 | 3619.466 | 918.2821

## IDC
PROJECT NAME:
IDC CALCULATIONS
Total Construction & Other Hard Costs (000$): |  | 29937
No. of Construction Months: |  | 8
Interest During Construction: |  | 7.83% | 0.02175%
|  | Annual | Daily (360-Day)
|  |  | Turbine Cost | Construction &
IDC Calculations |  |  | including Carry | Other Cost | Principal | Balance | Interest | Cum. Interest
Month | Date | % Drawn | (000$) | (000$) | (000$) | (000$) | (000$) | (000$)
0 | 2000-08-01 | 0% | 42781.3488 | 0 | 42781.3488 | 42781.3488 | 0 | 0
1 | 2000-09-01 | 12.5% | 0 | 3742.125 | 3742.125 | 46811.9271 | 288.4532 | 288.4532
2 | 2000-10-01 | 12.5% | 0 | 3742.125 | 3742.125 | 50859.4999 | 305.4478 | 593.9011
3 | 2000-11-01 | 12.5% | 0 | 3742.125 | 3742.125 | 54944.5451 | 342.9202 | 936.8212
4 | 2000-12-01 | 12.5% | 0 | 3742.125 | 3742.125 | 59045.1832 | 358.5132 | 1295.3344
5 | 2001-01-01 | 12.5% | 0 | 3742.125 | 3742.125 | 63185.4204 | 398.1121 | 1693.4466
6 | 2001-02-01 | 12.5% | 0 | 3742.125 | 3742.125 | 67353.5731 | 426.0277 | 2119.4742
7 | 2001-03-01 | 12.5% | 0 | 3742.125 | 3742.125 | 71505.8813 | 410.1833 | 2529.6575
8 | 2001-04-01 | 12.5% | 0 | 3742.125 | 3742.125 | 75730.1347 | 482.1284 | 3011.7859
9 | 2001-05-01 | 0% | 0 | 0 | 0 | 75730.1347 | 0 | 3011.7859
10 | 2001-06-01 | 0% | 0 | 0 | 0 | 75730.1347 | 0 | 3011.7859
11 | 2001-07-01 | 0% | 0 | 0 | 0 | 75730.1347 | 0 | 3011.7859
12 | 2001-08-01 | 0% | 0 | 0 | 0 | 75730.1347 | 0 | 3011.7859
13 | 2001-09-01 | 0% | 0 | 0 | 0 | 75730.1347 | 0 | 3011.7859
14 | 2001-10-01 | 0% | 0 | 0 | 0 | 75730.1347 | 0 | 3011.7859
15 | 2001-11-01 | 0% | 0 | 0 | 0 | 75730.1347 | 0 | 3011.7859
16 | 2001-12-01 | 0% | 0 | 0 | 0 | 75730.1347 | 0 | 3011.7859
17 | 2002-01-01 | 0% | 0 | 0 | 0 | 75730.1347 | 0 | 3011.7859
18 | 2002-02-01 | 0% | 0 | 0 | 0 | 75730.1347 | 0 | 3011.7859
19 | 2002-03-01 | 0% | 0 | 0 | 0 | 75730.1347 | 0 | 3011.7859
|  | 100% | 42781.3488 | 29937 | 72718.3488 |  | 3011.7859
TURBINE DELIVERY SCHEDULE
| UNIT | TURBINES | DELIVERY | LD'S
| NUMBER | DELIVERED | SCHEDULE | ENFORCED ON
| 1-3 | 3 | 2000-07-30 | 2000-10-30
| 4-6 | 3 | 2000-08-30 | 2000-10-30
| 7-8 | 2 | 2000-09-30 | 2000-10-30
| 9-11 | 3 | 2000-10-30 | 2000-10-30
| 12-13 | 2 | 2000-11-30 | 2000-11-30
| 14-15 | 2 | 2000-12-30 | 2000-12-30
| 16-18 | 3 | 2000-01-30 | 2000-01-30
| 19-20 | 2 | 2001-02-28 | 2001-02-28
| 21-22 | 2 | 2001-03-30 | 2001-03-30
| 23-24 | 2 | 2001-04-30 | 2001-04-30
SUMMARY (000$):
| Basis Per Turbine |  |  | 13950
| Carry Cost Per Turbine |  |  | 289.6163
| WestLB Structuring, Restructuring & Legal Fees |  |  | 20.8333
| TOTAL PRICE |  |  | 14260.4496

## Operational Characteristics
PROJECT NAME:
OPERATIONAL CHARACTERISTICS
|  | 11 | 12 | 21 | 22
CAPACITY AND HEAT RATE |  | ISO | 95* | ISO | 95*
|  | with chilling | with chilling | no chilling | no chilling
Gross Unit Capacity (MW) |  | 48.3 | 48.3 | 45.5 | 34.5
Unit Auxiliary Power (MW) | 1.5% | -0.7245 | -0.7245 | -0.6825 | -0.5175
Main Power Transformer (MW) | 0.5% | -0.2415 | -0.2415 | -0.2275 | -0.1725
Gas Compression (MW) |  | -0.24449 | -0.24449 | -0.24449 | -0.24449
Chiller Load |  | -0.2 | -1.75 | 0 | 0
Net Plant Capacity |  | 46.8895 | 45.3395 | 44.3455 | 33.5655
Heat Rate - Plant Net of GSU and Auxiliary (LHV) |  | 9072.1779 | 9382.324 | 9104.8671 | 9727.5439
Heat Rate - Plant Net of GSU and Auxiliary (LHV) |  | 9979.3957 | 10320.5564 | 10015.3538 | 10700.2983
suction press. | psig | 400
discharge press. | psig | 700
suction temp. | F | 80
compressor efficiency | % | 82%
design gas flow | MMscfd | 10
gas compressibility |  | 0.96222
compression ratio |  | 1.7567
compression power | kW | 244.4872