## Sheet1
Cinergy | CINERGY
Operator Name | Plant Name | Prime Mover | Prime Mover Group | Year | Prime Fuel | Installed Year | Percent Ownership | Year Originally Constructed | Cap. Factor % | Name Plate Capacity MW | Demonstrated Capacity MW | Non-Fuel Var O&M $/MWh | Fuel $/MWh | Total Var Cost $/MWh | Net Generation MWh | Heat Rate Btu/kWh | Valuation $/kW |  |  | Valuation $ ($mm)
PSI Energy, Inc. | Edwardsport | STEAM | ST | 1998 | COAL | 1918 | 100% | 1918 | 25.87% | 144.25 | 160 | 3.11 | 15.87 | 18.98 | 362629 | 13592 | 600 | - | 800 | 96 | - | 128
[11 empty] | 160 | [8 empty] | 96 |  | 128
Cincinnati Gas & Electric Co. | Beckjord | GAS TURB | GT | 1998 | OIL-H | 1952 | 100% | 1972 | 1.55% | 211.6 | 244.8 | 2.14 | 63.58 | 65.72 | 33240 | 19015 | 150 | - | 250 | 36.72 | - | 61.2
Cincinnati Gas & Electric Co. | Beckjord | STEAM | ST | 1998 | COAL | 1952 | 100% | 1952 | 72.8 | 1221.3 | 1135 | 0.74 | 12.44 | 13.18 | 7238067 | 10247 | 600 | - | 800 | 681 | - | 908
Cincinnati Gas & Electric Co. | Miami Fort | GAS TURB | GT | 1998 | OIL-L | 1949 | 100 | 1971 | 0.1 | 167.54 | 122 | 21.68 | 52.26 | 73.94 | 1084 | 14389 | 150 | - | 250 | 18.3 | - | 30.5
Cincinnati Gas & Electric Co. | East Bend | STEAM | ST | 1998 | COAL | 1981 | 100 | 1981 | 72.22 | 669.29 | 600 | 0.97 | 11.28 | 12.25 | 3795969 | 10264 | 600 | - | 800 | 360 | - | 480
PSI Energy, Inc. | Cayuga | INT COMB | GT | 1998 | OIL-L | 1970 | 100 | 1972 | 1.5 | 10.4 | 11 | 16.11 | 38.2 | 54.31 | 1445 | 10712 | 150 | - | 250 | 1.65 | - | 2.75
PSI Energy, Inc. | Connersville | GAS TURB | GT | 1998 | OIL-L | 1972 | 100 | 1972 | 1.03 | 83.7 | 98 | 12.94 | 51.92 | 64.86 | 8803 | 14367 | 150 | - | 250 | 14.7 | - | 24.5
PSI Energy, Inc. | Miami Wabash | INT COMB | GT | 1998 | OIL-L | 1968 | 100 | 1968 | 0.19 | 104.64 | 104 | 15.69 | 120.17 | 135.86 | 1721 | 33802 | 150 | - | 250 | 15.6 | - | 26
PSI Energy, Inc. | Wabash River | INT COMB | GT | 1998 | OIL | 1953 | 100 | 1967 | 0.79 | 8.25 | 8.25 | 11.99 | 44.78 | 56.77 | 569 | 0 | 150 | - | 250 | 1.2375 | - | 2.0625
[11 empty] | 588.05 | [8 empty] | 88.2075 | - | 147.0125
Cincinnati Gas & Electric Co. | Miami Fort | STEAM | ST | 1998 | COAL | 1949 | 100 | 1949 | 65.72 | 1377.95 | 1243 | 0.74 | 13.17 | 13.91 | 7156230 | 10123 | 600 | - | 800 | 745.8 | - | 994.4
Cincinnati Gas & Electric Co. | W.H. Zimmer | STEAM | ST | 1998 | COAL | 1991 | 100 | 1991 | 83.35 | 1425.62 | 1307 | 0.65 | 10.47 | 11.12 | 9543193 | 9744 | 600 | - | 800 | 784.2 | - | 1045.6
Cincinnati Gas & Electric Co. | Woodsdale | GAS TURB | GT | 1998 | GAS | 1992 | 100% | 1992 | 4.63% | 489.6 | 564 | 2.15 | 39.01 | 41.16 | 228897 | 17466 | 150 | - | 250 | 84.6 | - | 141
PSI Energy, Inc. | Cayuga | GAS TURB | GT | 1998 | GAS | 1970 | 100 | 1993 | 5.38 | 121 | 120 | 0.42 | 32.61 | 33.03 | 56598 | 12279 | 150 | - | 250 | 18 | - | 30
Cincinnati Gas & Electric Co. | Dicks Creek | GAS TURB | GT | 1998 | GAS | 1965 | 100 | 1965 | 2.03 | 175.64 | 105 | 3.07 | 60.1 | 63.17 | 18682 | 22578 | 150 | - | 250 | 15.75 | - | 26.25
PSI Energy, Inc. | Cayuga | STEAM | ST | 1998 | COAL | 1970 | 100 | 1970 | 64.66 | 1062 | 984 | 0.54 | 12.65 | 13.19 | 5573767 | 10250 | 600 | - | 800 | 590.4 | - | 787.2
[11 empty] | 789 | [8 empty] | 118.35 | - | 197.25
PSI Energy, Inc. | Gallagher | STEAM | ST | 1998 | COAL | 1958 | 100 | 1958 | 59.05 | 600 | 560 | 0.79 | 12.22 | 13.01 | 2896938 | 10717 | 600 | - | 800 | 336 | - | 448
PSI Energy, Inc. | Gibson | STEAM | ST | 1998 | COAL | 1975 | 100 | 1975 | 67.13 | 3339.9 | 3160.55 | 0.57 | 13.04 | 13.61 | 18585101 | 10253 | 600 | - | 800 | 1896.33 | - | 2528.44
PSI Energy, Inc. | Markland | HYDRO | HY | 1998 | WATER | 1967 | 100 | 1967 | 88.72 | 64.8 | 45 | 0.51 | 0.15 | 0.66 | 349729 | 0 | 700 | - | 800 | 31.5 | - | 36
[11 empty] | 1537.05 | [8 empty] | 302.5575 | - | 472.2625
PSI Energy, Inc. | Noblesville | STEAM | ST | 1998 | COAL | 1950 | 100 | 1950 | 40.69 | 100 | 90 | 2.25 | 16.72 | 18.97 | 320780 | 13022 | 600 | - | 800 | 54 | - | 72
PSI Energy, Inc. | Wabash River | INTEG. COAL GASIF. | ST | 1998 | COAL |  | 100% | 1995 | 52.44 | 304.5 | 262 | 5.77 | 14.03 | 19.8 | 1203631 | 11341 | 600 | - | 800 | 157200000 | - | 209600000
PSI Energy, Inc. | Wabash River | STEAM | ST | 1998 | COAL |  | 100% | 1953 | 59.44 | 860.25 | 668 | 1.15 | 12.08 | 13.23 | 3478047 | 10753 | 600 | - | 800 | 400800000 | - | 534400000
Source: RDI PowerDat 1998 Data

## Sheet2
COAL | 600 | 800
GAS | 150 | 250
OIL-H | 150 | 250
OIL-L | 150 | 250
WATER | 700 | 800