## Sheet1
Clear Sky Curtailments February 2001
Date curtailment started | Time started | Date curtailment lifted | Time lifted | Total hours | Turbines curtailed | # of turbines curtailed | Target turbine readings-start (kWH since commissioning) | Target turbine readings-finish (kWH since commissioning) | Target turbine yield (kWH) | Projected total loss (kWH) | Comments
2002-01-31 | 2400 | 2002-02-01 | 1000 | 10 | ? | 9 | 338090 | 341090 | 3000 | 27000 | CPS wanted 10 MW on 138 kV side, 5 MW on 69 kV side. 70 turbines were down due to sitewide cable splice retrofit.
2002-02-05 | 600 | 2002-02-05 | 1900 | 13 | 1,2,3,4,8,13,14,15,114. | 9 | 286051 | 302004 | 15953 | 143577 | CPS wanted 15 MW on 69 kV side. 20 turbines were down due to sitewide cable splice retrofit.
2002-02-05 | 1730 | 2002-02-05 | 2200 | 4.5 | 65,71,78,81,100,103,105,115,116,106,107,121,122,72-77,69,70. | 21 | 424115 | 427271 | 3156 | 66276 | CPS wanted 15 MW on 69 kV side.
2002-02-05 | 1900 | 2002-02-05 | 2200 | 3 | 1-5,7-9,13,14,17,18,20-23,25-30,56,59. | 24 | 28376 | 30478 | 2102 | 50448 | CPS wanted 20 MW on 138 kV side.
2002-02-09 | 2300 | 2002-02-10 | 830 | 9.5 | ? | 75 | 367478 | 383628 | 16150 | 1211250 | CPS wanted 20 MW each side
2002-02-10 | 1045 | 2002-02-10 | 1230 | 1.75 | 2,3,4,6,9,14,15,114 | 8 | 355830 | 357580 | 1750 | 14000 | CPS wanted 45 MW on 138 kV side.
2002-02-14 | 700 | 2002-02-14 | 2400 | 17 | 1-5, 7-9, 13-15, 17-27, 29-40, 60-70, 78-93. | 61 | 669369 | 692659 | 23290 | 1420690 | CPS wanted 30 MW per line.
2002-02-14 | 2400 | 2002-02-15 | 600 | 6 | 1-5, 7-9, 13-15, 17-27, 29-40, 60-70, 78-93. | 61 | 692659 | 706260 | 13601 | 829661 | CPS wanted 30 MW per line.
2002-02-15 | 600 | 2002-02-15 | 800 | 2 | 81-93 | 13 | 439707 | 441908 | 2201 | 28613 | CPS wanted 40 MW per line.
2002-02-16 | 2115 | 2002-02-16 | 2345 | 2.5 | 1-5, 7-9, 13-15, 17-31, 49-93, 108, 114, 115, 117, 118 | 75 | 132731 | 136643 | 3912 | 293400 | CPS wanted 10 MW per line
2002-02-18 | 1950 | 2002-02-18 | 2300 | 3.5 | 60,61,63-93,96 | 33 | 345600 | 351725 | 6125 | 202125 | CPS wanted 25 MW on 69kV side
2002-02-18 | 2300 | 2002-02-18 | 2400 | 1 | 84-93,96 | 11 | 351725 | 353425 | 1700 | 18700 | CPS wanted 30 MW per line.
2002-02-19 | 200 | 2002-02-19 | 430 | 2.5 | 26,27,28-32,34,36,38,40,42,45-47,51-58,80,81,83-87,89-93,96,106-108,115,117-122 | 46 | 320400 | 324650 | 4250 | 195500 | CPS wanted 30MW per line
2002-02-19 | 430 | 2002-02-19 | 830 | 4 | 26,27,28-32,34,36,38,40,42,45-47,51-58,80,81,83-87,89-93,96,106-108,115,117-122, 74-79 | 52 | 324650 | 331634 | 6984 | 363168 | Maintain 30MW per line
2002-02-19 | 830 | 2002-02-19 | 1015 | 1.75 | 26,27,28-32,34,36,38,40,42,45-47,51-58,80,81,83-87,89-93,96,106-108,115,117-122, 74-80, 2-4, 5, 7-9, 14, 21, 23, 25,26,60 | 65 | 571712 | 574261 | 2549 | 165685 | Maintain 30MW per line
2002-02-19 | 1015 | 2002-02-19 | 1415 | 4 | 26,27,28-32,34,36,38,40,42,45-47,51-58,80,81,83-87,89-93,96,106-108,115,117-122, 74-80, 2-4, 5, 7-9, 14, 21, 23, 25,26,61,108,114,115 | 68 | 574261 | 578629 | 5824 | 396032 | Maintain 30MW per line
2002-02-19 | 1415 | 2002-02-19 | 1600 | 1.75 | 26,27,28-32,34,36,38,40,42,45-47,51-58,80,81,83-87,89-93,96,106-108,115,117-122, 2-4, 5, 7-9, 14, 21, 23, 25,26,61,108,114,116 | 61 | 480101 | 481724 | 1623 | 99003 | Maintain 30MW per line
2002-02-19 | 1600 | 2002-02-19 | 2250 | 6.5 | 26,27,28-32,34,36,38,40,42,45-47,51-58,80,81,83-87,89-93,96,106-108,115,117-122, 2-4, 5, 7-9, 14, 21, 23, 25,26,61,108,114,117,41,43, 44,62,63,65,66,68,69 | 70 | 481724 | 491188 | 9464 | 662480 | Maintain 30MW per line
2/20/02 | 2400 | 2/21/02 | 200 | 2 | 108,109,113,114,115,118,119,121,122 | 9 | 502072 | 503699 | 1627 | 14643 | CPS wanted 30MW per line
2002-02-21 | 200 | 2002-02-21 | 600 | 4 | 108,109,113,114,115,118,119,121,102,122,107,100,96,93,88-91,1-5,7-9 | 26 | 503699 | 506242 | 2543 | 66118 | Maintain 30MW per line
2002-02-21 | 600 | 2002-02-21 | 630 | 0.5 | 108,109,113,114,115,118,119,121,102,122,107,100,96,93, 88-91,1-5, 7-9,13,14,15,17,18,21,23,25 27-31 | 39 | 506242 | 507194 | 952 | 37128 | Maintain 30MW per line
2002-02-21 | 630 | 2002-02-21 | 830 | 2 | 108,109,113,114,115,118,119,121,102,122,107,100,96,93, 1-5, 7-9,13,14,15,17,18,21,23,25,24 | 31 | 507194 | 508788 | 1594 | 49414 | Maintain 30MW per line
2002-02-21 | 945 | 2002-02-21 | 1045 | 1 | 1,2,3,5,7,8,9,13,14,15,18 | 11 | 683503 | 685003 | 1500 | 16500 | CPS wanted 30MW on 138kV side.
2002-02-21 | 1045 | 2002-02-21 | 1200 | 1.25 | 1,2,3,5,7,8,9,13,14,15,18,20-24,28,29,31-41,60-63,65,66,6869-70 | 27 | 685003 | 686512 | 1509 | 40743 | CPS wanted 30MW on 138kV side.
2002-02-21 | 1200 | 2002-02-21 | 1615 | 4.25 | 1,2,3,5,7,8,9,13,14,15,18,20-24,28,29,31-41,60-63,65,66,6869-70, 71-90,25,27,42,89,92,93 | 53 | 686512 | 691573 | 5061 | 268233 | CPS wanted 30 MW per line.
2002-02-21 | 1615 | 2/2/102 | 1800 | 1.75 | 31-41,81-90,25,27,42,89,92,93 | 27 | 691573 | 693663 | 2090 | 56430 | Curtailment lifted at 1800
2002-02-23 | 2015 | 2002-02-23 | 2400 | 3.75 | 1-5,7,8,13-15,17,19,20-22,24-27,29-42,61-66,69-71,73-76,79-86,89-93 | 58 | 573961 | 579698 | 5737 | 332746 | CPS wanted 30 MW per line.
2002-02-23 | 2400 | 2002-02-24 | 1830 | 6.5 | 1-5,7,8,13-15,17,19,20-22,24-27,29-42,61-66,69-71,73-76,79-86,89-93 | 58 | 579698 | 608003 | 28305 | 1641690 | Curtailment lifted at 1830
2002-02-25 | 430 | 2002-02-25 | 830 | 4 | 49-59,39-47,105,107,88-93,96,100 | 30 | 574830 | 577390 | 2560 | 76800 | CPS wanted 20MW per line
2002-02-25 | 2145 | 2002-02-25 | 2300 | 1.25 | 9,13-15,17-47,49-59,69-75,77-90,93,96,100,102-109,133-122 | 91 | 178487 | 179892 | 1405 | 127855 | CPS wanted 10MW per line
2002-02-25 | 2300 | 2002-02-25 | 2400 | 1 | 19-47,49-59,79-90,93,96,100,102-109,113-122 | 74 | 179892 | 180534 | 642 | 47508 | CPS wanted 20MW per line
2002-02-25 | 2400 | 2002-02-26 | 215 | 2.25 | 39-47,49-59,96,100,102-109,113-122 | 62 | 180534 | 183548 | 3014 | 186868 | Maintain 20MW per line
2002-02-26 | 215 | 2/26/02 | 500 | 2.75 | 39-47,49-59 | 20 | 183548 | 186581 | 3033 | 60660 | CPS wanted 30 MW per line.
2002-02-26 | 500 | 2002-02-26 | 630 | 1.5 | 39-47,49-59 | 20 | 186581 | 187612 | 1031 | 20620 | Maintain 30MW per line
2002-02-26 | 630 | 2002-02-26 | 900 | 2.5 | 39-47,49-59,4,5,7,8,113-119,121,122,9,13,14,15,17 | 38 | 187612 | 189737 | 2125 | 80750 | CPS wanted 20MW per line
2002-02-26 | 900 | 2002-02-26 | 2115 | 12.25 | ENTIRE SITE | 107 | N/A | N/A | N/A | N/A | CPS needed the entire site down, they agreed to pay us as if each turbine was at full power the entire time