## TIMES
OUTAGE RELATED
| START | GT | ST | GT | ST | GT | ST | GT | ST | GT | ST | END | GAS | STEAM | COMBINED | GT | ST | GT | ST | GT | ST | GT | ST
DATE | OF | BREAKER | BREAKER | BREAKER | BREAKER | BREAKER | BREAKER | BREAKER | BREAKER | BREAKER | BREAKER | OF | TURBINE | TURBINE | PLANT | BREAKER | BREAKER | BREAKER | BREAKER | BREAKER | BREAKER | BREAKER | BREAKER
| DAY | OPEN | OPEN | CLOSED | CLOSED | OPEN | OPEN | CLOSED | CLOSED | OPEN | OPEN | DAY | HOURS | HOURS | HOURS | OPEN | OPEN | CLOSED | CLOSED | OPEN | OPEN | CLOSED | CLOSED
2000-05-01 | 0:00 | GT: 0:12; ST: 0:15; GT: 6:45; ST: 6:45; GT: 22:14; ST: 22:15; GAS: 15:41 | 15:45 | 15:45
2000-05-02 |  |  |  | 5:45 | 5:45 | 8:28 | 8:32 | 9:49 | 9:49 | 23:13 | 23:16 | see right | 16:07 | 16:14 | 16:14 | PLANT SHUTDOWN DUE TO XNSD SPEED SENSOR FAILURE
2000-05-03 |  | GT: 5:40; ST: 5:40; GT: 23:14; ST: 23:16; GAS: 0.73194 | 0.73333 | 0.73333
2000-05-04 |  | GT: 8:40; ST: 8:41; GT: 22:07; ST: 22:10; GAS: 0.56042 | 0.56181 | 0.5625
2000-05-05 |  |  |  | 7:40 | 7:40 | 19:07 | 19:09 | 21:13 | 21:13 | 22:07 | 22:09 | see right | 12:21 | 12:25 | 12:25 | PLANT TRIP DUE TO MARK V TRIP (LOSS OF A7 STATUS)
2000-05-06 |  | GT: 9:45; ST: 9:45; GT: 22:12; ST: 22:15; GAS: 0.51875 | 0.52083 | 0.52083
2000-05-07 |  | GT: 9:45; ST: 9:45; GT: 22:12; ST: 22:15; GAS: 0.51875 | 0.52083 | 0.52083
2000-05-08 |  | GT: 6:40; ST: 6:40; GT: 22:12; ST: 22:15; GAS: 0.64722 | 0.64931 | 0.64931
2000-05-09 |  | GT: 6:40; ST: 6:40; GT: 23:13; ST: 23:16; GAS: 0.68958 | 0.69167 | 0.69167
2000-05-10 |  | GT: 5:40; ST: 5:40; GT: 23:08; ST: 23:09; GAS: 0.72778 | 0.72847 | 0.72847
2000-05-11 |  |  |  | 7:40 | 7:40 | 12:56 | 12:57 | 14:56 | 14:56 | 18:46 | 18:48 | see right | 9:06 | 9:09 | 9:09 | PLANT TRIP DUE TO MARK V TRIP (LOSS OF A7 STATUS)
2000-05-12 |  | GT: 7:40; ST: 7:40; GT: 23:17; ST: 23:19; GAS: 0.65069 | 0.65208 | 0.65208
2000-05-13 |  | GT: 7:40; ST: 7:40; GT: 23:17; ST: 23:19; GAS: 0.65069 | 0.65208 | 0.65208
2000-05-14 |  | GT: 9:40; ST: 9:40; GT: 23:14; ST: 23:15; GAS: 0.56528 | 0.56597 | 0.56597
2000-05-15 |  | GT: 4:40; ST: 4:41; GT: RAN ALL DAY; END: 24:00; GAS: 0.80556 | 0.80486 | 0.8125
2000-05-16 | 0:00 | GT: 0:08; ST: 0:10; GT: 6:40; ST: 6:40; GT: 22:17; ST: 22:19; GAS: 0.65625 | 0.65903 | 15:49
2000-05-17 |  | GT: 9:40; ST: 9:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.59722 | 0.59722 | 0.59722
2000-05-18 | 0:00 | GT: RAN ALL DAY; END: 0:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-05-19 | 0:00 | GT: 1:14; ST: 1:16; GT: 5:40; ST: 5:40; GT: 22:14; ST: 22:15; GAS: 0.74167 | 0.74375 | 0.74375
2000-05-20 |  | GT: 7:39; ST: 7:39; GT: RAN ALL DAY; END: 24:00; GAS: 0.68125 | 0.68125 | 0.68125
2000-05-21 | 0:00 | GT: 0:14; ST: 0:15; GT: 8:40; ST: 8:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.64861 | 0.64931 | 15:35
2000-05-22 | 0:00 | GT: 4:14; ST: 4:16; GT: 9:45; ST: 9:45; GT: RAN ALL DAY; END: 24:00; GAS: 0.77014 | 0.77153 | 0.77153
2000-05-23 | 0:00 | GT: 0:11; ST: 0:12; GT: 5:40; ST: 5:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.77153 | 0.77222 | 0.77222
2000-05-24 | 0:00 | GT: 5:13; ST: 5:15; GT: 7:39; ST: 7:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.89861 | 0.89931 | 0.9
2000-05-25 | 0:00 | GT: RAN ALL DAY; END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-05-26 | 0:00 | GT: 3:14; ST: 3:16; GT: 5:40; ST: 5:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.89861 | 0.9 | 0.9
2000-05-27 | 0:00 | 2:13 | 2:16 | 10:40 | 10:40 | RAN ALL DAY | TRIP - XNSD SENSOR FAILURE |  |  |  |  | 24:00 | 0.64792 | 0.65 | 0.65
2000-05-28 | 0:00 | GT: RAN ALL DAY; END: 0:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-05-29 | 0:00 | GT: 0:12; ST: 0:15; GT: 5:39; ST: 5:39; GT: 23:12; ST: 23:15; GAS: 0.73958 | 0.74375 | 17:51
2000-05-30 |  | GT: 9:40; ST: 9:40; GT: 23:13; ST: 23:16; GAS: 0.56458 | 0.56667 | 0.56667
2000-05-31 |  | GT: 6:40; ST: 6:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.72222 | 0.72222 | 0.72222
2000-06-01 | 0:00 | GT: RAN ALL DAY; END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-06-02 | 0:00 | GT: RAN ALL DAY; END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-06-03 | 0:00 | GT: 0:12; ST: 0:15; GT: 6:40; ST: 6:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.73056 | 0.73264 | 0.73264
2000-06-04 | 0:00 | GT: 0:13; ST: 0:15; GT: 7:40; ST: 7:40; GT: 22:13; ST: 22:15; GAS: 0.61528 | 0.61806 | 14:50
2000-06-05 | 0:00 | GT: 8:40; ST: 8:40; GT: 22:12; ST: 22:15; GAS: 0.56389 | 0.56597 | 0.56597
2000-06-06 |  | GT: 6:40; ST: 6:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.72222 | 0.72222 | 0.72222
2000-06-07 | 0:00 | GT: 0:13; ST: 0:15; GT: 6:40; ST: 6:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.73125 | 0.73264 | 0.73264
2000-06-08 | 0:00 | GT: RAN ALL DAY; END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-06-09 | 0:00 | GT: 0:13; ST: 0:15; GT: 6:40; ST: 6:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.73125 | 0.73264 | 0.73264
2000-06-10 | 0:00 | GT: 0:13; ST: 0:15; GT: 8:40; ST: 8:40; GT: 23:12; ST: 23:15; GAS: 0.61458 | 0.61806 | 14:50
2000-06-11 |  | GT: 9:40; ST: 9:40; GT: 23:13; ST: 23:15; GAS: 0.56458 | 0.56597 | 0.56597
2000-06-12 | 0:00 | GT: 1:40; ST: 1:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.93056 | 0.93056 | 0.93056
2000-06-13 | 0:00 | GT: RAN ALL DAY; END: 0:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-06-14 | 0:00 | GT: 0:12; ST: 0:15; GT: 4:40; ST: 4:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.81389 | 0.81597 | 0.81597
2000-06-15 | 0:00 | GT: RAN ALL DAY; GT: 22:14; ST: 22:14; GAS: 0.92639 | 0.92639 | 0.92639
2000-06-16 |  | GT: 6:40; ST: 6:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.72222 | 0.72222 | 0.72222
2000-06-17 | 0:00 | GT: 0:14; ST: 0:15; GT: 9:40; ST: 9:40; GT: 23:14; ST: 23:15; GAS: 0.575 | 0.57639 | 13:50
2000-06-18 |  | GT: 9:40; ST: 9:40; GT: 23:13; ST: 23:15; GAS: 0.56458 | 0.56597 | 0.56597
2000-06-19 |  | GT: 7:40; ST: 7:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.68056 | 0.68056 | 0.68056
2000-06-20 | 0:00 | GT: 0:12; ST: 0:15; GT: 8:40; ST: 8:40; GT: 23:14; ST: 23:15; GAS: 0.61528 | 0.61806 | 14:50
2000-06-21 |  | GT: 6:40; ST: 6:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.72222 | 0.72222 | 0.72222
2000-06-22 | 0:00 | GT: 0:14; ST: 0:15; GT: 5:40; ST: 5:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.76389 | 0.76389 | 0.76389
2000-06-23 | 0:00 | GT: 0:13; ST: 0:15; GT: 7:40; ST: 7:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.68056 | 0.68056 | 0.68056
2000-06-24 | 0:00 | GT: 0:13; ST: 0:15; GT: 9:40; ST: 9:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.60625 | 0.60764 | 0.60764
2000-06-25 | 0:00 | GT: 0:13; ST: 0:15; GT: 9:40; ST: 9:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.60625 | 0.60764 | 0.60764
2000-06-26 | 0:00 | GT: RAN ALL DAY; END: 0:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-06-27 | 0:00 | GT: RAN ALL DAY; END: 0:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-06-28 | 12:00AM | GT: RAN ALL DAY; END: 12:00AM; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-06-29 | 12:00AM | GT: RAN ALL DAY; END: 12:00AM; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-06-30 | 12:00AM | GT: RAN ALL DAY; END: 12:00AM; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-07-01 | 0:00 | GT: 0:13; ST: 0:15; GT: 7:40; ST: 7:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.68958 | 0.69097 | 0.69097
2000-07-02 | 0:00 | GT: 1:13; ST: 1:15; GT: 9:40; ST: 9:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.64792 | 0.64931 | 0.64931
2000-07-03 | 0:00 | GT: 0:13; ST: 0:15; GT: 6:40; ST: 6:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.73125 | 0.73264 | 0.73264
2000-07-04 | 0:00 | GT: 0:13; ST: 0:15; GT: 9:40; ST: 9:40; GT: 22:14; ST: 22:15; GAS: 0.53264 | 0.53472 | 12:50
2000-07-05 |  | GT: 7:40; ST: 7:40; GT: 23:15; ST: 23:15; GAS: 0.64931 | 0.64931 | 0.64931
2000-07-06 |  | GT: 9:45; ST: 9:45; GT: 22:13; ST: 22:15; GAS: 0.51944 | 0.52083 | 0.52083
2000-07-07 |  | GT: 9:40; ST: 9:40; GT: 23:13; ST: 22:15; GAS: 0.56458 | 0.52431 | 0.52431
2000-07-08 |  | GT: 9:40; ST: 9:40; GT: 23:13; ST: 23:15; GAS: 0.56458 | 0.56597 | 0.56597
2000-07-09 |  | GT: 9:45; ST: 9:45; GT: RAN ALL DAY; END: 24:00; GAS: 0.59375 | 0.59375 | 0.59375
2000-07-10 | 0:00 | GT: 3:14; ST: 3:15; GT: 9:45; ST: 9:45; GT: RAN ALL DAY; END: 24:00; GAS: 0.72847 | 0.72917 | 0.72917
2000-07-11 | 0:00 | GT: 0:14; ST: 0:15; GT: 7:40; ST: 7:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.69028 | 0.69097 | 0.69097
2000-07-12 | 0:00 | GT: 0:13; ST: 0:15; GT: 9:40; ST: 9:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.60625 | 0.60764 | 0.60764
2000-07-13 | 0:00 | GT: 0:13; ST: 0:15; GT: 8:40; ST: 8:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.64792 | 0.64931 | 0.64931
2000-07-14 | 0:00 | GT: 0:13; ST: 0:15; GT: 7:40; ST: 7:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.68958 | 0.69097 | 0.69097
2000-07-15 | 0:00 | GT: 1:13; ST: 1:15; GT: 8:40; ST: 8:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.68958 | 0.69097 | 0.69097
2000-07-16 | 0:00 | GT: 1:13; ST: 1:15; GT: 8:40; ST: 8:40; GT: 22:13; ST: 22:15; GAS: 0.61528 | 0.61806 | 14:50
2000-07-17 |  | GT: 8:40; ST: 8:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.63889 | 0.63889 | 0.63889
2000-07-18 | 0:00 | GT: RAN ALL DAY; END: 0:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-07-19 | 0:00 | GT: RAN ALL DAY; END: 0:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-07-20 | 0:00 | GT: RAN ALL DAY; END: 0:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-07-21 | 0:00 | GT: 1:13; ST: 1:15; GT: 6:40; ST: 6:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.77292 | 0.77431 | 0.77431
2000-07-22 | 0:00 | GT: 2:13; ST: 2:15; GT: 7:40; ST: 7:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.77292 | 0.77431 | 0.77431
2000-07-23 | 0:00 | GT: 0:13; ST: 0:15; GT: 9:40; ST: 9:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.60625 | 0.60764 | 0.60764
2000-07-24 | 0:00 | GT: RAN ALL DAY; END: 0:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-07-25 | 0:00 | GT: RAN ALL DAY; END: 0:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-07-26 | 0:00 | GT: RAN ALL DAY; END: 0:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-07-27 | 0:00 | GT: 0:14; ST: 0:15; GT: 7:40; ST: 7:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.69028 | 0.69097 | 0.69097
2000-07-28 | 0:00 | GT: 1:13; ST: 1:15; GT: 4:40; ST: 4:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.85625 | 0.85764 | 0.85764
2000-07-29 | 0:00 | GT: 1:13; ST: 1:15; GT: 7:40; ST: 7:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.73125 | 0.73264 | 0.73264
2000-07-30 | 0:00 | GT: 0:13; ST: 0:15; GT: 8:40; ST: 8:40; GT: 23:13; ST: 23:15; GAS: 0.61528 | 0.61806 | 14:50
2000-07-31 |  | GT: 6:40; ST: 6:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.72222 | 0.72222 | 0.72222
2000-08-01 | 0:00 | GT: 1:15; ST: 1:15; GT: 6:40; ST: 6:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.77431 | 0.77431 | 0.77431
2000-08-02 | 0:00 | GT: RAN ALL DAY; END: 0:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-08-03 | 0:00 | GT: 2:15; ST: 2:15; GT: 4:40; ST: 4:40; GT: 23:15; ST: 23:15; GAS: 0.86806 | 0.86806 | 20:50
2000-08-04 |  | GT: 8:40; ST: 8:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.63889 | 0.63889 | 0.63889
2000-08-05 | 0:00 | GT: 2:13; ST: 2:15; GT: 7:40; ST: 7:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.77292 | 0.77431 | 0.77431
2000-08-06 | 0:00 | GT: 0:15; ST: 0:15; GT: 7:40; ST: 7:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.69097 | 0.69097 | 0.69097
2000-08-07 | 0:00 | GT: 0:15; ST: 0:15; GT: 4:40; ST: 4:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.81597 | 0.81597 | 0.81597
2000-08-08 | 0:00 | GT: 0:15; ST: 0:15; GT: 6:40; ST: 6:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.73264 | 0.73264 | 0.73264
2000-08-09 | 0:00 | GT: 0:15; ST: 0:15; GT: 5:40; ST: 5:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.77431 | 0.77431 | 0.77431
2000-08-10 | 0:00 | GT: 0:15; ST: 0:15; GT: 5:40; ST: 5:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.77431 | 0.77431 | 0.77431
2000-08-11 | 0:00 | GT: 1:15; ST: 1:15; GT: 5:40; ST: 5:40; GT: RAN ALL DAY; END: 24:00; GAS: 0.81597 | 0.81597 | 0.81597
2000-08-12 | 0:00 | GT: 0:13; ST: 0:15; GT: 6:40; ST: 6:40; GT: 23:15; ST: 23:15; GAS: 0.7 | 0.70139 | 16:50
2000-08-13 |  | GT: 8:15; ST: 8:15; GT: RAN ALL DAY; END: 24:00; GAS: 0.65625 | 0.65625 | 0.65625
2000-08-14 | 0:00 | GT: 0:13; ST: 0:15; GT: 6:40; ST: 6:40; GT: 22:15; ST: 22:15; GAS: 0.65833 | 0.65972 | 15:50
2000-08-15 |  | GT: 5 - HOUR FORCED OUTAGE (TUBE LEAK); GT: 8:15; ST: 8:15; GT: RAN ALL DAY; END: 24:00; GAS: #VALUE! | 0.65625 | 0.65625
2000-09-09 |  | GAS: 0 | 0 | 0
2000-09-10 |  | GAS: 0 | 0 | 0
2000-09-11 |  | GAS: 0 | 0 | 0
2000-09-12 |  | GAS: 0 | 0 | 0
2000-09-13 |  | GAS: 0 | 0 | 0
2000-09-14 |  | GAS: 0 | 0 | 0
2000-09-15 |  | GAS: 0 | 0 | 0
2000-09-16 |  | GAS: 0 | 0 | 0
2000-09-17 |  | GAS: 0 | 0 | 0
2000-09-18 |  | GAS: 0 | 0 | 0
2000-09-19 |  | GAS: 0 | 0 | 0
2000-09-20 |  | GAS: 0 | 0 | 0
2000-09-21 |  | GAS: 0 | 0 | 0
2000-09-22 |  | GAS: 0 | 0 | 0
2000-09-23 |  | GAS: 0 | 0 | 0
2000-09-24 |  | GAS: 0 | 0 | 0
2000-09-25 |  | GAS: 0 | 0 | 0
2000-09-26 |  | GAS: 0 | 0 | 0
2000-09-27 |  | GAS: 0 | 0 | 0
2000-09-28 |  | GAS: 0 | 0 | 0
2000-09-29 |  | GAS: 0 | 0 | 0
2000-09-30 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-01 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-02 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-03 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-04 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-05 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-06 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-07 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-08 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-09 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-10 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-11 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-12 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-13 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-14 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-15 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-16 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-17 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-10-18 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 1899-12-31 | 0.8125 | 1899-12-31
2000-10-19 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-10-20 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-10-21 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-10-22 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-10-23 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-10-24 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-10-25 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-10-26 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-10-27 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-10-28 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-10-29 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-10-30 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-10-31 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-01 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-02 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-03 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-04 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-05 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-06 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-07 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-08 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-09 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-10 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-11 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-12 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-13 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-14 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-15 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-16 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 0 | 0 | 0
2000-11-17 | 0:00 | GT: RAN ALL DAY THROUGH THE OFFPEAK; END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-11-18 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-11-19 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-11-20 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-11-21 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-11-22 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-11-23 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-11-24 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-11-25 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-11-26 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-11-27 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-11-28 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-11-29 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-11-30 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-01 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-02 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-03 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-04 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-05 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-06 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-07 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-08 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-09 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-10 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-11 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-12 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-13 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-14 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-15 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-16 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-17 | 0:00 | END: 24:00; GAS: 0 | 0 | 0
2000-12-18 | 0:00 | END: 24:00; GAS: 0 | 0 | 0
2000-12-19 | 0:00 | END: 24:00; GAS: 0 | 0 | 0
2000-12-20 | 0:00 | END: 24:00; GAS: 0 | 0 | 0
2000-12-21 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-22 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-23 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-24 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-25 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-26 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-27 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-28 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-29 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-30 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
2000-12-31 | 0:00 | END: 24:00; GAS: 1899-12-31 | 1899-12-31 | 1899-12-31
TOTAL HOURS |  | GAS: #VALUE! | 1900-05-15 21:02 | 1900-05-16 01:45
Formulas:
STEAM = ([BREAKER]-[START])+([BREAKER]-[BREAKER])+([OF]-[BREAKER])
STEAM = ([OF]-[BREAKER])
COMBINED = ([BREAKER]-[START])+([BREAKER]-[BREAKER])+([OF]-[BREAKER])
COMBINED = ([BREAKER]-[START])+([BREAKER, row below]-[BREAKER])+([OF]-[BREAKER])