## Payment
Double Layered Case - $0.0365 @ $2.42
Fuel cost of power @ 100% LF, 25% peaks hit
Gas heat rates
Base rate, 0-25% load factor
|  | Gas volume | 2978.4 | MMBtu/d
|  | Heat rate | 49640 | Btu/hp-hr
Variable rate, 25% load factor +
|  | Gas volume | 1092.6 | MMBtu/d
|  | Heat rate | 6070 | Btu/hp-hr
| Total Mmbtu/d |  | 4071
Fuel cost of power @ 100% LF, 25% peaks hit
|  | Gas volume | 1485915 | MMBtu
|  | Value of gas | 3595914.3
Less:
|  | O&M | 150000
|  | Rebate | 999332.3425
|  | Value of Gas Stream | 369185.2382
|  | Fuel cost | 2077396.7193
|  | kW hours | 68689085.1735
|  | $/kWh | 0.030243
Year One Payment:
|  | Value Creation | 55141.4085
|  | ECS Adder | 500000
|  | Monetization | 2298454.1932
|  | ECS Option | 0
|  | Total | 2853595.6017
| Total |  | 2853595.6017

## Sheet2
per | hp date | gas start | gas end | days | Year | disc gas val | disc net m-m | disc basis | disc xport
0 | 2000-03-31 | 2000-03-01
1 | 2000-05-01 | 2000-07-01 | 2000-07-31 | 31 | 0.41667 | 30134.6537 | 722.9499 | 0 | 6064.3722
2 | 2000-06-01 | 2000-08-01 | 2000-08-31 | 31 | 0.5 | 29896.2567 | 717.2306 | 0 | 6016.3966
3 | 2000-07-01 | 2000-09-01 | 2000-09-30 | 30 | 0.58056 | 28710.5799 | 688.7855 | 0 | 5777.7881
4 | 2000-08-01 | 2000-10-01 | 2000-10-31 | 31 | 0.66667 | 29425.1058 | 705.9274 | 0 | 5921.581
5 | 2000-09-01 | 2000-11-01 | 2000-11-30 | 30 | 0.74722 | 28258.1147 | 677.9305 | 0 | 5686.7329
6 | 2000-10-01 | 2000-12-01 | 2000-12-31 | 31 | 0.83333 | 28961.38 | 694.8023 | 0 | 5828.2597
7 | 2000-11-01 | 2001-01-01 | 2001-01-31 | 31 | 0.91667 | 28732.2649 | 689.3057 | 0 | 5782.152
8 | 2000-12-01 | 2001-02-01 | 2001-02-28 | 28 | 0.99167 | 25766.8749 | 618.1641 | 0 | 5185.3896
9 | 2001-01-01 | 2001-03-01 | 2001-03-31 | 31 | 1.0833 | 28279.458 | 678.4426 | 0 | 5691.028
10 | 2001-02-01 | 2001-04-01 | 2001-04-30 | 30 | 1.1639 | 27157.9029 | 651.5357 | 0 | 5465.3235
11 | 2001-03-01 | 2001-05-01 | 2001-05-31 | 31 | 1.25 | 27833.7871 | 667.7506 | 0 | 5601.3401
12 | 2001-04-01 | 2001-06-01 | 2001-06-30 | 30 | 1.3306 | 26729.9072 | 641.2678 | 0 | 5379.1926
13 | 2001-05-01 | 2001-07-01 | 2001-07-31 | 31 | 1.4167 | 27395.1397 | 657.2272 | 0 | 5513.0656
14 | 2001-06-01 | 2001-08-01 | 2001-08-31 | 31 | 1.5 | 27178.4152 | 652.0278 | 0 | 5469.4515
15 | 2001-07-01 | 2001-09-01 | 2001-09-30 | 30 | 1.5806 | 26100.5272 | 626.1686 | 0 | 5252.5346
16 | 2001-08-01 | 2001-10-01 | 2001-10-31 | 31 | 1.6667 | 26750.0962 | 641.7522 | 0 | 5383.2555
17 | 2001-09-01 | 2001-11-01 | 2001-11-30 | 30 | 1.7472 | 25689.1952 | 616.3005 | 0 | 5169.7571
18 | 2001-10-01 | 2001-12-01 | 2001-12-31 | 31 | 1.8333 | 26328.5273 | 631.6385 | 0 | 5298.4179
19 | 2001-11-01 | 2002-01-01 | 2002-01-31 | 31 | 1.9167 | 26120.2408 | 626.6415 | 0 | 5256.5018
20 | 2001-12-01 | 2002-02-01 | 2002-02-28 | 28 | 1.9917 | 23424.4317 | 561.9673 | 0 | 4713.9905
21 | 2002-01-01 | 2002-03-01 | 2002-03-31 | 31 | 2.0833 | 25708.5982 | 616.766 | 0 | 5173.6618
22 | 2002-02-01 | 2002-04-01 | 2002-04-30 | 30 | 2.1639 | 24689.0026 | 592.3052 | 0 | 4968.4759
23 | 2002-03-01 | 2002-05-01 | 2002-05-31 | 31 | 2.25 | 25303.4428 | 607.046 | 0 | 5092.1274
24 | 2002-04-01 | 2002-06-01 | 2002-06-30 | 30 | 2.3306 | 24299.9156 | 582.9708 | 0 | 4890.1751
25 | 2002-05-01 | 2002-07-01 | 2002-07-31 | 31 | 2.4167 | 24904.6725 | 597.4793 | 0 | 5011.8779
26 | 2002-06-01 | 2002-08-01 | 2002-08-31 | 31 | 2.5 | 24707.6502 | 592.7526 | 0 | 4972.2286
27 | 2002-07-01 | 2002-09-01 | 2002-09-30 | 30 | 2.5806 | 23727.752 | 569.2442 | 0 | 4775.0315
28 | 2002-08-01 | 2002-10-01 | 2002-10-31 | 31 | 2.6667 | 24318.2693 | 583.4111 | 0 | 4893.8686
29 | 2002-09-01 | 2002-11-01 | 2002-11-30 | 30 | 2.7472 | 23353.8138 | 560.2732 | 0 | 4699.7792
30 | 2002-10-01 | 2002-12-01 | 2002-12-31 | 31 | 2.8333 | 23935.0248 | 574.2168 | 0 | 4816.7436
31 | 2002-11-01 | 2003-01-01 | 2003-01-31 | 31 | 2.9167 | 23745.6735 | 569.6741 | 0 | 4778.638
32 | 2002-12-01 | 2003-02-01 | 2003-02-28 | 28 | 2.9917 | 21294.9379 | 510.8794 | 0 | 4285.4459
33 | 2003-01-01 | 2003-03-01 | 2003-03-31 | 31 | 3.0833 | 23371.4529 | 560.6963 | 0 | 4703.329
34 | 2003-02-01 | 2003-04-01 | 2003-04-30 | 30 | 3.1639 | 22444.5479 | 538.4593 | 0 | 4516.7963
35 | 2003-03-01 | 2003-05-01 | 2003-05-31 | 31 | 3.25 | 23003.1298 | 551.86 | 0 | 4629.2067
36 | 2003-04-01 | 2003-06-01 | 2003-06-30 | 30 | 3.3306 | 22090.8324 | 529.9734 | 0 | 4445.6137
37 | 2003-05-01 | 2003-07-01 | 2003-07-31 | 31 | 3.4167 | 22640.6113 | 543.163 | 0 | 4556.2526
38 | 2003-06-01 | 2003-08-01 | 2003-08-31 | 31 | 3.5 | 22461.5002 | 538.866 | 0 | 4520.2078
39 | 2003-07-01 | 2003-09-01 | 2003-09-30 | 30 | 3.5806 | 21570.6836 | 517.4947 | 0 | 4340.9377
40 | 2003-08-01 | 2003-10-01 | 2003-10-31 | 31 | 3.6667 | 22107.5175 | 530.3737 | 0 | 4448.9715
41 | 2003-09-01 | 2003-11-01 | 2003-11-30 | 30 | 3.7472 | 21230.7398 | 509.3392 | 0 | 4272.5266
42 | 2003-10-01 | 2003-12-01 | 2003-12-31 | 31 | 3.8333 | 21759.1135 | 522.0153 | 0 | 4378.8578
43 | 2003-11-01 | 2004-01-01 | 2004-01-31 | 31 | 3.9167 | 21586.9759 | 517.8856 | 0 | 4344.2164
44 | 2003-12-01 | 2004-02-01 | 2004-02-29 | 29 | 3.9944 | 20045.1209 | 480.8955 | 0 | 4033.9297
45 | 2004-01-01 | 2004-03-01 | 2004-03-31 | 31 | 4.0833 | 21246.7753 | 509.7239 | 0 | 4275.7536
46 | 2004-02-01 | 2004-04-01 | 2004-04-30 | 30 | 4.1639 | 20404.1344 | 489.5084 | 0 | 4106.1785
47 | 2004-03-01 | 2004-05-01 | 2004-05-31 | 31 | 4.25 | 20911.9362 | 501.6909 | 0 | 4208.3697
48 | 2004-04-01 | 2004-06-01 | 2004-06-30 | 30 | 4.3306 | 20082.5749 | 481.794 | 0 | 4041.467
49 | 2004-05-01 | 2004-07-01 | 2004-07-31 | 31 | 4.4167 | 20582.3739 | 493.7845 | 0 | 4142.0478
50 | 2004-06-01 | 2004-08-01 | 2004-08-31 | 31 | 4.5 | 20419.5456 | 489.8782 | 0 | 4109.2798
51 | 2004-07-01 | 2004-09-01 | 2004-09-30 | 30 | 4.5806 | 19609.7124 | 470.4497 | 0 | 3946.307
52 | 2004-08-01 | 2004-10-01 | 2004-10-31 | 31 | 4.6667 | 20097.7432 | 482.1579 | 0 | 4044.5195
53 | 2004-09-01 | 2004-11-01 | 2004-11-30 | 30 | 4.7472 | 19300.6726 | 463.0357 | 0 | 3884.1151
54 | 2004-10-01 | 2004-12-01 | 2004-12-31 | 31 | 4.8333 | 19781.0123 | 474.5593 | 0 | 3980.7798
55 | 2004-11-01 | 2005-01-01 | 2005-01-31 | 31 | 4.9167 | 19624.5235 | 470.8051 | 0 | 3949.2876
56 | 2004-12-01 | 2005-02-01 | 2005-02-28 | 28 | 4.9917 | 17599.1222 | 422.2144 | 0 | 3541.6909
57 | 2005-01-01 | 2005-03-01 | 2005-03-31 | 31 | 5.0833 | 19315.2503 | 463.3854 | 0 | 3887.0487
58 | 2005-02-01 | 2005-04-01 | 2005-04-30 | 30 | 5.1639 | 18549.2131 | 445.0077 | 0 | 3732.8895
59 | 2005-03-01 | 2005-05-01 | 2005-05-31 | 31 | 5.25 | 19010.8511 | 456.0827 | 0 | 3825.7907
60 | 2005-04-01 | 2005-06-01 | 2005-06-30 | 30 | 5.3306 | 18256.8863 | 437.9946 | 0 | 3674.0609
61 | 2005-05-01 | 2005-07-01 | 2005-07-31 | 31 | 5.4167 | 18711.249 | 448.895 | 0 | 3765.498
62 | 2005-06-01 | 2005-08-01 | 2005-08-31 | 31 | 5.5 | 18563.2233 | 445.3438 | 0 | 3735.7089
63 | 2005-07-01 | 2005-09-01 | 2005-09-30 | 30 | 5.5806 | 17827.0113 | 427.6816 | 0 | 3587.5518
64 | 2005-08-01 | 2005-10-01 | 2005-10-31 | 31 | 5.6667 | 18270.6756 | 438.3254 | 0 | 3676.8359
65 | 2005-09-01 | 2005-11-01 | 2005-11-30 | 30 | 5.7472 | 17546.066 | 420.9415 | 0 | 3531.0137
66 | 2005-10-01 | 2005-12-01 | 2005-12-31 | 31 | 5.8333 | 17982.7384 | 431.4176 | 0 | 3618.8907
67 | 2005-11-01 | 2006-01-01 | 2006-01-31 | 31 | 5.9167 | 17840.476 | 428.0046 | 0 | 3590.2615
68 | 2005-12-01 | 2006-02-01 | 2006-02-28 | 28 | 5.9917 | 15999.202 | 383.8312 | 0 | 3219.719
69 | 2006-01-01 | 2006-03-01 | 2006-03-31 | 31 | 6.0833 | 17559.3185 | 421.2595 | 0 | 3533.6807
70 | 2006-02-01 | 2006-04-01 | 2006-04-30 | 30 | 6.1639 | 16862.921 | 404.5524 | 0 | 3393.5359
71 | 2006-03-01 | 2006-05-01 | 2006-05-31 | 31 | 6.25 | 17282.5919 | 414.6206 | 0 | 3477.9915
72 | 2006-04-01 | 2006-06-01 | 2006-06-30 | 30 | 6.3306 | 16597.1693 | 398.1769 | 0 | 3340.0554
73 | 2006-05-01 | 2006-07-01 | 2006-07-31 | 31 | 6.4167 | 17010.2264 | 408.0864 | 0 | 3423.18
74 | 2006-06-01 | 2006-08-01 | 2006-08-31 | 31 | 6.5 | 16875.6575 | 404.858 | 0 | 3396.099
75 | 2006-07-01 | 2006-09-01 | 2006-09-30 | 30 | 6.5806 | 16206.3739 | 388.8014 | 0 | 3261.4107
76 | 2006-08-01 | 2006-10-01 | 2006-10-31 | 31 | 6.6667 | 16609.7051 | 398.4776 | 0 | 3342.5781
77 | 2006-09-01 | 2006-11-01 | 2006-11-30 | 30 | 6.7472 | 15950.9691 | 382.6741 | 0 | 3210.0124
78 | 2006-10-01 | 2006-12-01 | 2006-12-31 | 31 | 6.8333 | 16347.944 | 392.1978 | 0 | 3289.9007
79 | 2006-11-01 | 2007-01-01 | 2007-01-31 | 31 | 6.9167 | 16218.6145 | 389.0951 | 0 | 3263.8741
80 | 2006-12-01 | 2007-02-01 | 2007-02-28 | 28 | 6.9917 | 14544.7291 | 348.9375 | 0 | 2927.0172
81 | 2007-01-01 | 2007-03-01 | 2007-03-31 | 31 | 7.0833 | 15963.0168 | 382.9631 | 0 | 3212.437
82 | 2007-02-01 | 2007-04-01 | 2007-04-30 | 30 | 7.1639 | 15329.9282 | 367.7749 | 0 | 3085.0326
83 | 2007-03-01 | 2007-05-01 | 2007-05-31 | 31 | 7.25 | 15711.4472 | 376.9278 | 0 | 3161.8105
84 | 2007-04-01 | 2007-06-01 | 2007-06-30 | 30 | 7.3306 | 15088.3358 | 361.979 | 0 | 3036.414
85 | 2007-05-01 | 2007-07-01 | 2007-07-31 | 31 | 7.4167 | 15463.8422 | 370.9876 | 0 | 3111.9818
86 | 2007-06-01 | 2007-08-01 | 2007-08-31 | 31 | 7.5 | 15341.5068 | 368.0527 | 0 | 3087.3628
87 | 2007-07-01 | 2007-09-01 | 2007-09-30 | 30 | 7.5806 | 14733.0672 | 353.4558 | 0 | 2964.9189
88 | 2007-08-01 | 2007-10-01 | 2007-10-31 | 31 | 7.6667 | 15099.7319 | 362.2524 | 0 | 3038.7074
89 | 2007-09-01 | 2007-11-01 | 2007-11-30 | 30 | 7.7472 | 14500.881 | 347.8855 | 0 | 2918.1931
90 | 2007-10-01 | 2007-12-01 | 2007-12-31 | 31 | 7.8333 | 14861.7673 | 356.5434 | 0 | 2990.8188
91 | 2007-11-01 | 2008-01-01 | 2008-01-31 | 31 | 7.9167 | 14744.195 | 353.7228 | 0 | 2967.1583
92 | 2007-12-01 | 2008-02-01 | 2008-02-29 | 29 | 7.9944 | 13691.0873 | 328.4581 | 0 | 2755.2282
93 | 2008-01-01 | 2008-03-01 | 2008-03-31 | 31 | 8.0833 | 14511.8334 | 348.1483 | 0 | 2920.3972
94 | 2008-02-01 | 2008-04-01 | 2008-04-30 | 30 | 8.1639 | 13936.2984 | 334.3408 | 0 | 2804.5751
95 | 2008-03-01 | 2008-05-01 | 2008-05-31 | 31 | 8.25 | 14283.1338 | 342.6617 | 0 | 2874.3732
96 | 2008-04-01 | 2008-06-01 | 2008-06-30 | 30 | 8.3306 | 13716.6689 | 329.0718 | 0 | 2760.3764
97 | 2008-05-01 | 2008-07-01 | 2008-07-31 | 31 | 8.4167 | 14058.0383 | 337.2615 | 0 | 2829.0744
98 | 2008-06-01 | 2008-08-01 | 2008-08-31 | 31 | 8.5 | 13946.8244 | 334.5934 | 0 | 2806.6934
99 | 2008-07-01 | 2008-09-01 | 2008-09-30 | 30 | 8.5806 | 13393.6974 | 321.3235 | 0 | 2695.3808
100 | 2008-08-01 | 2008-10-01 | 2008-10-31 | 31 | 8.6667 | 13727.029 | 329.3203 | 0 | 2762.4613
101 | 2008-09-01 | 2008-11-01 | 2008-11-30 | 30 | 8.7472 | 13182.6191 | 316.2596 | 0 | 2652.9028
102 | 2008-10-01 | 2008-12-01 | 2008-12-31 | 31 | 8.8333 | 13510.6975 | 324.1304 | 0 | 2718.9262
103 | 2008-11-01 | 2009-01-01 | 2009-01-31 | 31 | 8.9167 | 13403.8136 | 321.5662 | 0 | 2697.4166
104 | 2008-12-01 | 2009-02-01 | 2009-02-28 | 28 | 8.9917 | 12020.4373 | 288.3781 | 0 | 2419.0225
105 | 2009-01-01 | 2009-03-01 | 2009-03-31 | 31 | 9.0833 | 13192.5759 | 316.4985 | 0 | 2654.9066
106 | 2009-02-01 | 2009-04-01 | 2009-04-30 | 30 | 9.1639 | 12669.3621 | 303.9462 | 0 | 2549.6138
107 | 2009-03-01 | 2009-05-01 | 2009-05-31 | 31 | 9.25 | 12984.6671 | 311.5106 | 0 | 2613.0665
108 | 2009-04-01 | 2009-06-01 | 2009-06-30 | 30 | 9.3306 | 12469.699 | 299.1562 | 0 | 2509.433
109 | 2009-05-01 | 2009-07-01 | 2009-07-31 | 31 | 9.4167 | 12780.0349 | 306.6013 | 0 | 2571.8858
110 | 2009-06-01 | 2009-08-01 | 2009-08-31 | 31 | 9.5 | 12678.9313 | 304.1758 | 0 | 2551.5395
111 | 2009-07-01 | 2009-09-01 | 2009-09-30 | 30 | 9.5806 | 12176.0886 | 292.1123 | 0 | 2450.3462
112 | 2009-08-01 | 2009-10-01 | 2009-10-31 | 31 | 9.6667 | 12479.1173 | 299.3821 | 0 | 2511.3284
113 | 2009-09-01 | 2009-11-01 | 2009-11-30 | 30 | 9.7472 | 11984.1991 | 287.5087 | 0 | 2411.7299
114 | 2009-10-01 | 2009-12-01 | 2009-12-31 | 31 | 9.8333 | 12282.4523 | 294.664 | 0 | 2471.7511
115 | 2009-11-01 | 2010-01-01 | 2010-01-31 | 31 | 9.9167 | 12185.2851 | 292.3329 | 0 | 2452.1969
116 | 2009-12-01 | 2010-02-01 | 2010-02-28 | 28 | 9.9917 | 10927.6703 | 262.1619 | 0 | 2199.1114
117 | 2010-01-01 | 2010-03-01 | 2010-03-31 | 31 | 10.0833 | 11993.2508 | 287.7259 | 0 | 2413.5514
118 | 2010-02-01 | 2010-04-01 | 2010-04-30 | 30 | 10.1639 | 11517.6019 | 276.3147 | 0 | 2317.8307
119 | 2010-03-01 | 2010-05-01 | 2010-05-31 | 31 | 10.25 | 11804.2428 | 283.1914 | 0 | 2375.515
120 | 2010-04-01 | 2010-06-01 | 2010-06-30 | 30 | 10.3306 | 11336.09 | 271.9602 | 0 | 2281.3028
[5 empty] | NPV | 2298454.1932 | 55141.4085 | 0 | 462546.6039
Formulas:
gas start = EOMONTH([hp date],-1)+1
gas start = EOMONTH([hp date],1)+1
gas end = EOMONTH([gas start],0)
hp date = EOMONTH([hp date, row above],0)+1

## Sheet3
Volumes at 100% LF:
0-25% base load |  | 2978.4 | /d
25%-95% var load |  | 1092.6 | /d
0-95% energy load |  | 1456.8 | /d
Fixed gas (non-var) |  | 2614.2 | /d
| O&M Expense |  | 410.9589 | /d | 169.8177 | MMBtu/d
| 10MW Demand |  | 4261.0465 | /d | 1760.763 | MMBtu/d
| Cust Charge |  | 36.6429 | /d | 15.1417 | MMBtu/d
| ECS Profit |  | 606.2493 | /d | 250.5162 | MMBtu/d
| TW Gas stream |  |  |  | 417.9613 | MMBtu/d
| Markable Gas |  |  |  | 668.4776 | MMBtu/d
| Basis on Fixed gas |  |  |  | 2614.2 | MMBtu/d
| Total gas flow |  |  |  | 4071 | MMBtu/d
| Max total possible flow (xport) |  |  |  | 4071 | MMBtu/d