## H2OANAL
FILE: | H2ODATA1.XLS |  | DATE: | 2025-09-26 22:33 | PAGE
PROJECT: |  |  | TIME: | 45926.9395 | 1
ENGINEER: | W.R. WEIR |  | RANGE: | A1:H55 | OF 1
THIS SPREADSHEET TABULATES WATER QUALITY DATA REQUIRED FOR TREATMENT
SYSTEM DESIGN.
`
WATER ANALYSIS:
SOURCE: |  | CIty Well River Lake Treated Wastewater Discharge
DATE:
Enter values in either | Ion | CaCO3
mg/L concentration or | Conc | Equilv
CaCO3 equivalent | mg/L | mg/L
Hardness
Total Hardness
Carbonate Hardness
Noncarbonate Hardness
M Alkalinity
P Alkalinity
Cations
Sodium, Na
Calcium, Ca
Magnesium, Mg
Manganese, Mn
Potassium, K
Iron, Fe
Ammonia, NH3
Copper, Cu
Barium, Ba
Strontium, Sr
Zinc, Zn
Anions
Chloride, Cl
Free Chlorine, Cl
Sulfate, SO4
Hydroxide, OH
Bicarbonate, HCO3
Carbonate, CO3
Floride, F
Phosphate, PO4
Nitrate, NO4
Other
Suspended Solids
Turbidity, NTUs
Silt Density Index
pH
Carbon Dioxide, CO2
Silica, SiO2
Total Organic Carbon
Conductivity, umhos