## Sheet1
Clear Sky Curtailments January 2001
Date curtailment started | Time started | Date curtailment lifted | Time lifted | Total hours | Turbines curtailed | # of turbines curtailed | Target turbine readings-start (kWH since commissioning) | Target turbine readings-finish (kWH since commissioning) | Target turbine yield (kWH) | Projected total loss (kWH) | Comments
2002-01-22 | 2300 | 2002-01-22 | 2400 | 1 | 1-5,7-9,13-15,17-41,60-66,68-93,96,115,116 | 72 | 153647 | 155177 | 1530 | 110160 | CPS wanted 10 MW per line.
2002-01-22 | 2400 | 2002-01-23 | 600 | 6 | 1-5,7-9,13-15,17-32,100,102-105,108,109,118,119,120,79-93,96 | 53 | 155177 | 162677 | 7500 | 397500 | CPS wanted 20 MW per line
2002-01-23 | 2200 | 2002-01-23 | 2400 | 2 | 1-5,7-9,13-15,17-40,60-66,68-93,96,115 | 70 | 24025 | 24637 | 612 | 42840 | CPS wanted 20 MW per line
2002-01-23 | 2400 | 2002-01-24 | 600 | 6 | 1-5,7-9,13-15,17-40,60-66,68-93,96,115 | 70 | 24637 | 29137 | 4500 | 315000 | CPS wanted 10 MW per line
2002-01-26 | 1830 | 2002-01-26 | 2400 | 5.5 | 1,7-9,13-15,17-32,100,102-105,108,79-93,96 | 45 | 134250 | 139997 | 5747 | 258615 | CPS wanted 20 MW per line
2002-01-27 | 2400 | 2002-01-27 | 400 | 4 | 1,7-9,13-15,17-32,100,102-105,108,79-93,96, 118,119 | 47 | 139997 | 144197 | 4200 | 197400 | CPS wanted 20 MW per line
2002-01-27 | 400 | 2002-01-27 | 600 | 2 | 1-5,7-9,13-15,17-32,100,102-105,108,109,118,119,120,79-93,96,70,71 | 55 | 144197 | 146297 | 2100 | 115500 | CPS wanted 15 MW per line.
2002-01-28 | 1830 | 2002-01-28 | 2400 | 5.5 | 1-5,7-9,13-15,17-41,60-66,68-93,96,115,116,49,50,51,52 | 76 | 289214 | 297354 | 8140 | 618640 | CPS wanted 10 MW per line
2002-01-28 | 2400 | 2002-01-29 | 6:00 | 6 | 1-5,7-9,13-15,17-32,100,102-105,108,109,118,119,120,79-93,96,70-78 | 62 | 297354 | 306234 | 8880 | 550560 | Upgraded to 20 MW per line
2002-01-29 | 600 | 2002-01-29 | 1030 | 3.5 | 1-5,7-9,13-15,17-40,60-66,68-93,96 | 69 | 306234 | 312894 | 6660 | 459540 | Cut back to 15 MW per line
2002-01-29 | 1030 | 2002-01-29 | 1930 | 9 | 1-5,7-9,13-15,17-40,60-66,68-93,96 | 69 | 312894 | 326214 | 13320 | 919080 | Maintained 15 MW per line
2002-01-29 | 1930 | 2002-01-29 | 2300 | 3.5 | 63-66,68,106,107 | 7 | 326214 | 331398 | 5184 | 36288 | 90 turbines were down due to splice retrofit.
2002-01-31 | 600 | 2002-01-31 | 2400 | 18 | 63-66,68,106,107,1-5,7-9,13-15,17-28 | 30 | 310550 | 338090 | 27540 | 826200 | 70 turbines were down due to splice retrofit.