## material P
PO Type Vendor Name PGp Order date
Item Material Short text Mat. group
D I A Plnt SLoc Order qty. Un Net Price Curr. per Un
4500078334 |  |  |  |  | NB | 9000000038 |  |  | BRISTOL BABCOCK INC |  |  |  | 28 | 2001-04-24
| 10 | [7 empty] | DATA PROCESS CONTROLLER/RTU |  |  |  |  | 034-070
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 6110 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 6110 |  | USD |  | 100 |  |  | %
PO Type Vendor Name PGp Order date
Item Material Short text Mat. group
D I A Plnt SLoc Order qty. Un Net Price Curr. per Un
4500082533 |  |  |  |  | NB | 9000001407 |  |  | ABBOTT BUILDING CO |  |  |  | 28 | 2001-05-29
| 10 | [7 empty] | 12' X 10' METAL INSTRUMENT BUILDING |  |  |  |  | 075-110
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 11206 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.12
|  | Still to be delivered | [5 empty] | 1 |  | EA | 11206 |  | USD |  | 100 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 11206 |  | USD |  | 100 |  |  | %
PO Type Vendor Name PGp Order date
Item Material Short text Mat. group
D I A Plnt SLoc Order qty. Un Net Price Curr. per Un
4500082463 |  |  |  |  | NB | 9000001845 |  |  | MICRO WAREHOUSE |  |  |  | 28 | 2001-05-29
| 10 | [7 empty] | EPSON MODEL LX-300+ PRINTER |  |  |  |  | 076-320
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 172.71 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.16
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
PO Type Vendor Name PGp Order date
Item Material Short text Mat. group
D I A Plnt SLoc Order qty. Un Net Price Curr. per Un
4500082505 |  |  |  |  | NB | 9000001208 |  |  | WARREN ELECTRIC GROUP |  |  |  | 28 | 2001-05-29
| 10 | [7 empty] | ENCLOSURE-NEMA TYPE 4X |  |  |  |  | 033-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 459.7 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.18
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 20 | [7 empty] | ENCLOSURE-NEMA TYPE 12 |  |  |  |  | 033-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 57.75 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.18
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 30 | [7 empty] | HOFFMAN WIRING TROUGH |  |  |  |  | 033-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 94.15 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.18
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 40 | [7 empty] | BUD RELAY RACK |  |  |  |  | 033-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 513 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.18
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 50 | [7 empty] | CIRCUIT BREAKER |  |  |  |  | 033-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 716 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.18
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 60 | [7 empty] | HOFFMAN PANEL |  |  |  |  | 033-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 48.2 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.18
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
4500083939 |  |  |  |  | NB | 9000001644 |  |  | CONSTANT POWER MANUFAC. CO. |  |  |  | 28 | 2001-06-11
| 10 | [7 empty] | BATTERY CHARGER POWER SUPPLY |  |  |  |  | 034-081
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 4433 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.18
|  | Still to be delivered | [5 empty] | 1 |  | EA | 4433 |  | USD |  | 100 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 4433 |  | USD |  | 100 |  |  | %
4500084041 |  |  |  |  | NB | 9000000759 |  |  | SKARDA EQUIPMENT COMPANY INC. |  |  |  | 28 | 2001-06-11
| 10 | [7 empty] | 3-WAY SOLENOID VALVE |  |  |  |  | 033-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 153.14 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.18
|  | Still to be delivered | [5 empty] | 1 |  | EA | 153.14 |  | USD |  | 100 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 153.14 |  | USD |  | 100 |  |  | %
PO Type Vendor Name PGp Order date
Item Material Short text Mat. group
D I A Plnt SLoc Order qty. Un Net Price Curr. per Un
4500082795 |  |  |  |  | NB | 9000000488 |  |  | GENERAL MONITORS |  |  |  | 28 | 2001-05-31
| 10 | [7 empty] | GAS DETECTOR |  |  |  |  | 032-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 1639 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.21
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 20 | [7 empty] | UNIVERSAL SENSOR HOUSING |  |  |  |  | 032-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 106 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.21
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
PO Type Vendor Name PGp Order date
Item Material Short text Mat. group
D I A Plnt SLoc Order qty. Un Net Price Curr. per Un
4500082330 |  |  |  |  | NB | 9000001444 |  |  | DEL MAR SCIENTIFIC INC |  |  |  | 28 | 2001-05-25
| 10 | [7 empty] | SULFURSMART 1200 H2S ANALYZER |  |  |  |  | 050-900
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 19352 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 19352 |  | USD |  | 100 |  |  | %
4500082353 |  |  |  |  | NB | 9000000039 |  |  | KAHN INSTRUMENTS |  |  |  | 28 | 2001-05-25
| 10 | [7 empty] | KAHN CERMET II |  |  |  |  | 034-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 2990 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 2990 |  | USD |  | 100 |  |  | %
| 20 | [7 empty] | SECOND PROCESS INPUT CHANNEL |  |  |  |  | 034-100
| L |  | P | RT10 |  |  |  | 1 |  | EA |  | 250 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 30 | [7 empty] | 24 VDC POWER |  |  |  |  | 036-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 125 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 125 |  | USD |  | 100 |  |  | %
| 40 | [7 empty] | SAMPLE BLOCK |  |  |  |  | 036-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 80 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 80 |  | USD |  | 100 |  |  | %
| 50 | [7 empty] | PRESSURE TRANSMITTER, INTRINSICALLY SAFE |  |  |  |  | 034-062
| L |  | P | RT10 |  |  |  | 1 |  | EA |  | 700 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
4500082647 |  |  |  |  | NB | 9000000038 |  |  | BRISTOL BABCOCK INC |  |  |  | 28 | 2001-05-30
| 10 | [7 empty] | FLOW COMPUTER |  |  |  |  | 034-070
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 5984.51 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
4500082652 |  |  |  |  | NB | 9000001853 |  |  | ROSEMOUNT INC |  |  |  | 28 | 2001-05-30
| 10 | [7 empty] | GAUGE PRESSURE TRANSMTTER |  |  |  |  | 034-062
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 923.52 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 20 | [7 empty] | XMTR, DIFFERENTIAL PRESSURE |  |  |  |  | 034-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 999.68 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 30 | [7 empty] | XMTR, TEMPERATURE |  |  |  |  | 034-082
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 618.64 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 618.64 |  | USD |  | 100 |  |  | %
4500082657 |  |  |  |  | NB | 9000001422 |  |  | SMITH-THOMPSON INC |  |  |  | 28 | 2001-05-30
| 10 | [7 empty] | TWO VALVE BLOCK MANIFOLD |  |  |  |  | 034-900
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 1 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 1 |  | USD |  | 100 |  |  | %
| 20 | [7 empty] | BLEEDER VALVE |  |  |  |  | 034-900
|  |  | P | RT10 |  |  |  | 2 |  | EA |  | 1 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 2 |  | EA | 2 |  | USD |  | 100 |  |  | %
| 30 | [7 empty] | FIVE VALVE MANIFOLD |  |  |  |  | 034-900
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 1 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 1 |  | USD |  | 100 |  |  | %
| 40 | [7 empty] | PRESSURE XMTR ADAPTOR |  |  |  |  | 034-900
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 1 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 1 |  | USD |  | 100 |  |  | %
| 50 | [7 empty] | ORIFICE METER CONNECTORS |  |  |  |  | 034-900
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 1 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 1 |  | USD |  | 100 |  |  | %
4500082833 |  |  |  |  | NB | 9000001628 |  |  | DANIEL MEASUREMENT & CONTROLS |  |  |  | 28 | 2001-05-31
| 10 | [7 empty] | DANALYZER GAS CHROMATOGRAPH |  |  |  |  | 050-900
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 19425 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 19425 |  | USD |  | 100 |  |  | %
| 20 | [7 empty] | CALIBRATION GAS REGULATOR |  |  |  |  | 050-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 325 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 325 |  | USD |  | 100 |  |  | %
| 30 | [7 empty] | CARRIER GAS REGULATOR |  |  |  |  | 050-100
|  |  | P | RT10 |  |  |  | 2 |  | EA |  | 385 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 2 |  | EA | 770 |  | USD |  | 100 |  |  | %
| 40 | [7 empty] | CARRIER GAS MANIFOLD |  |  |  |  | 050-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 550 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 550 |  | USD |  | 100 |  |  | %
| 50 | [7 empty] | INTERCONNECT CABLE |  |  |  |  | 050-100
|  |  | P | RT10 |  |  |  | 30 |  | FT |  | 0.65 | USD |  |  | 1 | FT
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | FT | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 30 |  | FT | 19.5 |  | USD |  | 100 |  |  | %
| 60 | [7 empty] | CHROMATOGRAPH PACKING |  |  |  |  | 050-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 150 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 150 |  | USD |  | 100 |  |  | %
4500082855 |  |  |  |  | NB | 9000000777 |  |  | STUTHMAN EQUIPMET CO INC |  |  |  | 28 | 2001-05-31
| 10 | [7 empty] | GENIE PROBE REGULATOR |  |  |  |  | 050-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 1612 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 20 | [7 empty] | CALIBRATION GAS HEAT SPA |  |  |  |  | 050-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 3500 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 30 | [7 empty] | SINGLE TUBE HEAT TRACED |  |  |  |  | 050-100
|  |  | P | RT10 |  |  |  | 50 |  | FT |  | 12.6 | USD |  |  | 1 | FT
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | FT | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | FT | 0 |  | USD |  | 0 |  |  | %
| 40 | [7 empty] | POWER CONNECTION KIT |  |  |  |  | 050-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 115.95 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 50 | [7 empty] | END SEAL KIT, ET-8C |  |  |  |  | 050-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 7.75 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 60 | [7 empty] | CELLEX FAK 7 SEAL KIT |  |  |  |  | 050-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 35 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 70 | [7 empty] | TS-90 T-STAT |  |  |  |  | 050-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 65 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
4500082868 |  |  |  |  | NB | 9000005241 |  |  | YZ SYSTEMS, INC |  |  |  | 28 | 2001-05-31
| 10 | [7 empty] | DUAL FLOW PROBE |  |  |  |  | 034-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 355 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
4500082883 |  |  |  |  | NB | 9000001288 |  |  | WELKER ENGINEERING COMPANY |  |  |  | 28 | 2001-05-31
| 10 | [7 empty] | LIQUID ELIMINATOR |  |  |  |  | 034-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 485 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 20 | [7 empty] | MEMBRANE FILTER |  |  |  |  | 034-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 370 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
4500083780 |  |  |  |  | NB | 9000000868 |  |  | TESSCO |  |  |  | 28 | 2001-06-08
| 10 | [7 empty] | YAGI 450 MHZ. ANTENNA |  |  |  |  | 031-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 176.25 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 20 | [7 empty] | COAX HARDLINE CABLEWAVE |  |  |  |  | 031-100
|  |  | P | RT10 |  |  |  | 25 |  | FT |  | 1.86 | USD |  |  | 1 | FT
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | FT | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | FT | 0 |  | USD |  | 0 |  |  | %
| 30 | [7 empty] | CABLEWAVE CONNECTOR |  |  |  |  | 031-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 22.19 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 40 | [7 empty] | CABLEWAVE CONNECTOR |  |  |  |  | 031-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 14.36 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 50 | [7 empty] | SUPERFLEXIBLE CABLE |  |  |  |  | 031-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 62.62 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 60 | [7 empty] | POLYPHASOR |  |  |  |  | 031-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 56.84 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 70 | [7 empty] | GROUNDING KIT |  |  |  |  | 031-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 28.84 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 80 | [7 empty] | 1/2" CORRUGATED CABLE |  |  |  |  | 031-100
|  |  | P | RT10 |  |  |  | 1 |  | FT |  | 1.79 | USD |  |  | 1 | FT
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | FT | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | FT | 1.79 |  | USD |  | 100 |  |  | %
4500083786 |  |  |  |  | NB | 9000001968 |  |  | MICROWAVE DATA SYSTEMS |  |  |  | 28 | 2001-06-08
| 10 | [7 empty] | MDS 4710 FOR 9600B OPERATION |  |  |  |  | 031-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 748 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.39
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
PO Type Vendor Name PGp Order date
Item Material Short text Mat. group
D I A Plnt SLoc Order qty. Un Net Price Curr. per Un
4500082477 |  |  |  |  | NB | 9000006296 |  |  | MLM SERVICES LLC |  |  |  | 28 | 2001-05-29
| 10 | [7 empty] | ANODE |  |  |  |  | 050-100
|  |  | P | RT10 |  |  |  | 3 |  | EA |  | 23.9 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.49
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
PO Type Vendor Name PGp Order date
Item Material Short text Mat. group
D I A Plnt SLoc Order qty. Un Net Price Curr. per Un
4500082652 |  |  |  |  | NB | 9000001853 |  |  | ROSEMOUNT INC |  |  |  | 28 | 2001-05-30
| 40 | [7 empty] | SENSOR, TEMPERATURE |  |  |  |  | 034-082
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 160.3 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.99
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 1 |  | EA | 160.3 |  | USD |  | 100 |  |  | %
4500086036 |  |  |  |  | NB | 9000000038 |  |  | BRISTOL BABCOCK INC |  |  |  | 29 | 2001-06-28
| 10 | [7 empty] | BRISTOL MODEL |  |  |  |  | 030-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 5664.77 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.99
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
4500086042 |  |  |  |  | NB | 9000001853 |  |  | ROSEMOUNT INC |  |  |  | 29 | 2001-06-28
| 10 | [7 empty] | TEMPERATURE TRANSMITTER |  |  |  |  | 030-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 570.6 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.99
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 20 | [7 empty] | TEMPERATURE SENSOR |  |  |  |  | 030-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 126 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.99
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
| 30 | [7 empty] | PRESSURE TRANSMITTER |  |  |  |  | 030-100
|  |  | P | RT10 |  |  |  | 1 |  | EA |  | 1337 | USD |  |  | 1 | EA
|  | WBS element |  |  |  |  | C.000749.01.06.99
|  | Still to be delivered | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
|  | Still to be invoiced | [5 empty] | 0 |  | EA | 0 |  | USD |  | 0 |  |  | %
[9 empty] | Materia cost to date 7-31-01 |  |  | 94126.27