## Sheet1
Nameplate Information
| Gleason | Lincoln | Wheatland
Transformer Manufacturer | ABB transformers | ABB transformers | ABB transformers
Phase | single phase | three phase | three phase
three phase
Ratings | 1ph/160 MVA | 208 MVA | 333 MVA
2ph/240 MVA
Transformer Type | step up | step up | step up
Generator breakers | 10,000 amps | 5,000 amps | 7,000 amps.
Plant Voltages | 4160 | 4160 | 4160
| 500 | 480 | 480
| 480 | 277 | 220
| 160 | 208 | 110
| 110 | 120