## INTERTIE
Updated: July 19, 2001
Intertie Point | Tie Points Participants | Control Area (POR) | Control Area (Line) | Control Area (POD) | Line terminations at Intertie Point | Transmission Provider On Associated Line | Tie or Path Notes
HOT SPRINGS | IPCO | (HTSP) | IPCO | (BOBR) | HTSP-BOBR | IPCO;PPW;MPC | All three control areas (IPC, MPC, PAC) must be shown on a tag as CA's. Only the TP who sold capacity should be shown as the TP on the tag.
| PPW | PPW | PPW | IPCO
| MPC | MPC | MPC | PPW
| BPAT | BPAT
| AVA | AVA
JEFFERSON | IPCO | MPC (JEFF) |  | IPC (BOBR) | JEFF-BOBR | IPCO;MPC
MPC
AULT | WACM | WACM | WACM | WACM | AULT-LRS 345-KV LINE | BEPC, TSGT, WMPA
| PRPA | WACM | WACM | WACM | AULT-CRAIG 345-KV LINE | WACM, TSGT, PRPA
| TSGT | WACM | WACM | WACM | AULT-ARCHER 230-KV LINE | WACM
| PSCO | WACM | WACM | WACM | AULT-WELD #1 & #2 230-KV LINES | WACM
|  | WACM | WACM | WACM | AULT-RAWHIDE 230-KV LINE | PRPA
|  | WACM | WACM | WACM | AULT-TIMBERLINE 230-KV LINE | PRPA
|  | WACM | PSCO | PSCO | AULT-FT ST VRAIN 230-KV LINE | PSCO
BC-US BORDER | BCHA | BCHA(N) | BCHA | BPAT(S) | WESTSIDE |  | 1) PSEI has transmission rights south of
(WSCC Path 3) | BPA | BPAT(S) | BCHA | BCHA(N) | INGLEDOW - CUSTER #1 & #2 500KV LINES |  | the border equal to 15% of the N to S
| PSEI |  |  |  | EASTSIDE |  | westside capability and approx 10% of the S
| WKPL |  |  |  | WANETA - BOUNDARY 230KV LINE |  | to N westside capability.
[5 empty] | NELWAY - BOUNDARY 230KV LINE |  | 2) WKPL has transmission rights north of the
border equal to the capability of Waneta-Boundary
BC-ALBERTA BORDER | BCHA | PPoA | BCHA | BCHA(W) | CRANBROOK - LANGDON 500KV LINE
(WSCC Path 1) | PPoA | BCHA(W) | BCHA | PPoA | NATAL - COLEMAN 138KV LINE
NATAL - POCATERRA 138KV LINE
CHOLLA 345 | AZPS | AZPS | AZPS | AZPS | CHOLLA - FOUR CORNERS 345 LINE | AZPS
[5 empty] | CHOLLA - PINNACLE PEAK 345 LINE | AZPS
CHOLLA 500 | AZPS | AZPS | AZPS | AZPS | CHOLLA 4 Gen stepup xfmr |  | CHOLLA 4 is in PAC CA but is imported into AZPS at stepup xfmr
[5 empty] | CHOLLA - SAGURO 500 LINE | AZPS
[5 empty] | CHOLLA - CORONADO 500 LINE | SRP
COI/COTP/PACI | AZU | BPA | BPA (N) | CAISO | MALIN - ROUND MOUNTAIN #1 & #2 500KV LINES (CAISO:MALIN_5_RNDMTN) |  | 1.) The tie point consists of 3 lines on which
| BANN | PGE | CAISO (S) |  | CAPTAIN JACK - OLINDA 500KV LINE (CAISO:CAPJAK_5_OLINDA) |  | constitute the Pacific AC Intertie (PACI) made from
| BART | PAC |  |  | SUMMER LAKE - MALIN 500KV LINE |  | the California Oregon Transmission Project
| BPA |  |  |  | GRIZZLY - MALIN 500KV LINE |  | (CAP JK) and the California Oregon Intertie (COI)
| CAISO |  |  |  | GRIZZLY - CAPTAIN JACK 500 KV LINE |  | 2.)North of COB Participants:- BPA (56.9%); PGE (17.7%); PAC (10.9%);
| CDWR |  |  |  | MERIDIAN - CAPTAIN JACK 500 KV LINE |  | PSEI (8.3%); SCL (3.3%); PNGC (1%); SNOH (.8%); TCL ( .8%).
| COLT CSLK |  |  |  | CAPTAIN JACK-MALIN #1 & #2 500 KV LINES |  | 3.) South of COB Participants (N to S) (Ties at full rating):- COTP:- SMUD
| LDWP | BPA | CAISO | LDWP |  |  | (21.3125%); MID (16.375%); SNCL (15.75%); WAMP (11.125%); CAISO
| MID | [5 empty] | (9.625%); NCPA (8.125%); TID (9.625%); RDNG (6.5%); CSLK (1.5625%)
| PAC | [5 empty] | PACI:- CDWR (9.375%); SMUD (6.25%); WAMP (12.50%); LDWP (10.00%);
| PGE | [5 empty] | MAlIN-SYL - (10%); PG&E 3rd Party (12.125%);
| PSEI | [5 empty] | CAISO (48.66%); BART (1.09%)
| RDNG | [5 empty] | 4.) PACI N to S AZU, BANN, COLT has seasonal rights; PG&E has set aside
| SMUD | [5 empty] | seasonal transmission for PG&E/PSEI exchange.
SNCL
TID
WAMP
CRAIG | WACM |  |  |  | CRAIG-RIFLE 345-KV LINE | JOINT
[5 empty] | CRAIG-BEARS EARS-BONANZA 345-KVLINE | WACM, TSGT, PRPA, UAMPS
|  | WACM |  | WACM | CRAIG-AULT 345-KV LINE | WACM, TSGT, PRPA
[5 empty] | CRAIG-RIFLE 230-KV LINE | JOINT
[5 empty] | CRAIG-HAYDEN 230-KV LINE #1 | JOINT
[5 empty] | CRAIG-HAYDEN 230-KV LINE #2 | JOINT
CRYSTAL | NEVP | NEVP | LADWP | NEVP | MCCULLOUGH-CRYSTAL-NAVAJO | NEVP/LADWP | NEVP has transmission rights on MCC-CRY-NAVAJO line
| NEVP | LDWP | LDWP | LDWP | CRYSTAL 500- MCCULLOUGH 500 | LDWP, NEVP, SRP | MCCULLOUGH IS INTERNAL TO LDWP
|  | LDWP | NEVP | NEVP | CRYSTAL 500 - NEVP | NEVP
ELDORADO | CAISO | CAISO | AZPS | AZPS | ELDORADO - MOENKOPI 500KV LINE - CAISO; ELDORD_5_PSUEDO | CAISO | CAISO schedules can be on the 4 Corners-Moenkopi or the NPC has transmission rightrs
| NEVP | CAISO | CAISO | WALC | ELDORADO - MEAD 230 KV LINE (CAISO; MEAD_2_WALC) | WALC | Eldorado-Moenkopi lines or both. Merchant (MHT) to ELD-ISO-NEVP ties w/ISO
| SRP | CAISO | CAISO | CAISO | ELDORADO - LUGO 500 KV LINE | Internal to the CAISO
|  | CAISO | CAISO | CAISO | ELDORADO - MOHAVE 500 KV LINE | Internal to the CAISO
| LDWP | CAISO | LDWP | LDWP | ELDORADO-McCULLOUGH 500KV LINE (CAISO; ELDORD_5_MCLLGN) | LDWP
FLAMING GORGE | WACM |  | WACM | WACM | FLAMING GORGE-VERNAL 138-KV #1 | WACM
|  | WACM | WACM | WACM | FLAMING GORGE-VERNAL 138-KV #2 | WACM
| PACE |  | PACE | PACE | FLAMING GORGE-FIREHOLE 230-KV | PACE
FOUR CORNERS | AZPS | AZPS | AZPS | AZPS | 4CORNERS-MOENKOPI 500KV LINE | CAISO | CAISO schedules can be on the 4 Corners-Moenkopi or the
PATH 22 >> | CAISO | AZPS | AZPS | AZPS | 4CORNERS-CHOLLA #1 & #2 500 KV LINES | AZPS | Eldorado-Moenkopi lines or both.
FOUR CORNERS- | PAC | AZPS | PAC | PAC | 4CORNERS-PINTO 345KV LINE | PAC
MOENKOPI 500 and | PNM | AZPS | PNM | PNM | 4CORNERS-WEST MESA 345KV LINE | PNM;EPE
FOUR CORNERS- | WALC | AZPS | PNM | PNM | 4CORNERS-GALLEGOS 230KV LINE | PNM
CHOLLA 345 |  | AZPS | PNM | PNM | 4CORNERS-SAN JUAN 345KV LINE | PNM;TEPC
|  | AZPS | WALC | WALC | 4CORNERS-SHIPROCK 230KV | SRP;TEPC;WACM;PSCO;TSGT
[5 empty] | 4CORNERS 230/345KV TRANSFORMER | AZPS;PNM;SRP
PATH 23 >> |  |  |  |  | 4CORNERS 345/500 KV TRANSFORMER | AZPS;PNM;SRP
GONDER | SPP | SPP | SPP | PAC | PAVANT 230KV SUBSTATION
| SPP | SPP | SPP | LDWP | INTERMOUNTAIN POWER PROJECT
| LDWP | SPP | LDWP | LDWP | GONDER 230 - INTERMNT PWR PRJT 230 | ANHM, GLEN, PASA, LDWP, BUR, RVS, DES | INTERMNT is not a POR nor a POD.
HARRY ALLEN | NEVP | NEVP | NEVP | NEVP | HARRY ALLEN-RED BUTTE | NEVP/PACE | NEVP interfaces with PACE at RED BUTTE
| NEVP | NEVP | NEVP/pace | NEVP | HARRY ALLEN-CRYSTAL 230KV LINE | NEVP/LADWP | NEVP system ties at CRYSTAL with NAVAJO-McCULLOUGH
HILLTOP | SPP | PAC | BPA | SPP | RENO-ALTURAS 345KV LINE |  | PCW, BPA, & SPP coordinate scheduling
MALIN-HILLTOP 230KV LINE
IDAHO-NORTHWEST | IPCO
| PPW | IPCO |  | PPW | ENPR | IPCO;PAC | Midpoint-Summerlake 500 kV line, Hells Canyon-Enterprise 230 kV line
| BPA | IPCO |  | BPA | LGBP | IPCO;BPA | Brownlee-LaGrande 230 kV line (interchange occurs at LGBP)
| AVA | IPCO |  | AVA | LOLO | IPCO;AVA | Oxbow-Lolo 230 kV line (interchange occurs at LOLO)
IMPERIAL VALLEY | CAISO IID | IID | CAISO/IID | IID | 230 KV TL 230S (IMPERIAL VALLEY-EL CENTRO)(CAISO:IVALLY_2_230S)
JIM BRIDGER | IPCO | PPW |  | IPCO | JBSN | IPCO;PAC | JIM BRIDGER-GOSHEN 345 KV LINE
| PPW | [5 empty] | JIM BRIDGER-BORAH 345 KV LINE
JIM BRIDGER-KINPORT 345 KV LINE
McCULLOUGH 500 | LADWP | LDWP | LDWP | WALC | McCULLOUGH 500- McCULLOUGH 230 | SRP, NEVP, LDWP INTERNAL TO LDWP
|  | LDWP | LDWP | WALC | McCULLOUGH 500-MARKETPLACE 500KV LINE | ANAH; AZPS; AZU; BANN; BURB; COLT; GLEN; LDWP; MSR; PASA; RVSD; SRP; VERN; WALC
|  | LDWP | LDWP | NEVP | McCULLOUGH 500-CRYSTAL 500KV LINE | LDWP;NEVP;SRP
|  | LDWP | LDWP | LDWP | McCULLOUGH 500-VICTORVILLE #1 & #2 500KV LINES | Internal to the LDWP BUR, GLN, PAS ON LINE 2
| SRP | LDWP | LDWP | LDWP | McCULLOUGH-NAVAJO 500KV LINE | LDWP;NEVP;SRP | Inter faces with NEVP @ CRYSTAL path = (MCC/CRY/NAVAJO) .
McCULLOUGH 230 | LADWP | LDWP | LDWP | LDWP | McCULLOUGH 230- McCULLOUGH 500 | SRP, NEVP, LDWP INTERNAL TO LDWP
| NEVP | LDWP | LDWP | NEVP | McCULLOUGH 230-FAULKNER 230KV LINE | NEVP | internal to NEVP system
| NEVP | LDWP | NEVP | NEVP | McCULLOUGH 230 -ARDEN 230KV LINE | NEVP | internal to NEVP system
| NEVP | LDWP | NEVP | NEVP | McCULLOUGH 230 -TOLSON 230KV LINE | NEVP | internal to NEVP system
|  | LDWP | WALC | WALC | McCULLOUGH 230 -DAVIS 230KV LINE | SRP, LDWP
|  | LDWP | WALC | WALC | McCULLOUGH 230 - MEAD 230KV LINE | SRP, LDWP, BUR GLN, PAS,
MEAD | AEPCO | WALC | LDWP | LDWP | MEAD-McCULLOUGH #1 & #2 230KV LINES(CAISO:MEAD_2_WALC) | SRP, LDWP, BUR, GLN, PAS, | SRP's rights are Mead to McCullough only. | MWD has connection at Mead and I believe LADWP, SCE, SRP, APS, Nevada, WALC
| ANHM | WALC | WALC | AZPS | MEAD-WESTWING 500KV LINE | AZPS;AZU;BANN;BURB;COLT; LDWP;MSR;RVSD;SRP;VERN;WALC |  | have rights at MEAD Also. But you may want to verify this with each
| AZUA | WALC | WALC |  | MEAD-LIBERTY 345KV LINE | SRP |  | company
| BANN | WALC | WALC | WALC | MEAD-DAVIS 230KV LINE | SRP
| CAISO IID | WALC | MWD | MWD | MEAD-CAMINO #1 & #2 230KV LINES | WALC;MWD
| CDWR | WALC | WALC | WALC | MEAD-HOOVER #1 & #2 230KV LINES | WALC
| NEVP | WALC | NEVP | WALC | MEAD-WINTERWOOD 230KV LINE | NEVP | WALC MD2 to internal NEVP system
| LDWP MWD | WALC | WALC | WALC | MEAD-NEWPORT 230KV LINE | WALC | CRC transmission?
| NEVP | WALC |  |  | MEAD-DECATUR 230KV LINE | NEVP | WALC MD2 to internal NEVP system
| RVSD | WALC |  |  | MEAD-PAHRUMP 230KV LINE
| SRP | WALC | WALC | LDWP | MEAD-MARKETPLACE 500KV LINE | ANAH; AZPS; AZU; BANN;BURB;COLT; GLEN;LDWP;MSR; PASA;RVSD;SRP; VERN; WALC
| VERN | WALC | LDWP | LDWP | MEAD-VICTORVILLE 287.5KV LINE | LDWP, BUR, GLN, PAS
| WALC | CAISO | CAISO | WALC | ELDORADO - MEAD 230 KV LINE (CAISO; MEAD_2_WALC) | WALC
MERCHANT | NEVP | NEVP | CAISO | CAISO | MERCHANT-ELDORADO | CAISO | NEVP interfaces with CAISO
DOUGLAS SWITCHYARD | DOPD | DOPD | DOPD | DOPD | DOUGLAS SWITCHYARD-230 Kv | DOPD | Scheduling per applicable NERC/WSCC criteria
(WELLS DAM) | PSEI |  |  |  | BPA/CHPD have a direct interconnect with | PSEI
| PGE |  |  |  | DOPD at Douglas Switchyard | PGE
| PAC |  |  |  |  | PAC
| WWPC |  |  |  |  | WWPC
| OKPD |  |  |  |  | OKPD
MID COLUMBIA BUSSES | CHN | BPA | GCPD | BPA | MIDWAY SUBSTATION - GCPD |  | 1) The Mid Columbia bus consists of switchyards
| COLQ | BPA | GCPD | BPA | VANTAGE SUBSTATION - GCPD |  | at Generating Stations: Rocky Reach,
| CWZ | BPA | GCPD;CHPD | BPA | COLUMBIA SUBSTATION - GCPD & CHPD |  | Rock Island, Wanapum, and Priest rapids.
| EWEB | BPA | CHPD | BPA | ROCKY REACH SUBSTATION - CHPD |  | 2) BPA has no scheduling rights at these
| GRT | BPA |  | BPA |  |  | busses, but has transmission to eachcontrol area.
| PAC | [5 empty] | 3) BPA is involved only when wheeling energy to or from Mid-C
| PGE | [5 empty] | through BPA transmission (3/12/99)
| PSEI | [5 empty] | 4). In order to schedule on BPA transmission from the Mid Columbia
| SCL |  |  |  | Interchange points with BPA Transmission |  | busses, you must schedule with a 'BPA recognized control area'
| TCL |  |  |  | and the related control areas: |  | interconnected with BPA at Mid C.
WWPC
|  | PAC |  |  | PAC/WWP has a direct interconnect with GCPD at Wanapum
|  | PSEI |  |  | PSEI has a direct interconnect with CHPD at Rocky Reach.
MIDPOINT-HUMBOLT | IPCO | SPP |  | IPCO | NVLY |  | Northbound schedules go from N. Valmy to IPC.
| SPP | IPCO |  | SPP | HMBT |  | Southbound schedules go from IPC to Humbolt
MONA | LDWP | LDWP | PACE | PACE | MONA- ??????? PACE
| PACE | PACE | LDWP | LDWP | MONA- INTERMNT PWR PRJT LINES 1&2 | ANAHM, GLEN, PASA,LDWP, BUR, RVS, DES, UAMPS | Intermnt is not a POR nor a POD and is Internal to LDWP
|  | PACE | LDWP | SPP | MONA 345 - GONDER 230- | ANAHM, GLEN, PASA,LDWP, BUR, RVS, DES
MIDWAY500 (NP15) | CISO | CISO | CISO | LDWP | MIDWAY500 - SYLMAR | LDWP, TID, CISO
MARKETPLACE 500 | LDWP | WALC | LDWP | LDWP | MARKETPLACE 500 - MCCULLOUGH 500 | ANAH;AZPS;AZU;BANN;BURB;COLT;GLEN;LDWP;MSR;PASA;RVSD;SRP;VERN;WALC | MCCULLOUGH IS INTERNAL TO LDWP
| WALC | WALC | LDWP | CISO | MARKETPLACE 500 - VICTORVILLE/LUGO MIDPNT 500 | ANAH;AZU;BANN;BURB;COLT;GLEN;LDWP;MSR;PASA;RVSD;VERN;WALC
|  | LDWP | WALC | WALC | MARKETPLACE 500 - MEAD 500 | ANAH;AZPS;AZU;BANN;BURB;COLT;GLEN;LDWP;MSR;PASA;RVSD;SRP;VERN;WALC
MIDWAY (Northwest) | WACM |  | WACM | WACM | MIDWAY-BIG SANDY 230-KV LINE | TSGT
| PSCO |  | WACM | WACM | MIDWAY-NIXON 230-KV LINE | CCS
|  | WACM | PSCO | PSCO | MIDWAY-MIDWAY(PSCO) | PSCO
|  |  | WACM | WACM | MIDWAY-NIXON 115-KV LINE | CCS
|  |  | PSCO | PSCO | MIDWAY-WESTSTATION 115-KVLINE | WPE
|  |  | WACM |  | MIDWAY-RANCHO 115-KV LINE | TSGT
MOENKOPI | AZPS | AZPS | AZPS | CAISO | MOENKOPI-ELDORADO 500KV LINE (CAISO; MOENKO_5_PSUEDO) | CAISO
| CAISO | AZPS | AZPS | AZPS | MOENKOPI-4CORNERS 500KV LINE (CAISO; MOENKO_5_PSUEDO) | CAISO
|  | AZPS | AZPS | AZPS | MOENKOPI-WESTWING 500KV LINE | AZPS;SRP;TEPC
MOHAVE | CAISO | CAISO | CAISO | CAISO | MOHAVE-LAUGHLIN 500KV LINE(CAISO:MOHAVE_5_500KV)
| LDWP | CAISO | CAISO | CAISO | MOHAVE-ELDORADO 500KV LINE | SRP
| NEVP | CAISO | CAISO | CAISO | MOHAVE-LUGO 500KV LINE | NEVP, CAISO, | NEVP has scheduling rights
SRP
NAVAJO | AZPS | AZPS | AZPS | AZPS | NAVAJO-MOENKOPI 500KV LINE | AZPS;SRP;TEPC
| LDWP | AZPS | AZPS | AZPS | NAVAJO-WESTWING 500KV LINE | AZPS;SRP;TEPC
| NEVP | AZPS | LDWP | LDWP | NAVAJO-McCULLOUGH 500KV LINE | SRP;NEVP,LDWP | Inter faces with NEVP @ CRYSTAL (MCC/CRY/NAVAJO) .
SRP
NOB | LDWP | BPA | LDWP | LDWP | NOB - SYLMAR+500KV DC LINE | ANAH, AZU, BANN, BURB, CAISO, COLT, GLEN, LDWP, PASA, RVSD, VERN | (1) As the point where the +/- 1000-kV Pacific Northwest DC Line crosses the Nevada-Oregon border, NOB is the control area tiepoint between BPA and LDWP, so there is no "host control area" per se. (2) NOB is not a trading hub in the formal sense; energy may not be dropped off or "picked up" there without associated transmission to Celilo (the northern terminal) or to Sylmar (the southern terminal). To schedule on SCE's, SDGE's or PG&E's rights (among others), one should contact a CaISO Scheduling Coordinator. | From NOB to Sylmar, the CA is actually LDWP. We sometimes encounter checkout problems when people incorrectly put "CISO" as the control area on the tag. I believe the confusion may be caused by: the fact that CISO Participating Transmission Owners currently own a majority of the transmission capacity there, and the fact that CISO is the CA in charge of the COB to Sylmar path (on which, incidentally, LDWP has rights). The strange result of this is that LDWP must contact CISO to schedule from COB to Sylmar, and CISO must contact LDWP to schedule from NOB to Sylmar.
| BPA | LDWP | BPA | BPA | NOB - CELILO +500KV DC LINE | BPA, PAC
NORTH GILA 69KV | CAISO AZPS | AZPS | CAISO/AZPS | CAISO | NORTH GILA 500/69KV TRANSFORMER (CAISO:NGILA_5_NG4) | AZPS;IID'SDGE
PALO VERDE | AZPS | SRP | CAISO | CAISO | PALO VERDE-DEVERS 500KV LINE (CAISO:PVERDE_5_DEVERS) | CAISO;LDWP, AZU, BAN, COLT, TID, GLEN | 1) SCPPA is LDWP,AZU,BAN, COLT, BURB, GLEN, PASA, ANAH,VERN,RVSD, IID - LDWP & IID normally schedule at PV, all others normally schedule entitlement at Westwing
| CAISO | SRP | CAISO | CAISO | PALO VERDE-NORTH GILA 500KV LINE (CAISO:PVERDE_5_NG4) | AZPS;IID;CAISO | 2) TEP has contractual rights at PV in an exchange with PNM and/or EPE and wheeling rights to/from PV
|  | SRP | SRP | SRP | PALO VERDE-KYRENE 500KV LINE | AZPS;EPE;PNM;SRP | 3) PAC has rights at PV from AZPS
| SRP | SRP | SRP | AZPS | PALO VERDE-WESTWING #1 & #2 500KV LINES | AZPS;EPE;PNM;SRP | 4) For interconnection into the CAISO either the Devers or the North Gila line must be identified
PATH C | PPW | PPW |  | IPCO | PATHC-BOBR | PPW;IPCO | BORAH-BEN LOMOND 230 KV LINE
| IPCO | (PATHC) |  | (BOBR) |  |  | GRACE-GOSHEN 230 KV LINE
BRADY-TREASURETON 230 KV LINE
AMERICAN FALLS-WHEELON 138 KV LINE
SAN JUAN | WALC WALM | PNM |  | PNM | SAN JUAN-OJO 345KV LINE |  | 1) Ties connecting to San Juan Bus and associated control areas:
| FARM | PNM | PNM |  | SAN JUAN -B-A- 345KV LINE |  | Shiprock - WALC
| COA | PNM |  | WACM | SAN JUAN-WATERFLOW 345KV LINE |  | Waterflow (WACM0
| Los Alamos County | PNM |  |  | SAN JUAN-McKINLEY #1 & #2 500KV LINES |  | 4 Corners (AZPS)
| PNM | PNM |  |  | SAN JUAN-4CORNERS 345KV LINE |  | McKinley (TEP
| SCAPPA | PNM | PNM | AZPS
TEPC
Tri-State
|  | PNM |  | WALC | SAN-JUAN 345-SHIPROCK230 | PNM; TEPC; WALC
SHIPROCK 230 | WALC | WALC | PNM | PNM | SHIPROCK230 - SAN JUAN 345 | PNM; TEPC; WALC
PNM
| TEPC |  |  |  | SHIPROCK230-FOURCORNERS
SILVER PEAK | SPP | SPP | SPP | CAISO | SILVER PEAK #501 & #502 55KV LINES
CAISO
SUMMIT | CAISO | CAISO | SPP | SPP | DRUM -SUMMIT #1 & #2 115KV LINES (CAISO:SUMITM_1_SPP)
| NCPA | CAISO | SPP | SPP | SPAULDING-SUMMIT 60KV LINE
SPP
SYLMAR | CAISO | LDWP | LDWP | BPA | SYLMAR-NOB +500KV LINE(CAISO:SYLMAR_2_NOB) | ANAH, AZU, BANN, BURB, CAISO, COLT, GLEN, LDWP, PASA, RVSD, VERN | 1)Converters 1,2,3&4 are considered part of the DC interconnection, which is a separate interface from Sylmar
| LDWP | LDWP |  | LDWP | AT SYLMAR SUB: BANK E 230/220KV (CAISO; SYLMAR_2_LDWP) | ANAH, AZU, BANN, BURB, CAISO, COLT, GLEN, LDWP, PASA, RVSD, VERN
|  | LDWP |  | LDWP | AT SYLMAR SUB: BANK F 230/220KV (CAISO; SYLMAR_2_LDWP) | ANAH, AZU, BANN, BURB, CAISO, COLT, GLEN, LDWP, PASA, RVSD, VERN
|  | LDWP | CAISO | BPA | SYLMAR - MALIN | LDWP, CISO
|  | LDWP | CAISO | CAISO | SYLMAR - DEVERS | LDWP, AZU, BAN, COLT, TID, IID, CISO
|  | LDWP | CAISO | CAISO | SYLMAR - MIDWAY500 | LDWP, TID, CISO
TIJUANA | CAISO CFE | CFE | CAISO/CFE | CAISO | 230 KV TL 23040 (MIGUEL-TIJUANA)(CAISO:TJUANA_2_23040)
VICTORVILLE/LUGO MIDPOINT | LDWP/CISO | LDWP | LDWP/CISO | CAISO | VICTORVILLE-LUGO 500KV LINE(CAISO:LUGO_5_VICTVL) | ANAH, AZU, BANN, BURB, COLT, GLEN, LDWP, MSR, PASA, RVSD, CAISO, VERN, WALC | (1) The actual control area tiepoint is not in the switchyard -- it's the midpoint of the Victorville-Lugo 500-kVac line. Therefore, inter-area energy received at Victorville is deemed delivered at Lugo, and vice-versa.
|  | CISO | LDWP | WALC | VICTORVILLE/LUGO MIDPNT 500 - MARKETPLACE500 | ANAH, AZU, BANN, BURB, COLT, GLEN, LDWP, MSR, PASA, RVSD, VERN, WALC | This is a path.
VICTORVILLE 500 | LDWP | LDWP |  | LDWP | VICTORVILLE - McCULLOUGH #1 & #2 500KV LINES | BUR, GLEN, PASA, LDWP INTERNAL TO LDWP
|  | LDWP | LDWP | WALC | VICTORVILLE-MEAD 287.5/230 KV LINE | BUR, GLEN , PASA, LDWP
VIRGINA SMITH | WACM (WEST) |  | WACM |  | VIRGINIA SMITH DC TIE | WACM
NPPD (EAST)
WESTWING | WALC | AZPS | SRP | SRP | WESTWING-PALO VERDE #1 & #2 500KV LINES | AZPS;EPE;PNM;SRP | 1) TEP has contractual rights at PV in an exchange with PNM and/or EPE and wheeling rights to/from PV
| AZPS | AZPS | WALC | WALC | WESTWING-LIBERTY 230KV LINE | SRP;WALC
|  | AZPS | WALC | WALC | WESTWING-MEAD 500KV LINE | AZPS;WALC;SRP; LDWP;SCPPA;
|  | AZPS | WALC | WALC | WESTWING-PINNACLE 230 KV LINE | WALC
|  | AZPS | AZPS | AZPS | WESTWING 500/230KV TRANSFORMER | AZPS;SRP;WALC
| SRP | AZPS | AZPS | TEPC | WESTWING 500/345KV TRANSFORMER | AEPCO;TEPC
| TEPC | TEPC | AZPS | AZPS | WESTWING 345/500KV TRANSFORMER | AEPCO;TEPC
YELLOWTAIL | WACM | WACM | WAUW | WAUW | YELLOWTAIL-CROSSOVER 230-KV
| WAUW | WACM |  | PACE | YELLOWTAIL-YELLOWTAIL(PACE)
| PPW | WACM | WACM | WACM | YELLOWTAIL-LOVEL115-KV LINE #1
|  | WACM | WACM | WACM | YELLOWTAIL-LOVEL115-KV LINE #2
Tie Point Participants = Control areas that physically interconnect to tie point. May have rights on one or more lines or equipment which is tied to the point.
Line/Equipment Participants = Companies who have rights on this line or piece of equipment. May or may not be a control area.

## JOU's & Hubs with TAG EX.
| Unit Participants with output in their ACE | Control Area for Total Output (n/a = not applicable) | Control Area Swithyard (n/a = not applicable) | Control Areas Adjacent to Switchyard (n/a = not applicable) | Transmission Providers from Switchyard (n/a = not applicable) | Representative Samples of E-Tag first few lines. | CA | TP | PSE | Product | Path | OASIS # | Level | Info | Ref
BOARDMAN/SLAT | PGE | n/a | n/a | n/a | BPAT | Boardman Example 1 | IPCO | IPCO | IPCM01 | F7 | SLAT | 066 |  | G,FC | BRDM
| IPC |  |  |  |  | (Idaho) |  |  | EPMIWE
| BPAT for TID | [5 empty] | BPAT | BPAT | EPMIWE | F7 | SLAT-JOHNDAY | 123245
[7 empty] | etc | etc | etc
L
[6 empty] | Boardman Example 2 | PGE |  | PGEMPG |  |  |  |  | G,FC | BRDM
[6 empty] | (SDGE marketing | BPAT | BPAT | PGEMPG | F7 | SLAT-JOHNDAY | 92260
[6 empty] | unit contingent) |  |  | SDGE01
[7 empty] | BPAT | PGE | SDGE01 | F7 | JOHNDAY-MAL5 | GF
[7 empty] | etc | etc | etc
L
[6 empty] | Boardman Example 3 | PGE |  | PGEMPG |  |  |  |  | G,FC | BRDM
[7 empty] | BPAT | BPAT | SCLM01 | F7 | SLAT-SCL | A000000
[7 empty] | BPAT |  | SCLM01
L
COI/COTP/PACI | n/a | n/a | n/a | CAISO | NORTH of COB | COI Example 1 | CISO |  | PAC01 |  |  |  | etc | G, F
(Not a switchyard) |  |  |  | BPAT | BPAT |  | CISO | CISO | PAC01 | 7-F | DEV5-MAL5 | 12345
[5 empty] | PGE |  | BPAT | PPW | PAC01 | 7-F | MAL5-JOHNDAY | 12345
[5 empty] | PPW |  | BPAT | BPAT | PAC01 | 7-F | JOHNDAY-PACW | 12345
[5 empty] | PRC |  | PPW |  | PAC01
PSEI
[5 empty] | SNOH | COI Example 2 | BPAT |  | BPAP01
[5 empty] | TPWR |  | BPAT | BPAT | BPAP01 | 7-F | BPAP-JOHNDAY | 12345
[5 empty] | SCL |  | BPAT | BPAT | BPAP01 | 7-F | JOHNDAY-CPTJACK | 12345
[5 empty] | SOUTH of COB |  | CISO | CISO | SNCL | 7-F | CPTJACK-SNCL_BUS | 12345
[5 empty] | SMUD |  | CISO |  | SNCL |  |  |  | L
COLT
[5 empty] | SNCL | COI Example 3 | PGE |  | PGEM
[5 empty] | TID |  | BPAT | BPAT | PGEM | 7-F | PGES-JOHNDAY | 12345
[5 empty] | BANN |  | BPAT | PGE | PGEM | 7-F | JOHNDAY-MAL5 | 12345
[5 empty] | BART |  | CISO | SMD1 | SMUD | 7-F | MAL5-NP15 | 12345
[5 empty] | AZU |  | CISO |  | SMUD |  |  |  | L
CAISO
[5 empty] | CDWR | COI Example 4 | SCL |  | SCLMM1
[5 empty] | CSLK |  | BPAT | BPAT | SCLMM1 | 2-NH | SCL-JOHNDAY | 12345
[5 empty] | LDWP |  | BPAT | BPAT | SCLMM1 | 7-F | JOHNDAY-COBH | 12345
[5 empty] | MID |  |  |  | PWX01
[5 empty] | RDNG |  | BPAT | BPAT | PWX01 | 7-F | COBH-JOHNDAY | 12345
[7 empty] | BPAT | BPAT | PWX01 | 2-NH | JOHNDAY-HTSP | 12345
[7 empty] | MPCO |  | PPLMS1
COLSTRIP | PPLM (MPC) | n/a | n/a | n/a | MPCO | Colstrip Example 1 | PSEI |  | PSEMKT |  |  |  |  | G | COLS
| PSEI |  |  |  | PSEI |  | PSEI | PSEI | PSEMKT | 7-F | COLS-GARR | 100015
| PPW |  |  |  | AVA |  | BPAT | BPAT | PSEMKT | NH-2 | GARR-PSEI | 93453
| PGE |  |  |  | PGE |  | PSEI |  | PSEMKT |  |  |  |  | L
AVA
[6 empty] | Colstrip Example 2 | MPCO |  | PPLMS1 |  |  |  |  | G | COLS
[7 empty] | PSEI | PSEI | PPLMS1 | NH-2 | COLS-GARR | 126987
AVSTWE
[7 empty] | BPAT | BPAT | SNOH | 7-F | GARR-JD | 123456
AVSTWE
[7 empty] | BPAT | PGE | AVSTWE | 7-F | JD-MAL5 | GF
AVSTWE
PWX01
[7 empty] | CISO | CISO | PWX01 | F | MAL5-NP15 | 348UIGER |  | L
[6 empty] | Colstrip Example 3 | MPCO |  | PPLMS1 |  |  |  |  | G | COLS
[7 empty] | MPC0 | MPC0 | PPLMS1 | 7-F | COLS-GARR | 32452
AVSTWE
[7 empty] | BPAT | BPAT | SNOH | 7-F | GARR-CHPD | 23525
AVSTWE
[7 empty] | CHPD |  | AVSTWE | 7-F | JD-MAL5 | GF |  | L
CRAIG | SRPMST | WACM | WACM | N/A | CRCM | Example 1 | WACM | PRPA | PRPM01 | 7-F | CRG/AU | GF |  | G
| TSPMTS |  |  |  | PSCO |  | PSCO |  | PRPM01 |  | AU/AU |  |  | L
| PSCMPS |  |  |  | TSGT
| PRPM01 |  |  |  | PRPA | Example 2 | WACM | CRCM | PAC01 | 2-NH | CRG/BOZ | 12345 |  | G
| PAC01 |  |  |  | UMPS |  | PPW |  | PWX02 |  | BOZ/BOZ |  |  | L
(all non-AGC)
[6 empty] | Example 3 | WACM | TSGT | TSPMTS | 7-F | CRG/BRU | GF |  | G
[7 empty] | PSCO |  | PSCMPS |  | BRU/BRU |  |  | L
[6 empty] | Example 4 | PSCO | PSCO | PSCMPS | 7-F | AU/CRG | GF |  | G
[7 empty] | WACM | PSCO | PSCMPS | 7-F | CRG/SJN | GF
[7 empty] | PNM |  | PNMMS1 |  | SJN/SJN |  |  | L
[6 empty] | Example 5 | WACM |  | SRPMST |  | CRG/CRG |  |  | G
[7 empty] | PPW | CRCM | PAC01 | 2-NH | CRG/BOZ | 12345 |  | L
[6 empty] | Example 6 | WACM | CRCM | SRPMST | 7-F | CRG/SHR2 | GF |  | G
[7 empty] | WALC |  | SRPMST |  | SHR2/SHR2
FOUR CORNERS | AZPS | AZPS | AZPS | CISO | CISO | Example 1 | PNM | PNM | PNMMS1 | 7-F | FC3 |  |  | G | FC
| EPE |  |  | PPW | AZPS |  | AZPS |  | PNMMS1
| PNM |  |  | PNM | PNM |  | PAC | PAC | PAC01 | 7-F | FC3-SYS | GF |  | L
| SRP |  |  | WALC | WALC
| TEPC |  |  |  | TSGT
PSCO
[6 empty] | Example 2 | TEPC |  | TEPMKT |  |  |  |  | G | FC
[6 empty] | TEPC Sale at FC3 | AZPS
[7 empty] | PAC | PAC | PAC01 | 7-F | FC3/SYS | GF |  | L
Example 3
[6 empty] | TEPC Purchase at FC3 | PPW | PPW | PAC01 | 7-F | PPW/FC3 | XXXXXX |  | G
AZPS
[7 empty] | PNM | TEPC | TEPMKT | 7-F | FC3/SJ3 | GF
[7 empty] | TEPC | TEPC | TEPMKT | 7-F | SJ3/VL3 | GF |  | L
HILLTOP | n/a | n/a | n/a | SPP | BPA | HILLTOP Example 1 | PPW |  | PAC01 |  |  |  |  | G, F
(not a switchyard) |  |  |  |  | PPW |  | BPAT | BPAT | PAC01 | 7-F | PACW-JOHNDAY | 12345
(Also Known As |  |  |  |  | SPP |  | BPAT | PPW | PAC01 | 7-F | JOHNDAY-MAL5 | 12345
RATS) | [6 empty] | PPW | PPW | PAC01 | 7-F | MAL5-MAL2 | 12345
[7 empty] | BPAT | BPAT | PAC01 | 7-F | MAL2-HILLTOP | 12345
[7 empty] | SPPC | SPPC | PAC01 | 7-F | HILLTOP-SUM | 12345
[7 empty] | CISO | CISO | CISO | 7-F | SUM-NP15 | 12345
[7 empty] | CISO |  | CISO |  |  |  |  | L
[6 empty] | HILLTOP Example 2 | BPAT |  | BPAP01 |  |  |  | F
[7 empty] | BPAT | BPAT | SNPD01 | 2-NH | BPAP – JOHNDAY | 12345
[7 empty] | BPAT | BPAT | BPAP01 | 2-NH | JOHNDAY– MAL5 | 12345
[7 empty] | PPW | PPW | BPAP01 | 2-NH | MAL5 – MAL2 | 12345
[7 empty] | BPAT | BPAT | BPAP01 | 2-NH | MAL2 – HILLTOP | 12345
BPAP01
[7 empty] | SPPC |  | SPPS1
[6 empty] | HILLTOP Example 3 | SPPC |  | SPPS1 |  |  |  |  | G
BPAP01
[7 empty] | BPAT | BPAT | BPAP01 | 2-NH | HILLTOP-MAL2 | 12345
[7 empty] | PPW | PPW | BPAP01 | 2-NH | MAL2 – MAL5 | 12345
[7 empty] | BPAT |  | BPAP01
SMUD
[7 empty] | CISO | SMD1 | SMUD | 7-F | MAL5-NP15 | 12345
[7 empty] | CISO |  | SMUD |  |  |  |  | L
KLAMATH FALLS | BPAT | n/a | n/a | n/a | BPAT | K Falls Example 1 | BPAT |  | CKFGPM |  |  |  |  | G;KFG
[5 empty] | PPW |  |  | BPAT | CKFGPM | 2-NF | KFG-JOHNDAY
PPMRT
[7 empty] | BPAT | BPAT | BPAP01 | 7-F | JOHNDAY-BPAP | 12345
[7 empty] | BPAT |  | BPAP01
L
[6 empty] | K Falls Example 2 | BPAT |  | PPM |  |  |  |  | G;KFG
[7 empty] | BPAT | BPAT | PPM | 2-NF | KFG-MAL5 | 12345
SDGE01
[7 empty] | CISO | CISO | CISO | F7 | MAL5-DEV5 | 12345
[7 empty] | CISO |  | CISO |  |  |  |  | L
[6 empty] | K Falls Example 3 | BPAT |  | CKFGPM |  |  |  |  | G;KFG
[7 empty] | BPAT | PSEI | CKFGPM | 2-NF | KFG-MAL5 | 12345
SDGE01
[7 empty] | CISO | CISO | CISO | F7 | MAL5-DEV5 | 12345
[7 empty] | CISO |  | CISO |  |  |  |  | L
[6 empty] | K Falls Example 4 | BPAT |  | CKFGPM |  |  |  |  | G;KFG
[8 empty] | BPAT | SCLM | 7-F | KFG-JOHNDAY | 12345
[7 empty] | BPAT | BPAT | SCLM | 7-F | JOHNDAY-SCL | 12345
[7 empty] | SCL |  | SCLM |  |  |  |  | L
[6 empty] | K Falls Example 5 | BPAT |  | CKFGPM |  |  |  |  | G;KFG
PPM
[7 empty] | BPAT | BPAT | PPM | 2-NF | KFG-MAL5 | 12345
[7 empty] | PPW | PPW | PPM | 2-NH | MAL5 – MAL2 | 12345
[7 empty] | BPAT | BPAT | PPM | 2-NH | MAL2-HILLTOP | 12345
[7 empty] | SPPC |  | SPPS1 |  |  |  |  | L
McCullough230 | n/a | n/a | n/a | n/a | NEVP | MCC2 Example 1 | NEVP |  | NVPM01 |  | NEVP |  |  | G, F
(not a Gen point) |  |  |  |  | WLC |  | LDWP | NEVP | NVPM01 | 7-F | NEVP-MCC2 | GF
(trade allowed only |  |  |  |  | SRP |  | LDWP | NEVP | NVPM01 | 7-F | MCC2-MCC5 | GF
when NPC and |  |  |  |  | LDWP |  | LDWP | ANAH | ANHMA1 | 7-F | MCC5-MKP | GF
WALC transm. Is | [6 empty] | WALC
used on the 230kv | [6 empty] | etc | etc | etc | etc | etc | etc | etc | L
only)
[6 empty] | MCC2 Example 2 | etc | etc | etc | etc | etc | etc | etc | G, F
WALC
[7 empty] | LDWP | WALC | CALP01 | 7-F | DAD2-MCC2 | 12345
[7 empty] | LDWP | NEVP | NVPM01 | 7-F | MCC2-NEVP | GF
[7 empty] | NEVP |  | NVPM01 |  |  |  |  | L
McCullough 500 | n/a | n/a | n/a | n/a | NEVP | MCC5 Example 1 | etc | etc | etc | etc | etc | etc | etc | G, F
(not a Gen station) |  |  |  |  | WLC |  | WALC
[5 empty] | SRP |  | LDWP | WALC | CALP01 | 7-F | DAD2-MCC2 | 12345
[5 empty] | AZPS |  | LDWP | WALC | CALP01 | 7-F | MCC2-MCC5 | 12345
[5 empty] | ANAH |  | LDWP | NEVP | NVPM01 | 7-F | MCC5-MCC2 | GF
[5 empty] | AZU |  | LDWP | NEVP | NVPM01 | 7-F | MCC2-NEVP | GF
[5 empty] | BAN |  | NEVP |  | NVPM01 |  |  |  |  | L
BURB
[5 empty] | COLT | MCC5 Example 2 | etc | etc | etc | etc | etc | etc | etc | G, F
[5 empty] | GLEN |  | WALC
[5 empty] | LDWP |  | LDWP | ANAH | ANHMA1 | 7-F | MKP-MCC5 | GF
[5 empty] | MSR |  | LDWP | NEVP | NVPM01 | 7-F | MCC5-MCC2 | GF
[5 empty] | PASA |  | LDWP | NEVP | NVPM01 | 7-F | MCC2-NEVP | GF
[5 empty] | RVSD |  | NEVP |  | NVPM01 |  |  |  |  | L
VERN
Mid-Columbia | AVA | n/a | n/a | n/a | BPAT | MidC Example 1 | PSEI |  | PSEMKT |  |  |  |  | G, F | MIDC
| PSEI |  |  |  | PSEI |  | PSEI | PSEI | PWX01 | 7-F | MIDC-PSEI | 100015
| PPW |  |  |  | AVA |  | BPAT | PSEI | PWX01 | 7-F | PSEI-BCUS | 100016
| PGE |  |  |  | PPW |  | BHCA | BCHA | PWX01 | 7-F | BCUS-SYS | 21353 |  | L
SCL
| TPWR |  |  |  |  | MidC Example 2 | PPW |  | PAC01 |  |  |  |  | G, F | MIDC
| CHPD | [7 empty] | EPMIWE
| GCPD | [7 empty] | AVSTWE
| DOPD | [7 empty] | PWX01
[7 empty] | PSEI | PSEI | PWX01 | 7-F | MIDC-PSEI | 321534
[7 empty] | PSEI | PSEI | PWX01 | 7-F | PSEI-STR | 321534
PWX01
TPWR
[7 empty] | TPWR |  | TPWR |  |  |  |  | L
[6 empty] | MidC Example 3 | BPAT |  | TEMUS |  |  |  |  | G, F | CENT
[7 empty] | BPAT | PSEI | TEMUS | 7-F | CENT-PSEI | 123987
[7 empty] | PSEI | PSEI | TEMUS | 7-F | PSEI-MIDC | 123987
TEMUS
EPMIWE
[7 empty] | CHPD |  | AVSTWE |  |  |  |  | L
[6 empty] | MidC Example 4 | PGE |  | PGEM |  |  |  |  | G,F | MIDC
EPMIWE
AVSTWE
PACM01
[7 empty] | PPW | PPW | PACM1 | 7-F | MIDC-MIDC | GF |  | L
[6 empty] | MidC Example 5 | PGE |  | PGEM |  |  |  |  | G,F | MIDC
PWX01
[7 empty] | BPAT | BPAT | PWX01 | 7-F | MIDCR-BCUS | 123456
PWX01
BCPS
[7 empty] | BCHA |  | BCPS
[6 empty] | MidC Example 6 | GCPD |  | MCMN |  |  |  |  | G,F | MIDC
[7 empty] | BPAT | BPAT | MCMN | 7-F | MIDCR-MCMN | 123456
[9 empty] | MCMN |  |  |  |  | L
[6 empty] | MidC Example 7 | PPW |  | PAC01 |  |  |  |  | G,F | MIDC
PGEM
[7 empty] | BPAT | BPAT | PGEM | 7-F | MIDCR-PGE | 123456
[7 empty] | PGE |  | PGEM
NAVAJO | AZPS | SRP | AZPS | LDWP | LDWP | Example 1 | NEVP |  | NVPM01 |  |  |  |  | G | NAVAJO
| SRP |  |  | NEVP | AZPS |  | SRP |  | NVPM01
| LDWP |  |  |  | SRP |  | AZPS |  | NVPM01
| NEVP |  |  |  | TEPC |  | LADWP | NEVP | NVPM01 | 7-F | NV5-CRY | GF
| TEPC |  |  |  | NEVP |  |  |  | DETMAE
[6 empty] | Example 2 | SRP |  | SRPMST |  |  |  |  | G;FS;EX
[7 empty] | AZPS |  |  |  | NV5 |  |  | FS
[7 empty] | LDWP | SRP |  | 7-F | NV5/MC5 | GF |  | FS
[7 empty] | LDWP | [6 empty] | L
Example 3
[6 empty] | TEPC Purchase at NV5 | NEVP |  | NVPM01 |  |  |  |  | G | NAVAJO
SRP
[7 empty] | AZPS | TEPC | TEPMKT | 7-F | NV5/WW3 | GF
[7 empty] | TEPC | TEPC | TEPMKT | 7-F | WW3/SO3 | GF |  | L
NOB | n/a | n/a | n/a | LDWP | TPs for SYL-NOB and NOB-SYL | NOB Example 1 | etc | etc | etc | etc | etc | etc | etc | G, F
(not a switchyard) |  |  |  | BPAT | BURB |  | BPAT |  | BPAP01
[5 empty] | GLEN |  | BPAT | BPAT | BPAP01 | 7-F | BPAP-BIGEDDY | 12345
[5 empty] | PASA |  | BPAT | BPAT | BPAP01 | 7-F | BIGEDDY-NOB | 12345
[5 empty] | LDWP |  | BPAT |  | RVSRV
[5 empty] | CISO |  | LDWP | RVSD | RVSRV | 7-F | NOB-SYL | LDWP/RVS
[5 empty] | RVSD |  | CISO | RVSD | RVSRV |  | SYL-SP15 | LDWP_CISO_1234
[7 empty] | etc | etc | etc | etc | etc | etc | etc | L
[5 empty] | TPs for NOB-BIGEDDY | NOB Example 2 | etc | etc | etc | etc | etc | etc | etc | G, F
[5 empty] | BPAT |  | BPAT |  | BPAP01
[5 empty] | PPW |  | BPAT | BPAT | BPAP01 | 7-F | BPAP-BIGEDDY | 12345
[7 empty] | BPAT | BPAT | BPAP01 | 7-F | BIGEDDY-NOB | 12345
[7 empty] | BPAT |  | PASM01
[5 empty] | TPs for BIGEDDY-NOB |  | LDWP | PASA | PASM01 | 7-F | NOB-SYL | 12345
[5 empty] | BPAT |  | CISO | PASA | PASM01 | 7-F | SYL-SP15 | LDWP_CISO_1234
[7 empty] | etc | etc | etc | etc | etc | etc |  | L
[6 empty] | NOB Example 3 | BPAT |  | BPAP01
[7 empty] | BPAT | BPAT | BPAP01 | 7-F | BPAP-BIGEDDY | 12345
[7 empty] | BPAT | BPAT | BPAP01 | 7-F | BIGEDDY-NOB | 12345
[7 empty] | BPAT |  | GLNDGL
[7 empty] | LDWP | GLEN | GLNDGL | 7-F | NOB-SYL | GF
[7 empty] | LDWP | GLEN | GLNDGL | 7-F | SYL-AIRWAY | GF |  | L
[6 empty] | NOB Example 4 | PGE |  | PGEM |  |  |  |  | G, F
[7 empty] | BPAT | BPAT | PGEM | 7-F | PGES-BIGEDDY | 12345
[7 empty] | BPAT | BPAT | PGEM | 7-F | BIGEDDY-NOB | 12345
RVSRV
[7 empty] | LDWP | RVSD | RVSRV | 7-F | NOB-SYL | LDWP/RVS
[7 empty] | CISO | RVSD | RVSRV | 7-F | SYL-SP15 | LDWP_CISO_1234
[7 empty] | CISO |  | RVSRV |  |  |  |  | L
[6 empty] | NOB Example 5 | CISO |  | RVSRV |  |  |  |  | G, F
[7 empty] | LDWP | RVSD | RVSRV | 7-F | SP15-SYL | LDWP_CISO_1234
[7 empty] | LDWP | RVSD | RVSRV | 7-F | SYL-NOB | LDWP/RVS
RVSRV
[7 empty] | BPAT | PPW | PAC01 | 7-F | NOB-BIGEDDY | 12345
[7 empty] | BPAT | BPAT | PAC01 | 7-F | BIGEDDY-PACW | 12345
[7 empty] | PPW |  | PAC01 |  |  |  |  | L
PALO VERDE | AZPS | AZPS | SRP | AZPS | AZPS | Example 1 | EPE |  | EPEC01 |  |  |  |  | G | PV
| EPE |  |  | CISO | SRP |  |  |  | EPMIWE
| LADWP |  |  |  | CISO |  | AZPS |  | IIDMA1
| PNM |  |  |  | LDWP |  | SRP | IID | IIDMA1 |  | PV5 | GF-EXCH
| SRP |  |  |  | EPE |  | CISO | IID | IIDMA1 | 7-F | PV/NG5 | IID_WHL
| SCE |  |  |  | PNM |  | IID |  | IIDMA1 |  |  |  |  | L
[6 empty] | Example 2 | PNM |  | PNMMS1 |  |  |  |  | G | PV:Ex
[7 empty] | AZPS |  | PNMMS1
[7 empty] | SRP |  | DYPMWE |  | PV5
[7 empty] | SRP | SRP | SRPMST | 7-F | PV5/WW5 | GF |  | L
Example 3
[6 empty] | TEPC Sale at PV5 | EPE |  | EPEC01 |  |  |  |  | G | EPE/TEP GF EX
EPMIWE
AZPS
[7 empty] | SRP | TEPC | TEPMKT
[7 empty] | CISO | IID | IIDMA1 | 7-F | PV/NG/IV | IID_WHL
[7 empty] | IID |  | IIDMA1 |  |  |  |  | L
Example 4
[6 empty] | TEPC Purchase at PV5 | LDWP |  | LAWMO1 |  |  |  |  | G
AZPS
[7 empty] | SRP | EPE | TEPMKT | 7-F | PV5/WW5 | GF EX |  |  | EPE/TEP GF EX
AZPS
[7 empty] | TEPC | TEPC | TEPMKT | 7-F | WW5/SO3 | GF |  | L
SAN JUAN | PNM | PNM | PNM | WACM | PNM
| TEPC |  |  | WALC | TEPC
| COA |  |  | TEPC | WALC
| LAC |  |  |  | CRSPMI
COF
SCAPPS
UAMPS
MSR
TSGT
WELLS DAM | DOPD | DOPD | DOPD | BPAT | BPA | Wells Example 1 | BPAT |  | BPAP01 |  |  |  |  | G:NAC | C #23928
| PSEI |  |  | CHPD | CHPD |  | BPAT | BPAT | BPAP01 | 2-NH | BPAP / DOPD | 96111
| PGE | [7 empty] | EPMIWE
| PPW | [7 empty] | AVSTWE
| AVA | [7 empty] | SNPD01
[7 empty] | DOPD |  | DOPD |  |  |  |  | L
[6 empty] | Wells Example 2 | PPW |  | PAC01 |  |  |  |  | G, Walla Walla
[8 empty] | PPW | BHPLGS | 1-NS | PACW/BPAT | 143714 | 25
PPMIRT
[7 empty] | BPAT | BPAT | SCLMM1 | 2-NH | BPAT/DS2 | 96018
[7 empty] | DOPD |  | PPMIRT
[7 empty] | DOPD |  | DOPD |  |  |  |  | L
[6 empty] | Wells Example 3 | PPW | PPW | PAC01 | 7-F FIRM | PACW/DS2 | GF |  | G-F | MC
[7 empty] | DOPD |  | OKPD01 |  |  |  |  | L | MC
[6 empty] | Wells Example 4 | BPAT |  | BPAP01 |  |  |  |  | G
[7 empty] | BPAT |  | DGLS01
[7 empty] | BPAT | BPAT | AVSTWE | 2-NH | BPA-DOPD | 10343 |  | 720763 | VANALCO
[7 empty] | DOPD | DOPD | DGLS01 | 7-F | DOPD-CHPD | GF
[7 empty] | CHPD |  | AVSTWE |  |  |  |  | L
[6 empty] | Wells Example 5 | DOPD |  | DGLS01 |  |  |  |  | G-NF | INTRPTBL
[7 empty] | PSEI | PSEI | PSEMKT | 7-F | DS2/PUGET SYS | GF |  | L
[6 empty] | Wells Example 6 | DOPD |  | DGSL01 |  |  |  |  | G-NF
[7 empty] | GCPD | GPCD | GCPUD2 | 7-F | DS2/GRANT SYS | GF |  | L
[6 empty] | Wells Example 7 | DOPD |  | DGLS01 |  |  |  |  | G-F
[7 empty] | BPAT | BPAT | DGLS01 | 7-F | DGL SYS/BPA SYS | 47453
DGLS01
[7 empty] | BPAT |  | BPAP01 |  |  |  |  | L
Yelllowtail-WACM | WACM | WACM | WACM | PPW | LAPT | Example 1 | WAUE | WAPA | BEPME1 | 7-F | AVS/MILECITY | GF |  | G
YTW |  |  |  | WAUW | WAPA |  | WAUW | WAPA | BEPEM1 | 7-F | MILESCITY/YTW | GF
[7 empty] | WACM | LAPT | IDAC01 | 2-ND | YTW/YTP | 123456
Yellowtail-PPW | N/A | PPW | PPW | MPCO | LAPT FROM YTW |  | PPW | PPW | IDAC01 | 3-ND | YTP/MPCO | 23456
YTP |  |  |  | WACM | PPW |  | MPCO |  | IDAC01 |  |  |  |  | L
|  |  |  | PPW | MPCO
[6 empty] | Example 2 | PSCO |  | PRPM01 |  | AU/AU |  |  | G
[7 empty] | WACM | LAPT | PWX02 | 7-F | AU/DJ | 31592
[7 empty] | PPW | PPW | PWX02 | 5-NM | DJ/YTP | 12345
[7 empty] | WACM | LAPT | PWX02 | 5-NM | YTP/YTW | 25677
[7 empty] | WAUW | WAPA | PWX02 | 7-F | YTW/CROSSOVER
[7 empty] | MPCO | MPCO | PWX02 | 7-F | CROSSOVER/BURKE |  |  | L
[6 empty] | Example 3 | NPPD |  | PWX02 | 2-NH | NPPD/SCSE | 345465 |  | G
[7 empty] | WACM | LAPT | PWX02 | 2-NH | SCSE/DJ | 137981
[7 empty] | PPW | PPW | PWX02 | 5-NM | DJ/YTP | 7860
[7 empty] | MPCO | MPCO | PWX02 | 2-NH | YTP/MPCO SYS | 37510 |  | L

## POR_POD_name
POR/POD Name | E-Tag Acronym | Registered TSIN Name | Comments
A.A.Lambert | AAL | A.A.LAMBERT
Airway | AIR
Alamogordo | ALGR
Alberta - Saskatchewan Border (DC Tie) | ABSK | PPOA.SPC
ALCOA - Valhalla Substation | ALCOA | ALCOA
Alturas | ALTS | ALTURAS
Ambrosia 230 | AMBRS | AMBROSIA230
Ames (POR only) | AMES
AMRAD 115 KV BUS | AMR1 | AMRAD115
AMRAD 345 KV BUS | AMR3 | AMRAD345
Apache 115 | APE1 | APACHE115
Arapahoe Generating Station | ARAP | ARAPAHOE
ARCHER | ARH
Atlas Substation | ATL | ATLAS
AULT | AU | AULT
Avista Corp | MIDC
Avista Power System | AVA | AVA.SYSTEM
Axial Basin | AXBA
Barr Lake (POD only) | BARG
BCHA.Network | BCNT | BCHA.NETWORK
BCHA.Network.Load | BCLD | BCH.NETWK.LD
Benton County PUD | BCPD | BCPD
Benton Rural Electric Assoc. | BREA
Bernalillo, Algodones 115 | BA | BA115
Big Eddy | BIGEDDY | BIGEDDY
Big Sandy | BSAN
Black Mesa 230 | BMA2 | BLACKMESA230
Blackwater DC Cnvtr 230 | BW | BW230
BLUE RIVER | BLRR
Blue River Substation | BLUE | BLUE RIVER
Bluewater | BWAT
Blythe 161 | BLY1 | BLYTHE161
Bodo (POR only) | BODO
BONANZA | BOZ | BONANZA
Boone | BOON
Boone Substation | BOON | BOONE
BORAH-BRADY | BOBR |  | PACE-IPCO INTERFACE (BORAHBRADY)
Boundary | BNDY
BPA - Power Business Line (FCRPS) | BPAP | BPAPOWER | Used for transactions generating or sinking in the BPA CA
BPA - Transmission Business Line (CA) | BPAT |  | Used by CAs with interfaces with BPAT
Burke | BRKE | BURKE
Burlington | BURL
California - Oregon Border | COB | COB | For Reservations Only - Tagged as COBH, MAL5 or CPTJACK
California - Oregon Border Hub | COBH
Captain Jack | CPTJACK
Central Lincoln Electric | CLE | CENTRLINCOLN
Centralia Generation | CENT | CENTRAILIA
CFE Rosita Tie (CFE/CISO) | ROSITA |  | submitted on behalf of CFE
CFE Tijuana Tie (CFE/CISO) | TIJUANA |  | submitted on behalf of CFE
Chelan Co. PUD Control Area | MIDC
Cheney, City of | CHY
Cherokee Generating Station | CHER | CHEROKEE
Cholla 345 | CH3 | CHOLLA345
Cholla 500 | CH5 | CHOLLA500
City of Delta (POD only) | CDEL
Clallam Co. PUD | CCPD
Clark Public Utilities | CPU | CLARK
Clatskanie | CLSK | CLATSKANIE
Clayton (POD only) | CLAY
Clearwater Power Co. | CPC
Coachella | COACH2 |  | submitted on behalf of IID
Cobb Lake Substation | COBB | COBB LAKE
Colorado Springs Utilities system 230 & 115kV | CSUSYSTEM
Colstrip | COLS | COLSTRIP
Columbia | CLBS
Columbia Falls Aluminum | CFA | COLFALLS ALUM
Columbia River People's | CRP
Comanche | COM
Comanche Generating Station | COMA | COMANCHE
Control | CTRL | SLVP | Control A & C 55KV
Coronado 500kV Switchyard | CO5 | CORONADO500
Cowlitz Co. PUD | MIDC | CWZ
Cowlitz Cypress Generation | CYP
Cowlitz NE - Tacoma | CNE | BPAT.TPWR
Crag View | CRAG | CASC | Crag View 115KV
CRAIG | CRG | CRAIG
Cranbrook 500 kV Bus | CBK5 | BCHA.NETWORK
Crossover | CROS | CROSSOVER
Crystal 500kV | CRY | CRYSTAL | Ties into Navajo-McCullough line
CURECANTI | CCI
Dave Johnston | DJ |  | Interface with WACM @ DJ/Wyodak
Davis | DAV2
Davis Dam 230 | DAD2 | DAVISDAM230
Desert Basin | DBS | DESERTBASIN | POR only for Reliant Energy Desert Basin Generation
Devers 230kV | DEV2 |  | Devers-Coachella & Mirage (IID to CISO)
Devers 500kV | DEV5 | DEVR | Palo Verde-Devers (SRP to CISO)
DG&T | MDGT |  | Interface with LA & DGT
Douglas PUD Control Area | DOPD | DOPD | Douglas Load Control Area. Used when a specific location not reqired.
Douglas Switchyard 230 | DS2 | DOSWYD230
Drum | DRUM | SUMM | Drum #1 & #2 115KV
Eastern Technical Area 115 | ETA | ETA115
EDDY 230 KV BUS | EDY2 | EDDY230
EDDY 345 KV BUS | EDY3 | EDDY345
Eldorado 500kV | ELD5 | ELDM | Eldorado 500KV-LADWP MC5 and AZPS Interfaces
Elf Atochem - Oregon West | ELF | ELFATOCHEM
Ellensburg, City of | ELN
Emerald PUD | EMP | EMERALD
ENTR(Enterprise) | ENPR |  | Interface with IPCO
EPE CA boundary w/ CFE | CFE1 | EPE.CFE.JREZ | EPE CA boundary w/ CFE
Eugene Water and Electric Board | EWEB | EWEB
Eugene Water and Electric Board | MIDC
FLAMING GORGE | FGE | FLAMINGGORGE
Flathead Electric | FLAT | FLATHEAD
Forest Grove, City of | MIDC
Forest Grove, City of | FSTG | FTGR
Forest Lake Substation | FLAK | FOREST LAKE
Fort Saint Vrain Generating | FSVR | FT ST VRAIN
Fort St.Vrain | STVRN | STVRAIN
Fort Wingate (POD only) | FWNP
Four Corners 230 | FC2 | FOURCORNE230
Four Corners 345 | FC3 | FOURCORNE345
Four Corners 500 | FC5 | FOURCORNE500
Franklin Co. PUD | FCPD | FRANKLIN
Frontier Generation | FTE
Gallegos 115 | GALL2 | GALLEGOS115
Gallup | GALLUP1
Garrison | GARR | GARRISON
Georgia-Pacific | GP | GEORGIAPAC
Gila 161 | GLA1 | GILA161
Glen Canyon 230 | GLC2 | GLENCANYON230
Glen Canyon 345 | GLC3 | GLENCANYON345
GMS.MCA.REV | BCHG | GMS.MCA.REV
Goldendale Alum. Corp. (formerly Columbia Alum.) | GAC | GAC
Gonder | GON | GONDER
GordonMShrum Generation | GMS | GMS
Grant Co. PUD | MIDC | BPAT.GCPD
Grays Harbor Paper Generation | GHP
Grays Harbor PUD | GHPD | GHPUD
Grays Harbor Weyerhauser Generation | WH1
Greenlee 345 | GL3 | GREENLEE345
Griffith 230 | GRF2 | GRIFFITH230
Grizzly | GRIZZ
Haiwee | HAI
Harry Allen 345kV | HA | HARRY ALLEN
Hayden | HDN
Hermiston Generation | HERM | HERMISTON
Hernandez115 (POD only) | HERN1
Hernandez69 (POR only) | HERN6
HESPERUS | HSP | HESPERUS
Hidalgo 345 KV bujs | HID3 | HIDALGO345
Hill Top 230 | HLT2 | HILLTOP230 | WAPA station in western Arizona
Hilltop | HILLTOP | HILLTOP | Interface between BPAT and Sierra Pacific
Hot Springs | HTSP | HOTSPRINGS
Humboldt | HMBT | HUMBOLDT
Idaho Falls Elect. Dept., City of | IDFP
Idaho Light & Power | ILPC
Idaho Power Company System | IPCO
Imperial Valley 500KV | IVLY | IVAL
Ingledow 500 kV Bus | ING5 | BCHA.NETWORK
Inland Power & Light | IPL4
Intalco Aluminum | INT | INTALCO
Interface between BC Hydro and NW US | BCUS | BC.US.BORDER
Interface between BC Hydro and PPOA | BCAB | BC.AB.BORDER
Inyo | INY |  | Inyo (LDWP Gorge-Rinaldi interconnection to CISO)
Jackson Fuller Substation 230kV | FULLER
Jefferson | JEFF | JEFFERSON
Jim Bridger | JBSN |  | Interface with IPCO & PACW from PACEW
John Day | JOHNDAY | JOHNDAY | For transactions to & from the So. Intertie only
Kaiser Aluminum/ Bell | KBELL | KAISERBELL
Kaiser Aluminum/ Tacoma | KTAC | KAISERTAC
Kaiser Aluminum/ Trentwood | KTRENT | KAISERTRENT
Kittitas Co. PUD | KIT
Kittitas Co. PUD | MIDC
Klamath Falls Generation | KFG
Klamath Falls, City of | CKF
Klickitat Co. PUD | KPUD | KLICKITAT
Knob 161 | KNB1 | KNOB161
Knox 230 | KNX2 | KNOX230
Kootenai Electric Coop | KTE
Kyrene 230 | KY2 | KYRENE230
Kyrene 500 | KY5 | KYRENE500
LaGrande | LGBP | LAGRANDE | Interface between BPAT and Idaho
Laguna Bell-Valasco (LDWP to CISO) | LGB | NONE | Laguna Bell 230 KV normally open
Lamar | LAMR
Lancaster Generation | LAN
LARAMIE RIVER | LRS | LARAMIERIVER
Las Cruces 115 kV | LAS1 | EPE.LASCRUS | EPE CA boundary at Las Cruces 115 kV
Lewis Co. PUD | LCP
Liberty 230 | LIB2 | LIBERTY
Liberty 345 | LIB3 | LIBERTY
Limon Generation Station (POR only) | LIMG
Lincoln | LINC
Lincoln Electric Coop | LEC
LoLo | LOLO |  | IPCO-AVA INTERFACE (LOLO)
Lucky Peak | LYPK |  | SCL - IPCO INTERFACE (LUCKY PEAK)
Lugo-Victorville (LDWP-CISO) | VVL | LUGO | Lugo 500KV
Luna 345 | LUNA | LUNA345
Malin 230 | MAL2 |  | PAC Interface with BPA
Malin 500 | MAL5 | MALIN | PAC Interface with BPA
Malta Substation | MALT | MALTA
Marketplace 500 | MKP
Mason Co. PUD #1 | MCP1
Mason Co. PUD #3 | MCP3
McCullough 230kV | MC2
McCullough 500kV | MC5 | MCL
McKinley 345 | MK3 | MCKINLEY345
McMinnville, City of | MCMN
McMinnville, City of | MIDC
Mead 230 | MED2 | MEAD230
Mead 500 | MED5 | MEAD500
Merchant | MHT | MERCHANT | Interface with Eldorado
Mid-Columbia Remote Resources | MIDCR |  | BPA Transmission POR from Generation at MIDC
Midway | MIDW | MIDWAY | PSCO interface with WACM
Midway Substation | MIDWAY | MIDWAY | CAISO internal interface between PGAE/SCE
Midway-Vincent load zone inside CISO control area | ZP26 | NONE | Midway-Vincent 500KV
Miguel 500 kV | MIGL | NONE | Miguel-Tijuana (CFE to CISO)
MILE CITY CONVERTER STATION | MILCTYDC-EW
MILE CITY CONVERTER STATION | MILCTYDC-WE
Mimbres 115 | MIMB | MIMBRES115
Mirage | MIR2 |  | submitted on behalf of IID
Mirage | MIR9 | MIR92 | Mirage 92KV normally open
Mission Valley Coop | MVC
Missoula Electric Coop | MSE
Moenkopi 500 | MK5 | MOENKOPI500
Mohave-Laughlin (NEVP to CISO) | MOHA | LAUG | Mohave 500KV normally open
Mona | MLAD |  | PACE interconnection with LADWP at Mona
Montana Power System | MPCO | BPAT.MPCO
Montrose | MTR
Monument Substation 115kV | MONU
Natal 60 kV Bus | NTL6 | BCHA.NETWORK
Navajo 500 | NV5 | NAVAJO500
Nelway 230 kV BUS | NLY2 | BCHA.NETWORK
Nevada - Oregon Border | NOB | NOB
Nevada Power Control Area | NEVP | NEVADA POWER CO | Ties at CRY, MED2, MC2/5, REDB
New Blythe 230 | NBL2 | NEWBLYTHE230
North Gila 500 kV | NG5 | NGIL | Palo Verde-North Gila (SRP to CISO)
North Gila 69 | NG6 | NRTHGILA69
North Lewiston | NLEW | N LEWISTON
North of path 15 load zone inside CISO | NP15 | NONE | Network service
North Valmy 345 | NVLY | N.VALMY
North Wasco Co. PUD | NWC | NORTHWASCO
North Yuma | NYUM
Northwest Aluminum | NAC | NWALUMINUM
Northwest Market Hub | NWH | NWH
Norton 115 | NORT | NORTON115
Ogallala | OGAL
Ojo 345 | OJO | OJO345
Okanogan PUD | OKPD | OKANOGAN
Oregon Metallurgical | ORMT | OREGONMETAL
Oregon Trail Electric Coop | OTEC | OREGONTRAIL
Pacific Co. PUD | PCP
Pacific Northwest Generating Coop | PNGC | PNGC
PacifiCorp | MIDC
PacifiCorp System | PACE |  | Eastern System - OLD UPL
PacifiCorp System | PACEW |  | Wyoming
PacifiCorp System | PACW |  | Western System - OLD PPL
Palo Verde 500 | PV5 | PALOVERDE500
Parker Davis 161 | PAD1 | PARKERDAVIS161
Parker Davis 230 | PAD2 | PARKERDAVIS230
Pawnee Generating Station | PAWN | PAWNEE
PEGS (POR only) | PEGS
Pend Oreille PUD | POND | POND
Peninsula Light | PEN
PGE | MIDC
PGE System | PGE
Phelps-Dodge (POR only) | PHDO
Picacho 115 kV | PIC1 | EPE.PICACHO | EPE CA boundary at Picacho 115 kV
Pinnacle Peak 230 (APS Switchyard) | PPA2 | PNPKAPS230
Pinnacle Peak 230 (SRP Switchyard) | PPS2 | PNPKSRP230
Pinnacle Peak 230 (WALC Switchyard) | PPD2 | PINNACLE.PK
Pinnacle Peak 345 (AZPS Switchyard) | PPA3 | PNPKAPS345 | Cholla 345-Pinnacle Peak 345 Line
Pinnacle Peak 345 (WALC Switchyard) | PPD3 | PINNACLE.PK345 | Glen Canyon-Pinnacle Peak WAPA-DSW Line
Platte River Power Authority System | PRPA | PRPA SYSTEM
Poncha Junction Substation | PONC | PONCHA JCT
Ponnequin Substation | PONN | PONNEQUIN
Port Angeles, City of | PTA
Port Townsend | PT | PTTOWNSEND
Power Pool of Alberta | PPOA | PPOA
Princeton | PRN | PRINCETON
Puget Sound Energy | MIDC
Puget Sound Energy System | PSEI | PSEI.SYSTEM
Pyramid (POR only) | PYRA
Rawhide | RAW
Rawhide Generating Station | RAWH | RAWHIDE
Red Butte 345 | REDB |  | Interface with NEVP
Reynolds Metals - Longview | RACL | REYNOLDSLONG
Reynolds Metals - Troutdale | RACT | REYNOLDSTRDL
Richland, City of | RCHL | RICHLAND
Rifle Substation | RFL | RIFLE
River Road Reciprocal Generation | RRR
Rogers 230 | RGS2 | ROGERS230
S.Slocan 60 kV Bus | SLC6 | S.SLOCAN
Saguaro 500 | SG5 | SAGUARO500
San Juan 345 | SJN | SJ345
San Luis Valley (POD only) | SALV
SCL | MIDC
SCL SYSTEM | SCL
Shiprock 115 | SHR1 | SHIPROCK115
Shiprock 230 | SHR2 | SHIPROCK230
Shiprock 345 | SHR3 | SHIPROCK345
SIDNEY CONVERTER STATION EAST | SCSE | SIDNEYE230
SIDNEY CONVERTER STATION WEST | SCSW | SIDNEYW230
Silver King 500kV Switchyard | SI5 | SILVERKIN500
Silver Peak | SLPK | SILVER.PEAK
Slatt | SLAT |  | Starting POR for Boardman generation
Snohomish Co. PUD | SNOH | SNOH
South Loop 345 | SO3 | SOUTHLOOP345
South of path 15 load zone inside CISO | SP15 | NONE | Network service
Southwest Rangely138 | SWR
SPPC Internal | SPPC
Springerville 345 | SP3 | SPRINGER345
Springfied Generation Farm | SGF
Springfield Utility Board | SUB | SUB
Starwood | STR | TPWR.STARWOOD | PSEI-TPWR interface
Steadman | STDM
STEGALL EAST230 | SGE
STEGALL WEST230 | SGW | STEGALLW230
Story | STY
Summer Falls | SF
Summit | SUM | SUMMIT
Sylmar | SYL
Tacoma | MIDC
Tillamook People's Utility Board | TLMK | TILLAMOOK
Toluca | TOL
Topock 230 | TOP2 | TOPOCK230
TS east | TSE
TS Nebraska | TSNE
TS south | TSS
TS west | TSW
TS Wyoming | TSWY
UtiliCorp Colorado System | WPE | WPE SYSTEM
Vail 345 | VL3 | VAIL345
Vanalco | VANA | VANALCO
VANTAGE | VANT
Vera Water & Power | VRA | VERA IRRIGATION
Vernal | VNL |  | Interface with WACM @ Vernal
Vernon | VNT | VERNON
Vigilante Electric Coop | VEC | VERNON
Walsenburg (POD only) | WALT
Waneta 230 kV Bus | WAN2 | BCHA.NETWORK
West Kootenay Power Ltd. | WK | WESTKOOTENAY
West Mesa 115 | WM1 | WM115
West Mesa 345 | WM3 | WM345
Westwing 230 | WW2 | WESTWING230
Westwing 345 | WW3 | WESTWING345
Westwing 500 | WW5 | WESTWING500
Whatcom Co. PUD | WCPD | WHATCOM
Wray | WRAY
Xcel Energy Colorado System | PSCO | PSCO SYSTEM
Xcel Energy Wyoming System | CLFP | CLFP SYSTEM
YAH-TA-HEY | YATH
Yellowtail (PACE) | YTP
Yellowtail (WAPA) | YTW
Note on B1: Mark W. Hackney: This is currently acceptable under manual imput. If future specs use the TSIN names, these will be discontinued.