## Analysis
Average Daily Volume
|  | 2000 | 2001 | Red Rock | 100% | 2002
| % | Actual | Actual | (120 MMBtu/d) | Capacity West | Plan
East to West (5%) | 5% | 331.8 | 358.4 | 478.4 | 478.4 | 427.73
Thor to West (4.5%) | 4.5% | 403.9 | 465.7 | 465.7 | 465.5 | 389.96
IG/SJ to West (4.75%) | 4.75% | 209 | 236.1 | 236.1 | 296.1 | 248.56
Total Volumes West |  | 944.7 | 1060.2 | 1180.2 | 1240 | 1066.25
IG to El Paso Blanco (.25%) | 0.25% | 309.9 | 335.3 | 335.3 | 335.3 | 304.7
IG to Blanco Hub and SJ to Thor (.25%) | 0.25% | 736.9 | 719.3 | 719.3 | 719.3 | 642.9
IG/SJ to East (1.56%) | 1.56% | 136.2 | 129.6 | 129.6 | 129.6 | 66.37
East to East (1.31%) | 1.31% | 266.5 | 329.7 | 329.7 | 329.7 | 347.9
Total Volumes |  | 2394.2 | 2574.1 | 2694.1 | 2753.9 | 2428.12
East to West (5%) |  | 16.59 | 17.92 | 23.92 | 23.92 | 21.3865
Thor to West (4.5%) |  | 18.1755 | 20.9565 | 20.9565 | 20.9475 | 17.5482
IG/SJ to West (4.75%) |  | 9.9275 | 11.2148 | 11.2148 | 14.0648 | 11.8066
IG to El Paso Blanco (.25%) |  | 0.77475 | 0.83825 | 0.83825 | 0.83825 | 0.76175
IG to Blanco Hub and SJ to Thor (.25%) |  | 1.8422 | 1.7982 | 1.7982 | 1.7982 | 1.6073
IG/SJ to East (1.56%) |  | 2.1247 | 2.0218 | 2.0218 | 2.0218 | 1.0354
East to East (1.31%) |  | 3.4912 | 4.3191 | 4.3191 | 4.3191 | 4.5575
Total Retention |  | 52.9259 | 59.0686 | 65.0686 | 67.9096 | 58.7032
Actual Fuel Usage |  | 28.1486 | 31.1143 | 40.1403 | 40.1403 | 33.7
Over Retention per day |  | 24.7773 | 27.9543 | 24.9283 | 27.7693 | 25.0032

## Fuel Use
Transwestern Pipeline Company
Fuel Analysis
[19 empty] | Sun Devil (100% lF) |  |  | Sun Devil (90% LF) |  |  | Sun Devil (80% LF) |  |  | Sun Devil (70% LF) |  | Sun Devil (60% LF)
| Current Fuel Use | [5 empty] | Red Rock Base (100%LF) |  |  | Red Rock Base (90%LF) |  |  | Red Rock Base (80%LF) |  | Red Rock Base (70%LF) |  | Red Rock Base (60%LF) |  |  | 500 MMcf/d to Phoenix |  | 500 MMcf/d to Phoenix |  |  | 500 MMcf/d to Phoenix |  |  | 500 MMcf/d to Phoenix |  | 500 MMcf/d to Phoenix
| 2000 |  |  | 2001 (10 Months) |  |  | 1210 MMcf/d |  |  | 1116 MMcf/d |  |  | 992 MMcf/d |  | 868 MMcf/d |  | 744 MMcf/d |  |  | 1520 MMcf/d Cal. Border |  | 1368 MMcf/d Cal. Border |  |  | 1216 MMcf/d Cal. Border |  |  | 1064 MMcf/d Cal. Border |  | 912 MMcf/d Cal. Border
| MMBtu | MMBtu/d | $ | MMBtu | MMBtu/d | $ | Horsepower |  | Fuel | Horsepower |  | Fuel | Horsepower | Fuel | Horsepower | Fuel | Horsepower | Fuel | Horsepower |  | Fuel | Horsepower |  | Fuel | Horsepower |  | Fuel | Horsepower | Fuel | Horsepower | Fuel
STA. 9 ROSWELL COMP. | 61775 | 0.16925 | 207845.99 | 73943 | 0.24323 | 282004.39 |  |  | 0.76 | [9 empty] | 3895 |  | 0.779 | 3645 |  | 0.729 | 2913 |  | 0.583 | 5268 | 0.527 | 4446 | 0.888
STA. 8 CORONA COMP. | 35474 | 0.097189 | 104392.96 | 73705 | 0.24245 | 518693.9 |  |  | 0 | [11 empty] | 0 |  |  | 0 |  |  | 0 |  | 0 |  | 0
STA. 7 MOUNTAINAIR COMP. | 19127 | 0.052403 | 66830.57 | 24204 | 0.079618 | 114687.24 |  |  | 0 | [11 empty] | 0 |  |  | 0 |  |  | 0 |  | 0 |  | 0
STA. 6 LAGUNA COMP. | 97810 | 0.26797 | 401463.16 | 3662 | 0.012046 | 17457.16 |  |  | 0 | [11 empty] | 0 |  |  | 0 |  |  | 0 |  | 0 |  | 0
STA. 5 THOREAU COMP. | 13899 | 0.038079 | 74242.17 | 117672 | 0.38708 | 622129.56 |  |  | 1.049 | [9 empty] | 5712 |  | 1.142 | 4743 |  | 1.4235 | 4041 |  | 1.078 | 3286 | 0.658 | 2056 | 0.412
STA. 4 KLAGETOH COMP. | 759104 | 2.0797 | 2679320.28 | 618367 | 2.0341 | 2924556.02 | 11432 |  | 2.344 | 13240 |  | 2.3196 | 8747 | 1.5325 | 8840 | 1.5488 | 0 | 0 | 25000 |  | 4.375 | 21026 |  | 3.679 | 14860 |  | 2.6 | 11825 | 2.068 | 10045 | 1.756
STA 3 LEUPP COMP. | 607911 | 1.6655 | 2198788.04 | 557513 | 1.8339 | 2663373.58 | 28000 |  | 4.9 | 13120 |  | 2.2986 | 8690 | 1.5225 | 0 | 0 | 0 | 0 | 24100 |  | 4.222 | 17350 |  | 3.036 | 14095 |  | 2.466 | 9705 | 1.698 | 0 | 0
STA 2 FLAGSTAFF COMP. | 635277 | 1.7405 | 2238230.82 | 559668 | 1.841 | 2629472.41 | 27500 |  | 4.375 | 13960 |  | 2.4458 | 8440 | 1.4787 | 15770 | 2.7629 | 11310 | 1.9815 | 25000 |  | 4.375 | 23364 |  | 4.089 | 14609 |  | 2.557 | 0 | 0 | 0 | 0
STA. 1.5 COMP. | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | [9 empty] | 9985 |  | 1.747 | 0 |  | 0 | 0 |  | 0 | 0 | 0 | 0 | 0
STA. 1 SELIGMAN COMP. | 509479 | 1.3958 | 1901266.03 | 498593 | 1.6401 | 2429198.5 | 27500 |  | 4.813 | 13150 |  | 2.3039 | 7510 | 1.3158 | 0 | 0 | 0 | 0 | 27500 |  | 4.813 | 25051 |  | 4.384 | 16014 |  | 2.803 | 0 | 0 | 0 | 0
STA. .5 KINGMAN COMP. | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0 | [9 empty] | 13511 |  | 2.364 | 0 |  | 0 | 0 |  | 0 | 20853 | 3.604 | 12569 | 2.2
STA. 10 BLOOMFIELD COMP. | 989141 | 2.71 | 3538732.69 | 861622 | 2.8343 | 4025329.87 | 8800 | G | 1.936 | 8800 | G | 1.936 | 8800 | 1.936 | 8800 | 1.936 | 7920 | 1.7452 | 13200 | G | 2.904 | 13200 | G | 2.904 | 13200 | G | 2.904 | 13200 | 2.904 | 13200 | 2.904
Bloomfield/Bisti/Gallup Electric Unit | 3654674 | 10.0128 | 13381728.28 | 3449196 | 11.346 | 16029836.88 | 27000 | E | 11.346 | 27000 | E | 11.346 | 27000 | 11.346 | 27000 | 11.346 | 24300 | 10.211 | 27000 | E | 11.346 | 22507 | E | 9.46 | 12000 | E | 5.043 | 5000 | 2.1011 | 0 | 0
STA. Gallup COMP. | 0 | 0 | 0 |  | 0 | 0 | 0 | [11 empty] | 9500 | G | 1.9 | 9500 | G | 1.9 | 6362 | G | 1.272 | 5798 | 1.16 | 1445 | 0.289
|  | 0 |  |  | 0
Total | 7383671 | 20.2292 | 26792840.99 | 6838145 | 22.4939 | 32256739.51 |  |  | 31.523 |  |  | 22.6499 |  | 19.1314 |  | 17.5937 |  | 13.9377 |  |  | 39.967 |  |  | 31.6045 |  |  | 21.306 |  | 14.7201 |  | 8.449
Annualized |  |  |  | 8210272.7796 | 22.4939 | 38729308.9512
Avg. Thruput to California per day | 944.6 | 0.021416 |  | 1027.1 | 0.0219 |  | 1210 |  | 0.026052 | 1116 |  | 0.020296 | 992 | 0.019286 | 868 | 0.020269 | 744 | 0.018733 | 2020 |  | 0.019786 | 1868 |  | 0.016919 | 1716 |  | 0.012416 | 1564 | 0.0094118 | 1412 | 0.0059837

## 2000MMBTU
TRANSWESTERN PIPELINE COMPANY
LIST OF FUEL AND COMPANY USE STATIONS
Calender Year 2000
(MMBTU BASIS)
MONTHLY INDEX PRICE
[6 empty] | NEW | OLD | [5 empty] | 2.24 | 2.26 | 2.43 | 2.64 | 2.79 | 3.31 | 4.09 | 3.85 | 4 | 4.64 | 4.77 | 5.37
[5 empty] | DEBIT | DETAIL | DETAIL | [5 empty] | 2000-01-01 | 2000-02-01 | 2000-03-01 | 2000-04-01 | 2000-05-01 | 2000-06-01 | 2000-07-01 | 2000-08-01 | 2000-09-01 | 2000-10-01 | 2000-11-01 | 2000-12-01
STATION |  | STATION NAME | REGION | LATERAL NAME | CODE | CLASS | CLASS | R.C. | PROCESS | ASSET | TYPE | TOTAL | 1999-12-01 | 2000-01-01 | 2000-02-01 | 2000-03-01 | 2000-04-01 | 2000-05-01 | 2000-06-01 | 2000-07-01 | 2000-08-01 | 2000-09-01 | 2000-10-01 | 2000-11-01
81130 |  | Wt-1 Eng #3 |  |  | 8540.902 | 501 | 501 | 2002 |  |  | C | 0
81530 |  | STA. 5 THOREAU ENG. #1 |  | NM STATE LINE THRU #5 | 8540.902 | 501 | 501 | 5085 | 6041 | 311 | C | 13899 |  | 2000-02-01: 58; 2000-03-01: 58; 2000-10-01: 111; 2000-11-01: 13672
81630 |  | STA. 6 LAGUNA ENG. #1 |  | STA. 5 THRU STA. 6 | 8540.902 | 501 | 501 | 5093 | 6041 | 321 | C | 97810 | 7377 |  |  | 427 | 2963 | 572 | 11023 | 16737 | 18745 | 18771 | 19608 | 1587
81720 |  | MOUNTAINAIR |  | STA. 6 THRU STA. 7 | 8540.902 | 501 | 501 | 5093 | 6041 | 331 | C | 18376 | 1119 | 1630 | 1665 | 1747 | 1301 | 1624 | 1240 | 1772 | 1874 | 1409 | 1222 | 1773
81730 |  | STA. 7 MOUNTAINAIR COMP. ENG. #1 |  | STA. 6 THRU STA. 7 | 8540.902 | 501 | 501 | 5093 | 6041 | 331 | C | 751 | 708 | 2000-03-01: 43
81830 |  | STA. 8 CORONA COMP. ENG. #1 |  | STA. 7 THRU STA. 8 | 8540.902 | 501 | 501 | 5095 | 6041 | 341 | C | 35474 | 6687 | 12669 | 2459 |  | 1722 | 2911 | 689 | 3796 |  |  | 2418 | 2123
81930 |  | ROSWELL ENG. #1 |  |  | 8540.902 | 501 | 501 | 5095 | 6041 | 351 | C | 61775 | 6607 | 864 | 7482 | 10511 | 8354 | 4410 | 5572 | 3877 | 116 | 4702 | 4287 | 4993
82130 |  | STA. 1 SELIGMAN COMP. #1 |  |  | 8540.902 | 501 | 501 | 5081 | 6041 | 121 | C | 509479 | 40057 | 27130 | 33950 | 45030 | 9375 | 37595 | 50863 | 56587 | 55618 | 53125 | 57351 | 42798
82230 |  | STA 2 FLAGSTAFF ENG. #1 |  | STA. 1 THRU STA. 2 | 8540.902 | 501 | 501 | 5083 | 6041 | 131 | C | 635277 | 53369 | 53494 | 54264 | 57211 | 40139 | 49258 | 56233 | 57661 | 60610 | 55017 | 60370 | 37651
82330 |  | STA 3 LEUPP COMP ENG. #1 |  | STA. 2 THRU STA. 3 | 8540.902 | 501 | 501 | 5083 | 6041 | 141 | C | 607911 | 55238 | 31481 | 43208 | 60072 | 26650 | 46751 | 60763 | 62924 | 62337 | 59031 | 61476 | 37980
82340 |  | NEEDLES MEAS. STA. FUEL |  | STA. 1 TO NEEDLES | 8540.902 | 501 | 501 | 5081 | 6036 | 100 | C | 19 | 3 | 2 | 2 | 2 | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2
82430 |  | STA. 4 KLAGETOH COM. ENG. #1 |  | STA. 3 TO AZ STATE LINE | 8540.902 | 501 | 501 | 5085 | 6041 | 151 | C | 759104 | 66353 | 62682 | 64948 | 69476 | 42823 | 62501 | 66641 | 66739 | 70862 | 65903 | 71094 | 49082
83020 |  | KEYSTONE STA |  | KEYSTONE | 8540.902 | 501 | 501 | 5280 | 6041 | 911 | C | 119225 | 8033 | 10059 | 10825 | 12994 | 12335 | 12502 | 6870 | 11496 | 11827 | 9913 | 7915 | 4456
83040 |  | WALTON PLANT FUEL |  | KEYSTONE | 8540.902 | 501 | 501 | 5280 | 6041 | 912 | C | 0
83360 |  | KEYSTONE TURBINE #1 |  | KEYSTONE | 8540.902 | 501 | 501 | 5280 | 6052 | 911 | C | 8903 |  | 2000-11-01: 8903
83370 |  | IVANHOE STATION |  | LIPS-MOCANE OK | 8540.902 | 501 | 501 | 4537 | 6041 | 761 | C | 0
83380 |  | IVANHOE PLT HEATER FUEL |  | LIPS-MOCANE OK | 8540.902 | 501 | 501 | 4537 | 6041 | 761 | C | 24372 | 3021 | 2536 | 1327 |  |  |  |  | 2520 | 1299 | 4134 | 4888 | 4647
83383 |  | IVANHOE WELDING SHOP |  | LIPS-MOCANE OK | 8540.902 | 501 | 501 | 4537 | 6041 | 761 | C | 474 | 92 | 198 | 40 | 42 | 22 | 8 | 2 | 2 |  | 4 | 10 | 54
83384 |  | IVANHOE OFFICE & TECH SHOP |  | LIPS-MOCANE OK | 8540.902 | 501 | 501 | 4537 | 6041 | 761 | C | 441 | 75 | 2000-01-01: 74; 2000-02-01: 145; 2000-03-01: 8; 2000-04-01: 19; 2000-05-01: 13; 2000-11-01: 107
83390 |  | PAMPA TURBINE #1 |  | VALVE 311 THRU P-3 | 8540.902 | 501 | 501 | 4102 | 6052 | 601 | C | 23647 | 2241 | 4569 | 2958 | 1 | 5147 | 5395 | 1 | 21 | 265 | 2189 | 860
83430 |  | WT-2 ENG #1 |  | WT LAT-TX ST LINE SOUTH | 8540.902 | 501 | 501 | 5280 | 6041 | 901 | C | 433777 | 23799 | 29942 | 38480 | 33003 | 38704 | 50270 | 34347 | 42489 | 40475 | 38486 | 31579 | 32203
83610 |  | CRAWFORD LAT COMP |  | CRAWFORD | 8540.902 | 501 | 501 | 5129 | 6052 | 831 | C | 98090 | 9646 | 8573 | 8395 | 8340 | 7524 | 5974 | 8336 | 8423 | 8392 | 8752 | 7809 | 7926
83670 |  | ATOKA #2 COMP |  | ATOKA | 8540.902 | 501 | 501 | 5128 | 6041 | 812 | C | 202247 | 17684 | 17907 | 15835 | 16885 | 16239 | 16931 | 16089 | 16244 | 16313 | 16471 | 17646 | 18003
83690 |  | ATOKA #3 COMP |  | ATOKA | 8540.902 | 501 | 501 | 5128 | 6041 | 813 | C | 306251 | 32277 | 28262 | 18538 | 23731 | 26741 | 27132 | 23936 | 24538 | 26835 | 23898 | 25710 | 24653
83750 |  | CANADIAN COMP ENG #1 |  | CANADIAN RIVER | 8540.902 | 501 | 501 | 4115 | 6041 | 731 | C | 2323 | 11 | 2000-06-01: 380; 2000-07-01: 329; 2000-10-01: 795; 2000-11-01: 808
83780 |  | ATOKA #1 COMP |  | ATOKA | 8540.902 | 501 | 501 | 5128 | 6041 | 811 | C | 30106 | 2569 | 2785 | 2717 | 2666 | 1393 | 1815 | 2912 | 2797 | 1951 | 2697 | 2951 | 2853
83781 |  | ATOKA #1 UNIT 719 |  |  | 8540.902 | 501 | 501 | 5128 | 6041 | 811 | C | 40334 | 3705 | 3628 | 3428 | 3677 | 3421 | 3599 | 3317 | 3253 | 3712 | 2721 | 2797 | 3076
83990 |  | MALJAMAR COMPRESSOR |  | MALJAMAR | 8540.902 | 501 | 501 | 5128 | 6041 | 821 | C | 11285 | 62 | 93 | 2495 | 280 | 165 | 261 | 1928 | 2044 | 796 | 974 | 1239 | 948
83991 |  | MALJAMAR COMPRESSOR |  | MALJAMAR | 8540.902 | 501 | 501 | 5128 | 6041 | 821 | C | 44210 | 4923 | 4460 | 1223 | 3270 | 4447 | 3877 | 4361 | 3810 | 4169 | 3241 | 3186 | 3243
84130 |  | P-1 YARD TURBINE |  | PH LAT-STA.9 TO TX ST LINE | 8540.902 | 501 | 501 | 5095 | 6052 | 401 | C | 106 | 5 | 14 | 9 | 3 | 2 | 6 | 1 | 1 |  | 8 | 10 | 47
84160 |  | P-2 TURBINE FUEL |  | TX ST LINE TO VALVE 311 | 8540.902 | 501 | 501 | 5095 | 6052 | 501 | C | 1187 | 694 | 414 | 21 | 12 | 7 | 14 | 3 |  |  |  | 3 | 19
84201 |  | SAN JUAN COMPRESSOR FUEL #1 |  | SAN JUAN | 8540.902 | 501 | 501 | 5085 | 6052 | 201 | C | 989141 | 84256 | 66386 | 69953 | 86267 | 65660 | 92664 | 91498 | 93370 | 92706 | 81107 | 93427 | 71847
84232 |  | Canadian River Dehy #1 & #2 |  | CANADIAN RIVER | 8540.902 | 501 | 501 | 4115 | 6041 | 731 | C | 1125 | 342 | 2000-01-01: 534; 2000-02-01: 249
84259 |  | THERMAL GENERATOR SECTION 3 |  |  | 8540.902 | 501 | 501 | 5129 | 6052 | 830 | C | 0
84260 |  | THERMAL GENERATIONR SECTION 1 SEG 1 |  | STA. 6 THRU STA. 7 | 8540.902 | 501 | 501 | 5129 | 6052 | 830 | C | 0
84265 |  | MONUMENT II FUEL #1 |  | MONUMENT | 8540.902 | 501 | 501 | 5129 | 6052 | 841 | C | 5750 | 35 | 17 | 337 |  | 9 | 310 | 185 | 322 | 321 |  | 2395 | 1819
84266 |  | MONUMENT II FUEL #2 |  | MONUMENT | 8540.902 | 501 | 501 | 5129 | 6052 | 841 | C | 71303 | 6967 | 7716 | 6275 | 8264 | 7627 | 4454 | 7507 | 7280 | 6803 | 3999 | 3633 | 778
84284 |  | LONE STAR/VALERO COMP. |  | WT LAT-TX ST LINE SOUTH | 8540.902 | 501 | 501 | 5271 | 6052 | 902 | C | 251 |  | 2000-01-01: 95; 2000-08-01: 109; 2000-09-01: 47
84287 |  | STATION #2 FILTER SEPERATOR |  | STA. 1 THRU STA. 2 | 8540.902 | 501 | 501 | 2002 | 6041 | 131 | C | 0
84290 |  | LA PLATA "A" ENGINE FUEL GAS |  | SAN JUAN | 8540.902 | 501 | 501 | 5091 | 6041 | 231 | C | 691883 | 60652 | 65070 | 56733 | 58518 | 44931 | 57264 | 56258 | 56782 | 57296 | 56400 | 62332 | 59647
84291 |  | LA PLATA "A" DOMESTIC FUEL GAS |  | SAN JUAN | 8540.902 | 501 | 501 | 5091 | 6030 | 231 | C | 679 | 134 | 2000-01-01: 97; 2000-02-01: 94; 2000-03-01: 102; 2000-04-01: 17; 2000-11-01: 235
|  | BISTI/BLOOMFIELD/GALLUP FUEL GAS |  | SAN JUAN | 8540.902 | 501 | 501 | 5091 | 6030 | 205/204 | C | 3654674 | 250552 | 248923 | 235021 | 249463 | 242752 | 343727 | 359852 | 346140 | 370635 | 357243 | 373031 | 277335
9262 |  | BLUITT/WARREN DELIVERY - NOT FUEL |  |  | 8560.902 | 547 |  | 2002 |  |  | O | 0 |  | 2000-10-01: 0; 2000-11-01: 0
19059 |  | LEEDY LATERAL UNMEASURED COMP |  |  | 8560.902 | 504 |  | 5095 |  |  | O | 0 |  | 2000-10-01: 0; 2000-11-01: 0
39509 |  | LEFORS PLANT 78-1 |  |  | 8560.902 | 547 |  | 2002 |  |  | O | 0 |  | 2000-10-01: 0; 2000-11-01: 0
|  | COST OF TRANSPORT - COMPRESSOR FUEL USE | [9 empty] | 9501659 | 749293 | 692304 | 683134 | 752103 | 610490 | 831839 | 870808 | 891955 | 914067 | 870243 | 920155 | 715268
|  | COST OF SALES - COMPRESSOR FUEL USE |  |  | 8100.999 | [6 empty] | -9501659 | -749293 | -692304 | -683134 | -752103 | -610490 | -831839 | -870808 | -891955 | -914067 | -870243 | -920155 | -715268
50100 |  | LIPSCOMB-MOCANE UNMEASURED COMP |  | LIPS-MOCANE TX | 8560.902 | 501 | 504 | 4130 | 6036 | 720 | O | 0 | 0 | 2000-01-01: 0
50103 |  | GUYMON LATERAL UNMEASURED COMP. FUEL |  | CACTUS | 8560.902 | 501 |  | 4072 |  |  | O | 0 | 0
50104 |  | LEFORS LATERAL UNMEASURED COMP. FUEL |  | LEFORS | 8560.902 | 501 |  | 4102 |  |  | O | 0 | 0
50105 |  | P-2 TO P-3 LATERAL UNMEASURED COMP. FUEL |  | VALVE 311 THRU P-3 | 8560.902 | 501 | 504 | 4102/5095 | 6036 | 500/730 | O | 70834 | 95 | 70619 | 11 | 11 | 11 | 10 | 11 | 11 | 11 | 17 | 17 | 10
50106 |  | P-1 TO P-2 LATERAL UNMEASURED COMP. FUEL |  | TX ST LINE TO VALVE 311 | 8560.902 | 501 | 504 | 5095 | 6036 | 300 | O | 234 |  | 2000-04-01: 117; 2000-10-01: 117
50107 |  | STA-9 TO P-1 LATERAL UNMEASURE COMP. FUEL |  | PH LAT-STA.9 TO TX ST LINE | 8560.902 | 501 |  | 5095 |  |  | O | 0
50108 |  | GOMEZ LATERAL UNMEASURED COMP. FUEL |  | GOMEZ 20" | 8560.902 | 501 |  | 5271 |  |  | O | 0
50109 |  | WT-2 TO PECOS LATERAL UNMEASURED COMP. FUEL |  | WT LAT-TX ST LINE SOUTH | 8560.902 | 501 | 504 | 5280 | 6036 | 900 | O | 0
50111 |  | KEYSTONE LATERAL UNMEASURED COMP. FUEL |  | KEYSTONE | 8560.902 | 501 |  | 5280 |  |  | O | 0
50112 |  | WT-1 TO WT-2 LATERAL UNMEASURED COMP. FUEL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 |  | 2002 |  |  | O | 0
50113 |  | MONUMENT LATERAL UNMEASURED COMP. FUEL |  | MONUMENT | 8560.902 | 501 |  | 5129 |  |  | O | 0
50114 |  | CRAWFORD LATERAL UNMEASURED COMP. FUEL |  | CRAWFORD | 8560.902 | 501 |  | 5129 |  |  | O | 0
50115 |  | MALJAMAR LATERAL UNMEASURED COMP. FUEL |  | MALJAMAR | 8560.902 | 501 |  | 5128 |  |  | O | 0
50116 |  | ATOKA LATERAL UNMEASURED COMP. FUEL |  | ATOKA | 8560.902 | 501 | 504 | 5128 | 6036 | 810 | O | 178166 | 12848 | 13051 | 11997 | 13578 | 12431 | 12819 | 1248 | 15173 | 22049 | 21326 | 21716 | 19930
50117 |  | WT-1 TO STA-9 LATERAL UNMEASURED COMP. FUEL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 |  | 5095/5128/5129 |  |  | O | 0
50118 |  | STA-8 TO STA-9 LATERAL UNMEASURED COMP. FUEL |  | STA. 8 THRU STA. 9 | 8560.902 | 501 | 504 | 5095 | 6036 | 300 | O | 7 |  | 2000-08-01: 7
50119 |  | STA-7 TO STA-8 LATERAL UNMEASURED COMP. FUEL |  | STA. 7 THRU STA. 8 | 8560.902 | 501 |  | 2002 |  |  | O | 0
50121 |  | STA-6 TO STA-7 LATERAL UNMEASURED COMP. FUEL |  | STA. 6 THRU STA. 7 | 8560.902 | 501 |  | 5093 |  |  | O | 0
50122 |  | STA-5 TO STA-6 LATERAL UNMEASURED COMP. FUEL |  | STA. 5 THRU STA. 6 | 8560.902 | 501 |  | 2002 |  |  | O | 0
50123 | SAN JUAN LATERAL UNMEASURED COMP. FUEL | LEEDY LATERAL UNMEASURED COMP |  | SAN JUAN | 8560.902 | 501 |  | 5085 |  |  | O | 0
50124 |  | STA-4 TO STA-5 LATERAL UNMEASURED COMP. FUEL |  | NM STATE LINE THRU #5 | 8560.902 | 501 |  | 5085 |  |  | O | 0
50125 |  | STA-3 TO STA-4 LATERAL UNMEASURED COMP. FUEL |  | STA. 3 TO AZ STATE LINE | 8560.902 | 501 |  | 2002 |  |  | O | 110 |  | 2000-11-01: 110
50126 |  | STA-2 TO STA-3 LATERAL UNMEASURED COMP. FUEL |  | STA. 2 THRU STA. 3 | 8560.902 | 501 |  | 5083 |  |  | O | 4866 |  | 2000-11-01: 4866
50127 |  | STA-1 TO STA-2 LATERAL UNMEASURED COMP. FUEL |  | STA. 1 THRU STA. 2 | 8560.902 | 501 |  | 5081/5083 |  |  | O | 0
50128 |  | STA-1 TO CALIFORNIA LATERAL UNMEASURED COMP. FUEL |  | STA. 1 TO NEEDLES | 8560.902 | 501 |  | 5081 |  |  | O | 0
50129 |  | FELDMAN TO P-3 LATERAL UNMEASURED COMP. FUEL |  | CANADIAN STA. THRU FELDMAN | 8560.902 | 501 | 504 | 4115 | 6036 | 740 | O | 1209 | 297 | 467 | 282 | 5 | 5 | 26 | 27 |  |  | 17 | 29 | 54
50131 |  | LEEDY LATERAL UNMEASURED COMP. FUEL |  | LEEDY TX | 8560.902 | 501 | 504 | 4115 | 6036 | 780 | O | 0
50200 | LIPSCINB-MOCANE UNMETERED LOSS | LIPSCOMB-MOCANE UNMETERED LOSS |  | LIPS-MOCANE TX | 8560.902 | 501 | 504 | 4537 | 6036 | 750 | O | 3265 | 258 | 174 | 174 | 287 | 282 | 282 | 282 | 288 | 385 | 287 | 284 | 282
50203 | GUYMON LATERAL UNMETERED LOSS | WT-1 TO STA-9 LATERAL UNMETERED LOSS |  | CACTUS | 8560.902 | 501 |  | 4072 | 6036 | 710 | O | 0
50204 | LEFORS LATERAL UNMETERED LOSS | WT-1 TO STA-9 LATERAL UNMETERED LOSS |  | LEFORS | 8560.902 | 501 |  | 4102 |  |  | O | 51 |  | 2000-01-01: 17; 2000-04-01: 17; 2000-07-01: 17
50205 |  | P-2 TO P-3 LATERAL UNMETERED LOSS |  | VALVE 311 THRU P-3 | 8560.902 | 501 | 504 | 4102/5095 | 6036 | 500/730 | O | 0
50206 |  | P-1 TO P-2 LATERAL UNMETERED LOSS |  | TX ST LINE TO VALVE 311 | 8560.902 | 501 | 504 | 5095 | 6036 | 400/500 | O | 1790 |  | 2000-02-01: 31; 2000-04-01: 53; 2000-06-01: 106; 2000-09-01: 1600
50207 |  | STA-9 TO P-1 LATERAL UNMETERED LOSS |  | PH LAT-STA.9 TO TX ST LINE | 8560.902 | 501 | 504 | 5095 | 6036 | 400 | O | 3631 |  |  |  | 346 | 240 | 187 | 353 | 840 | 354 | 430 | 455 | 426
50208 | GOMEZ LATERAL UNMETERED LOSS | STA-5 TO STA-6 LATERAL UNMETERD LOSS |  | GOMEZ 20" | 8560.902 | 501 |  | 5271 |  |  | O | 0
50209 |  | WT-2 TO PECOS LATERAL UNMETERED LOSS |  | WT LAT-TX ST LINE SOUTH | 8560.902 | 501 | 504 | 5280 | 6036 | 900 | O | 9669 | 1377 | 1377 | 1474 | 1377 | 1377 | 1419 | 197 | 197 | 261 | 219 | 197 | 197
50211 |  | KEYSTONE LATERAL UNMETERED LOSS |  | KEYSTONE | 8560.902 | 501 | 504 | 5280 | 6036 | 910 | O | 5789 | 51 | 64 | 52 | 50 | 87 | 744 | 874 | 745 | 813 | 794 | 775 | 740
50212 |  | WT-1 TO WT-2 LATERAL UNMETERED LOSS |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 | 504 | 5129/5280 | 6036 | 800/900 | O | 9881 | 820 | 1294 | 2789 | 1020 | 865 | 576 | 555 | 361 | 308 | 293 | 604 | 396
50213 |  | MONUMENT LATERAL UNMETERED LOSS |  | MONUMENT | 8560.902 | 501 | 504 | 5129 | 6036 | 840 | O | 2188 | 339 | 318 | 367 | 316 | 34 | 113 | 123 | 219 | 84 | 104 | 77 | 94
50214 |  | CRAWFORD LATERAL UNMETERED LOSS |  | CRAWFORD | 8560.902 | 501 | 504 | 5129 | 6036 | 830 | O | 15764 | 94 | 32 | 468 | 408 | 717 | 8424 | 2129 | 890 | 558 | 465 | 1130 | 449
50215 |  | MALJAMAR LATERAL UNMETERED LOSS |  | MALJAMAR | 8560.902 | 501 | 504 | 5128 | 6036 | 820 | O | 8743 | 423 | 428 | 420 | 554 | 312 | 313 | 326 | 315 | 4655 | 304 | 302 | 391
50216 |  | ATOKA LATERAL UNMETERED LOSS |  | ATOKA | 8560.902 | 501 | 504 | 5128 | 6036 | 810 | O | 40413 | 950 | 583 | 741 |  | 689 | 463 | 12350 | 16227 | 2778 | 2362 | 2180 | 1090
50217 |  | WT-1 TO STA-9 LATERAL UNMETERERED LOSS |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 | 504 | 5095/5128/5129 | 6036 | 800 | O | 3761 |  |  | 144 | 345 | 229 | 190 | 352 | 841 | 355 | 426 | 454 | 425
50218 |  | STA-8 TO STA-9 LATERAL UNMETERED LOSS |  | STA. 8 THRU STA. 9 | 8560.902 | 501 | 504 | 5095 | 6036 | 300 | O | 9687 | 84 | 909 | 1910 | 924 |  | 488 | 673 | 1164 | 679 | 973 | 997 | 886
50219 |  | STA-7 TO STA-8 LATERAL UNMETERED LOSS |  | STA. 7 THRU STA. 8 | 8560.902 | 501 | 504 | 5093/5095 | 6036 | 300 | O | 2793 | [5 empty] | 301 | 320 | 323 | 323 | 537 | 535 | 454
50221 |  | STA-6 TO STA-7 LATERAL UNMETERED LOSS |  | STA. 6 THRU STA. 7 | 8560.902 | 501 | 504 | 5093 | 6036 | 300 | O | 5421 | 683 | 420 | 468 | 476 | 468 | 355 | 479 | 480 | 425 | 426 | 371 | 370
50222 |  | STA-5 TO STA-6 LATERAL UNMETERED LOSS |  | STA. 5 THRU STA. 6 | 8560.902 | 501 |  | 5085/5093 | 6036 | 300 | O | 49715 |  | 76 | 76 | 38 | 39 | 38 | 898 | 531 | 1996 | 458 | 44325 | 1240
50223 |  | SAN JUAN LATERAL UNMETERED LOSSS |  | SAN JUAN | 8560.902 | 501 | 504 | 5085 | 6036 | 200 | O | 7277 | 90 | 181 | 80 | 211 | 4216 | 160 | 539 |  |  | 416 | 347 | 1037
50224 |  | STA-4 TO STA-5 LATERAL UNMETERED LOSS |  | NM STATE LINE THRU #5 | 8560.902 | 501 | 504 | 5085 | 6036 | 300 | O | 38390 |  | 2177 | 2830 | 2339 | 3592 | 1845 | 3480 | 3545 | 3888 | 4500 | 6791 | 3403
50225 |  | STA-3 TO STA-4 LATERAL UNMETERED LOSS |  | STA. 3 TO AZ STATE LINE | 8560.902 | 501 | 504 | 5083/5085 | 6036 | 100 | O | 3556 | 115 |  | 336 | 188 | 359 | 1000 | 349 | 512 | 189 | 322 | 186
50226 |  | STA-2 TO STA-3 LATERAL UNMETERED LOSS |  | STA. 2 THRU STA. 3 | 8560.902 | 501 | 504 | 5083 | 6036 | 100 | O | 54116 | 4870 |  | 5072 | 4487 | 8581 | 5018 | 5663 | 5434 | 4699 | 5700 | 4592
50227 |  | STA-1 TO STA-2 LATERAL UNMETERED LOSS |  | STA. 1 THRU STA. 2 | 8560.902 | 501 | 504 | 5081/5083 | 6036 | 100 | O | 16709 | 2367 | 1263 | 1423 | 927 | 1732 | 1302 | 645 | 1542 | 1702 | 2328 | 562 | 916
50228 |  | STA-1 TO CALIFORNIA LATERAL UNMETERED LOSS |  | STA. 1 TO NEEDLES | 8560.902 | 501 | 504 | 5081 | 6036 | 100 | O | 9211 | 632 | 830 | 758 | 769 | 833 | 641 | 768 | 691 | 676 | 743 | 939 | 931
50229 |  | FELDMAN TO P-3 LATERAL UNMETERED LOSS |  | CANADIAN STA. THRU FELDMAN | 8560.902 | 501 | 504 | 4115 | 6036 | 740 | O | 0
50231 |  | LEEDY LATERAL UNMETERED LOSS |  |  | 8560.902 | 501 | 504 | 2002 |  |  | O | 2502 |  | 2000-01-01: 23; 2000-02-01: 23; 2000-03-01: 32; 2000-11-01: 2424
50232 |  | IGNACIO/NM UNMETERED GAS LOSS |  |  | 8560.902 | 501 | 504 |  |  |  | O | 2416 | 203 | 203 | 201 | 201 | 202 | 201 | 199 | 201 | 201 | 202 | 201 | 201
50233 |  | IGNACIO/CO UNMETERED GAS LOSS |  |  | 8560.902 | 501 | 504 |  |  |  | O | 17297 | 108 | 508 | 11547 | 428 | 2151 | 1168 | 102 | 469 | 30 | 544 | 30 | 212
50303 |  | GUYMON LATERAL V.E. |  | CACTUS | 8560.902 | 501 | 504 | 4072 | 6036 | 710 | O | 0
50304 |  | LEFORS LATERAL V.E. |  | LEFORS | 8560.902 | 501 |  | 4102 |  |  | O | 0
50305 |  | P-2 TO P-3 LATERAL V.E. |  | VALVE 311 THRU P-3 | 8560.902 | 501 |  | 2002 |  |  | O | 0
50306 |  | P-1 TO P-2 LATERAL V.E. |  | TX ST LINE TO VALVE 311 | 8560.902 | 501 |  | 5095 |  |  | O | 0
50307 |  | STA-9 TO P-1 LATERAL V.E. |  | PH LAT-STA.9 TO TX ST LINE | 8560.902 | 501 |  | 5095 |  |  | O | 0
50308 |  | GOMEZ LATERAL V.E. |  | GOMEZ 20" | 8560.902 | 501 |  | 5271 |  |  | O | 0
50309 |  | WT-2 TO PECOS LATERAL V.E. |  | WT LAT-TX ST LINE SOUTH | 8560.902 | 501 |  | 5280 |  |  | O | 0
50311 |  | KEYSTONE LATERAL V.E. |  | KEYSTONE | 8560.902 | 501 |  | 5280 |  |  | O | 0 |  | 2000-05-01: 0
50312 |  | WT-1 TO WT-2 LATERAL V.E. |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
50314 |  | CRAWFORD LATERAL V.E. |  |  | 8560.902 | 501 | 504 | 5129 |  |  | O | 0
50316 |  | Aloka Later V.E. |  |  | 8560.902 | 501 |  |  |  |  | O | 2964 |  | 2000-10-01: 1729; 2000-11-01: 1235
50318 |  | STA 8 TO STA 9 LATERAL V.E. |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
50321 |  | STA-6 STA-7 LATERAL V.E. |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
50329 |  | FELDMAN TO P-3 LATERAL V.E. |  | CANADIAN STA. THRU FELDMAN | 8560.902 | 501 | 504 | 4115 | 6036 | 740 | O | 8812 | 840 | 273 | 282 | 265 | 382 | 335 | 279 | 1188 | 1213 | 1245 | 1313 | 1197
50331 |  | LEEDY LATERAL V.E. |  | LEEDY TX | 8560.902 | 501 |  | 4130 |  |  | O | 0
50400 |  | LIPSCOMB-MOCANE WATER REMOVAL |  | LIPS-MOCANE TX | 8560.902 | 501 |  | 4524 |  |  | O | 0
50403 |  | GUYMON LATERAL WATER REMOVAL |  | CACTUS | 8560.902 | 501 | 504 | 4072 | 6036 | 710 | O | 25 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 3 | 2 | 2
50404 |  | LEFORS LATERAL WATER REMOVAL |  | LEFORS | 8560.902 | 501 |  | 4102 |  |  | O | 0
50405 |  | P-2 TO P-3 LATERAL WATER REMOVAL |  | VALVE 311 THRU P-3 | 8560.902 | 501 |  | 4115 | 6036 |  | O | 0
50406 |  | P-1 TO P-2 LATERAL WATER REMOVAL |  | TX ST LINE TO VALVE 311 | 8560.902 | 501 |  | 5095 |  |  | O | 0
50407 |  | STA-9 TO P-1 LATERAL WATER REMOVAL |  | PH LAT-STA.9 TO TX ST LINE | 8560.902 | 501 |  | 5095 |  |  | O | 0
50408 |  | GOMEZ LATERAL WATER REMOVAL |  | GOMEZ 20" | 8560.902 | 501 |  | 5271 |  |  | O | 0
50409 |  | WT-2 TO PECOS LATERAL WATER REMOVAL |  | WT LAT-TX ST LINE SOUTH | 8560.902 | 501 |  | 5280 |  |  | O | 0
50411 |  | KEYSTONE LATERAL WATER REMOVAL |  | KEYSTONE | 8560.902 | 501 |  | 5280 |  |  | O | 0
50412 |  | WT-1 TO WT-2 LATERAL WATER REMOVAL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 |  | 4115 | 6036 | 800 | O | 0
50413 |  | MONUMENT LATERAL WATER REMOVAL |  | MONUMENT | 8560.902 | 501 |  | 5129 |  |  | O | 0
50414 |  | CRAWFORD LATERAL WATER REMOVAL |  | CRAWFORD | 8560.902 | 501 |  | 5129 |  |  | O | 0
50415 |  | MALJAMAR LATERAL WATER REMOVAL |  | MALJAMAR | 8560.902 | 501 | 504 | 5128 | 6036 | 820 | O | 0
50416 |  | ATOKA LATERAL WATER REMOVAL |  | ATOKA | 8560.902 | 501 |  | 5128 |  |  | O | 0
50417 |  | WT-1 TO STA-9 LATERAL WATER REMOVAL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 |  | 2002 |  |  | O | 0
50418 |  | STA-8 TO STA-9 LATERAL WATER REMOVAL |  | STA. 8 THRU STA. 9 | 8560.902 | 501 |  | 5095 |  |  | O | 0
50419 |  | STA-7 TO STA-8 LATERAL WATER REMOVAL |  | STA. 7 THRU STA. 8 | 8560.902 | 501 |  | 2002 |  |  | O | 0
50421 |  | STA-6 TO STA-7 LATERAL WATER REMOVAL |  | STA. 6 THRU STA. 7 | 8560.902 | 501 |  | 5093 |  |  | O | 0
50422 |  | STA-5 TO STA-6 LATERAL WATER REMOVAL |  | STA. 5 THRU STA. 6 | 8560.902 | 501 |  | 2002 |  |  | O | 0
50423 |  | SAN JUAN LATERAL WATER REMOVAL |  | SAN JUAN | 8560.902 | 501 |  | 5085 |  |  | O | 0
50424 |  | STA-4 TO STA-5 LATERAL WATER REMOVAL |  | NM STATE LINE THRU #5 | 8560.902 | 501 |  | 5085 |  |  | O | 0
50425 |  | STA-3 TO STA-4 LATERAL WATER REMOVAL |  | STA. 3 TO AZ STATE LINE | 8560.902 | 501 |  | 2002 |  |  | O | 0
50426 |  | STA-2 TO STA-3 LATERAL WATER REMOVAL |  | STA. 2 THRU STA. 3 | 8560.902 | 501 |  | 5083 |  |  | O | 0
50427 |  | STA-1 TO STA-2 LATERAL WATER REMOVAL |  | STA. 1 THRU STA. 2 | 8560.902 | 501 |  | 2002 |  |  | O | 0
50428 |  | STA-1 TO CALIFORNIA LATERAL WATER REMOVAL |  | STA. 1 TO NEEDLES | 8560.902 | 501 |  | 5081 |  |  | O | 0
50429 |  | FELDMAN TO P-3 LATERAL WATER REMOVAL |  | CANADIAN STA. THRU FELDMAN | 8560.902 | 501 | 504 | 4115 | 6036 | 740 | O | 0
50431 |  | LEEDY LATERAL WATER REMOVAL |  |  | 8560.902 | 501 |  | 4130 |  |  | O | 0
50511 |  | STA. 6 TO RIO GRANDE LAT. UNMEAS COMP FUEL |  |  | 8560.902 | 501 | 504 | 2002 |  |  | O | 0
50512 |  | STA. 6 TO RIO GRANDE LAT. UNMETERED LOSS |  |  | 8560.902 | 501 | 504 | 2002 |  |  | O | 1136 |  | 15 | 30 | 106 | 95 | 73 | 104 | 180 | 101 | 149 | 115 | 168
80029 |  | V.E. P-1 TO ROSWELL |  |  | 8560.902 | 501 | 504 | 5095 | 6036 | 400 | O | 1600 | 464 | 2000-04-01: 1136
80047 |  | TW/ANR COMPRESSOR FUEL #802 |  |  | 8560.902 | 501 |  | 4102 |  |  | O | 0
80049 |  | PYOTE TO WT2 |  |  | 8560.902 | 501 |  | 5280 |  |  | O | 0
80050 |  | WT2 TO WT1 |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
80054 |  | P3 TO P2 |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
80055 |  | P-2 TO P-1 |  |  | 8560.902 | 501 |  | 5095 |  |  | O | 0
80056 |  | P-1 TO ROSWELL |  |  | 8560.902 | 501 |  | 5095 |  |  | O | 0
80057 |  | STATION 9 TO STATION 8 |  |  | 8560.902 | 501 |  | 5095 |  |  | O | 0
80058 |  | STATION 8 TO STATION 7 ???? |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
80059 |  | STATION 7 TO STATION 6 |  |  | 8560.902 | 501 |  | 5093 |  |  | O | 0
80060 |  | STATION 6 TO STATION 5 |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
80061 |  | STATION 5 TO STATION 4 |  |  | 8560.902 | 501 |  | 5085 |  |  | O | 0
80062 |  | STATION 4 TO STATION 3 |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
80063 |  | STATION 3 TO STATION 2 |  |  | 8560.902 | 501 |  | 5083 |  |  | O | 0
80064 |  | STATION 2 TO STATION 1 |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
80065 |  | STATION 1 TO NEEDLES |  |  | 8560.902 | 501 |  | 5081 |  |  | O | 0
80149 |  | ATOKA #1 DEHY FUEL |  | ATOKA | 8560.902 | 501 | 504 | 5128 | 6036 | 811 | O | 12005 | 792 | 952 | 752 | 960 | 975 | 997 | 968 | 914 | 1314 | 1120 | 1276 | 985
80150 |  | AGAVE LONG ARROYO OD FUEL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 |  | 2002 | 6036 | 800 | O | 792 | 792
80151 |  | AGAVE LONG ARROYO MQ FUEL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 |  | 2002 | 6036 | 800 | O | 792 | 792
80153 |  | NED STATE FUEL |  | STA. 8 THRU STA. 9 | 8560.902 | 501 |  | 2002 | 6036 | 300 | O | 3588 |  | 113 | 123 | 212 | 150 | 166 | 104 | 150 | 1585 | 160 | 160 | 665
80260 |  | THERMAL GEN/CATHODIC PROTECTION |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 2917 |  | 365 | 161 | 169 | 162 | 203 | 363 |  | 364 | 384 | 365 | 381
81120 |  | WT-1 AUXILIARY FUEL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 | 547 | 5129 | 6030 | 801 | O | 2919 | 1830 | 677 | 47 | 10 | 129 | 21 | 16 | 20 | 16 | 21 | 41 | 91
81520 |  | STA. 5 THOREAU AUX. FUEL |  | NM STATE LINE THRU #5 | 8560.902 | 501 | 547 | 2002 | 6030 | 311 | O | 138 | 26 | 32 | 20 | 22 | 10 | 1 |  | 1 | 1 | 2 | 5 | 18
81620 |  | STA. 6 LAGUNA AUX. FUEL |  | STA. 5 THRU STA. 6 | 8560.902 | 501 | 547 | 5093 | 6030 | 321 | O | 2889 | 651 | 315 | 104 | 487 | 208 | 265 | 105 | 182 | 106 | 97 | 212 | 157
81820 |  | STA. 8 CORONA FUEL |  | STA. 7 THRU STA. 8 | 8560.902 | 501 | 547 | 5095 | 6030 | 341 | O | 25590 | 4304 | 2655 | 2832 | 1779 | 1754 | 1142 | 1598 | 3423 | 1506 | 1240 | 1440 | 1917
81920 |  | ROSWELL AUXILIARY FUEL |  | STA. 8 THRU STA. 9 | 8560.902 | 501 | 547 | 5095 | 6030 | 351 | O | 2028 | 823 | 222 | 179 | 276 | 93 | 41 | 21 | 16 | 16 | 21 | 44 | 276
82120 |  | STA. 1 SELIGMAN AUX. FUEL |  | STA. 1 TO NEEDLES | 8560.902 | 501 | 547 | 5081 | 6030 | 121 | O | 6341 | 916 | 1434 | 1241 | 828 | 6 | 217 | 130 | 56 | 1061 | 184 | 62 | 206
82220 |  | STA. 2 FLAGSTAFF AUX. FUEL |  | STA. 1 THRU STA. 2 | 8560.902 | 501 | 547 | 5083 | 6030 | 131 | O | 12812 | 1286 | 1034 | 1158 | 1277 | 951 | 1051 | 1072 | 841 | 1053 | 744 | 1165 | 1180
82320 |  | STA. 3 LEUPP AUX. FUEL |  | STA. 2 THRU STA. 3 | 8560.902 | 501 | 547 | 5083 | 6030 | 141 | O | 19192 | 1768 | 1525 | 1812 | 1716 | 1367 | 1862 | 1321 | 1771 | 1309 | 1901 | 1548 | 1292
82340 |  | NEEDLES MEAS. STA. FUEL |  | STA. 1 TO NEEDLES | 8540.902 | 501 | 504 | 5081 | 6036 | 100 | O | 0
82420 |  | STA. 4 KLAGETOH AUX. FUEL |  | STA. 3 TO AZ STATE LINE | 8560.902 | 501 | 547 | 5085 | 6030 | 151 | O | 15248 | 1306 | 1308 | 1361 | 1271 | 1397 | 1384 | 1431 | 858 | 1286 | 1167 | 1172 | 1307
83030 |  | KEYSTONE STA AUXILIARY FUEL |  |  | 8560.902 | 501 |  | 5280 |  |  | O | 0
83100 |  | LEFORS STA |  | LEFORS | 8560.902 | 501 |  | 2002 |  |  | O | 0
83110 |  | LEFORS STA |  | LEFORS | 8560.902 | 501 |  | 2002 |  |  | O | 0
83320 |  | PAMPA STA AUXILIARY |  | VALVE 311 THRU P-3 | 8560.902 | 501 | 547 | 4102 | 6030 | 601 | O | 3465 | 716 | 415 | 567 | 390 | 315 | 94 | 95 | 85 | 70 | 77 | 236 | 405
83420 |  | WT-2 AUXILIARY FUEL |  | WT LAT-TX ST LINE SOUTH | 8560.902 | 501 | 547 | 5280 | 6030 | 901 | O | 28 | 14 | 2000-01-01: 7; 2000-03-01: 7
83782 |  | P3 Overhaul Engine Fuel |  |  | 8560.902 | 501 | 547 | 4102 | 6030 | 901 | O | 24 | 6 | 2000-01-01: 3; 2000-02-01: 3; 2000-04-01: 3; 2000-05-01: 6; 2000-08-01: 3
84204 |  | SAN JUAN AUXILLARY FUEL |  | SAN JUAN | 8560.902 | 501 | 547 | 5085 | 6030 | 201 | O | 11148 | 1883 | 1775 | 1221 | 1576 | 1278 | 4 |  | 7 | 4 | 8 | 242 | 3150
84220 |  | IVANHOE DEHY FUEL |  |  | 8560.902 | 501 |  | 4524 |  |  | O | 0
84223 |  | FOLLETT TBS GYLCOL HEATER |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 384 | 40 | 42 | 44 | 42 | 34 | 30 | 16 | 16 | 24 | 28 | 28 | 40
84233 |  | PAMPA P-3 DEHY FUEL |  |  | 8560.902 | 501 |  | 4102 |  |  | O | 0
84235 |  | CRAWFORD LATERAL DEHY WT1 |  | CRAWFORD | 8560.902 | 501 | 504 | 5129 | 6036 | 830 | O | 0
84264 |  | AMOCO ABO FUEL |  | ATOKA | 8560.902 | 501 | 547 | 2002 | 6036 | 999 | O | 11481 |  | 2000-01-01: 2088; 2000-02-01: 1181; 2000-03-01: 3; 2000-04-01: 7060; 2000-07-01: 1149
84268 |  | PEPL HANSFORD DEHY FUEL |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 273 | 33 | 39 | 45 | 36 | 22 | 12 | 16 | 3 |  | 22 | 45
84269 |  | FLAGSTAFF TBS FUEL #1 |  | STA. 2 THRU STA. 3 | 8560.902 | 501 | 504 | 5083 | 6036 | 100 | O | 3887 | 467 | 388 | 457 | 501 | 400 | 363 | 117 | 76 | 200 | 117 | 214 | 587
84288 |  | TW STA. #1 WASTE WATER BOILER FUEL |  | STA. 1 TO NEEDLES | 8560.902 | 501 | 504 | 5081 | 6030 | 121 | O | 455 |  | 2000-08-01: 158; 2000-09-01: 40; 2000-10-01: 159; 2000-11-01: 98
84292 |  | NAVAJO ORMAT GENERATOR SEC 4 |  |  | 8560.902 | 501 | 504 | 2002 | 6004 | 100 | O | 0
84294 |  | STA. 4 FUEL-GALLUP TEG-CPU |  |  | 8560.902 | 501 | 504 | 2002 | 6004 | 100 | O | 418 | 14 | 50 | 49 | 56 | 49 | 63 | 56 | 73 | 8
84295 |  | STA. 4 FUEL OILY WASTE |  |  | 8560.902 | 501 | 504 | 2002 | 6030 | 151 | O | 511 |  |  | 35 | 106 | 111 | 120 | 8 | 5 | 10 | 10 | 20 | 86
80006/50309 |  | VAPOR EQUIVALANT PUCKETT TO PY |  |  | 8560.902 | 501 |  | 5280 | 6030 | 231 | O | 0
80009/50307 |  | VAPOR EQUIV. N.M.STATELINE TO |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 | 504 | 5095 | 6036 | 400 | O | 247 |  | 2000-01-01: 247
80010/50317 |  | VAPOR EQUIV.WT-1 TO ROSWELL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 | 504 | 5095/5128/5129 | 6036 | 800 | O | 0
80025/50317 |  | V.E. P-2 TO N.M. STATELINE |  | TX ST LINE TO VALVE 311 | 8560.902 | 501 | 504 | 5095/5128/5129 | 6036 | 800 | O | 0
80033/50329 |  | V.E. OK STLNE TO CANADIAN RIVE |  |  | 8560.902 | 501 | 504 | 4115 | 6036 | 740 | O | 0
80032/50300 |  | V.E. @ IVENHOE STATION |  | LIPS-MOCANE | 8560.904 |  |  |  | 6036 | 750/760 | O | 39014 | 4817 | 7380 | 4303 |  |  |  |  | 4802 | 1398 | 4459 | 7280 | 4575
|  | COST OF TRANSPORT - OTHER FUEL USE | [9 empty] | 772584 | 51286 | 118370 | 61683 | 41414 | 57728 | 46535 | 40870 | 66834 | 60234 | 58992 | 107086 | 61552
|  | COST OF SALE - OTHER FUEL USE |  |  | 8120.100 | [6 empty] | -733570 | -46469 | -110990 | -57380 | -41414 | -57728 | -46535 | -40870 | -62032 | -58836 | -54533 | -99806 | -56977
|  | COST OF SALE - OTHER FUEL LIQUIDS |  |  | 8120.940 | [6 empty] | -39014 | -4817 | -7380 | -4303 | 0 | 0 | 0 | 0 | -4802 | -1398 | -4459 | -7280 | -4575
|  | TOTAL COMPANY FUEL USE | [9 empty] | 10274243 | 800579 | 810674 | 744817 | 793517 | 668218 | 878374 | 911678 | 958789 | 974301 | 929235 | 1027241 | 776820
[12 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 2001MMBTU
TRANSWESTERN PIPELINE COMPANIES
LIST OF FULE AND COMPANY USE STATIONS
Calender Year 2001
(Mmbtu Basis)
MONTHLY INDEX PRICE
[5 empty] | NEW | OLD | [5 empty] | 8.41 | 8.21 | 5.62 | 4.98 | 4.87 | 3.82 | 3.2 | 2.77 | 2.77 | 1.88
|  |  |  | DEBIT | DETAIL | DETAIL | [5 empty] | 2001-01-01 | 2001-02-01 | 2001-03-01 | 2001-04-01 | 2001-05-01 | 2001-06-01 | 2001-07-01 | 2001-08-01 | 2001-09-01 | 2001-10-01 | 2001-11-01 | 2001-12-01
STATION | STATION NAME | REGION | LATERAL NAME | CODE | CLASS | CLASS | R.C. | PROCESS | ASSET | TYPE | TOTAL | 2000-12-01 | 2001-01-01 | 2001-02-01 | 2001-03-01 | 2001-04-01 | 2001-05-01 | 2001-06-01 | 2001-07-01 | 2001-08-01 | 2001-09-01 | 2001-10-01 | 2001-11-01
81130 | Wt-1 Eng #3 |  |  | 8540.902 | 501 | 501 | 2002 |  |  | C | 0
81530 | STA. 5 THOREAU ENG. #1 |  | NM STATE LINE THRU #5 | 8540.902 | 501 | 501 | 5085 | 6041 | 311 | C | 117672 | 14388 | 19321 | 16644 | 19436 | 5447 | 6283 | 10206 | 12294 | 10406 | 3247
81630 | STA. 6 LAGUNA ENG. #1 |  | STA. 5 THRU STA. 6 | 8540.902 | 501 | 501 | 5093 | 6041 | 321 | C | 3662 |  | 2001-03-01: 3237; 2001-04-01: 26; 2001-05-01: 55; 2001-06-01: 110; 2001-07-01: 234
81720 | MOUNTAINAIR |  | STA. 6 THRU STA. 7 | 8540.902 | 501 | 501 | 5093 | 6041 | 331 | C | 17475 | 1570 | 2047 | 1343 | 1872 | 1698 | 1881 | 1930 | 1565 | 1822 | 1747
81730 | STA. 7 MOUNTAINAIR COMP. ENG. #1 |  | STA. 6 THRU STA. 7 | 8540.902 | 501 | 501 | 5093 | 6041 | 331 | C | 6729 |  | 2001-03-01: 6729
81830 | STA. 8 CORONA COMP. ENG. #1 |  | STA. 7 THRU STA. 8 | 8540.902 | 501 | 501 | 5095 | 6041 | 341 | C | 73705 | 23250 | 21015 | 14214 | 10122 | 1411 | 2769 | 766 | 156 | 2
81930 | ROSWELL ENG. #1 |  |  | 8540.902 | 501 | 501 | 5095 | 6041 | 351 | C | 73943 |  | 2919 | 9298 | 16114 | 1911 | 2717 | 7166 | 9035 | 12698 | 12085
82130 | STA. 1 SELIGMAN COMP. #1 |  |  | 8540.902 | 501 | 501 | 5081 | 6041 | 121 | C | 498593 | 60368 | 60304 | 56018 | 59947 | 31900 | 32199 | 46016 | 53999 | 60591 | 37251
82230 | STA 2 FLAGSTAFF ENG. #1 |  | STA. 1 THRU STA. 2 | 8540.902 | 501 | 501 | 5083 | 6041 | 131 | C | 559668 | 60819 | 61518 | 54084 | 61589 | 40445 | 49103 | 54731 | 58520 | 64069 | 54790
82330 | STA 3 LEUPP COMP ENG. #1 |  | STA. 2 THRU STA. 3 | 8540.902 | 501 | 501 | 5083 | 6041 | 141 | C | 557513 | 65589 | 65247 | 56340 | 61984 | 35472 | 43996 | 54848 | 55936 | 64586 | 53515
82340 | NEEDLES MEAS. STA. FUEL |  | STA. 1 TO NEEDLES | 8540.902 | 501 | 501 | 5081 | 6036 | 100 | C | 10 | 2 | 2001-01-01: 2; 2001-02-01: 2; 2001-03-01: 2; 2001-04-01: 1; 2001-05-01: 1
82430 | STA. 4 KLAGETOH COM. ENG. #1 |  | STA. 3 TO AZ STATE LINE | 8540.902 | 501 | 501 | 5085 | 6041 | 151 | C | 618367 | 66342 | 71114 | 59725 | 70266 | 44422 | 59410 | 55483 | 61646 | 68860 | 61099
83020 | KEYSTONE STA |  | KEYSTONE | 8540.902 | 501 | 501 | 5280 | 6041 | 911 | C | 48607 | 3070 | 3736 | 2129 | 5858 | 4805 | 6042 | 6220 | 4623 | 5272 | 6852
83040 | WALTON PLANT FUEL |  | KEYSTONE | 8540.902 | 501 | 501 | 5280 | 6041 | 912 | C | 0
83360 | KEYSTONE TURBINE #1 |  | KEYSTONE | 8540.902 | 501 | 501 | 5280 | 6052 | 911 | C | 86054 | 7220 | 9016 | 8412 | 9979 | 9388 | 8329 | 7230 | 9103 | 9568 | 7809
83370 | IVANHOE STATION |  | LIPS-MOCANE OK | 8540.902 | 501 | 501 | 4537 | 6041 | 761 | C | 0
83380 | IVANHOE PLT HEATER FUEL |  | LIPS-MOCANE OK | 8540.902 | 501 | 501 | 4537 | 6041 | 761 | C | 31072 | 5015 | 4143 | 3155 | 2698 | 3326 | 2638 | 1880 | 449 | 3654 | 4114
83383 | IVANHOE WELDING SHOP |  | LIPS-MOCANE OK | 8540.902 | 501 | 501 | 4537 | 6041 | 761 | C | 248 | 68 | 60 | 42 | 46 | 18 | 8 | 2 |  |  | 4
83384 | IVANHOE OFFICE & TECH SHOP |  | LIPS-MOCANE OK | 8540.902 | 501 | 501 | 4537 | 6041 | 761 | C | 337 | 109 | 2001-01-01: 76; 2001-02-01: 72; 2001-03-01: 36; 2001-04-01: 26; 2001-05-01: 16; 2001-06-01: 2
83390 | PAMPA TURBINE #1 |  | VALVE 311 THRU P-3 | 8540.902 | 501 | 501 | 4102 | 6052 | 601 | C | 53569 | 7586 | 9339 | 1703 | 3579 |  | 7215 | 3597 | 1078 | 552 | 18920
83430 | WT-2 ENG #1 |  | WT LAT-TX ST LINE SOUTH | 8540.902 | 501 | 501 | 5280 | 6041 | 901 | C | 369054 | 23608 | 23075 | 21046 | 28043 | 43718 | 42829 | 46950 | 51284 | 49062 | 39439
83610 | CRAWFORD LAT COMP |  | CRAWFORD | 8540.902 | 501 | 501 | 5129 | 6052 | 831 | C | 158580 | 9789 | 14819 | 16854 | 18472 | 15937 | 16601 | 16194 | 16480 | 17137 | 16297
83670 | ATOKA #2 COMP |  | ATOKA | 8540.902 | 501 | 501 | 5128 | 6041 | 812 | C | 166575 | 17932 | 18516 | 16228 | 17510 | 16705 | 15646 | 15632 | 16093 | 16488 | 15825
83690 | ATOKA #3 COMP |  | ATOKA | 8540.902 | 501 | 501 | 5128 | 6041 | 813 | C | 260849 | 25395 | 25472 | 23389 | 29254 | 26472 | 28243 | 26638 | 24985 | 26191 | 24810
83750 | CANADIAN COMP ENG #1 |  | CANADIAN RIVER | 8540.902 | 501 | 501 | 4115 | 6041 | 731 | C | 7354 |  | 2001-01-01: 2000; 2001-02-01: 879; 2001-05-01: 851; 2001-09-01: 3624
83780 | ATOKA #1 COMP |  | ATOKA | 8540.902 | 501 | 501 | 5128 | 6041 | 811 | C | 23824 | 2902 | 2900 | 2632 | 2752 | 1995 | 650 | 2604 | 2815 | 2507 | 2067
83781 | ATOKA #1 UNIT 719 |  |  | 8540.902 | 501 | 501 | 5128 | 6041 | 811 | C | 26932 | 2830 | 2835 | 2546 | 2872 | 2754 | 1982 | 2637 | 2875 | 2867 | 2734
83990 | MALJAMAR COMPRESSOR |  | MALJAMAR | 8540.902 | 501 | 501 | 5128 | 6041 | 821 | C | 19889 | 2838 | 2658 | 2835 | 3479 | 1069 | 331 | 1524 | 2231 | 587 | 2337
83991 | MALJAMAR COMPRESSOR |  | MALJAMAR | 8540.902 | 501 | 501 | 5128 | 6041 | 821 | C | 26215 | 612 | 302 | 510 | 992 | 4179 | 4153 | 4822 | 4648 | 4411 | 1586
84130 | P-1 YARD TURBINE |  | PH LAT-STA.9 TO TX ST LINE | 8540.902 | 501 | 501 | 5095 | 6052 | 401 | C | 2422 | 71 | 55 | 5 | 10 | 8 | 3 | 924 | 5 | 2 | 1339
84160 | P-2 TURBINE FUEL |  | TX ST LINE TO VALVE 311 | 8540.902 | 501 | 501 | 5095 | 6052 | 501 | C | 117 | 35 | 38 | 13 | 19 | 4 | 3 |  | 4 |  | 1
84201 | SAN JUAN COMPRESSOR FUEL #1 |  | SAN JUAN | 8540.902 | 501 | 501 | 5085 | 6052 | 201 | C | 861622 | 92842 | 86689 | 78152 | 86041 | 88221 | 80655 | 85878 | 88307 | 89058 | 85779
84232 | Canadian River Dehy #1 & #2 |  | CANADIAN RIVER | 8540.902 | 501 | 501 | 4115 | 6041 | 731 | C | 0
84259 | THERMAL GENERATOR SECTION 3 |  |  | 8540.902 | 501 | 501 | 5129 | 6052 | 830 | C | 0
84260 | THERMAL GENERATIONR SECTION 1 SEG 1 |  | STA. 6 THRU STA. 7 | 8540.902 | 501 | 501 | 5129 | 6052 | 830 | C | 0
84265 | MONUMENT II FUEL #1 |  | MONUMENT | 8540.902 | 501 | 501 | 5129 | 6052 | 841 | C | 5122 | 2029 | 2001-01-01: 342; 2001-02-01: 474; 2001-03-01: 321; 2001-05-01: 21; 2001-07-01: 1935
84266 | MONUMENT II FUEL #2 |  | MONUMENT | 8540.902 | 501 | 501 | 5129 | 6052 | 841 | C | 19757 | 1948 | 2001-01-01: 5215; 2001-02-01: 5407; 2001-03-01: 7172; 2001-04-01: 15
84284 | LONE STAR/VALERO COMP. |  | WT LAT-TX ST LINE SOUTH | 8540.902 | 501 | 501 | 5271 | 6052 | 902 | C | 191 |  |  | 33 | 24 | 18 | 56 | 22 |  | 21 | 17
84287 | STATION #2 FILTER SEPERATOR |  | STA. 1 THRU STA. 2 | 8540.902 | 501 | 501 | 2002 | 6041 | 131 | C | 0
84290 | LA PLATA "A" ENGINE FUEL GAS |  | SAN JUAN | 8540.902 | 501 | 501 | 5091 | 6041 | 231 | C | 565999 | 59640 | 62827 | 53678 | 53180 | 47911 | 60359 | 56382 | 57046 | 58126 | 56850
84291 | LA PLATA "A" DOMESTIC FUEL GAS |  | SAN JUAN | 8540.902 | 501 | 501 | 5091 | 6030 | 231 | C | 1589 | 349 | 2001-01-01: 360; 2001-02-01: 319; 2001-03-01: 324; 2001-04-01: 229; 2001-05-01: 8
84296 | Sid Richardson Blk #16 |  | SAN JUAN | 8540.902 | 501 | 501 | 5091 | 6030 | 231 | C | 6795 |  | 2001-09-01: 6795
| BISTI/BLOOMFIELD/GALLUP FUEL GAS |  | SAN JUAN | 8540.902 | 501 | 501 | 5091 | 6030 | 205/204 | C | 3449196 | 344636 | 350194 | 331224 | 358825 | 346677 | 320565 | 337761 | 348660 | 351011 | 359643
9262 | BLUITT/WARREN DELIVERY - NOT FUEL |  |  | 8560.902 | 547 |  | 2002 |  |  | O | 0 |  | 2001-10-01: 0; 2001-11-01: 0
19059 | LEEDY LATERAL UNMEASURED COMP |  |  | 8560.902 | 504 |  | 5095 |  |  | O | 0 |  | 2001-10-01: 0; 2001-11-01: 0
39509 | LEFORS PLANT 78-1 |  |  | 8560.902 | 547 |  | 2002 |  |  | O | 0 |  | 2001-10-01: 0; 2001-11-01: 0
| COST OF TRANSPORT - COMPRESSOR FUEL USE | [9 empty] | 8719306 | 902852 | 928154 | 839405 | 942784 | 776208 | 795618 | 848155 | 886006 | 919548 | 880576 | 0 | 0
| COST OF SALES - COMPRESSOR FUEL USE |  |  | 8100.999 | [6 empty] | -8719306 | -902852 | -928154 | -839405 | -942784 | -776208 | -795618 | -848155 | -886006 | -919548 | -880576 | 0 | 0
50100 | LIPSCOMB-MOCANE UNMEASURED COMP |  | LIPS-MOCANE TX | 8560.902 | 501 | 504 | 4130 | 6036 | 720 | O | 0 | 0 | 2001-01-01: 0
50103 | GUYMON LATERAL UNMEASURED COMP. FUEL |  | CACTUS | 8560.902 | 501 |  | 4072 |  |  | O | 0 | 0
50104 | LEFORS LATERAL UNMEASURED COMP. FUEL |  | LEFORS | 8560.902 | 501 |  | 4102 |  |  | O | 0 | 0
50105 | P-2 TO P-3 LATERAL UNMEASURED COMP. FUEL |  | VALVE 311 THRU P-3 | 8560.902 | 501 | 504 | 4102/5095 | 6036 | 500/730 | O | 99 | 11 | 11 | 11 | 11 | 11 | 11 |  | 11 | 11 | 11
50106 | P-1 TO P-2 LATERAL UNMEASURED COMP. FUEL |  | TX ST LINE TO VALVE 311 | 8560.902 | 501 | 504 | 5095 | 6036 | 300 | O | 592 |  | 2001-03-01: 42; 2001-05-01: 26; 2001-07-01: 235; 2001-09-01: 289
50107 | STA-9 TO P-1 LATERAL UNMEASURE COMP. FUEL |  | PH LAT-STA.9 TO TX ST LINE | 8560.902 | 501 |  | 5095 |  |  | O | 0
50108 | GOMEZ LATERAL UNMEASURED COMP. FUEL |  | GOMEZ 20" | 8560.902 | 501 |  | 5271 |  |  | O | 0
50109 | WT-2 TO PECOS LATERAL UNMEASURED COMP. FUEL |  | WT LAT-TX ST LINE SOUTH | 8560.902 | 501 | 504 | 5280 | 6036 | 900 | O | 0
50111 | KEYSTONE LATERAL UNMEASURED COMP. FUEL |  | KEYSTONE | 8560.902 | 501 |  | 5280 |  |  | O | 0
50112 | WT-1 TO WT-2 LATERAL UNMEASURED COMP. FUEL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 |  | 2002 |  |  | O | 0
50113 | MONUMENT LATERAL UNMEASURED COMP. FUEL |  | MONUMENT | 8560.902 | 501 |  | 5129 |  |  | O | 0
50114 | CRAWFORD LATERAL UNMEASURED COMP. FUEL |  | CRAWFORD | 8560.902 | 501 |  | 5129 |  |  | O | 0
50115 | MALJAMAR LATERAL UNMEASURED COMP. FUEL |  | MALJAMAR | 8560.902 | 501 |  | 5128 |  |  | O | 0
50116 | ATOKA LATERAL UNMEASURED COMP. FUEL |  | ATOKA | 8560.902 | 501 | 504 | 5128 | 6036 | 810 | O | 204831 | 21954 | 21512 | 19651 | 20924 | 21095 | 20571 | 17967 | 18630 | 21273 | 21254
50117 | WT-1 TO STA-9 LATERAL UNMEASURED COMP. FUEL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 |  | 5095/5128/5129 |  |  | O | 0
50118 | STA-8 TO STA-9 LATERAL UNMEASURED COMP. FUEL |  | STA. 8 THRU STA. 9 | 8560.902 | 501 | 504 | 5095 | 6036 | 300 | O | 0
50119 | STA-7 TO STA-8 LATERAL UNMEASURED COMP. FUEL |  | STA. 7 THRU STA. 8 | 8560.902 | 501 |  | 2002 |  |  | O | 0
50121 | STA-6 TO STA-7 LATERAL UNMEASURED COMP. FUEL |  | STA. 6 THRU STA. 7 | 8560.902 | 501 |  | 5093 |  |  | O | 0
50122 | STA-5 TO STA-6 LATERAL UNMEASURED COMP. FUEL |  | STA. 5 THRU STA. 6 | 8560.902 | 501 |  | 2002 |  |  | O | 0
50123 | LEEDY LATERAL UNMEASURED COMP |  | SAN JUAN | 8560.902 | 501 |  | 5085 |  |  | O | 0
50124 | STA-4 TO STA-5 LATERAL UNMEASURED COMP. FUEL |  | NM STATE LINE THRU #5 | 8560.902 | 501 |  | 5085 |  |  | O | 0
50125 | STA-3 TO STA-4 LATERAL UNMEASURED COMP. FUEL |  | STA. 3 TO AZ STATE LINE | 8560.902 | 501 |  | 2002 |  |  | O | 0
50126 | STA-2 TO STA-3 LATERAL UNMEASURED COMP. FUEL |  | STA. 2 THRU STA. 3 | 8560.902 | 501 |  | 5083 |  |  | O | 0
50127 | STA-1 TO STA-2 LATERAL UNMEASURED COMP. FUEL |  | STA. 1 THRU STA. 2 | 8560.902 | 501 |  | 5081/5083 |  |  | O | 0
50128 | STA-1 TO CALIFORNIA LATERAL UNMEASURED COMP. FUEL |  | STA. 1 TO NEEDLES | 8560.902 | 501 |  | 5081 |  |  | O | 0
50129 | FELDMAN TO P-3 LATERAL UNMEASURED COMP. FUEL |  | CANADIAN STA. THRU FELDMAN | 8560.902 | 501 | 504 | 4115 | 6036 | 740 | O | 213 | 25 | 2001-01-01: 6; 2001-02-01: 52; 2001-03-01: 8; 2001-04-01: 23; 2001-05-01: 29; 2001-06-01: 70
50131 | LEEDY LATERAL UNMEASURED COMP. FUEL |  | LEEDY TX | 8560.902 | 501 | 504 | 4115 | 6036 | 780 | O | 10 |  | 2001-05-01: 10
50200 | LIPSCOMB-MOCANE UNMETERED LOSS |  | LIPS-MOCANE TX | 8560.902 | 501 | 504 | 4537 | 6036 | 750 | O | 2698 | 279 | 312 | 273 | 129 | 563 | 127 | 1009 | 5 | 1
50203 | WT-1 TO STA-9 LATERAL UNMETERED LOSS |  | CACTUS | 8560.902 | 501 |  | 4072 | 6036 | 710 | O | 0
50204 | WT-1 TO STA-9 LATERAL UNMETERED LOSS |  | LEFORS | 8560.902 | 501 |  | 4102 |  |  | O | 0
50205 | P-2 TO P-3 LATERAL UNMETERED LOSS |  | VALVE 311 THRU P-3 | 8560.902 | 501 | 504 | 4102/5095 | 6036 | 500/730 | O | 0
50206 | P-1 TO P-2 LATERAL UNMETERED LOSS |  | TX ST LINE TO VALVE 311 | 8560.902 | 501 | 504 | 5095 | 6036 | 400/500 | O | 209 |  | 2001-03-01: 85; 2001-05-01: 13; 2001-08-01: 64; 2001-09-01: 47
50207 | STA-9 TO P-1 LATERAL UNMETERED LOSS |  | PH LAT-STA.9 TO TX ST LINE | 8560.902 | 501 | 504 | 5095 | 6036 | 400 | O | 8189 | 328 | 429 | 1482 | 441 | 432 | 447 |  | 1921 | 2044 | 665
50208 | STA-5 TO STA-6 LATERAL UNMETERD LOSS |  | GOMEZ 20" | 8560.902 | 501 |  | 5271 |  |  | O | 0
50209 | WT-2 TO PECOS LATERAL UNMETERED LOSS |  | WT LAT-TX ST LINE SOUTH | 8560.902 | 501 | 504 | 5280 | 6036 | 900 | O | 23704 | 21816 | 197 | 211 | 230 | 262 | 197 | 199 | 198 | 198 | 196
50211 | KEYSTONE LATERAL UNMETERED LOSS |  | KEYSTONE | 8560.902 | 501 | 504 | 5280 | 6036 | 910 | O | 8105 | 748 | 734 | 721 | 733 | 751 | 778 | 1448 | 722 | 744 | 726
50212 | WT-1 TO WT-2 LATERAL UNMETERED LOSS |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 | 504 | 5129/5280 | 6036 | 800/900 | O | 15474 | 355 | 407 | 317 | 496 | 354 | 12045 | 602 | 301 | 300 | 297
50213 | MONUMENT LATERAL UNMETERED LOSS |  | MONUMENT | 8560.902 | 501 | 504 | 5129 | 6036 | 840 | O | 483 | 73 | 100 | 194 | 26 | 21 | 5 | 22 | 21 |  | 21
50214 | CRAWFORD LATERAL UNMETERED LOSS |  | CRAWFORD | 8560.902 | 501 | 504 | 5129 | 6036 | 830 | O | 4889 | 445 | 449 | 545 | 424 | 597 | 433 | 610 | 511 | 405 | 470
50215 | MALJAMAR LATERAL UNMETERED LOSS |  | MALJAMAR | 8560.902 | 501 | 504 | 5128 | 6036 | 820 | O | 3423 | 333 | 458 | 326 | 308 | 306 | 303 | 430 | 395 | 258 | 306
50216 | ATOKA LATERAL UNMETERED LOSS |  | ATOKA | 8560.902 | 501 | 504 | 5128 | 6036 | 810 | O | 24916 | 1090 | 2180 | 1363 | 2180 | 10064 | 2180 | 965 | 864 | 2412 | 1618
50217 | WT-1 TO STA-9 LATERAL UNMETERERED LOSS |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 | 504 | 5095/5128/5129 | 6036 | 800 | O | 6733 | 330 | 432 | 2363 | 440 | 431 | 447 |  | 1118 | 715 | 457
50218 | STA-8 TO STA-9 LATERAL UNMETERED LOSS |  | STA. 8 THRU STA. 9 | 8560.902 | 501 | 504 | 5095 | 6036 | 300 | O | 9592 | 804 | 765 | 2703 | 756 | 764 | 768 |  | 1426 | 1057 | 549
50219 | STA-7 TO STA-8 LATERAL UNMETERED LOSS |  | STA. 7 THRU STA. 8 | 8560.902 | 501 | 504 | 5093/5095 | 6036 | 300 | O | 8177 | 466 | 324 | 1214 | 321 | 324 | 326 |  | 4811 | 391
50221 | STA-6 TO STA-7 LATERAL UNMETERED LOSS |  | STA. 6 THRU STA. 7 | 8560.902 | 501 | 504 | 5093 | 6036 | 300 | O | 6892 | 592 | 592 | 2128 | 532 | 429 | 323 | 426 | 588 | 592 | 690
50222 | STA-5 TO STA-6 LATERAL UNMETERED LOSS |  | STA. 5 THRU STA. 6 | 8560.902 | 501 |  | 5085/5093 | 6036 | 300 | O | 10146 | 734 | 1213 | 816 | 1024 | 1269 | 1702 | 708 | 665 | 746 | 1269
50223 | SAN JUAN LATERAL UNMETERED LOSSS |  | SAN JUAN | 8560.902 | 501 | 504 | 5085 | 6036 | 200 | O | 4705 |  | 265 | 813 | 584 | 70 | 2016 | 91 | 100 | 766
50224 | STA-4 TO STA-5 LATERAL UNMETERED LOSS |  | NM STATE LINE THRU #5 | 8560.902 | 501 | 504 | 5085 | 6036 | 300 | O | 35651 | 3360 | 3367 | 3537 | 3456 | 3777 | 3479 | 4080 | 3451 | 3698 | 3446
50225 | STA-3 TO STA-4 LATERAL UNMETERED LOSS |  | STA. 3 TO AZ STATE LINE | 8560.902 | 501 | 504 | 5083/5085 | 6036 | 100 | O | 2925 | 594 | 760 | 151 | 153 | 139 | 154 | 506 | 145 | 262 | 61
50226 | STA-2 TO STA-3 LATERAL UNMETERED LOSS |  | STA. 2 THRU STA. 3 | 8560.902 | 501 | 504 | 5083 | 6036 | 100 | O | 43249 | 4786 | 4521 | 4666 | 4780 | 4909 | 5582 | 2597 | 2322 | 4323 | 4763
50227 | STA-1 TO STA-2 LATERAL UNMETERED LOSS |  | STA. 1 THRU STA. 2 | 8560.902 | 501 | 504 | 5081/5083 | 6036 | 100 | O | 13980 | 1260 | 390 | 658 | 228 | 1743 | 1931 | 2216 | 984 | 1774 | 2796
50228 | STA-1 TO CALIFORNIA LATERAL UNMETERED LOSS |  | STA. 1 TO NEEDLES | 8560.902 | 501 | 504 | 5081 | 6036 | 100 | O | 42234 | 822 | 916 | 968 | 838 | 837 | 34029 | 837 | 839 | 925 | 1223
50229 | FELDMAN TO P-3 LATERAL UNMETERED LOSS |  | CANADIAN STA. THRU FELDMAN | 8560.902 | 501 | 504 | 4115 | 6036 | 740 | O | 0
50231 | LEEDY LATERAL UNMETERED LOSS |  |  | 8560.902 | 501 | 504 | 2002 |  |  | O | 288 |  | 2001-01-01: 94; 2001-04-01: 194
50232 | IGNACIO/NM UNMETERED GAS LOSS |  |  | 8560.902 | 501 | 504 |  |  |  | O | 725 | 202 | 202 | 201 | 20 | 20 | 20 | 20 | 20 | 20
50233 | IGNACIO/CO UNMETERED GAS LOSS |  |  | 8560.902 | 501 | 504 |  |  |  | O | 7485 | 39 | 599 | 599 | 363 | 4425 | 94 | 386 | 606 | 99 | 275
50303 | GUYMON LATERAL V.E. |  | CACTUS | 8560.902 | 501 | 504 | 4072 | 6036 | 710 | O | 0
50304 | LEFORS LATERAL V.E. |  | LEFORS | 8560.902 | 501 |  | 4102 |  |  | O | 0
50305 | P-2 TO P-3 LATERAL V.E. |  | VALVE 311 THRU P-3 | 8560.902 | 501 |  | 2002 |  |  | O | 0
50306 | P-1 TO P-2 LATERAL V.E. |  | TX ST LINE TO VALVE 311 | 8560.902 | 501 |  | 5095 |  |  | O | 0
50307 | STA-9 TO P-1 LATERAL V.E. |  | PH LAT-STA.9 TO TX ST LINE | 8560.902 | 501 |  | 5095 |  |  | O | 0
50308 | GOMEZ LATERAL V.E. |  | GOMEZ 20" | 8560.902 | 501 |  | 5271 |  |  | O | 0
50309 | WT-2 TO PECOS LATERAL V.E. |  | WT LAT-TX ST LINE SOUTH | 8560.902 | 501 |  | 5280 |  |  | O | 0
50311 | KEYSTONE LATERAL V.E. |  | KEYSTONE | 8560.902 | 501 |  | 5280 |  |  | O | 0
50312 | WT-1 TO WT-2 LATERAL V.E. |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
50314 | CRAWFORD LATERAL V.E. |  |  | 8560.902 | 501 | 504 | 5129 |  |  | O | 0
50316 | Aloka Later V.E. |  |  | 8560.902 | 501 |  |  |  |  | O | 6163 | 1235 | 1484 | 1235 | 494 | 148 | 494 | 123 | 100 | 742 | 108
50318 | STA 8 TO STA 9 LATERAL V.E. |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
50321 | STA-6 STA-7 LATERAL V.E. |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
50329 | FELDMAN TO P-3 LATERAL V.E. |  | CANADIAN STA. THRU FELDMAN | 8560.902 | 501 | 504 | 4115 | 6036 | 740 | O | 40913 | 1218 | 1236 | 1233 | 1905 | 1255 | 1667 | 23142 | 5241 | 2229 | 1787
50331 | LEEDY LATERAL V.E. |  | LEEDY TX | 8560.902 | 501 |  | 4130 |  |  | O | 0
50400 | LIPSCOMB-MOCANE WATER REMOVAL |  | LIPS-MOCANE TX | 8560.902 | 501 |  | 4524 |  |  | O | 0
50403 | GUYMON LATERAL WATER REMOVAL |  | CACTUS | 8560.902 | 501 | 504 | 4072 | 6036 | 710 | O | 6 | 2 | 2001-01-01: 2; 2001-06-01: 2
50404 | LEFORS LATERAL WATER REMOVAL |  | LEFORS | 8560.902 | 501 |  | 4102 |  |  | O | 0
50405 | P-2 TO P-3 LATERAL WATER REMOVAL |  | VALVE 311 THRU P-3 | 8560.902 | 501 |  | 4115 | 6036 |  | O | 0
50406 | P-1 TO P-2 LATERAL WATER REMOVAL |  | TX ST LINE TO VALVE 311 | 8560.902 | 501 |  | 5095 |  |  | O | 0
50407 | STA-9 TO P-1 LATERAL WATER REMOVAL |  | PH LAT-STA.9 TO TX ST LINE | 8560.902 | 501 |  | 5095 |  |  | O | 0
50408 | GOMEZ LATERAL WATER REMOVAL |  | GOMEZ 20" | 8560.902 | 501 |  | 5271 |  |  | O | 0
50409 | WT-2 TO PECOS LATERAL WATER REMOVAL |  | WT LAT-TX ST LINE SOUTH | 8560.902 | 501 |  | 5280 |  |  | O | 0
50411 | KEYSTONE LATERAL WATER REMOVAL |  | KEYSTONE | 8560.902 | 501 |  | 5280 |  |  | O | 0
50412 | WT-1 TO WT-2 LATERAL WATER REMOVAL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 |  | 4115 | 6036 | 800 | O | 0
50413 | MONUMENT LATERAL WATER REMOVAL |  | MONUMENT | 8560.902 | 501 |  | 5129 |  |  | O | 0
50414 | CRAWFORD LATERAL WATER REMOVAL |  | CRAWFORD | 8560.902 | 501 |  | 5129 |  |  | O | 0
50415 | MALJAMAR LATERAL WATER REMOVAL |  | MALJAMAR | 8560.902 | 501 | 504 | 5128 | 6036 | 820 | O | 0
50416 | ATOKA LATERAL WATER REMOVAL |  | ATOKA | 8560.902 | 501 |  | 5128 |  |  | O | 0
50417 | WT-1 TO STA-9 LATERAL WATER REMOVAL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 |  | 2002 |  |  | O | 0
50418 | STA-8 TO STA-9 LATERAL WATER REMOVAL |  | STA. 8 THRU STA. 9 | 8560.902 | 501 |  | 5095 |  |  | O | 0
50419 | STA-7 TO STA-8 LATERAL WATER REMOVAL |  | STA. 7 THRU STA. 8 | 8560.902 | 501 |  | 2002 |  |  | O | 0
50421 | STA-6 TO STA-7 LATERAL WATER REMOVAL |  | STA. 6 THRU STA. 7 | 8560.902 | 501 |  | 5093 |  |  | O | 0
50422 | STA-5 TO STA-6 LATERAL WATER REMOVAL |  | STA. 5 THRU STA. 6 | 8560.902 | 501 |  | 2002 |  |  | O | 0
50423 | SAN JUAN LATERAL WATER REMOVAL |  | SAN JUAN | 8560.902 | 501 |  | 5085 |  |  | O | 0
50424 | STA-4 TO STA-5 LATERAL WATER REMOVAL |  | NM STATE LINE THRU #5 | 8560.902 | 501 |  | 5085 |  |  | O | 0
50425 | STA-3 TO STA-4 LATERAL WATER REMOVAL |  | STA. 3 TO AZ STATE LINE | 8560.902 | 501 |  | 2002 |  |  | O | 0
50426 | STA-2 TO STA-3 LATERAL WATER REMOVAL |  | STA. 2 THRU STA. 3 | 8560.902 | 501 |  | 5083 |  |  | O | 0
50427 | STA-1 TO STA-2 LATERAL WATER REMOVAL |  | STA. 1 THRU STA. 2 | 8560.902 | 501 |  | 2002 |  |  | O | 0
50428 | STA-1 TO CALIFORNIA LATERAL WATER REMOVAL |  | STA. 1 TO NEEDLES | 8560.902 | 501 |  | 5081 |  |  | O | 0
50429 | FELDMAN TO P-3 LATERAL WATER REMOVAL |  | CANADIAN STA. THRU FELDMAN | 8560.902 | 501 | 504 | 4115 | 6036 | 740 | O | 0
50431 | LEEDY LATERAL WATER REMOVAL |  |  | 8560.902 | 501 |  | 4130 |  |  | O | 0
50511 | STA. 6 TO RIO GRANDE LAT. UNMEAS COMP FUEL |  |  | 8560.902 | 501 | 504 | 2002 |  |  | O | 0
50512 | STA. 6 TO RIO GRANDE LAT. UNMETERED LOSS |  |  | 8560.902 | 501 | 504 | 2002 |  |  | O | 773 | 86 | 31 | 122 | 142 | 54 | 32 | 36 |  | 108 | 162
80029 | V.E. P-1 TO ROSWELL |  |  | 8560.902 | 501 | 504 | 5095 | 6036 | 400 | O | 40413 |  |  |  | 20021 | 836 | 2675 | 10107 | 2195 | 3135 | 1444
80047 | TW/ANR COMPRESSOR FUEL #802 |  |  | 8560.902 | 501 |  | 4102 |  |  | O | 0
80049 | PYOTE TO WT2 |  |  | 8560.902 | 501 |  | 5280 |  |  | O | 0
80050 | WT2 TO WT1 |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
80054 | P3 TO P2 |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
80055 | P-2 TO P-1 |  |  | 8560.902 | 501 |  | 5095 |  |  | O | 0
80056 | P-1 TO ROSWELL |  |  | 8560.902 | 501 |  | 5095 |  |  | O | 0
80057 | STATION 9 TO STATION 8 |  |  | 8560.902 | 501 |  | 5095 |  |  | O | 0
80058 | STATION 8 TO STATION 7 ???? |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
80059 | STATION 7 TO STATION 6 |  |  | 8560.902 | 501 |  | 5093 |  |  | O | 0
80060 | STATION 6 TO STATION 5 |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
80061 | STATION 5 TO STATION 4 |  |  | 8560.902 | 501 |  | 5085 |  |  | O | 0
80062 | STATION 4 TO STATION 3 |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
80063 | STATION 3 TO STATION 2 |  |  | 8560.902 | 501 |  | 5083 |  |  | O | 0
80064 | STATION 2 TO STATION 1 |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 0
80065 | STATION 1 TO NEEDLES |  |  | 8560.902 | 501 |  | 5081 |  |  | O | 0
80149 | ATOKA #1 DEHY FUEL |  | ATOKA | 8560.902 | 501 | 504 | 5128 | 6036 | 811 | O | 12244 | 711 | 604 | 738 | 865 | 1375 | 1624 | 1568 | 1747 | 1795 | 1217
80150 | AGAVE LONG ARROYO OD FUEL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 |  | 2002 | 6036 | 800 | O | 0
80151 | AGAVE LONG ARROYO MQ FUEL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 |  | 2002 | 6036 | 800 | O | 0
80153 | NED STATE FUEL |  | STA. 8 THRU STA. 9 | 8560.902 | 501 |  | 2002 | 6036 | 300 | O | 1794 | 244 | 179 | 147 | 144 | 125 | 138 | 124 | 180 | 58 | 455
80260 | THERMAL GEN/CATHODIC PROTECTION |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 1541 | 367 | 163 | 383 | 170 | 161 | 172 | 53 | 72
81120 | WT-1 AUXILIARY FUEL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 | 547 | 5129 | 6030 | 801 | O | 289 | 110 | 14 |  | 106 | 25 | 9 | 5 | 10 | 5 | 5
81520 | STA. 5 THOREAU AUX. FUEL |  | NM STATE LINE THRU #5 | 8560.902 | 501 | 547 | 2002 | 6030 | 311 | O | 138 | 22 | 28 | 37 | 17 | 14 | 4 | 1 | 2 | 11 | 2
81620 | STA. 6 LAGUNA AUX. FUEL |  | STA. 5 THRU STA. 6 | 8560.902 | 501 | 547 | 5093 | 6030 | 321 | O | 1748 | 150 | 185 | 188 | 86 | 51 | 155 | 170 | 289 | 471 | 3
81820 | STA. 8 CORONA FUEL |  | STA. 7 THRU STA. 8 | 8560.902 | 501 | 547 | 5095 | 6030 | 341 | O | 17431 | 1894 | 1882 | 2149 | 1633 | 1611 | 1625 | 1946 | 1470 | 1955 | 1266
81920 | ROSWELL AUXILIARY FUEL |  | STA. 8 THRU STA. 9 | 8560.902 | 501 | 547 | 5095 | 6030 | 351 | O | 1411 | 344 | 339 | 283 | 199 | 94 | 42 | 36 | 25 | 26 | 23
82120 | STA. 1 SELIGMAN AUX. FUEL |  | STA. 1 TO NEEDLES | 8560.902 | 501 | 547 | 5081 | 6030 | 121 | O | 2696 | 193 | 681 | 407 | 177 | 140 | 79 | 11 | 229 | 753 | 26
82220 | STA. 2 FLAGSTAFF AUX. FUEL |  | STA. 1 THRU STA. 2 | 8560.902 | 501 | 547 | 5083 | 6030 | 131 | O | 10759 | 1001 | 1344 | 1105 | 1126 | 1358 | 1024 | 1051 | 718 | 1241 | 791
82320 | STA. 3 LEUPP AUX. FUEL |  | STA. 2 THRU STA. 3 | 8560.902 | 501 | 547 | 5083 | 6030 | 141 | O | 17296 | 2197 | 1767 | 1698 | 1641 | 1291 | 1505 | 1657 | 1744 | 2049 | 1747
82340 | NEEDLES MEAS. STA. FUEL |  | STA. 1 TO NEEDLES | 8540.902 | 501 | 504 | 5081 | 6036 | 100 | O | 3 |  | 2001-08-01: 3
82420 | STA. 4 KLAGETOH AUX. FUEL |  | STA. 3 TO AZ STATE LINE | 8560.902 | 501 | 547 | 5085 | 6030 | 151 | O | 12018 | 1145 | 1389 | 1065 | 1245 | 1476 | 1222 | 1108 | 1269 | 1134 | 965
83030 | KEYSTONE STA AUXILIARY FUEL |  |  | 8560.902 | 501 |  | 5280 |  |  | O | 0
83100 | LEFORS STA |  | LEFORS | 8560.902 | 501 |  | 2002 |  |  | O | 0
83110 | LEFORS STA |  | LEFORS | 8560.902 | 501 |  | 2002 |  |  | O | 0
83320 | PAMPA STA AUXILIARY |  | VALVE 311 THRU P-3 | 8560.902 | 501 | 547 | 4102 | 6030 | 601 | O | 3678 | 653 | 832 | 767 | 485 | 372 | 112 | 138 | 142 | 66 | 111
83420 | WT-2 AUXILIARY FUEL |  | WT LAT-TX ST LINE SOUTH | 8560.902 | 501 | 547 | 5280 | 6030 | 901 | O | 18 |  | 2001-07-01: 18
83782 | P3 Overhaul Engine Fuel |  |  | 8560.902 | 501 | 547 | 4102 | 6030 | 901 | O | 166 |  | 3 | 6 | 3 | 6 |  | 81 |  | 40 | 27
84204 | SAN JUAN AUXILLARY FUEL |  | SAN JUAN | 8560.902 | 501 | 547 | 5085 | 6030 | 201 | O | 19468 | 5067 | 4988 | 4921 | 3665 | 615 | 183 | 2 | 8 | 15 | 4
84220 | IVANHOE DEHY FUEL |  |  | 8560.902 | 501 |  | 4524 |  |  | O | 0
84223 | FOLLETT TBS GYLCOL HEATER |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 296 | 58 | 52 | 46 | 44 | 30 | 14 | 12 | 10 |  | 30
84233 | PAMPA P-3 DEHY FUEL |  |  | 8560.902 | 501 |  | 4102 |  |  | O | 0
84235 | CRAWFORD LATERAL DEHY WT1 |  | CRAWFORD | 8560.902 | 501 | 504 | 5129 | 6036 | 830 | O | 0
84264 | AMOCO ABO FUEL |  | ATOKA | 8560.902 | 501 | 547 | 2002 | 6036 | 999 | O | 0
84268 | PEPL HANSFORD DEHY FUEL |  |  | 8560.902 | 501 |  | 2002 |  |  | O | 320 |  | 2001-04-01: 320
84269 | FLAGSTAFF TBS FUEL #1 |  | STA. 2 THRU STA. 3 | 8560.902 | 501 | 504 | 5083 | 6036 | 100 | O | 2642 | 562 | 570 | 601 | 648 | 165 | 24 |  |  | 9 | 63
84288 | TW STA. #1 WASTE WATER BOILER FUEL |  | STA. 1 TO NEEDLES | 8560.902 | 501 | 504 | 5081 | 6030 | 121 | O | 724 |  | 2001-03-01: 12; 2001-04-01: 55; 2001-07-01: 273; 2001-08-01: 354; 2001-09-01: 30
84292 | NAVAJO ORMAT GENERATOR SEC 4 |  |  | 8560.902 | 501 | 504 | 2002 | 6004 | 100 | O | 0
84294 | STA. 4 FUEL-GALLUP TEG-CPU |  |  | 8560.902 | 501 | 504 | 2002 | 6004 | 100 | O | 0
84295 | STA. 4 FUEL OILY WASTE |  |  | 8560.902 | 501 | 504 | 2002 | 6030 | 151 | O | 706 | 31 | 36 | 36 | 10 | 322 | 41 | 86 |  |  | 144
80006/50309 | VAPOR EQUIVALANT PUCKETT TO PY |  |  | 8560.902 | 501 |  | 5280 | 6030 | 231 | O | 0
80009/50307/50.306 | VAPOR EQUIV. N.M.STATELINE TO |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 | 504 | 5095 | 6036 | 400 | O | 1482 | 464 | 2001-01-01: 153; 2001-08-01: 865
80010/50317 | VAPOR EQUIV.WT-1 TO ROSWELL |  | WT LAT-STA. 9 TO TX ST LINE | 8560.902 | 501 | 504 | 5095/5128/5129 | 6036 | 800 | O | 0
80025/50317 | V.E. P-2 TO N.M. STATELINE |  | TX ST LINE TO VALVE 311 | 8560.902 | 501 | 504 | 5095/5128/5129 | 6036 | 800 | O | 0
80033/50329 | V.E. OK STLNE TO CANADIAN RIVE |  |  | 8560.902 | 501 | 504 | 4115 | 6036 | 740 | O | 0
80032/50300 | V.E. @ IVENHOE STATION |  | LIPS-MOCANE | 8560.904 |  |  |  | 6036 | 750/760 | O | 51684 | 2799 | 6800 | 2443 | 8902 | 6463 | 8886 | 2734 | 2072 | 4859 | 5726
| COST OF TRANSPORT - OTHER FUEL USE | [9 empty] | 739437 | 81999 | 65997 | 65573 | 83272 | 72172 | 109773 | 79382 | 58703 | 65001 | 57565 | 0 | 0
| COST OF SALE - OTHER FUEL USE |  |  | 8120.100 | [6 empty] | -687753 | -79200 | -59197 | -63130 | -74370 | -65709 | -100887 | -76648 | -56631 | -60142 | -51839 | 0 | 0
| COST OF SALE - OTHER FUEL LIQUIDS |  |  | 8120.940 | [6 empty] | -51684 | -2799 | -6800 | -2443 | -8902 | -6463 | -8886 | -2734 | -2072 | -4859 | -5726 | 0 | 0
| TOTAL COMPANY FUEL USE | [9 empty] | 9458743 | 984851 | 994151 | 904978 | 1026056 | 848380 | 905391 | 927537 | 944709 | 984549 | 938141 | 0 | 0
[11 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0