## Sheet1
TYPES OF STORAGE
F | Field storage in depleted oil & gas reservoirs.
A | Aquifers
R | Reef
S | Salt Domes
B | Bedded salt
M | Facilities developed in abandoned mines
<> | Storage facilities that are in the conceptual or developmental stage, with in-service dates after the 1997-98 winter heating season.
In some cases the chart shows two entries for a single storagae facility.
The first entry shows current volumes, while the second shows potential future volumes as a result of planned expansion.
<> also designate a few facilities that are current inactive, but are available for future use.
VOLUMES
Native (or Base) gas
Working (Top) gas
Third Party Capacity- Available to be leased to third party customers.
Pipelines have unbundled storage services to allow for third party leasing under Order 636.
Some distributors have also made storage capacity available.
Most companies have retained a portion of storage for system supply and balancing.
Companies that operate their facilities as a pool:
ANR Pipline
CNG Transmission
Colorado Interstate Gas
Columbia Gas Transmission
National Fuel Gas
Natural Gas Pipeline
Pacific Gas & Electric
Southern Natural (Sonat)
Southern California Gas
Williams Natural Gas
Williston Basin
Transgas (in Canada)
Third party volumes for individual facilities are prorated based on the facilty's proportionate share of the company's total volumes.
INJECTION/WITHDRAWAL RATES
With the exception of salt dome formations, injection and withdrawal rates can vary dramatically over the course of the season.
Highest injection rates posted during times of depletion,
Highest withdrawals occurring when the field is full and pressure is high.
Companies have generally provided peak numbers for both injection and withdrawal.
Because injection figure are not universally available, state and country totals for this column should be viewed as incomplete data.
STATE | POTENTIAL | OPERATING COMPANY | FIELD | COUNTY | TOTAL CAPACITY | WORKING TOP GAS | THIRD PARTY CAPACITY | PEAK INJECTION | PEAK DELIVERY | TYPE OF FACILITY | SYSTEM CONNECTS | TELEPHONE | FOOTNOTES | AGA Region | GAXFAX Region | Acadian | AIM | Alcan | Amoco | ANR | Arkansas Oklahoma | Arkansas Western | Brady | Bridgeline | Canadian Western | Centana | Channel | CIG | CILCO | Citizens Gas | City of Elizabethtown | CNG | Columbia Gas | Columbia Gulf | Columbia of PA | Consumers Energy | Consumers Power | Cranberry Pipeline | Delhi Pipeline | Delta Natural Gas | Dow | East Ohio | East Tennessee | El Paso | Enercorp | Equitrans | FGT | Foothills | Great Lakes | Henry Hub | HPL | Illinois Power | Indiana Gas | Jackson Pipeline | Kern River | KN Interstate | Koch | KP&L | Laclede | Lawrenceburg Gas | LIG | Lone Star | Louisiana Resources | Louisville Gas | Michcon | Michigan Gas | MidCon Texas | Midcontinent Market Center | Midwestern | Mississippi Valley | Mobile Gas | Montana Power | MRT | National Fuel Gas | NGPL | Niagara Gas Transmission | NIGAS | NIPSCO | NorAm | North Penn | Northern Natural | Northwest | Northwest Natural Gas | Nova | ONG | Panhandle Eastern | Peoples GAS | PG&E | Phillips | PNM | Public Service of Colorado | Questar | Red River (KN) | Rocky Mountain Natural Gas | Sabine | Sea Robin | SEMCO Gas | SoCal Gas | Sonat | Southern Indiana | Southwestern Gas | St. Clair | T. W. Phillips | TCPL | Tejas Gas | Tennessee Gas Pipeline | TETCO | Texas Gas | Trailblazer | TranGas | Transco | Transok | TransQuebec Maritime Pipeline | Trunkline | TUFCO | Union Gas | United Cities | Valero | Westar | Westcoast Energy | Western Kentucky | Williams Pipeline | Williston Basin | Zinc Corp. | State | Operator | Field | County | Working | Injection | Withdrawal | Type | State | Operator | Field | County | Working | Injection | Withdrawal | Type
CALIFORNIA |  | Dow Chemical Co. | Kirby Hills | Solano | 8000 | 6500 | 0 | 15 | 6 | F | Dow Chemical | 510-432-5120 |  | W | 7 | [25 empty] | X
CALIFORNIA | <> | Northern California Gas Storage | Lodi | San Joaquin | 22000 | 16000 | 16000 | 300 | 700 | F | PG&E | 916-488-1961 | 3 | W | 7 | [72 empty] | X
CALIFORNIA |  | Pacific Gas and Electric Co. | Los Medanos | Contra Costa | 25978 | 17000 | 1110 | 80 | 360 | F | PG&E | 510-974-4223 | 4 | W | 7 | [72 empty] | X | [36 empty] | California | Pacific Gas & Electric Co. | Los Medanos | Solano | 17 | 75 | 250 | Depl Reservoir
CALIFORNIA |  | Pacific Gas and Electric Co. | McDonald Island | San Joaquin | 131738 | 77662 | 5190 | 220 | 1165 | F | PG&E | 510-974-4223 | 4 | W | 7 | [72 empty] | X | [36 empty] | California | Pacific Gas & Electric Co. | McDonald Island | San Joaquin | 77.05 | 1000 | 200 | Depl Reservoir
CALIFORNIA |  | Pacific Gas and Electric Co. | Pleasant Creek | Yolo | 7218 | 2100 | 0 | 5 | 50 | F | PG&E | 510-974-4223 |  | W | 7 | [72 empty] | X | [36 empty] | California * | Pacific Gas & Electric Co. | Pleasant Creek | Sacramento | 2.148 | 50 | 6 | Depl Reservoir
[5 empty] | 164934 | 96762
CALIFORNIA |  | Southern California Gas Co. | Aliso Canyon | Los Angeles | 161500 | 70000 | 27465 | 380 | 1650 | F | SoCal Gas | 213-244-3766 | 5 | W | 7 | [82 empty] | X | [26 empty] | California | Southern California Gas Co. | Aliso Canyon | Los Angeles | 70 | 465 | 1860 | Depl Reservoir
CALIFORNIA |  | Southern California Gas Co. | Honor Rancho | Los Angeles | 37000 | 17500 | 6865 | 260 | 1000 | F | SoCal Gas | 213-244-3766 | 5 | W | 7 | [82 empty] | X | [26 empty] | California | Southern California Gas Co. | Honor Ranch | Los Angeles | 17.5 | 330 | 1000 | Depl Reservoir
CALIFORNIA |  | Southern California Gas Co. | La Goleta | Santa Barbara | 46100 | 13500 | 5297 | 135 | 600 | F | SoCal Gas | 213-244-3766 | 5 | W | 7 | [82 empty] | X | [26 empty] | California | Southern California Gas Co. | La Goleta | Santa Barbara | 13.5 | 150 | 600 | Depl Reservoir
CALIFORNIA |  | Southern California Gas Co. | Montebello | Los Angeles | 39200 | 11500 | 4512 | 95 | 730 | F | SoCal Gas | 213-244-3766 | 5 | W | 7 | [82 empty] | X | [26 empty] | California | Southern California Gas Co. | Montebello | Los Angeles | 11.7 | 105 | 795 | Depl Reservoir
CALIFORNIA |  | Southern California Gas Co. | Playa del Ray | Los Angeles | 7100 | 2700 | 1060 | 140 | 515 | F | SoCal Gas | 213-244-3766 | 5 | W | 7 | [82 empty] | X | [26 empty] | California | Southern California Gas Co. | Playa del Rey | Los Angeles | 2.6 | 170 | 500 | Depl Reservoir
[5 empty] | 290900 | 115200
CALIFORNIA | <> | Wild Goose Storage Inc. | Wild Goose | Butte | 17000 | 14000 | 14000 | 80 | 200 | F | PG&E | 415-291-0750 | 6 | W | 7 | [72 empty] | X | [36 empty] | California * | NA | Wild Goose Gas Storage | Butte | 15 | na | 250 | NA
COLORADO |  | Colorado Interstate Gas | Flank | Baca | 18620 | 7183 | 6244 | 100 | 164 | F | CIG |  | 7 | W | 6 | [12 empty] | X | [96 empty] | Colorado | Colorado Interstate Gas Co. | Flank | Baca | 6.962 | 99 | 164 | Depl Reservoir
COLORADO |  | Colorado Interstate Gas | Fort Morgan | Morgan | 14322 | 7360 | 6397 | 110 | 348 | F | CIG |  | 7 | W | 6 | [12 empty] | X | [96 empty] | Colorado | Colorado Interstate Gas Co. | Fort Morgan | Morgan | 7.36 | 124 | 348 | Depl Reservoir
COLORADO |  | Colorado Interstate Gas | Latigo | Arahoe | 21383 | 8155 | 7089 | 85 | 139 | F | CIG |  | 7 | W | 6 | [12 empty] | X | [96 empty] | Colorado | Colorado Interstate Gas Co. | Latigo | Arapaho | 8.155 | 84 | 139 | Depl Reservoir
COLORADO |  | Colorado Interstate Gas | Young | Morgan | 9100 | 5000 | 5000 | 60 | 170 | F | CIG |  |  | W | 6 | [12 empty] | X | [96 empty] | Colorado * | CIG, Young Gas, Colorado Springs | Young Gas Storage | Morgan | 5.3 | na | 200 | Depl Reservoir
[5 empty] | 63425 | 27698
COLORADO |  | Public Service Co. of Colorado | Asbury/Fruita | Mesa | 3970 | 2730 | 0 | 17 | 17 | F | Public Service of Colorado |  |  | W | 6 | [75 empty] | X | [33 empty] | Colorado | Public Service Co. of Colorado | Asbury | Mesa | 2.926 | 9 | 16 | Depl Reservoir
COLORADO |  | Public Service Co. of Colorado | Leyden | Jefferson | 3790 | 3000 | 0 | 130 | 185 | M | Public Service of Colorado |  |  | W | 6 | [75 empty] | X | [33 empty] | Colorado | Public Service Co. of Colorado | Leyden | Jefferson | 2.2 | 120 | 205 | Conv Coal cavern
COLORADO |  | Public Service Co. of Colorado | Roundup | Morgan | 7200 | 4200 | 0 | 50 | 50 | F | Public Service of Colorado |  |  | W | 6 | [75 empty] | X | [33 empty] | Colorado | Public Service Co. of Colorado | Roundup | Morgan | 6 | 30 | 50 | Depl Reservoir
[5 empty] | 14960 | 9930
COLORADO |  | Wild Horse LP, Inc. | Wolf Creek | Pitkin,Mesa | 10100 | 2664 | 0 | 7 | 20 | F | Rocky Mountain Natural Gas | 303-763-3435 | 8 | W | 6 | [78 empty] | X | [30 empty] | Colorado | Gasco Inc. | Wolf Creek | Mesa, Pitkin | 2.664 | 8 | 20 | Depl Reservoir
MINNESOTA |  | Minnegasco | Waterville | Waseca. Rice, Steele | 7000 | 2000 | 0 | 15 | 65 | A | Northern Natural A Line | 612-321-5319 |  | W | 3 | [65 empty] | X | [43 empty] | Minnesota | Minnegasco | Waterville-Waseca | Waseca,Rice,LaSueur | 6.7 | 31.3 | 60 | Aquifer
MONTANA |  | Montan Power | Box Elder | Blaine, Hill | 9103 | 4423 | 0 | 5 | 11 | F | Montan Power |  |  | W | 6 | [56 empty] | X | [52 empty] | Montana | Montana Power Co. | Box Elder | Blaine, Hill | 6.031 | 80 | 8 | Depl Reservoir
MONTANA |  | Montan Power | Cobb | Glacier, Toole | 37384 | 8311 | 0 | 40 | 145 | F | Montan Power |  | 46 | W | 6 | [56 empty] | X | [52 empty] | Montana | Montana Power Co. | Cobb | Glacier, Toole | 11.32 | 120 | 120 | Depl Reservoir
MONTANA |  | Montan Power | Dry Creek | Carbon | 37828 | 10567 | 0 | 30 | 40 | F | Montan Power |  | 46 | W | 6 | [56 empty] | X | [52 empty] | Montana | Montana Power Co. | Dry Creek | Carson | 22.482 | 40 | 40 | Depl Reservoir
[5 empty] | 84315 | 23301
MONTANA |  | Williston Basin | Baker | Falcon | 287200 | 164427 | 164427 | 102 | 134 | F | Williston Basin |  | 47 | W | 6 | [107 empty] | X |  | Montana | Willston Basin Interstate Pipeline | Baker | Fallon | 164.427 | 103 | 132 | Depl Reservoir
WYOMING |  | Williston Basin | Billy Creek | johnson | 2944 | 542 | 542 | 2 | 4 | F | Williston Basin | 701-221-1254 | 47 | W | 6
[5 empty] | 290144 | 164969
OREGON |  | Northwest Natural Gas | Mist | Columbia | 10900 | 7000 | 0 | 70 | 80 | F | Northwest Natural Gas | 503-226-4211 | 61 | W | 7 | [67 empty] | X | [41 empty] | Oregon | Northwest Natural Gas | Miller Station | Columbia | 7 | 100 | 100 | Depl Reservoir
UTAH |  | Questar | Chalk Creek | Summit | 1980 | 250 | 250 | 10 | 50 | A | Questar | 801-324-2020 |  | W | 6 | [76 empty] | X | [32 empty] | Utah | Questar Pipeline Co. | Chalk Creek | Summit | 0.256 | 10 | 35 | Aquifer
UTAH |  | Questar | Clay Baisn | Daggert | 110000 | 46250 | 43250 | 300 | 765 | F | Questar, Northwest | 801-324-2020 |  | W | 6 | [66 empty] | X | [9 empty] | X | [32 empty] | Utah | Questar Pipeline Co. | Clay Basin | Daggett | 42 | 300 | 700 | Depl Reservoir
UTAH |  | Questar | Coalville | Summit | 3200 | 600 | 600 | 15 | 60 | A | Questar | 801-324-2020 |  | W | 6 | [76 empty] | X | [32 empty] | Utah | Questar Pipeline Co. | Coalville | Summit | 0.692 | 15 | 75 | Aquifer
[5 empty] | 115180 | 47100
WASHINGTON |  | Puget Sound Energy | Jackson Prairie | Lewis | 37300 | 15100 | 10000 | 450 | 550 | A | Northwest | 360-262-3365 | 85 | W | 7 | [66 empty] | X | [42 empty] | Washington | Washington Natural Gas Co. | Jackson Prairie Zone 2 | Lewis | 25.1 | 450 | 450 | Aquifer
WYOMING |  | Northern Gas Company | Bunker Hill | Carbon | 5500 | 1450 | 0 | 5 | 5 | F | Northern Gas Company | 303-763-3435 | 8 | W | 6 | [65 empty] | X | [43 empty] | Wyoming | Northern Gas Co. of Wyoming | Bunker Hill | Carbon | 1.45 | 6 | 4 | Depl Reservoir
WYOMING |  | Northern Gas Company | Kirk Field | Fremont | 2020 | 580 | 0 | 3 | 3 | F | Northern Gas Company | 303-763-3435 | 8 | W | 6 | [65 empty] | X | [43 empty] | Wyoming | Northern Gas Co. of Wyoming | Kirk Ranch | Fremont | 0.58 | 3 | 2 | Depl Reservoir
WYOMING |  | Northern Gas Company | Oil Springs | Carbon | 22200 | 9700 | 0 | 15 | 25 | F | Northern Gas Company | 303-763-3435 | 8 | W | 6 | [65 empty] | X | [43 empty] | Wyoming | Northern Gas Co. of Wyoming | Oil Springs | Carbon | 9.7 | 25 | 30 | Depl Reservoir
[5 empty] | 29720 | 11730
WYOMING |  | Questar | Leroy | Uinta | 6355 | 800 | 800 | 20 | 80 | A | Questar | 801-324-2020 |  | W | 6 | [76 empty] | X | [32 empty] | Wyoming | Questar Pipeline co. | Leroy | Uinta | 0.836 | 20 | 65 | Aquifer
WYOMING | <> | Questar | Southwest Wyoming (SWW) | Uinta | 7000 | 5000 | 5000 | 250 | 500 | B | Questar, Kern River, Northwest | 801-324-2020 | 87 | W | 6 | [39 empty] | X | [26 empty] | X | [9 empty] | X
[5 empty] | 2232811 | 1062444 | 331098 | 3601 | 10586
69 | Jointly owned by NFG, Transco and North Penn.
70 | Operated in conjunction with Tioga (CNG Transmission).
71 | People's dedicates 5% of working capacity to transport services.
72 | In design phase of development; open to subcribers and developers.
73 | Total deliverability from the Westex Facilities (Loop, Felmac and Salado) is 525 MMcf/d
74 | In very limited use. City is interested in finding an active operator and has built a connect to Lone Star (Enserch).
75 | The interconnect with Amoco is not in use at this time.
76 | All capacity, including expansion volumes, are dedicated to Houston Lighting & Power.
77 | One cavern has been taken out of service, to be releached and expanded. Injection and deliverability of the releached cavern are estimated and could go higher. Expected to be on-line October, 1998.
78 | Owned by TriStar Energy but operated by Lone Star.
79 | Lone star allocates a small amount of space for storage customers, which fluctuates from month to month.
80 | MidTex is a partnership of subsidairies of MiCon and NIPSCO.
81 | Subsidairy of Mitchell Energy.
82 | Total and working capacity could be dramatically increased with additional withdrawal/injection. Tejas Gas Pipline connects to Amoco, HPL, TETCO, MidCon texas, Channel, Valero, Dow and Exxon, with direrct connect ot storge facilities possible.
83 | The first commercial gas well is the State of Virginia was drilled in the Early Grove field in 1930.
84 | Development of future capacity of 3 Bcf from newly created caverns is planned.
85 | Planning an expansion to 18 Bcf working capacity, 850 MMcf/d deliverability by Fall 1999.
86 | A subsidiary of Columbia. Deliverability for both Augusta and Little Capon is limited to 48 MMcf/d based on contracted capacity on Columbia's system.
87 | Five potential salt caverns under development, each with 2.5 Bcf working, 1 Bcf cushion, able to recycle 12 times a year. Numbers on map are for two caverns.
88 | Base gas not published; AEC allocates 64% of its working capacity to storage customers.
89 | About 30% of working gas can be store for others.
90 | Formerly listed as East Crossfield, operated by Amoco Canada. Located at the East Crossfield processing plant. Amomco owns 40%; TCPL owns 60%.
91 | Base gas not published.
92 | Expected tp be partially on-line in October 1997.
93 | Under development.
94 | Over half of the facilities are reserved for affliliated utility company.
95 | Algonquin plans to build .9 miles of 20-inch pipeline and construct liquefaction and vaporization facilities to porvide up to 375,000 MMbtu/d for delivery to Algonquin Pipeline or to Providence Gas through Allen Avenue Facility.
The in-service date is Nov. 1, 1998.
96 | Proposed to be in service in 2000. Total facility could be 1 to 2 Bcf, with deliverability of 100 to 200 Mmcf/d.
97 | Has made space available to customers in the past.
98 | Idle.
Sort...