## Sheet1
Column Chart Bugs:
1) Does not show X-axis selected values (1-11 is wrong, should be -2.5 -2 ...)?
2) Fails to take ranges as series arguments (displays range name Tfrequency in orange)
3) Cannot edit source of X-axis values

Noise Analysis – Dave Nadler drn@nadler.com +01-978-263-0097

Is noise in Traw and Praw correlated (ie, the noise is a function of the measurement system and not the sensors)?
Correlation, Traw-Praw
-0.6656	<< Pretty high !

Standard Deviations
25.4393	35.3823	2.9755	0.2506	0.0926

Traw	Praw	PressurePA	AltMeters	VarioMPS			StdDeviations	Tbins	Tfrequency	Pbins	Pfrequency
147252	-202887	99770.7324	152.9160	0			-2.5	147174	0	-203023	0
147242	-202887	99770.8247	152.9090	-0.05			-2	147187	0	-203005	0
147245	-202887	99770.7970	152.9110	0.014			-1.5	147200	1	-202988	0
147232	-202888	99771.0054	152.8930	-0.11			-1	147212	12	-202970	21
147232	-202882	99770.4752	152.9380	0.048			-0.5	147225	26	-202952	21
147244	-202881	99770.2761	152.9550	0.104			0	147238	18	-202934	15
147228	-202880	99770.3353	152.9500	-0.015			0.5	147251	15	-202917	10
147216	-202882	99770.6228	152.9260	-0.15			1	147263	10	-202899	6
147216	-202878	99770.2693	152.9550	0.096			1.5	147276	8	-202881	15
147217	-202879	99770.3485	152.9490	-0.042			2	147289	6	-202864	12
147233	-202880	99770.2892	152.9540	0.029			2.5		4		0
147221	-202880	99770.3999	152.9440	-0.055
147250	-202878	99769.9556	152.9820	0.2
147207	-202878	99770.3524	152.9480	-0.109
147228	-202880	99770.3353	152.9500	0.005
147216	-202879	99770.3577	152.9480	-0.012
147216	-202881	99770.5345	152.9330	-0.095
147222	-202879	99770.3023	152.9530	0.124
147223	-202883	99770.6466	152.9240	-0.114
147210	-202887	99771.1200	152.8840	-0.147
147203	-202890	99771.4497	152.8560	-0.094
147224	-202890	99771.2559	152.8720	0.103
147215	-202895	99771.7808	152.8280	-0.164
147210	-202894	99771.7386	152.8320	0.014
147222	-202896	99771.8046	152.8260	-0.036
147213	-202899	99772.1528	152.7970	-0.186
147224	-202899	99772.0512	152.8050	0.035
147219	-202900	99772.1858	152.7940	-0.073
147214	-202903	99772.4970	152.7680	-0.168
147202	-202908	99773.0496	152.7210	-0.2
147216	-202911	99773.1855	152.7100	-0.043
147198	-202914	99773.6167	152.6730	-0.227
147216	-202914	99773.4506	152.6870	0.056
147204	-202917	99773.8264	152.6560	-0.187
147211	-202921	99774.1153	152.6310	-0.097
147203	-202922	99774.2775	152.6180	-0.087
147201	-202924	99774.4727	152.6010	-0.105
147212	-202924	99774.3712	152.6100	0.034
147219	-202927	99774.5717	152.5930	-0.109
147222	-202931	99774.8974	152.5660	-0.102
147200	-202930	99775.0121	152.5560	-0.04
147207	-202932	99775.1242	152.5460	-0.057
147218	-202933	99775.1111	152.5480	0.006
147221	-202937	99775.4369	152.5200	-0.175
147223	-202937	99775.4184	152.5220	0.007
147233	-202938	99775.4145	152.5220	0.002
147219	-202938	99775.5437	152.5110	-0.07
147230	-202938	99775.4422	152.5200	0.053
147220	-202939	99775.6228	152.5040	-0.089
147221	-202945	99776.1438	152.4610	-0.224
147226	-202946	99776.1860	152.4570	-0.012
147229	-202947	99776.2467	152.4520	-0.032
147233	-202944	99775.9447	152.4770	0.159
147226	-202947	99776.2744	152.4500	-0.104
147234	-202948	99776.2889	152.4480	-0.004
147234	-202950	99776.4656	152.4330	-0.087
147241	-202951	99776.4894	152.4310	-0.012
147241	-202952	99776.5777	152.4240	-0.047
147251	-202954	99776.6622	152.4170	-0.045
147237	-202955	99776.8797	152.3990	-0.115
147249	-202957	99776.9457	152.3930	-0.019
147226	-202956	99777.0696	152.3830	-0.066
147226	-202958	99777.2464	152.3680	-0.08
147234	-202961	99777.4376	152.3520	-0.097
147246	-202961	99777.3269	152.3610	0.059
147246	-202964	99777.5920	152.3390	-0.141
147255	-202962	99777.3322	152.3610	0.082
147237	-202964	99777.6750	152.3320	-0.184
147223	-202967	99778.0693	152.2980	-0.132
147252	-202966	99777.7133	152.3280	0.111
147244	-202968	99777.9639	152.3070	-0.085
147244	-202969	99778.0522	152.3000	-0.048
147242	-202967	99777.8940	152.3130	0.084
147243	-202972	99778.3265	152.2770	-0.209
147247	-202970	99778.1129	152.2950	0.068
147250	-202969	99777.9969	152.3050	0.056
147253	-202971	99778.1459	152.2920	-0.075
147254	-202970	99778.0483	152.3000	0.053
147260	-202970	99777.9929	152.3050	0.026
147260	-202972	99778.1697	152.2900	-0.081
147267	-202969	99777.8400	152.3180	0.15
147264	-202969	99777.8676	152.3150	-0.01
147266	-202967	99777.6725	152.3320	0.098
147253	-202969	99777.9692	152.3070	-0.154
147276	-202969	99777.7569	152.3250	0.067
147268	-202970	99777.9191	152.3110	-0.081
147278	-202972	99778.0035	152.3040	-0.042
147267	-202972	99778.1051	152.2950	-0.054
147256	-202973	99778.2949	152.2790	-0.095
147271	-202973	99778.1565	152.2910	0.072
147275	-202973	99778.1196	152.2940	0.018
147281	-202976	99778.3293	152.2770	-0.098
147288	-202978	99778.4414	152.2670	-0.06
147287	-202977	99778.3623	152.2740	0.04
147281	-202975	99778.2409	152.2840	0.058
147293	-202973	99777.9535	152.3080	0.142
147307	-202974	99777.9126	152.3120	0.014
147298	-202973	99777.9073	152.3120	0.003
147285	-202974	99778.1157	152.2950	-0.097
147299	-202977	99778.2515	152.2830	-0.073
Std Deviations from Average