
Sampling with multiple states


Signal for Windows version 3



Sampling with multiple states



The State variation selector at the top left of the States page select the type of multiple states to use from External digital, Static outputs and Dynamic outputs. The controls shown in the dialog change dramatically as each type of multiple states is selected, so the three forms are described separately  below.
What type of states do I need?

For almost all purposes Dynamic outputs states are the most useful as this allows you to set different output pulses for each state. External digital states can be used only with external hardware that generates digital codes to indicate what is happening, while Static outputs states are limited to unchanging digital and DAC outputs, so both of these are more limited. The main part of this chapter will cover Dynamic outputs states with the other forms of multiple states described afterwards.

Dynamic outputs states tc " Dynamic outputs states " \l 2 
Dynamic outputs states are the most useful and general form of multiple states; each state generates a separate set of output pulses. The actual digital and DAC outputs for each state (along with some other information including the state label) are set by using the Configure Pulses dialog available from the Outputs tab of the sampling configuration, the states page is purely concerned with defining how many states there are and how they are sequenced – how Signal will switch from state to state during sampling.

The Number of extra states item controls the number of extra states, from 1 to 256. XE "Multiple frame states:Number of states" 

 XE "Multiple frame states:Set number"  Note that this item sets the number of extra states in addition to state zero. Thus in the example shown below there are 5 states possible with codes running from 0 to 4. In many circumstances Signal will use only states 1 to 4, state zero is treated as an background or idle state. This also controls the states available in the pulses configuration dialog; you should set the extra states you want here before you set up the pulse outputs themselves.

State sequencing

Because in Dynamic outputs mode Signal is controlling the states (as it is in Static outputs mode), we need ways of defining which state is used when. The simplest way to do this is to control the state manually (which can be done using a control bar), but often we want some form of automatic states sequencing. Signal provides essentially two separate forms of states sequencing – numeric or protocol. In the numeric modes (there are three of these) simple numeric or randomised sequencing is provided while, in protocol mode a precisely defined complex sequence of states can be generated.
0-1
0-2
0-7

